## Transmission vs. Voltage
LCC1623(/M) Transmission vs. Voltage
|  |  | 900 nm | 1000 nm | 1100 nm | 1200 nm | 1300 nm | 1400 nm | 1500 nm | 1600 nm | 1700 nm
|  | Attenuation Voltage (V) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%)
|  | 0 | 80.8618 | 90.014 | 90.687 | 81.0974 | 87.0693 | 73.0814 | 72.417 | 73.4431 | 62.7473
|  | 0.5 | 61.738 | 71.007 | 65.1711 | 63.1792 | 59.0821 | 49.1588 | 42.1134 | 44.6321 | 34.536
|  | 1 | 30.6511 | 30.8674 | 26.6096 | 25.9287 | 21.8803 | 18.8419 | 15.5107 | 16.5151 | 11.7497
|  | 1.5 | 9.9976 | 9.6205 | 8.1312 | 7.6405 | 6.1631 | 5.4631 | 4.575 | 4.7705 | 3.223
Product Raw Data |  | 2 | 2.9043 | 2.7534 | 2.3038 | 2.0824 | 1.6518 | 1.4854 | 1.286 | 1.303 | 0.8599
Liquid Crystal Optical Shutter / Variable Attenuator, 1050 - 1700 nm |  | 2.5 | 0.89114 | 0.83397 | 0.68347 | 0.60467 | 0.47294 | 0.43324 | 0.37911 | 0.38008 | 0.25204
|  | 3 | 0.33426 | 0.30219 | 0.23978 | 0.21017 | 0.16424 | 0.1511 | 0.12893 | 0.13412 | 0.0912
Item # | LCC1623(/M) | 3.5 | 0.16782 | 0.14405 | 0.10514 | 0.09196 | 0.075 | 0.0709 | 0.06046 | 0.06316 | 0.03819
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 4 | 0.10795 | 0.0898 | 0.05936 | 0.05615 | 0.04558 | 0.03719 | 0.03173 | 0.03047 | 0.02246
|  | 4.5 | 0.08314 | 0.06801 | 0.04209 | 0.03682 | 0.03328 | 0.02731 | 0.02705 | 0.02378 | 0.01887
|  | 5 | 0.07074 | 0.05637 | 0.03454 | 0.03113 | 0.02364 | 0.01918 | 0.02071 | 0.02304 | 0.01977
This data may be used in publications. However, please cite Thorlabs as the source.
Additional Information:
Attenuator Mode

## Transmission vs. Wavelength
LCC1623(/M) Transmission vs. Wavelength
|  |  | 0 V | 0.5 V | 1 V | 1.5 V | 2 V | 2.5 V | 3 V | 3.5V | 4 V | 4.5 V | 5 V
|  | Wavelength (nm) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%)
|  | 900 | 65.8618 | 61.738 | 30.6511 | 9.9976 | 2.9043 | 0.89114 | 0.33426 | 0.16782 | 0.10795 | 0.08314 | 0.07074
|  | 905 | 66.7293 | 62.8512 | 31.0016 | 10.0251 | 2.8966 | 0.88359 | 0.32669 | 0.16158 | 0.10762 | 0.08332 | 0.06665
|  | 910 | 67.7628 | 63.9813 | 31.0912 | 9.9981 | 2.8849 | 0.88078 | 0.32689 | 0.16238 | 0.1054 | 0.08081 | 0.06721
|  | 915 | 69.2696 | 64.6558 | 31.1692 | 10.0547 | 2.9087 | 0.88873 | 0.32793 | 0.16121 | 0.1004 | 0.07594 | 0.06525
Product Raw Data |  | 920 | 70.78 | 64.9199 | 31.4702 | 10.2128 | 2.9596 | 0.90141 | 0.33126 | 0.1589 | 0.0988 | 0.07402 | 0.06393
Liquid Crystal Optical Shutter / Variable Attenuator, 1050 - 1700 nm |  | 925 | 71.7009 | 65.4067 | 31.9235 | 10.3474 | 2.9918 | 0.91082 | 0.33133 | 0.15793 | 0.09926 | 0.07674 | 0.06556
|  | 930 | 72.1654 | 66.403 | 32.1968 | 10.3298 | 2.9698 | 0.90169 | 0.32952 | 0.1587 | 0.09976 | 0.07582 | 0.06385
Item # | LCC1623(/M) | 935 | 72.8487 | 67.531 | 32.1719 | 10.2342 | 2.9353 | 0.88884 | 0.32649 | 0.15724 | 0.09816 | 0.07139 | 0.0597
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 940 | 74.1915 | 68.1261 | 31.9659 | 10.1895 | 2.9335 | 0.89068 | 0.3244 | 0.15673 | 0.09579 | 0.0708 | 0.05769
|  | 945 | 75.9427 | 67.9367 | 31.9838 | 10.3168 | 2.9959 | 0.91505 | 0.33214 | 0.15795 | 0.09839 | 0.07255 | 0.06157
|  | 950 | 77.067 | 67.6339 | 32.4846 | 10.5628 | 3.071 | 0.93714 | 0.34198 | 0.16098 | 0.1009 | 0.07575 | 0.06039
|  | 955 | 76.9614 | 68.2688 | 33.1208 | 10.6798 | 3.0782 | 0.93701 | 0.34148 | 0.16069 | 0.10209 | 0.07575 | 0.06312
|  | 960 | 76.5601 | 69.8541 | 33.2073 | 10.4874 | 2.988 | 0.90283 | 0.32913 | 0.15736 | 0.09833 | 0.07328 | 0.06091
|  | 965 | 77.4135 | 71.0568 | 32.5552 | 10.1454 | 2.8793 | 0.8677 | 0.31426 | 0.15044 | 0.09222 | 0.06861 | 0.05697
This data may be used in publications. However, please cite Thorlabs as the source. |  | 970 | 79.7472 | 70.673 | 31.8208 | 10.0201 | 2.8753 | 0.87435 | 0.31423 | 0.15047 | 0.09367 | 0.06804 | 0.05886
|  | 975 | 81.7613 | 69.2128 | 31.879 | 10.2757 | 2.9882 | 0.91311 | 0.331 | 0.1577 | 0.09866 | 0.07288 | 0.06095
|  | 980 | 81.697 | 68.5424 | 32.748 | 10.6332 | 3.0867 | 0.93894 | 0.34014 | 0.16054 | 0.101 | 0.07619 | 0.06243
Additional Information: |  | 985 | 80.0393 | 69.7845 | 33.4639 | 10.6561 | 3.0442 | 0.91699 | 0.33266 | 0.15828 | 0.09886 | 0.07375 | 0.06135
Attenuator Mode |  | 990 | 79.2289 | 71.8696 | 33.1133 | 10.2295 | 2.8737 | 0.85757 | 0.31069 | 0.14644 | 0.09314 | 0.06901 | 0.05572
|  | 995 | 80.931 | 72.5781 | 31.8668 | 9.7325 | 2.7328 | 0.81973 | 0.29426 | 0.13899 | 0.08896 | 0.06501 | 0.05393
|  | 1000 | 84.014 | 71.007 | 30.8674 | 9.6205 | 2.7534 | 0.83397 | 0.30219 | 0.14405 | 0.0898 | 0.06801 | 0.05637
|  | 1005 | 85.5807 | 68.7095 | 31.054 | 9.9754 | 2.9026 | 0.88208 | 0.32044 | 0.15174 | 0.09325 | 0.06985 | 0.05816
|  | 1010 | 84.149 | 68.0422 | 32.1705 | 10.4043 | 3.0143 | 0.91341 | 0.32837 | 0.1545 | 0.09422 | 0.07154 | 0.05729
|  | 1015 | 81.5001 | 69.749 | 32.9768 | 10.404 | 2.9517 | 0.88147 | 0.31628 | 0.14808 | 0.08951 | 0.06655 | 0.05441
|  | 1020 | 80.723 | 72.1235 | 32.4693 | 9.8899 | 2.7482 | 0.81363 | 0.28898 | 0.13572 | 0.08307 | 0.06117 | 0.05014
|  | 1025 | 82.9709 | 72.6574 | 30.9502 | 9.2892 | 2.5788 | 0.76456 | 0.27253 | 0.12938 | 0.07904 | 0.05924 | 0.04883
|  | 1030 | 86.4825 | 70.5988 | 29.6782 | 9.0858 | 2.5735 | 0.77131 | 0.27608 | 0.1292 | 0.0785 | 0.05828 | 0.0475
|  | 1035 | 87.9946 | 67.7831 | 29.6579 | 9.3981 | 2.7159 | 0.82023 | 0.29195 | 0.13338 | 0.08081 | 0.05815 | 0.04835
|  | 1040 | 86.1174 | 66.6623 | 30.7605 | 9.9072 | 2.8666 | 0.86303 | 0.30684 | 0.13943 | 0.08396 | 0.06157 | 0.05089
|  | 1045 | 82.855 | 68.1171 | 31.8797 | 10.0847 | 2.8647 | 0.85225 | 0.29911 | 0.13594 | 0.0832 | 0.05751 | 0.0473
|  | 1050 | 81.425 | 70.8086 | 31.8097 | 9.6916 | 2.6852 | 0.78808 | 0.27407 | 0.12509 | 0.07679 | 0.05478 | 0.04505
|  | 1055 | 83.2855 | 72.0916 | 30.4233 | 9.0186 | 2.4718 | 0.7221 | 0.25262 | 0.11587 | 0.06949 | 0.05083 | 0.04091
|  | 1060 | 87.1137 | 70.5443 | 28.7801 | 8.581 | 2.3799 | 0.70235 | 0.24396 | 0.11108 | 0.06678 | 0.04635 | 0.03571
|  | 1065 | 89.573 | 67.4726 | 28.0802 | 8.6486 | 2.4609 | 0.73574 | 0.25575 | 0.11666 | 0.0704 | 0.04865 | 0.03974
|  | 1070 | 88.5222 | 65.2185 | 28.6887 | 9.1173 | 2.6345 | 0.79188 | 0.27761 | 0.12543 | 0.07414 | 0.05197 | 0.04181
|  | 1075 | 85.069 | 65.4071 | 29.9916 | 9.5624 | 2.7446 | 0.8194 | 0.28477 | 0.12744 | 0.07449 | 0.05211 | 0.04075
|  | 1080 | 82.2639 | 67.6865 | 30.821 | 9.5763 | 2.6844 | 0.78795 | 0.27419 | 0.1207 | 0.06987 | 0.05033 | 0.04007
|  | 1085 | 82.3153 | 70.1545 | 30.3482 | 9.0811 | 2.4887 | 0.72119 | 0.25073 | 0.11085 | 0.064 | 0.04734 | 0.03629
|  | 1090 | 85.3221 | 70.5923 | 28.7725 | 8.4255 | 2.2947 | 0.6662 | 0.23088 | 0.10404 | 0.0611 | 0.04393 | 0.03468
|  | 1095 | 89.0997 | 68.3915 | 27.2075 | 8.0441 | 2.2251 | 0.65111 | 0.22673 | 0.09983 | 0.05764 | 0.04235 | 0.03139
|  | 1100 | 90.687 | 65.1711 | 26.6096 | 8.1312 | 2.3038 | 0.68347 | 0.23978 | 0.10514 | 0.05936 | 0.04209 | 0.03454
|  | 1105 | 88.724 | 63.1267 | 27.2219 | 8.5796 | 2.4693 | 0.73982 | 0.25645 | 0.11694 | 0.06687 | 0.04515 | 0.03513
|  | 1110 | 84.9019 | 63.393 | 28.4868 | 9.0368 | 2.5918 | 0.77175 | 0.26625 | 0.11919 | 0.07017 | 0.04695 | 0.03612
|  | 1115 | 82.1207 | 65.6233 | 29.4373 | 9.1353 | 2.5658 | 0.75538 | 0.26214 | 0.11703 | 0.06802 | 0.04849 | 0.03767
|  | 1120 | 82.2157 | 68.1659 | 29.2225 | 8.737 | 2.3934 | 0.69487 | 0.23999 | 0.10523 | 0.06013 | 0.04439 | 0.03413
|  | 1125 | 85.1251 | 68.9291 | 27.8318 | 8.0937 | 2.1907 | 0.63077 | 0.21916 | 0.09623 | 0.05448 | 0.04139 | 0.03082
|  | 1130 | 88.9579 | 67.1117 | 26.1531 | 7.6017 | 2.0785 | 0.60482 | 0.21123 | 0.09527 | 0.05589 | 0.04047 | 0.0323
|  | 1135 | 90.8847 | 63.8203 | 25.1291 | 7.4969 | 2.0967 | 0.62033 | 0.21675 | 0.09709 | 0.05634 | 0.04111 | 0.03285
|  | 1140 | 89.4159 | 61.1372 | 25.2186 | 7.7838 | 2.2242 | 0.66615 | 0.23058 | 0.10221 | 0.05973 | 0.04155 | 0.03265
|  | 1145 | 85.7013 | 60.4259 | 26.1852 | 8.2513 | 2.3732 | 0.70843 | 0.24719 | 0.11011 | 0.0618 | 0.04326 | 0.03483
|  | 1150 | 82.127 | 61.8287 | 27.4015 | 8.5845 | 2.4401 | 0.72158 | 0.2521 | 0.11284 | 0.06416 | 0.04434 | 0.03698
|  | 1155 | 80.8902 | 64.3347 | 27.9356 | 8.5047 | 2.3621 | 0.69109 | 0.2402 | 0.10781 | 0.06298 | 0.04369 | 0.03556
|  | 1160 | 82.5003 | 66.2069 | 27.2915 | 8.0196 | 2.1779 | 0.62884 | 0.21552 | 0.09551 | 0.0552 | 0.03805 | 0.02977
|  | 1165 | 85.9647 | 65.959 | 25.7871 | 7.417 | 2.0015 | 0.5785 | 0.20128 | 0.09004 | 0.0529 | 0.03789 | 0.02964
|  | 1170 | 89.1109 | 63.5062 | 24.2171 | 6.9955 | 1.9102 | 0.55732 | 0.19341 | 0.08694 | 0.05089 | 0.03624 | 0.02929
|  | 1175 | 89.7432 | 60.2763 | 23.3488 | 6.9236 | 1.9331 | 0.57125 | 0.19873 | 0.08973 | 0.05195 | 0.03665 | 0.02928
|  | 1180 | 87.4098 | 57.9125 | 23.4368 | 7.1749 | 2.0444 | 0.60992 | 0.21279 | 0.09523 | 0.05496 | 0.03855 | 0.03034
|  | 1185 | 83.5208 | 57.354 | 24.318 | 7.6038 | 2.1817 | 0.6536 | 0.22651 | 0.10291 | 0.05861 | 0.04294 | 0.03172
|  | 1190 | 80.328 | 58.6368 | 25.4545 | 7.9465 | 2.2602 | 0.67275 | 0.23133 | 0.10436 | 0.05778 | 0.04324 | 0.03341
|  | 1195 | 79.3647 | 61.0061 | 26.1553 | 7.9754 | 2.225 | 0.65116 | 0.22332 | 0.09996 | 0.05698 | 0.04238 | 0.03099
|  | 1200 | 81.0974 | 63.1792 | 25.9287 | 7.6405 | 2.0824 | 0.60467 | 0.21017 | 0.09196 | 0.05615 | 0.03682 | 0.03113
|  | 1205 | 84.7382 | 63.7053 | 24.7751 | 7.1035 | 1.9085 | 0.55215 | 0.19087 | 0.08582 | 0.05087 | 0.03309 | 0.02585
|  | 1210 | 88.4318 | 62.1567 | 23.339 | 6.6476 | 1.7968 | 0.52094 | 0.17749 | 0.08224 | 0.04909 | 0.03483 | 0.02644
|  | 1215 | 90.1257 | 59.4862 | 22.3131 | 6.4631 | 1.7762 | 0.52015 | 0.18004 | 0.08226 | 0.04889 | 0.03422 | 0.02848
|  | 1220 | 88.9139 | 57.0021 | 22.0344 | 6.5732 | 1.8464 | 0.54812 | 0.18844 | 0.08777 | 0.04862 | 0.03442 | 0.02603
|  | 1225 | 85.617 | 55.759 | 22.5454 | 6.9205 | 1.9743 | 0.59115 | 0.2072 | 0.09392 | 0.05348 | 0.03522 | 0.03022
|  | 1230 | 82.1256 | 56.1814 | 23.5905 | 7.343 | 2.1024 | 0.62586 | 0.2193 | 0.09944 | 0.05444 | 0.0382 | 0.03029
|  | 1235 | 80.0314 | 57.8905 | 24.6279 | 7.6201 | 2.1588 | 0.63885 | 0.22343 | 0.0981 | 0.05779 | 0.04075 | 0.03388
|  | 1240 | 80.1102 | 60.1519 | 25.1222 | 7.5809 | 2.1021 | 0.61691 | 0.21412 | 0.09578 | 0.05716 | 0.03684 | 0.03238
|  | 1245 | 82.3777 | 61.7614 | 24.6982 | 7.2153 | 1.9561 | 0.5636 | 0.19289 | 0.08992 | 0.04856 | 0.03462 | 0.0272
|  | 1250 | 85.8735 | 61.7623 | 23.5332 | 6.7016 | 1.7982 | 0.51598 | 0.1793 | 0.08049 | 0.04635 | 0.03527 | 0.02758
|  | 1255 | 88.9094 | 60.0513 | 22.1679 | 6.272 | 1.685 | 0.48591 | 0.16932 | 0.07386 | 0.04364 | 0.03045 | 0.02455
|  | 1260 | 89.9361 | 57.4463 | 21.1437 | 6.0584 | 1.6509 | 0.48438 | 0.169 | 0.0765 | 0.0459 | 0.02786 | 0.02581
|  | 1265 | 88.4131 | 55.0341 | 20.752 | 6.1036 | 1.6971 | 0.50278 | 0.17494 | 0.07852 | 0.04569 | 0.02939 | 0.02319
|  | 1270 | 85.17 | 53.6818 | 21.0569 | 6.375 | 1.8071 | 0.54043 | 0.18653 | 0.08449 | 0.04756 | 0.03532 | 0.02747
|  | 1275 | 81.8005 | 53.739 | 21.899 | 6.7528 | 1.9275 | 0.57801 | 0.20165 | 0.08828 | 0.05227 | 0.03508 | 0.02927
|  | 1280 | 79.637 | 55.0853 | 22.9328 | 7.0859 | 2.0171 | 0.59835 | 0.20639 | 0.09454 | 0.05265 | 0.03978 | 0.02855
|  | 1285 | 79.3901 | 57.1591 | 23.6934 | 7.2119 | 2.0203 | 0.59561 | 0.20868 | 0.09125 | 0.05588 | 0.0356 | 0.0316
|  | 1290 | 81.058 | 59.0615 | 23.768 | 7.0335 | 1.9301 | 0.56293 | 0.19667 | 0.08812 | 0.05297 | 0.03515 | 0.02779
|  | 1295 | 84.0184 | 59.8389 | 23.0767 | 6.6263 | 1.7868 | 0.51669 | 0.17853 | 0.07945 | 0.04786 | 0.03374 | 0.02465
|  | 1300 | 87.0693 | 59.0821 | 21.8803 | 6.1631 | 1.6518 | 0.47294 | 0.16424 | 0.075 | 0.04558 | 0.03328 | 0.02364
|  | 1305 | 88.9314 | 57.009 | 20.6303 | 5.799 | 1.5592 | 0.45257 | 0.15798 | 0.06781 | 0.04326 | 0.0299 | 0.02503
|  | 1310 | 88.6496 | 54.4257 | 19.7331 | 5.6233 | 1.5317 | 0.44879 | 0.15613 | 0.06667 | 0.04191 | 0.02525 | 0.02402
|  | 1315 | 86.3444 | 52.2638 | 19.4032 | 5.6719 | 1.5788 | 0.46285 | 0.15907 | 0.07347 | 0.04329 | 0.03018 | 0.02127
|  | 1320 | 83.0589 | 51.1065 | 19.6508 | 5.8991 | 1.6671 | 0.49494 | 0.17056 | 0.07491 | 0.04745 | 0.03296 | 0.02697
|  | 1325 | 79.9329 | 51.1203 | 20.352 | 6.2243 | 1.7726 | 0.52756 | 0.18308 | 0.08473 | 0.0464 | 0.0343 | 0.02824
|  | 1330 | 77.9828 | 52.2296 | 21.2646 | 6.5419 | 1.8606 | 0.55601 | 0.19663 | 0.08431 | 0.05298 | 0.0354 | 0.03082
|  | 1335 | 77.7082 | 53.9435 | 22.0028 | 6.698 | 1.8812 | 0.55527 | 0.19324 | 0.08568 | 0.05095 | 0.0368 | 0.02573
|  | 1340 | 78.9836 | 55.62 | 22.2234 | 6.6178 | 1.8289 | 0.53294 | 0.18458 | 0.08501 | 0.04965 | 0.03744 | 0.02496
|  | 1345 | 81.3016 | 56.4606 | 21.7939 | 6.3118 | 1.7109 | 0.49785 | 0.1754 | 0.0751 | 0.04753 | 0.03309 | 0.02783
|  | 1350 | 83.8117 | 56.0669 | 20.8215 | 5.8859 | 1.5756 | 0.4576 | 0.15907 | 0.07238 | 0.04268 | 0.03155 | 0.02492
|  | 1355 | 85.4893 | 54.427 | 19.6093 | 5.4813 | 1.468 | 0.42125 | 0.14506 | 0.06798 | 0.03961 | 0.02864 | 0.02435
|  | 1360 | 85.4834 | 51.979 | 18.4931 | 5.1843 | 1.3947 | 0.40597 | 0.14109 | 0.06433 | 0.03865 | 0.02541 | 0.02
|  | 1365 | 83.4482 | 49.373 | 17.6997 | 5.0439 | 1.3826 | 0.40153 | 0.13785 | 0.06524 | 0.03521 | 0.02921 | 0.01965
|  | 1370 | 79.2303 | 46.8434 | 17.2082 | 5.0231 | 1.3984 | 0.41401 | 0.14619 | 0.06234 | 0.04027 | 0.02813 | 0.02345
|  | 1375 | 73.5211 | 44.3857 | 16.8242 | 5.022 | 1.417 | 0.42293 | 0.14822 | 0.0638 | 0.03928 | 0.02786 | 0.02285
|  | 1380 | 68.3329 | 42.7329 | 16.6983 | 5.0681 | 1.4454 | 0.43249 | 0.15044 | 0.06889 | 0.03684 | 0.03121 | 0.01968
|  | 1385 | 66.0196 | 43.0339 | 17.178 | 5.2467 | 1.4922 | 0.44673 | 0.15884 | 0.06836 | 0.04226 | 0.03177 | 0.02269
|  | 1390 | 66.9283 | 44.935 | 17.9903 | 5.4558 | 1.5337 | 0.45763 | 0.15712 | 0.0747 | 0.04207 | 0.02805 | 0.02061
|  | 1395 | 69.6402 | 47.3039 | 18.6609 | 5.5538 | 1.5348 | 0.454 | 0.1595 | 0.0698 | 0.04384 | 0.02798 | 0.02509
|  | 1400 | 73.0814 | 49.1588 | 18.8419 | 5.4631 | 1.4854 | 0.43324 | 0.1511 | 0.0709 | 0.03719 | 0.02731 | 0.01918
|  | 1405 | 76.5507 | 49.9414 | 18.4796 | 5.2348 | 1.4059 | 0.40828 | 0.14234 | 0.06444 | 0.041 | 0.02958 | 0.02431
|  | 1410 | 79.2743 | 49.5273 | 17.7547 | 4.9442 | 1.3162 | 0.38077 | 0.13312 | 0.06287 | 0.03631 | 0.02745 | 0.02184
|  | 1415 | 80.5509 | 48.2729 | 16.9723 | 4.7026 | 1.2603 | 0.36169 | 0.1282 | 0.05741 | 0.03361 | 0.02707 | 0.02231
|  | 1420 | 80.3108 | 46.6897 | 16.3616 | 4.5758 | 1.2377 | 0.36168 | 0.12656 | 0.05818 | 0.03509 | 0.02249 | 0.02339
|  | 1425 | 78.764 | 45.2747 | 16.0703 | 4.5766 | 1.2521 | 0.36656 | 0.13065 | 0.0614 | 0.03387 | 0.02359 | 0.02208
|  | 1430 | 76.5644 | 44.3892 | 16.1388 | 4.6962 | 1.3039 | 0.38231 | 0.13567 | 0.06158 | 0.03262 | 0.02622 | 0.0189
|  | 1435 | 74.4837 | 44.23 | 16.5595 | 4.9207 | 1.3857 | 0.41062 | 0.14128 | 0.06449 | 0.0347 | 0.03102 | 0.0215
|  | 1440 | 73.0759 | 44.8324 | 17.2318 | 5.2013 | 1.4766 | 0.44084 | 0.15468 | 0.07115 | 0.04145 | 0.03032 | 0.02506
|  | 1445 | 72.6418 | 46.0364 | 18.0154 | 5.4674 | 1.5465 | 0.45725 | 0.15948 | 0.07507 | 0.03862 | 0.03302 | 0.02056
|  | 1450 | 73.2776 | 47.5847 | 18.6999 | 5.6467 | 1.5911 | 0.4726 | 0.16735 | 0.07114 | 0.04607 | 0.03322 | 0.02727
|  | 1455 | 74.8441 | 49.1 | 19.1044 | 5.6752 | 1.5752 | 0.46239 | 0.16338 | 0.0757 | 0.041 | 0.03123 | 0.02713
|  | 1460 | 76.9415 | 50.1435 | 19.0783 | 5.5541 | 1.5165 | 0.44284 | 0.15301 | 0.07206 | 0.03968 | 0.03079 | 0.02762
|  | 1465 | 79.1257 | 50.378 | 18.613 | 5.2867 | 1.4274 | 0.40837 | 0.14411 | 0.06423 | 0.03803 | 0.0246 | 0.0246
|  | 1470 | 80.6692 | 49.5955 | 17.7672 | 4.951 | 1.3241 | 0.3807 | 0.1328 | 0.05756 | 0.03923 | 0.02412 | 0.01865
|  | 1475 | 81.1993 | 48.0937 | 16.8261 | 4.6443 | 1.238 | 0.35925 | 0.12655 | 0.05373 | 0.03592 | 0.02751 | 0.0233
|  | 1480 | 80.5777 | 46.2739 | 15.9834 | 4.4072 | 1.1782 | 0.33985 | 0.11632 | 0.0567 | 0.03161 | 0.02313 | 0.01531
|  | 1485 | 78.9703 | 44.5036 | 15.3851 | 4.2981 | 1.1625 | 0.33951 | 0.12203 | 0.05117 | 0.03444 | 0.0246 | 0.01673
|  | 1490 | 76.6714 | 43.0813 | 15.1173 | 4.2931 | 1.1772 | 0.3472 | 0.12343 | 0.05149 | 0.03465 | 0.0264 | 0.02145
|  | 1495 | 74.3473 | 42.2763 | 15.1715 | 4.3992 | 1.2192 | 0.35927 | 0.12418 | 0.0591 | 0.03387 | 0.02357 | 0.02357
|  | 1500 | 72.417 | 42.1134 | 15.5107 | 4.575 | 1.286 | 0.37911 | 0.12893 | 0.06046 | 0.03173 | 0.02705 | 0.02071
|  | 1505 | 71.2393 | 42.5812 | 16.058 | 4.8012 | 1.3611 | 0.40458 | 0.13833 | 0.06379 | 0.04029 | 0.02485 | 0.0188
|  | 1510 | 70.994 | 43.617 | 16.7242 | 5.038 | 1.4275 | 0.4271 | 0.15024 | 0.06989 | 0.04254 | 0.03072 | 0.02498
|  | 1515 | 71.6683 | 44.9492 | 17.3493 | 5.2083 | 1.4667 | 0.43278 | 0.15003 | 0.07026 | 0.04039 | 0.02614 | 0.02546
|  | 1520 | 73.0808 | 46.3035 | 17.7766 | 5.2801 | 1.4691 | 0.43725 | 0.15462 | 0.06588 | 0.03755 | 0.0256 | 0.01946
|  | 1525 | 74.9701 | 47.3444 | 17.897 | 5.2305 | 1.4405 | 0.42524 | 0.15067 | 0.06727 | 0.04324 | 0.03123 | 0.02094
|  | 1530 | 76.9367 | 47.8119 | 17.651 | 5.0451 | 1.3727 | 0.39796 | 0.13875 | 0.06592 | 0.03624 | 0.0283 | 0.01898
|  | 1535 | 78.5399 | 47.5391 | 17.0768 | 4.7888 | 1.2875 | 0.37456 | 0.13261 | 0.06283 | 0.03749 | 0.02985 | 0.02499
|  | 1540 | 79.3969 | 46.6104 | 16.3304 | 4.5074 | 1.2045 | 0.34433 | 0.11769 | 0.05797 | 0.03527 | 0.02619 | 0.01921
|  | 1545 | 79.2605 | 45.1847 | 15.5279 | 4.26 | 1.1402 | 0.32458 | 0.11733 | 0.05023 | 0.03091 | 0.02705 | 0.01897
|  | 1550 | 78.1325 | 43.5048 | 14.8261 | 4.0795 | 1.0939 | 0.3193 | 0.11267 | 0.04804 | 0.03285 | 0.02543 | 0.02296
|  | 1555 | 76.2597 | 41.9581 | 14.3324 | 3.9778 | 1.0752 | 0.31568 | 0.10582 | 0.05255 | 0.02983 | 0.01989 | 0.01598
|  | 1560 | 74.11 | 40.7549 | 14.0908 | 3.9778 | 1.0879 | 0.31848 | 0.11497 | 0.04963 | 0.02856 | 0.02428 | 0.02321
|  | 1565 | 72.0914 | 40.0436 | 14.1203 | 4.0521 | 1.1267 | 0.32771 | 0.11486 | 0.04882 | 0.03015 | 0.02225 | 0.01687
|  | 1570 | 70.4026 | 39.8524 | 14.3652 | 4.2012 | 1.1753 | 0.34983 | 0.1255 | 0.05518 | 0.03462 | 0.02633 | 0.022
|  | 1575 | 69.3909 | 40.1753 | 14.8006 | 4.3799 | 1.2296 | 0.3624 | 0.12937 | 0.06016 | 0.03117 | 0.02537 | 0.02174
|  | 1580 | 69.0658 | 40.9069 | 15.3302 | 4.5747 | 1.2948 | 0.38159 | 0.13763 | 0.05899 | 0.0335 | 0.02767 | 0.01711
|  | 1585 | 69.4736 | 41.9362 | 15.8697 | 4.7493 | 1.3392 | 0.40029 | 0.14087 | 0.0633 | 0.03988 | 0.02891 | 0.01829
|  | 1590 | 70.4578 | 43.0367 | 16.3128 | 4.847 | 1.3529 | 0.39935 | 0.14268 | 0.0684 | 0.03972 | 0.03015 | 0.02464
|  | 1595 | 71.8816 | 44.0013 | 16.5438 | 4.8671 | 1.3487 | 0.40141 | 0.13898 | 0.06579 | 0.03659 | 0.03216 | 0.02033
|  | 1600 | 73.4431 | 44.6321 | 16.5151 | 4.7705 | 1.303 | 0.38008 | 0.13412 | 0.06316 | 0.03047 | 0.02378 | 0.02304
|  | 1605 | 74.8555 | 44.7575 | 16.2072 | 4.5965 | 1.2456 | 0.36565 | 0.13035 | 0.05528 | 0.03361 | 0.02353 | 0.02017
|  | 1610 | 75.7702 | 44.2621 | 15.6526 | 4.3722 | 1.1757 | 0.34417 | 0.1226 | 0.05811 | 0.03599 | 0.02887 | 0.0225
|  | 1615 | 75.9175 | 43.2253 | 14.9596 | 4.1218 | 1.102 | 0.3232 | 0.1125 | 0.05493 | 0.03311 | 0.02559 | 0.02069
|  | 1620 | 75.1397 | 41.7737 | 14.2148 | 3.8922 | 1.0352 | 0.2982 | 0.10269 | 0.04623 | 0.02615 | 0.01895 | 0.01554
|  | 1625 | 73.5521 | 40.1431 | 13.5261 | 3.71 | 0.99581 | 0.29124 | 0.10601 | 0.05052 | 0.03368 | 0.02526 | 0.02028
|  | 1630 | 71.4373 | 38.5416 | 12.9877 | 3.578 | 0.96725 | 0.28017 | 0.09584 | 0.04289 | 0.02589 | 0.01778 | 0.02087
|  | 1635 | 69.6534 | 37.493 | 12.7318 | 3.5555 | 0.9701 | 0.28631 | 0.1022 | 0.04837 | 0.0316 | 0.02223 | 0.01911
|  | 1640 | 68.2103 | 36.9263 | 12.7095 | 3.5986 | 0.99173 | 0.29319 | 0.10311 | 0.04368 | 0.0303 | 0.01732 | 0.01928
|  | 1645 | 66.9098 | 36.6658 | 12.8509 | 3.6982 | 1.0297 | 0.30646 | 0.10401 | 0.05121 | 0.03533 | 0.02183 | 0.02064
|  | 1650 | 65.8172 | 36.6828 | 13.1153 | 3.8319 | 1.0732 | 0.32006 | 0.11376 | 0.05408 | 0.03325 | 0.02644 | 0.02163
|  | 1655 | 65.1329 | 36.9908 | 13.4615 | 3.9725 | 1.1146 | 0.32986 | 0.11333 | 0.05464 | 0.02874 | 0.02428 | 0.01457
|  | 1660 | 64.8323 | 37.4855 | 13.8366 | 4.1056 | 1.1585 | 0.34357 | 0.1208 | 0.0516 | 0.03112 | 0.02129 | 0.0172
|  | 1665 | 64.8036 | 37.9941 | 14.1407 | 4.2028 | 1.1837 | 0.35313 | 0.12393 | 0.05678 | 0.0344 | 0.02445 | 0.02155
|  | 1670 | 64.9095 | 38.3981 | 14.3142 | 4.2378 | 1.1885 | 0.35592 | 0.1279 | 0.05974 | 0.03702 | 0.02819 | 0.02272
|  | 1675 | 65.0116 | 38.5237 | 14.285 | 4.1867 | 1.1598 | 0.33954 | 0.1237 | 0.05673 | 0.02986 | 0.02261 | 0.02218
|  | 1680 | 65.1661 | 38.3999 | 14.068 | 4.0721 | 1.1186 | 0.32807 | 0.12146 | 0.05403 | 0.02853 | 0.02118 | 0.01772
|  | 1685 | 65.137 | 37.943 | 13.673 | 3.8985 | 1.0658 | 0.31625 | 0.1127 | 0.05547 | 0.03538 | 0.02752 | 0.01616
|  | 1690 | 64.7023 | 37.0521 | 13.0912 | 3.6726 | 0.98955 | 0.29092 | 0.10182 | 0.04893 | 0.0313 | 0.01895 | 0.02336
|  | 1695 | 63.8761 | 35.8649 | 12.4196 | 3.4381 | 0.92263 | 0.27728 | 0.10148 | 0.04362 | 0.02893 | 0.02715 | 0.02136
|  | 1700 | 62.7473 | 34.536 | 11.7497 | 3.223 | 0.8599 | 0.25204 | 0.0912 | 0.03819 | 0.02246 | 0.01887 | 0.01977
|  | 1705 | 61.644 | 33.3247 | 11.1908 | 3.0579 | 0.81714 | 0.24058 | 0.0823 | 0.0407 | 0.02171 | 0.01945 | 0.00995
|  | 1710 | 60.6052 | 32.3241 | 10.7844 | 2.9567 | 0.79923 | 0.23654 | 0.08734 | 0.04276 | 0.0282 | 0.02229 | 0.01319
|  | 1715 | 59.4381 | 31.4607 | 10.4953 | 2.8952 | 0.78125 | 0.22983 | 0.08395 | 0.03349 | 0.02615 | 0.01927 | 0.01743
|  | 1720 | 58.0469 | 30.6685 | 10.2995 | 2.8733 | 0.78639 | 0.22462 | 0.08059 | 0.04353 | 0.01945 | 0.01528 | 0.01714
|  | 1725 | 56.7193 | 30.0836 | 10.2213 | 2.8862 | 0.79789 | 0.24231 | 0.09057 | 0.04109 | 0.02801 | 0.01821 | 0.01214
|  | 1730 | 55.6783 | 29.8154 | 10.2708 | 2.9318 | 0.80954 | 0.2391 | 0.08331 | 0.03765 | 0.01977 | 0.01318 | 0.00988
|  | 1735 | 55.0825 | 29.8717 | 10.4735 | 3.0314 | 0.84895 | 0.25435 | 0.09491 | 0.0465 | 0.03085 | 0.02325 | 0.01281
|  | 1740 | 54.8961 | 30.2077 | 10.7591 | 3.1457 | 0.88368 | 0.26458 | 0.09617 | 0.04736 | 0.02823 | 0.02249 | 0.02009
|  | 1745 | 55.1636 | 30.7977 | 11.1191 | 3.273 | 0.91587 | 0.2709 | 0.09834 | 0.04145 | 0.02314 | 0.01494 | 0.01928
|  | 1750 | 55.9693 | 31.6584 | 11.5378 | 3.4066 | 0.96411 | 0.29161 | 0.10723 | 0.05386 | 0.03688 | 0.02669 | 0.02135
|  | 1755 | 57.232 | 32.6747 | 11.9786 | 3.5409 | 0.99895 | 0.30422 | 0.11213 | 0.05509 | 0.03266 | 0.02535 | 0.01706
|  | 1760 | 58.6508 | 33.6638 | 12.3346 | 3.6293 | 1.0174 | 0.30636 | 0.11403 | 0.05677 | 0.02936 | 0.02007 | 0.0137
|  | 1765 | 60.0869 | 34.4909 | 12.5803 | 3.6736 | 1.0271 | 0.31109 | 0.11254 | 0.05504 | 0.0344 | 0.02605 | 0.02408
|  | 1770 | 61.3512 | 35.0452 | 12.6514 | 3.6475 | 1.0116 | 0.30462 | 0.10516 | 0.04591 | 0.02666 | 0.01777 | 0.02024
|  | 1775 | 62.3261 | 35.3127 | 12.58 | 3.5812 | 0.99175 | 0.29022 | 0.10558 | 0.05604 | 0.02752 | 0.01801 | 0.01801
|  | 1780 | 63.102 | 35.2635 | 12.3703 | 3.4881 | 0.95537 | 0.28754 | 0.10615 | 0.05359 | 0.03349 | 0.02886 | 0.02473
|  | 1785 | 63.2533 | 34.8388 | 12.0138 | 3.3421 | 0.90294 | 0.26535 | 0.09346 | 0.0419 | 0.02525 | 0.01934 | 0.02202
|  | 1790 | 63.1307 | 34.2359 | 11.6263 | 3.2082 | 0.87086 | 0.25951 | 0.09514 | 0.04785 | 0.02984 | 0.02195 | 0.01182
|  | 1795 | 62.5805 | 33.4532 | 11.2178 | 3.0797 | 0.83507 | 0.24888 | 0.09135 | 0.04451 | 0.02987 | 0.02167 | 0.01815
|  | 1800 | 61.6549 | 32.5579 | 10.8271 | 2.9719 | 0.80561 | 0.23841 | 0.08796 | 0.04428 | 0.0273 | 0.01941 | 0.01699

## Transmission by Temp
LCC1623(/M) Transmission by Temperature
|  |  | 25 °C | 40 °C | 60 °C
|  | Wavelength (nm) | Transmission (%) | Transmission (%) | Transmission (%)
|  | 900 | 59.9014 | 60.09 | 64.8097
|  | 905 | 61.0809 | 61.3439 | 65.8436
|  | 910 | 61.9916 | 62.6883 | 66.9338
|  | 915 | 62.6725 | 63.662 | 68.3422
Product Raw Data |  | 920 | 63.555 | 64.3048 | 69.7898
Liquid Crystal Optical Shutter / Variable Attenuator, 1050 - 1700 nm |  | 925 | 64.7455 | 65.1123 | 70.8142
|  | 930 | 65.8812 | 66.3635 | 71.4904
Item # | LCC1623(/M) | 935 | 66.5729 | 67.7069 | 72.295
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 940 | 66.8166 | 68.5657 | 73.588
|  | 945 | 67.2121 | 68.7302 | 75.137
|  | 950 | 68.3953 | 68.8644 | 76.1035
|  | 955 | 70.056 | 69.9403 | 76.1146
|  | 960 | 71.0799 | 71.9133 | 76.1013
|  | 965 | 70.7875 | 73.3681 | 77.2775
This data may be used in publications. However, please cite Thorlabs as the source. |  | 970 | 70.1019 | 73.1448 | 79.4517
|  | 975 | 70.7024 | 72.1071 | 80.8696
|  | 980 | 72.8339 | 72.252 | 80.3737
Additional Information: |  | 985 | 74.8105 | 74.3737 | 79.0993
Shutter Mode |  | 990 | 74.8011 | 76.8787 | 79.2783
|  | 995 | 73.1158 | 77.3598 | 81.5322
|  | 1000 | 72.0867 | 75.6322 | 83.9785
|  | 1005 | 73.4693 | 74.0592 | 84.2245
|  | 1010 | 76.4194 | 74.9413 | 82.2455
|  | 1015 | 78.2223 | 77.9465 | 80.6077
|  | 1020 | 77.1968 | 80.4203 | 81.5419
|  | 1025 | 74.6769 | 80.0122 | 84.5128
|  | 1030 | 73.5468 | 77.4052 | 86.8183
|  | 1035 | 75.3324 | 75.6059 | 86.2251
|  | 1040 | 78.7926 | 76.7441 | 83.5251
|  | 1045 | 80.8762 | 80.1629 | 81.662
|  | 1050 | 79.7246 | 82.9731 | 82.7049
|  | 1055 | 76.7014 | 82.62 | 85.931
|  | 1060 | 74.8932 | 79.7454 | 88.5566
|  | 1065 | 76.0977 | 77.2665 | 88.1264
|  | 1070 | 79.6461 | 77.6411 | 85.1959
|  | 1075 | 82.7146 | 80.7759 | 82.6323
|  | 1080 | 82.8114 | 84.3244 | 82.6714
|  | 1085 | 80.0469 | 85.4019 | 85.418
|  | 1090 | 76.9644 | 83.1801 | 88.7499
|  | 1095 | 76.2271 | 79.8302 | 89.8495
|  | 1100 | 78.5299 | 78.2151 | 87.8289
|  | 1105 | 82.3828 | 79.6321 | 84.4646
|  | 1110 | 85.0394 | 83.2863 | 82.4491
|  | 1115 | 84.4404 | 86.6189 | 83.2578
|  | 1120 | 81.2148 | 87.0675 | 86.4138
|  | 1125 | 78.0493 | 84.4073 | 89.5552
|  | 1130 | 77.1787 | 80.8469 | 90.2446
|  | 1135 | 79.2304 | 78.9885 | 87.8609
|  | 1140 | 82.9728 | 80.0206 | 84.2272
|  | 1145 | 86.0139 | 83.421 | 81.8843
|  | 1150 | 86.1609 | 87.022 | 82.1927
|  | 1155 | 83.3896 | 88.2781 | 84.8776
|  | 1160 | 79.7855 | 86.3138 | 88.1417
|  | 1165 | 77.648 | 82.6373 | 89.6571
|  | 1170 | 78.0876 | 79.6239 | 88.2315
|  | 1175 | 80.9119 | 78.9818 | 84.7315
|  | 1180 | 84.546 | 80.991 | 81.4416
|  | 1185 | 86.8055 | 84.5807 | 80.0674
|  | 1190 | 86.1885 | 87.6358 | 81.1766
|  | 1195 | 83.2506 | 88.3112 | 84.1863
|  | 1200 | 79.9504 | 86.2355 | 87.4534
|  | 1205 | 78.2591 | 82.9159 | 88.9948
|  | 1210 | 79.0527 | 80.4178 | 87.7977
|  | 1215 | 82.0362 | 80.0815 | 84.8344
|  | 1220 | 86.0191 | 82.1362 | 81.8843
|  | 1225 | 89.0423 | 85.7999 | 80.5012
|  | 1230 | 89.4739 | 89.3568 | 81.2635
|  | 1235 | 87.2045 | 90.864 | 83.7691
|  | 1240 | 83.6338 | 89.5464 | 86.8741
|  | 1245 | 80.7317 | 86.2661 | 88.9229
|  | 1250 | 79.8523 | 82.9455 | 88.721
|  | 1255 | 81.3025 | 81.1497 | 86.3927
|  | 1260 | 84.5732 | 81.5616 | 83.2106
|  | 1265 | 88.2692 | 83.9466 | 80.6858
|  | 1270 | 90.8438 | 87.5304 | 79.8253
|  | 1275 | 90.9724 | 90.7183 | 80.8596
|  | 1280 | 88.724 | 92.025 | 83.4416
|  | 1285 | 85.3768 | 90.8119 | 86.4137
|  | 1290 | 82.4752 | 87.8161 | 88.4048
|  | 1295 | 81.1821 | 84.549 | 88.3896
|  | 1300 | 81.8349 | 82.2939 | 86.353
|  | 1305 | 84.2368 | 81.8273 | 83.2609
|  | 1310 | 87.6124 | 83.2894 | 80.3738
|  | 1315 | 90.6572 | 86.1654 | 78.7394
|  | 1320 | 92.037 | 89.3626 | 78.7679
|  | 1325 | 91.1462 | 91.6229 | 80.3363
|  | 1330 | 88.352 | 91.8957 | 82.8788
|  | 1335 | 85.0465 | 90.0478 | 85.2711
|  | 1340 | 82.2847 | 86.8712 | 86.4424
|  | 1345 | 80.9569 | 83.6597 | 85.804
|  | 1350 | 81.2128 | 81.3455 | 83.4911
|  | 1355 | 82.9094 | 80.4738 | 80.3337
|  | 1360 | 85.5056 | 81.1905 | 77.2616
|  | 1365 | 87.8033 | 82.9299 | 74.9732
|  | 1370 | 87.9241 | 84.2322 | 73.3312
|  | 1375 | 84.658 | 83.2977 | 71.5246
|  | 1380 | 79.6219 | 80.806 | 70.2986
|  | 1385 | 75.6625 | 78.782 | 71.3016
|  | 1390 | 74.0201 | 77.7467 | 73.7408
|  | 1395 | 73.733 | 76.8005 | 75.843
|  | 1400 | 74.445 | 75.8757 | 76.4474
|  | 1405 | 76.237 | 75.5175 | 75.5799
|  | 1410 | 79.0149 | 76.1645 | 73.9255
|  | 1415 | 82.3462 | 77.9142 | 72.4011
|  | 1420 | 85.624 | 80.5913 | 71.5829
|  | 1425 | 88.0449 | 83.6865 | 71.7553
|  | 1430 | 88.9914 | 86.5495 | 72.9885
|  | 1435 | 88.3327 | 88.3444 | 75.0274
|  | 1440 | 86.4703 | 88.6675 | 77.5116
|  | 1445 | 84.0777 | 87.4588 | 79.7181
|  | 1450 | 81.922 | 85.2777 | 81.0271
|  | 1455 | 80.5654 | 82.8134 | 81.0124
|  | 1460 | 80.2908 | 80.7842 | 79.7082
|  | 1465 | 81.0746 | 79.5297 | 77.5291
|  | 1470 | 82.7519 | 79.263 | 74.8509
|  | 1475 | 84.9472 | 80.0188 | 72.5243
|  | 1480 | 87.2392 | 81.7846 | 71.0917
|  | 1485 | 89.044 | 84.0763 | 70.7441
|  | 1490 | 89.8413 | 86.3775 | 71.5057
|  | 1495 | 89.2893 | 87.936 | 73.0172
|  | 1500 | 87.6225 | 88.398 | 74.9893
|  | 1505 | 85.4455 | 87.6096 | 76.9802
|  | 1510 | 83.1694 | 85.9181 | 78.5102
|  | 1515 | 81.3993 | 83.7495 | 79.1416
|  | 1520 | 80.4449 | 81.6496 | 78.6673
|  | 1525 | 80.4341 | 80.0784 | 77.2823
|  | 1530 | 81.304 | 79.1776 | 75.202
|  | 1535 | 82.9153 | 79.2097 | 73.0491
|  | 1540 | 85.0429 | 80.1408 | 71.2147
|  | 1545 | 87.1914 | 81.6973 | 69.9771
|  | 1550 | 88.944 | 83.7104 | 69.5302
|  | 1555 | 89.8153 | 85.653 | 69.8608
|  | 1560 | 89.6742 | 87.1309 | 70.9082
|  | 1565 | 88.5626 | 87.8383 | 72.4694
|  | 1570 | 86.6666 | 87.5015 | 74.1648
|  | 1575 | 84.4716 | 86.2985 | 75.5918
|  | 1580 | 82.4025 | 84.382 | 76.4682
|  | 1585 | 80.778 | 82.2423 | 76.5346
|  | 1590 | 79.813 | 80.2419 | 75.7497
|  | 1595 | 79.5944 | 78.6916 | 74.2184
|  | 1600 | 80.127 | 77.767 | 72.304
|  | 1605 | 81.2791 | 77.5764 | 70.288
|  | 1610 | 82.8922 | 78.1039 | 68.4734
|  | 1615 | 84.5511 | 79.1512 | 67.0872
|  | 1620 | 85.8192 | 80.3704 | 66.1615
|  | 1625 | 86.3698 | 81.4953 | 65.7114
|  | 1630 | 86.2358 | 82.4902 | 65.9102
|  | 1635 | 85.8857 | 83.5478 | 67.0304
|  | 1640 | 85.193 | 84.2697 | 68.6914
|  | 1645 | 83.7408 | 84.0062 | 70.2308
|  | 1650 | 81.7554 | 82.7516 | 71.3096
|  | 1655 | 79.6814 | 80.8533 | 71.7476
|  | 1660 | 77.7943 | 78.5653 | 71.432
|  | 1665 | 76.1216 | 76.1448 | 70.2313
|  | 1670 | 74.6484 | 73.627 | 68.1232
|  | 1675 | 73.5871 | 71.4869 | 65.5613
|  | 1680 | 73.0033 | 69.8785 | 62.8425
|  | 1685 | 72.8379 | 68.8071 | 60.2843
|  | 1690 | 72.8106 | 68.1483 | 57.9542
|  | 1695 | 72.9272 | 67.9592 | 56.1289
|  | 1700 | 73.0943 | 68.1985 | 54.9664
|  | 1705 | 73.4285 | 68.9703 | 54.6232
|  | 1710 | 73.868 | 70.1497 | 55.1051
|  | 1715 | 73.8918 | 71.122 | 56.0006
|  | 1720 | 73.1495 | 71.3963 | 56.9359
|  | 1725 | 71.933 | 71.1077 | 57.8593
|  | 1730 | 70.6064 | 70.4082 | 58.7664
|  | 1735 | 69.3562 | 69.4896 | 59.579
|  | 1740 | 68.2604 | 68.38 | 60.0712
|  | 1745 | 67.5328 | 67.3051 | 60.2439
|  | 1750 | 67.3444 | 66.5453 | 60.1696
|  | 1755 | 67.7251 | 66.1974 | 59.8702
|  | 1760 | 68.5017 | 66.1463 | 59.328
|  | 1765 | 69.5388 | 66.3616 | 58.5478
|  | 1770 | 70.7109 | 66.795 | 57.6004
|  | 1775 | 71.9788 | 67.4494 | 56.7027
|  | 1780 | 73.3229 | 68.4093 | 56.0969
|  | 1785 | 74.5251 | 69.4762 | 55.6451
|  | 1790 | 75.5287 | 70.6589 | 55.4948
|  | 1795 | 76.1679 | 71.7003 | 55.6734
|  | 1800 | 76.3996 | 72.7079 | 56.2811

## Contrast Ratio by Temp
LCC1623(/M) Contrast Ratio by Temperature
|  |  | 25 °C | 40 °C | 60 °C
|  | Wavelength (nm) | Contrast Ratio | Contrast Ratio | Contrast Ratio
|  | 900 | 2111.509 | 1959.3079 | 2248.073
|  | 905 | 2154.68 | 2016.7646 | 2273.5282
|  | 910 | 2326.0801 | 2200.4402 | 2432.3331
|  | 915 | 2476.7325 | 2352.1249 | 2609.9991
Product Raw Data |  | 920 | 2610.2964 | 2432.9483 | 2765.5075
Liquid Crystal Optical Shutter / Variable Attenuator, 1050 - 1700 nm |  | 925 | 2715.3965 | 2512.8228 | 2845.0105
|  | 930 | 2828.5441 | 2645.4233 | 2931.5628
Item # | LCC1623(/M) | 935 | 2954.021 | 2771.0269 | 3054.594
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 940 | 3041.1292 | 2881.5148 | 3162.5951
|  | 945 | 3091.6061 | 2916.3024 | 3253.5989
|  | 950 | 3195.7558 | 2935.5669 | 3350.0811
|  | 955 | 3415.702 | 3085.2111 | 3473.8356
|  | 960 | 3660.8915 | 3317.187 | 3633.1183
|  | 965 | 3764.3655 | 3456.0765 | 3812.9191
This data may be used in publications. However, please cite Thorlabs as the source. |  | 970 | 3763.5292 | 3466.7887 | 3945.8759
|  | 975 | 3804.4393 | 3455.7844 | 4015.4428
|  | 980 | 3975.7892 | 3510.832 | 4060.339
Additional Information: |  | 985 | 4126.6875 | 3598.5248 | 4036.6345
Shutter Mode |  | 990 | 4097.75 | 3724.0388 | 4024.6511
|  | 995 | 3947.939 | 3709.1219 | 4102.57
|  | 1000 | 3882.8763 | 3640.0638 | 4223.4412
|  | 1005 | 3939.3359 | 3626.4082 | 4251.7918
|  | 1010 | 4124.2724 | 3721.0356 | 4198.1878
|  | 1015 | 4252.4731 | 3875.4306 | 4130.7834
|  | 1020 | 4203.225 | 4009.6618 | 4210.2721
|  | 1025 | 4148.8187 | 4064.3866 | 4460.3583
|  | 1030 | 4256.3148 | 4102.9508 | 4785.1755
|  | 1035 | 4528.2986 | 4150.5611 | 4908.6103
|  | 1040 | 4882.7045 | 4388.9321 | 4896.5115
|  | 1045 | 5208.8374 | 4762.0952 | 4986.8253
|  | 1050 | 5481.5455 | 5203.0517 | 5392.1271
|  | 1055 | 5799.6074 | 5570.1806 | 6120.0852
|  | 1060 | 6272.5557 | 5800.3563 | 6843.8247
|  | 1065 | 6919.6341 | 6023.8285 | 7260.0451
|  | 1070 | 7936.036 | 6669.4684 | 7714.7301
|  | 1075 | 9035.1833 | 7770.5156 | 8071.1408
|  | 1080 | 10264.8673 | 8960.1101 | 9035.3071
|  | 1085 | 10730.2792 | 9490.7333 | 10089.2042
|  | 1090 | 11161.176 | 9848.6712 | 11236.2342
|  | 1095 | 12745.0605 | 10393.2086 | 12623.5038
|  | 1100 | 15456.9748 | 11382.456 | 13341.4125
|  | 1105 | 17741.0072 | 12497.1863 | 13439.6532
|  | 1110 | 18744.2912 | 13736.8159 | 13834.7977
|  | 1115 | 18714.2584 | 14264.0166 | 14176.1402
|  | 1120 | 20055.7411 | 15372.8262 | 16098.7712
|  | 1125 | 20745.7408 | 15578.7908 | 17324.8356
|  | 1130 | 21545.7237 | 14896.9178 | 17673.9202
|  | 1135 | 21519.8963 | 14977.4714 | 16481.4176
|  | 1140 | 23657.9699 | 16481.488 | 16031.3333
|  | 1145 | 26640.1801 | 18983.6404 | 16008.3808
|  | 1150 | 26310.1385 | 19471.1664 | 15929.3836
|  | 1155 | 24027.8066 | 18852.5869 | 16940.405
|  | 1160 | 24858.8054 | 19106.341 | 18935.2226
|  | 1165 | 24300.9019 | 18195.5008 | 18140.5236
|  | 1170 | 26749.8223 | 18905.2885 | 17664.9375
|  | 1175 | 26980.4317 | 18788.9254 | 16176.5876
|  | 1180 | 26167.1427 | 18793.4071 | 15090.1618
|  | 1185 | 28326.5729 | 19800.1208 | 14737.7358
|  | 1190 | 27709.2916 | 20036.8787 | 15072.7908
|  | 1195 | 27346.6438 | 20006.243 | 15338.7986
|  | 1200 | 25357.6731 | 19390.6565 | 16890.607
|  | 1205 | 26683.9361 | 20041.6401 | 18570.4802
|  | 1210 | 26927.8038 | 19707.1743 | 18072.4646
|  | 1215 | 27919.8684 | 20768.9985 | 17670.8277
|  | 1220 | 29094.4575 | 21679.1081 | 18349.237
|  | 1225 | 27690.4006 | 21396.4753 | 19316.6445
|  | 1230 | 25460.1415 | 20728.0537 | 19194.3068
|  | 1235 | 24173.4211 | 20962.7545 | 20002.6142
|  | 1240 | 22320.2039 | 20808.4774 | 22560.4284
|  | 1245 | 20628.7789 | 19421.3391 | 22862.5603
|  | 1250 | 19818.9338 | 17684.578 | 22796.265
|  | 1255 | 20855.559 | 17139.2582 | 21518.9402
|  | 1260 | 21110.6852 | 16436.9373 | 20350.7702
|  | 1265 | 22902.739 | 16978.562 | 19219.6407
|  | 1270 | 22043.1381 | 16605.7386 | 17934.9732
|  | 1275 | 22239.1919 | 17594.7021 | 17736.9748
|  | 1280 | 21311.5809 | 17791.9912 | 17272.7701
|  | 1285 | 23014.8623 | 19030.5195 | 20015.3828
|  | 1290 | 22827.3551 | 17498.3197 | 21065.1866
|  | 1295 | 22845.3858 | 16891.0639 | 21083.4736
|  | 1300 | 26642.9139 | 17020.1383 | 20819.8008
|  | 1305 | 30677.193 | 17738.7658 | 21364.3948
|  | 1310 | 33375.0102 | 16997.8337 | 21228.7103
|  | 1315 | 31925.6374 | 17382.5663 | 18618.1187
|  | 1320 | 30953.8308 | 18644.7486 | 19756.1831
|  | 1325 | 33281.5923 | 19038.3453 | 20867.0525
|  | 1330 | 33812.4635 | 19074.1324 | 23559.7259
|  | 1335 | 37218.0134 | 19627.9686 | 25952.6851
|  | 1340 | 31347.6296 | 17728.4776 | 23843.2023
|  | 1345 | 31030.9437 | 18044.2425 | 25277.0246
|  | 1350 | 34489.2778 | 18729.0765 | 25301.738
|  | 1355 | 30593.8635 | 18709.2954 | 24622.3348
|  | 1360 | 26464.8684 | 19708.6006 | 22477.0007
|  | 1365 | 26523.0363 | 20571.6489 | 19448.7684
|  | 1370 | 27040.7067 | 23503.4803 | 22220.98
|  | 1375 | 25673.0372 | 24033.444 | 24147.3933
|  | 1380 | 22745.5604 | 23115.0546 | 22816.1444
|  | 1385 | 20828.0285 | 22817.9315 | 20665.4933
|  | 1390 | 21038.7539 | 21204.876 | 21355.01
|  | 1395 | 21149.5106 | 21332.9241 | 24416.7961
|  | 1400 | 20686.4873 | 20381.7552 | 21454.2688
|  | 1405 | 21140.1149 | 18030.3129 | 19794.7444
|  | 1410 | 21931.9688 | 19067.9858 | 21823.3113
|  | 1415 | 24297.4453 | 19960.3208 | 20309.3799
|  | 1420 | 26008.2774 | 20995.2793 | 20054.8197
|  | 1425 | 25658.8582 | 19422.1451 | 18628.9372
|  | 1430 | 27201.6325 | 20401.2351 | 18407.3426
|  | 1435 | 30564.9474 | 21288.7349 | 18710.4883
|  | 1440 | 34163.2672 | 20288.7869 | 19972.9937
|  | 1445 | 27370.6642 | 22241.8133 | 18659.8067
|  | 1450 | 26869.2974 | 22235.6352 | 17864.5399
|  | 1455 | 26359.8961 | 24410.396 | 19654.9557
|  | 1460 | 22591.1025 | 23276.491 | 20770.1156
|  | 1465 | 22929.5235 | 23155.1939 | 18749.4791
|  | 1470 | 22479.1449 | 22093.9467 | 18408.1582
|  | 1475 | 21043.1065 | 21420.3906 | 18844.1542
|  | 1480 | 23863.1083 | 24565.3098 | 18770.3187
|  | 1485 | 23655.0355 | 21369.232 | 16546.9146
|  | 1490 | 23479.0041 | 21617.4651 | 16924.7855
|  | 1495 | 21152.6887 | 23024.2837 | 16486.8344
|  | 1500 | 23584.4088 | 20070.5558 | 19695.3902
|  | 1505 | 23214.3032 | 18970.2051 | 21642.441
|  | 1510 | 22045.9745 | 17102.4613 | 19803.9774
|  | 1515 | 23648.8515 | 18553.6492 | 19617.7631
|  | 1520 | 26743.6523 | 18403.4891 | 19525.2576
|  | 1525 | 26174.4657 | 16805.8667 | 18724.7796
|  | 1530 | 29199.2592 | 17649.5868 | 17707.0982
|  | 1535 | 26177.2719 | 16261.4777 | 16629.5507
|  | 1540 | 29601.6673 | 18998.0682 | 18442.4673
|  | 1545 | 29956.1158 | 18007.2533 | 19074.4203
|  | 1550 | 30611.8109 | 17746.5262 | 19116.0169
|  | 1555 | 30871.1307 | 19912.5775 | 18380.4746
|  | 1560 | 28106.2252 | 20685.8995 | 17865.1086
|  | 1565 | 30919.7655 | 23003.0743 | 18256.7711
|  | 1570 | 26742.931 | 20887.489 | 16458.7862
|  | 1575 | 23429.44 | 20881.2653 | 17320.9628
|  | 1580 | 23721.6349 | 22000.0073 | 19096.2305
|  | 1585 | 20824.9255 | 20304.454 | 18511.4131
|  | 1590 | 20437.7155 | 21432.6398 | 18060.6567
|  | 1595 | 19522.354 | 17404.7506 | 16005.6903
|  | 1600 | 19780.8827 | 20519.4877 | 16002.2614
|  | 1605 | 22165.5631 | 22981.2704 | 17269.0094
|  | 1610 | 19043.7484 | 21136.1552 | 15484.4008
|  | 1615 | 20561.5729 | 24647.2116 | 14780.4639
|  | 1620 | 21535.5649 | 23713.7948 | 15795.4805
|  | 1625 | 22852.9915 | 22888.4195 | 15784.2887
|  | 1630 | 25223.874 | 22460.7603 | 13902.1814
|  | 1635 | 25157.5694 | 22417.4432 | 13384.1696
|  | 1640 | 28529.9385 | 22161.3903 | 14295.0122
|  | 1645 | 31890.2156 | 20111.6184 | 14604.0372
|  | 1650 | 28184.4301 | 22143.8729 | 14473.4867
|  | 1655 | 27384.5077 | 21184.4471 | 14410.5794
|  | 1660 | 23677.0769 | 18724.2639 | 14231.2913
|  | 1665 | 27193.3364 | 19085.6504 | 14943.1246
|  | 1670 | 23137.0178 | 18242.5654 | 13802.3092
|  | 1675 | 22476.8346 | 16462.6798 | 12354.5852
|  | 1680 | 25213.855 | 18761.6244 | 11816.7444
|  | 1685 | 20600.0182 | 18735.5358 | 12187.1426
|  | 1690 | 20274.8406 | 17059.5613 | 13010.6609
|  | 1695 | 17845.6777 | 16571.73 | 13671.1913
|  | 1700 | 16978.2191 | 17926.387 | 14294.8803
|  | 1705 | 17984.3615 | 18079.5752 | 15525.9639
|  | 1710 | 15797.5702 | 16337.7284 | 13773.7814
|  | 1715 | 16063.7438 | 15901.253 | 13966.5049
|  | 1720 | 16089.3437 | 15971.3439 | 13275.4278
|  | 1725 | 19004.2963 | 15861.9625 | 13821.4962
|  | 1730 | 16543.2137 | 15498.4761 | 15761.5994
|  | 1735 | 13975.9345 | 14712.1824 | 17044.7
|  | 1740 | 13818.6477 | 13106.9276 | 18337.2717
|  | 1745 | 14302.5558 | 13662.2206 | 17890.5273
|  | 1750 | 15708.3219 | 14790.8303 | 14432.3157
|  | 1755 | 14928.4866 | 12989.151 | 13303.673
|  | 1760 | 15955.921 | 13357.2463 | 14073.0071
|  | 1765 | 16495.7991 | 12822.8257 | 14622.3217
|  | 1770 | 17411.0218 | 13734.0564 | 13896.0598
|  | 1775 | 17454.7903 | 14607.7791 | 14837.6341
|  | 1780 | 15477.5644 | 13055.8954 | 13972.7848
|  | 1785 | 17594.3981 | 14797.0523 | 13491.2132
|  | 1790 | 19829.4846 | 14737.3474 | 13846.3243
|  | 1795 | 21914.794 | 15697.1454 | 13373.3745
|  | 1800 | 22616.8304 | 15072.6881 | 13409.832

## Transmission by AOI
LCC1623(/M) Transmission by AOI
|  |  | 0° AOI | 3° AOI | 5° AOI | -3° AOI | -5° AOI
|  | Wavelength (nm) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%) | Transmission (%)
|  | 900 | 59.9014 | 59.5297 | 59.5748 | 59.8117 | 59.9956
|  | 905 | 61.0809 | 60.7815 | 60.8152 | 61.0489 | 61.2211
|  | 910 | 61.9916 | 61.7001 | 61.6934 | 62.0416 | 62.1841
|  | 915 | 62.6725 | 62.3425 | 62.3055 | 62.7479 | 62.9139
Product Raw Data |  | 920 | 63.555 | 63.1925 | 63.1819 | 63.6049 | 63.7997
Liquid Crystal Optical Shutter / Variable Attenuator, 1050 - 1700 nm |  | 925 | 64.7455 | 64.4218 | 64.463 | 64.778 | 65.003
|  | 930 | 65.8812 | 65.6284 | 65.6595 | 65.9893 | 66.1702
Item # | LCC1623(/M) | 935 | 66.5729 | 66.3257 | 66.2945 | 66.7989 | 66.9329
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 940 | 66.8166 | 66.5063 | 66.4274 | 67.1029 | 67.2498
|  | 945 | 67.2121 | 66.8419 | 66.8148 | 67.4094 | 67.6337
|  | 950 | 68.3953 | 68.061 | 68.1503 | 68.4416 | 68.7193
|  | 955 | 70.056 | 69.8542 | 69.9681 | 70.1367 | 70.3678
|  | 960 | 71.0799 | 70.9144 | 70.875 | 71.4051 | 71.5516
|  | 965 | 70.7875 | 70.5378 | 70.3502 | 71.3384 | 71.4343
This data may be used in publications. However, please cite Thorlabs as the source. |  | 970 | 70.1019 | 69.7352 | 69.598 | 70.5702 | 70.7304
|  | 975 | 70.7024 | 70.325 | 70.4161 | 70.8097 | 71.1024
|  | 980 | 72.8339 | 72.5731 | 72.8142 | 72.7563 | 73.1039
Additional Information: |  | 985 | 74.8105 | 74.6824 | 74.7594 | 75.0236 | 75.2569
Shutter Mode |  | 990 | 74.8011 | 74.6523 | 74.4294 | 75.4929 | 75.5579
|  | 995 | 73.1158 | 72.8279 | 72.5215 | 73.9426 | 73.9801
|  | 1000 | 72.0867 | 71.7106 | 71.6502 | 72.5141 | 72.7202
|  | 1005 | 73.4693 | 73.1404 | 73.406 | 73.3906 | 73.7839
|  | 1010 | 76.4194 | 76.2589 | 76.5668 | 76.3013 | 76.7053
|  | 1015 | 78.2223 | 78.1478 | 78.1488 | 78.6139 | 78.8319
|  | 1020 | 77.1968 | 77.0651 | 76.741 | 78.1607 | 78.1729
|  | 1025 | 74.6769 | 74.4007 | 74.075 | 75.6429 | 75.6416
|  | 1030 | 73.5468 | 73.1975 | 73.2155 | 73.9346 | 74.1587
|  | 1035 | 75.3324 | 75.0511 | 75.4168 | 75.1455 | 75.6087
|  | 1040 | 78.7926 | 78.6445 | 79.0305 | 78.5637 | 79.0376
|  | 1045 | 80.8762 | 80.8193 | 80.8566 | 81.2416 | 81.4851
|  | 1050 | 79.7246 | 79.6266 | 79.2823 | 80.7592 | 80.7491
|  | 1055 | 76.7014 | 76.4696 | 76.0996 | 77.7984 | 77.747
|  | 1060 | 74.8932 | 74.5742 | 74.5327 | 75.4274 | 75.5871
|  | 1065 | 76.0977 | 75.8137 | 76.1687 | 75.9773 | 76.3965
|  | 1070 | 79.6461 | 79.4278 | 79.9291 | 79.2305 | 79.7703
|  | 1075 | 82.7146 | 82.6757 | 82.903 | 82.8036 | 83.1616
|  | 1080 | 82.8114 | 82.7858 | 82.5559 | 83.6362 | 83.6921
|  | 1085 | 80.0469 | 79.9039 | 79.4609 | 81.2533 | 81.1421
|  | 1090 | 76.9644 | 76.6949 | 76.4368 | 77.875 | 77.8497
|  | 1095 | 76.2271 | 75.9086 | 76.0672 | 76.4294 | 76.6844
|  | 1100 | 78.5299 | 78.2752 | 78.7708 | 78.1383 | 78.6482
|  | 1105 | 82.3828 | 82.2788 | 82.7894 | 81.958 | 82.5087
|  | 1110 | 85.0394 | 85.0498 | 85.2036 | 85.1927 | 85.5019
|  | 1115 | 84.4404 | 84.4139 | 84.1594 | 85.3562 | 85.3415
|  | 1120 | 81.2148 | 81.1245 | 80.6952 | 82.4644 | 82.3072
|  | 1125 | 78.0493 | 77.8138 | 77.5836 | 78.901 | 78.8713
|  | 1130 | 77.1787 | 76.8893 | 77.0628 | 77.3176 | 77.5596
|  | 1135 | 79.2304 | 78.9809 | 79.5131 | 78.7618 | 79.2514
|  | 1140 | 82.9728 | 82.8649 | 83.5052 | 82.4196 | 82.9788
|  | 1145 | 86.0139 | 86.0529 | 86.3611 | 85.943 | 86.311
|  | 1150 | 86.1609 | 86.2 | 86.0566 | 86.8398 | 86.8914
|  | 1155 | 83.3896 | 83.3386 | 82.9531 | 84.5457 | 84.3824
|  | 1160 | 79.7855 | 79.5983 | 79.286 | 80.7578 | 80.6183
|  | 1165 | 77.648 | 77.3658 | 77.3751 | 78.019 | 78.09
|  | 1170 | 78.0876 | 77.8099 | 78.2431 | 77.83 | 78.1649
|  | 1175 | 80.9119 | 80.7468 | 81.3887 | 80.2463 | 80.7628
|  | 1180 | 84.546 | 84.504 | 85.0898 | 83.96 | 84.4618
|  | 1185 | 86.8055 | 86.8777 | 87.1086 | 86.8152 | 87.0772
|  | 1190 | 86.1885 | 86.2469 | 86.06 | 86.9101 | 86.8733
|  | 1195 | 83.2506 | 83.1962 | 82.8299 | 84.2944 | 84.0878
|  | 1200 | 79.9504 | 79.7845 | 79.5363 | 80.7918 | 80.6259
|  | 1205 | 78.2591 | 77.9985 | 78.1012 | 78.5183 | 78.5682
|  | 1210 | 79.0527 | 78.8 | 79.257 | 78.6799 | 78.9987
|  | 1215 | 82.0362 | 81.8479 | 82.5521 | 81.2492 | 81.7583
|  | 1220 | 86.0191 | 85.9579 | 86.659 | 85.2517 | 85.793
|  | 1225 | 89.0423 | 89.0936 | 89.4955 | 88.7817 | 89.1326
|  | 1230 | 89.4739 | 89.5484 | 89.5348 | 89.9285 | 89.9802
|  | 1235 | 87.2045 | 87.1932 | 86.8474 | 88.106 | 87.9138
|  | 1240 | 83.6338 | 83.5096 | 83.1647 | 84.5662 | 84.3367
|  | 1245 | 80.7317 | 80.5058 | 80.4056 | 81.2816 | 81.1826
|  | 1250 | 79.8523 | 79.5923 | 79.8308 | 79.7738 | 79.9218
|  | 1255 | 81.3025 | 81.0383 | 81.6423 | 80.7153 | 81.0858
|  | 1260 | 84.5732 | 84.4069 | 85.1133 | 83.6298 | 84.142
|  | 1265 | 88.2692 | 88.2249 | 88.9014 | 87.4634 | 87.9557
|  | 1270 | 90.8438 | 90.9094 | 91.2669 | 90.5547 | 90.85
|  | 1275 | 90.9724 | 91.0513 | 91.022 | 91.3633 | 91.3791
|  | 1280 | 88.724 | 88.7387 | 88.4347 | 89.5591 | 89.3563
|  | 1285 | 85.3768 | 85.2612 | 84.9271 | 86.2264 | 85.9758
|  | 1290 | 82.4752 | 82.2513 | 82.1002 | 82.9656 | 82.8144
|  | 1295 | 81.1821 | 80.8959 | 81.0375 | 81.1376 | 81.1886
|  | 1300 | 81.8349 | 81.5354 | 81.9621 | 81.2461 | 81.528
|  | 1305 | 84.2368 | 83.9911 | 84.6174 | 83.2906 | 83.7202
|  | 1310 | 87.6124 | 87.4675 | 88.1325 | 86.603 | 87.102
|  | 1315 | 90.6572 | 90.6156 | 91.105 | 89.9414 | 90.3357
|  | 1320 | 92.037 | 92.0762 | 92.2224 | 91.8771 | 92.036
|  | 1325 | 91.1462 | 91.1674 | 90.9821 | 91.5507 | 91.4523
|  | 1330 | 88.352 | 88.3178 | 87.952 | 89.0856 | 88.8205
|  | 1335 | 85.0465 | 84.883 | 84.5413 | 85.6949 | 85.4307
|  | 1340 | 82.2847 | 82.0323 | 81.8404 | 82.5981 | 82.4444
|  | 1345 | 80.9569 | 80.6279 | 80.6537 | 80.7953 | 80.8132
|  | 1350 | 81.2128 | 80.8605 | 81.1367 | 80.5759 | 80.7942
|  | 1355 | 82.9094 | 82.6043 | 83.0639 | 81.922 | 82.2993
|  | 1360 | 85.5056 | 85.2889 | 85.8426 | 84.3825 | 84.8267
|  | 1365 | 87.8033 | 87.6878 | 88.1494 | 86.8553 | 87.2196
|  | 1370 | 87.9241 | 87.9108 | 88.0938 | 87.4179 | 87.6133
|  | 1375 | 84.658 | 84.6633 | 84.5381 | 84.6817 | 84.6611
|  | 1380 | 79.6219 | 79.5507 | 79.2061 | 79.9754 | 79.7953
|  | 1385 | 75.6625 | 75.5612 | 75.1402 | 76.1137 | 75.8337
|  | 1390 | 74.0201 | 73.8282 | 73.4744 | 74.3455 | 74.1006
|  | 1395 | 73.733 | 73.4648 | 73.2815 | 73.7633 | 73.6213
|  | 1400 | 74.445 | 74.1662 | 74.1883 | 74.0865 | 74.1153
|  | 1405 | 76.237 | 75.9275 | 76.1793 | 75.4691 | 75.6658
|  | 1410 | 79.0149 | 78.7553 | 79.1818 | 77.9545 | 78.2744
|  | 1415 | 82.3462 | 82.1495 | 82.6574 | 81.1824 | 81.5579
|  | 1420 | 85.624 | 85.5147 | 85.9434 | 84.5758 | 84.906
|  | 1425 | 88.0449 | 88.0073 | 88.2332 | 87.3281 | 87.5142
|  | 1430 | 88.9914 | 88.9853 | 88.9416 | 88.739 | 88.7342
|  | 1435 | 88.3327 | 88.3118 | 88.0398 | 88.4815 | 88.2943
|  | 1440 | 86.4703 | 86.3709 | 85.9625 | 86.8249 | 86.5434
|  | 1445 | 84.0777 | 83.8991 | 83.4826 | 84.409 | 84.0983
|  | 1450 | 81.922 | 81.6767 | 81.353 | 82.0397 | 81.8069
|  | 1455 | 80.5654 | 80.2283 | 80.0904 | 80.3353 | 80.2267
|  | 1460 | 80.2908 | 79.9175 | 79.9941 | 79.6961 | 79.7377
|  | 1465 | 81.0746 | 80.7015 | 80.9646 | 80.133 | 80.3191
|  | 1470 | 82.7519 | 82.4185 | 82.7795 | 81.5328 | 81.8102
|  | 1475 | 84.9472 | 84.6718 | 85.1251 | 83.6488 | 83.9766
|  | 1480 | 87.2392 | 87.0934 | 87.4698 | 86.0513 | 86.3435
|  | 1485 | 89.044 | 88.9655 | 89.198 | 88.1295 | 88.3025
|  | 1490 | 89.8413 | 89.7796 | 89.7716 | 89.3079 | 89.3151
|  | 1495 | 89.2893 | 89.2309 | 88.995 | 89.1451 | 88.9873
|  | 1500 | 87.6225 | 87.5593 | 87.1321 | 87.7509 | 87.4995
|  | 1505 | 85.4455 | 85.2267 | 84.8163 | 85.6401 | 85.2869
|  | 1510 | 83.1694 | 82.9292 | 82.5189 | 83.2975 | 82.9775
|  | 1515 | 81.3993 | 81.0993 | 80.802 | 81.3063 | 81.0946
|  | 1520 | 80.4449 | 80.0807 | 79.9413 | 80.0503 | 79.9488
|  | 1525 | 80.4341 | 80.0434 | 80.0767 | 79.7207 | 79.753
|  | 1530 | 81.304 | 80.8953 | 81.0929 | 80.2819 | 80.4378
|  | 1535 | 82.9153 | 82.5706 | 82.8816 | 81.7237 | 81.9492
|  | 1540 | 85.0429 | 84.7761 | 85.1265 | 83.7716 | 84.0426
|  | 1545 | 87.1914 | 86.9709 | 87.287 | 85.9538 | 86.2143
|  | 1550 | 88.944 | 88.8019 | 88.9953 | 87.9147 | 88.0827
|  | 1555 | 89.8153 | 89.7126 | 89.7496 | 89.0956 | 89.1467
|  | 1560 | 89.6742 | 89.6081 | 89.4337 | 89.3136 | 89.2138
|  | 1565 | 88.5626 | 88.4455 | 88.0959 | 88.4563 | 88.2091
|  | 1570 | 86.6666 | 86.4698 | 86.0565 | 86.7124 | 86.3947
|  | 1575 | 84.4716 | 84.2558 | 83.8096 | 84.5569 | 84.2351
|  | 1580 | 82.4025 | 82.1003 | 81.7019 | 82.3613 | 82.077
|  | 1585 | 80.778 | 80.4187 | 80.1195 | 80.5227 | 80.3088
|  | 1590 | 79.813 | 79.4044 | 79.2424 | 79.2984 | 79.1717
|  | 1595 | 79.5944 | 79.1837 | 79.1604 | 78.8219 | 78.8122
|  | 1600 | 80.127 | 79.7023 | 79.8135 | 79.1166 | 79.179
|  | 1605 | 81.2791 | 80.8975 | 81.1106 | 80.0738 | 80.2491
|  | 1610 | 82.8922 | 82.5512 | 82.8063 | 81.5774 | 81.7902
|  | 1615 | 84.5511 | 84.2998 | 84.5526 | 83.2805 | 83.4756
|  | 1620 | 85.8192 | 85.6258 | 85.8242 | 84.6671 | 84.815
|  | 1625 | 86.3698 | 86.2204 | 86.2901 | 85.4217 | 85.4841
|  | 1630 | 86.2358 | 86.1353 | 86.0359 | 85.5628 | 85.5048
|  | 1635 | 85.8857 | 85.7631 | 85.5359 | 85.4512 | 85.2896
|  | 1640 | 85.193 | 85.0354 | 84.6648 | 84.9586 | 84.7046
|  | 1645 | 83.7408 | 83.537 | 83.0959 | 83.622 | 83.3172
|  | 1650 | 81.7554 | 81.5112 | 81.0277 | 81.6543 | 81.3308
|  | 1655 | 79.6814 | 79.3659 | 78.9556 | 79.5186 | 79.2221
|  | 1660 | 77.7943 | 77.4331 | 77.072 | 77.445 | 77.1995
|  | 1665 | 76.1216 | 75.736 | 75.4783 | 75.5742 | 75.4007
|  | 1670 | 74.6484 | 74.2577 | 74.123 | 73.8826 | 73.7895
|  | 1675 | 73.5871 | 73.2075 | 73.1572 | 72.6154 | 72.5842
|  | 1680 | 73.0033 | 72.6576 | 72.7056 | 71.8707 | 71.8971
|  | 1685 | 72.8379 | 72.5297 | 72.6372 | 71.5692 | 71.6396
|  | 1690 | 72.8106 | 72.5517 | 72.684 | 71.4825 | 71.5597
|  | 1695 | 72.9272 | 72.7084 | 72.8318 | 71.5916 | 71.6647
|  | 1700 | 73.0943 | 72.9136 | 72.9963 | 71.8426 | 71.8633
|  | 1705 | 73.4285 | 73.2832 | 73.2991 | 72.3257 | 72.2836
|  | 1710 | 73.868 | 73.7574 | 73.6381 | 72.934 | 72.8088
|  | 1715 | 73.8918 | 73.7692 | 73.5345 | 73.1254 | 72.9114
|  | 1720 | 73.1495 | 73.0146 | 72.7087 | 72.5804 | 72.3
|  | 1725 | 71.933 | 71.7526 | 71.4124 | 71.4919 | 71.1694
|  | 1730 | 70.6064 | 70.4006 | 69.9839 | 70.1854 | 69.828
|  | 1735 | 69.3562 | 69.1192 | 68.6952 | 68.9407 | 68.5822
|  | 1740 | 68.2604 | 67.9879 | 67.5782 | 67.7625 | 67.4494
|  | 1745 | 67.5328 | 67.2177 | 66.8752 | 66.9211 | 66.649
|  | 1750 | 67.3444 | 67.0041 | 66.7443 | 66.6016 | 66.3943
|  | 1755 | 67.7251 | 67.3539 | 67.1744 | 66.8345 | 66.6676
|  | 1760 | 68.5017 | 68.1192 | 68.0115 | 67.467 | 67.3632
|  | 1765 | 69.5388 | 69.1459 | 69.1193 | 68.3502 | 68.3119
|  | 1770 | 70.7109 | 70.3596 | 70.3754 | 69.4431 | 69.4387
|  | 1775 | 71.9788 | 71.6494 | 71.703 | 70.6207 | 70.6497
|  | 1780 | 73.3229 | 73.0409 | 73.1233 | 72.0072 | 72.049
|  | 1785 | 74.5251 | 74.2703 | 74.3004 | 73.2289 | 73.2401
|  | 1790 | 75.5287 | 75.3226 | 75.2995 | 74.2647 | 74.2343
|  | 1795 | 76.1679 | 75.9816 | 75.8966 | 75.0192 | 74.9331
|  | 1800 | 76.3996 | 76.2388 | 76.0549 | 75.4335 | 75.2775

## Contrast Ratio by AOI
LCC1623(/M) Contrast Ratio by AOI
|  |  | 0° AOI | 3° AOI | 5° AOI | -3° AOI | -5° AOI
|  | Wavelength (nm) | Contrast Ratio | Contrast Ratio | Contrast Ratio | Contrast Ratio | Contrast Ratio
|  | 900 | 2111.509 | 1584.5006 | 1076.1728 | 1893.4341 | 1836.8047
|  | 905 | 2154.68 | 1687.8599 | 1127.4812 | 1948.2023 | 1841.1815
|  | 910 | 2326.0801 | 1716.6898 | 1198.7834 | 2117.0519 | 1961.3741
|  | 915 | 2476.7325 | 1751.1932 | 1248.1373 | 2251.4901 | 2036.5593
Product Raw Data |  | 920 | 2610.2964 | 1799.0025 | 1282.1838 | 2392.6368 | 2108.5512
Liquid Crystal Optical Shutter / Variable Attenuator, 1050 - 1700 nm |  | 925 | 2715.3965 | 1890.3748 | 1324.8233 | 2509.8666 | 2189.4531
|  | 930 | 2828.5441 | 1969.8945 | 1380.3206 | 2658.4381 | 2281.392
Item # | LCC1623(/M) | 935 | 2954.021 | 2035.9056 | 1422.9601 | 2779.8111 | 2361.4886
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 940 | 3041.1292 | 2083.117 | 1443.2055 | 2859.0664 | 2409.9541
|  | 945 | 3091.6061 | 2120.5727 | 1459.1228 | 2900.0271 | 2469.2408
|  | 950 | 3195.7558 | 2172.7937 | 1494.1787 | 2965.3941 | 2563.4925
|  | 955 | 3415.702 | 2294.3311 | 1575.1452 | 3176.506 | 2714.6355
|  | 960 | 3660.8915 | 2381.4154 | 1636.0828 | 3417.8349 | 2872.3511
|  | 965 | 3764.3655 | 2443.2223 | 1641.5579 | 3521.6352 | 2951.9852
This data may be used in publications. However, please cite Thorlabs as the source. |  | 970 | 3763.5292 | 2476.4717 | 1630.6513 | 3536.1284 | 3004.7228
|  | 975 | 3804.4393 | 2524.3938 | 1660.7811 | 3547.3684 | 3060.32
|  | 980 | 3975.7892 | 2613.4841 | 1732.5622 | 3682.5571 | 3169.6712
Additional Information: |  | 985 | 4126.6875 | 2711.4846 | 1791.171 | 3818.134 | 3276.6774
Shutter Mode |  | 990 | 4097.75 | 2729.6547 | 1790.9997 | 3856.6704 | 3305.4418
|  | 995 | 3947.939 | 2665.6987 | 1748.7464 | 3750.5925 | 3273.9814
|  | 1000 | 3882.8763 | 2616.2826 | 1731.703 | 3679.274 | 3201.0323
|  | 1005 | 3939.3359 | 2677.4407 | 1788.2581 | 3732.4707 | 3233.4562
|  | 1010 | 4124.2724 | 2787.7863 | 1882.6195 | 3914.3099 | 3386.9553
|  | 1015 | 4252.4731 | 2864.5104 | 1933.6396 | 4058.9398 | 3548.4017
|  | 1020 | 4203.225 | 2833.3975 | 1920.9534 | 4077.8782 | 3565.8233
|  | 1025 | 4148.8187 | 2765.4329 | 1889.0867 | 4028.8793 | 3485.1309
|  | 1030 | 4256.3148 | 2786.6605 | 1915.6558 | 4086.2803 | 3509.7301
|  | 1035 | 4528.2986 | 2902.5849 | 2018.0313 | 4278.3576 | 3709.7329
|  | 1040 | 4882.7045 | 3081.4162 | 2140.3493 | 4579.0787 | 4038.2986
|  | 1045 | 5208.8374 | 3230.2007 | 2237.3784 | 4929.6267 | 4332.1549
|  | 1050 | 5481.5455 | 3289.8967 | 2269.4872 | 5200.3888 | 4454.6772
|  | 1055 | 5799.6074 | 3320.5793 | 2289.405 | 5390.483 | 4553.75
|  | 1060 | 6272.5557 | 3394.7004 | 2341.2668 | 5640.0057 | 4723.279
|  | 1065 | 6919.6341 | 3634.6914 | 2462.7905 | 6101.8397 | 5042.4007
|  | 1070 | 7936.036 | 4025.4946 | 2683.1992 | 6875.2595 | 5494.475
|  | 1075 | 9035.1833 | 4382.3839 | 2890.5928 | 7847.6033 | 6037.6178
|  | 1080 | 10264.8673 | 4647.2097 | 3012.4677 | 8823.8213 | 6598.901
|  | 1085 | 10730.2792 | 4744.3989 | 3003.0883 | 9209.7324 | 6986.5241
|  | 1090 | 11161.176 | 4839.684 | 2987.8606 | 9593.0927 | 7179.4775
|  | 1095 | 12745.0605 | 5084.7316 | 3088.4088 | 10546.6206 | 7521.0268
|  | 1100 | 15456.9748 | 5494.0108 | 3290.8044 | 11583.8505 | 8273.0607
|  | 1105 | 17741.0072 | 5932.7634 | 3505.7831 | 12651.3899 | 9099.3413
|  | 1110 | 18744.2912 | 6263.3731 | 3608.5973 | 13533.9819 | 9759.8805
|  | 1115 | 18714.2584 | 6430.5097 | 3604.8743 | 14172.7809 | 9867.5264
|  | 1120 | 20055.7411 | 6524.265 | 3602.6249 | 14733.2077 | 10056.7489
|  | 1125 | 20745.7408 | 6518.3611 | 3572.4228 | 14963.9913 | 10324.0773
|  | 1130 | 21545.7237 | 6659.1742 | 3590.921 | 14457.7804 | 10186.4517
|  | 1135 | 21519.8963 | 6819.9243 | 3677.7117 | 14348.786 | 10141.0452
|  | 1140 | 23657.9699 | 7205.6405 | 3859.4048 | 15613.2597 | 10388.6346
|  | 1145 | 26640.1801 | 7596.8426 | 4019.5635 | 16691.4924 | 10830.7177
|  | 1150 | 26310.1385 | 7621.3937 | 3991.9647 | 16029.0876 | 11055.0085
|  | 1155 | 24027.8066 | 7455.7766 | 3858.612 | 15449.3203 | 10632.499
|  | 1160 | 24858.8054 | 7303.1437 | 3797.3223 | 15127.8112 | 10704.8624
|  | 1165 | 24300.9019 | 7232.5421 | 3781.3853 | 14880.8664 | 10550.764
|  | 1170 | 26749.8223 | 7359.2376 | 3846.6908 | 15163.2112 | 10742.1645
|  | 1175 | 26980.4317 | 7442.7208 | 3930.3691 | 15356.2773 | 10986.2378
|  | 1180 | 26167.1427 | 7596.1136 | 4031.4261 | 15551.2906 | 11231.7545
|  | 1185 | 28326.5729 | 7751.0269 | 4122.8808 | 16074.9906 | 11604.389
|  | 1190 | 27709.2916 | 7827.2388 | 4107.3603 | 16528.8321 | 11796.1541
|  | 1195 | 27346.6438 | 7646.5821 | 3988.9386 | 16046.9018 | 11762.0312
|  | 1200 | 25357.6731 | 7480.3903 | 3886.5913 | 15381.7263 | 11784.5876
|  | 1205 | 26683.9361 | 7435.5113 | 3889.0612 | 15274.8536 | 11326.703
|  | 1210 | 26927.8038 | 7558.8881 | 4023.9611 | 15151.6768 | 11489.2027
|  | 1215 | 27919.8684 | 7820.7016 | 4194.6428 | 16353.6195 | 11862.9455
|  | 1220 | 29094.4575 | 8060.5028 | 4355.0825 | 17019.393 | 12511.2422
|  | 1225 | 27690.4006 | 8393.5419 | 4476.0148 | 18104.9408 | 13321.8099
|  | 1230 | 25460.1415 | 8428.4429 | 4513.9572 | 18144.7213 | 13311.9305
|  | 1235 | 24173.4211 | 8377.1527 | 4474.5321 | 18495.1889 | 12778.8516
|  | 1240 | 22320.2039 | 8130.0395 | 4299.1705 | 17362.1232 | 12254.0244
|  | 1245 | 20628.7789 | 7892.0886 | 4194.4864 | 16235.061 | 11630.7405
|  | 1250 | 19818.9338 | 8068.4468 | 4289.7974 | 16437.7238 | 11472.0719
|  | 1255 | 20855.559 | 8059.7909 | 4431.4354 | 16817.2802 | 11522.4822
|  | 1260 | 21110.6852 | 8313.7869 | 4684.957 | 18094.2047 | 12377.4581
|  | 1265 | 22902.739 | 8581.8854 | 4811.7718 | 18889.4681 | 12637.8047
|  | 1270 | 22043.1381 | 9009.2837 | 4860.9444 | 19540.2186 | 12677.7653
|  | 1275 | 22239.1919 | 9389.8977 | 4928.4865 | 21244.1446 | 13118.5651
|  | 1280 | 21311.5809 | 9068.349 | 4788.5161 | 19631.9436 | 12488.1789
|  | 1285 | 23014.8623 | 8875.7399 | 4602.6405 | 19960.645 | 12443.3743
|  | 1290 | 22827.3551 | 8704.0968 | 4484.8557 | 18846.8541 | 12555.4188
|  | 1295 | 22845.3858 | 8906.6558 | 4589.3719 | 19993.5768 | 12964.7154
|  | 1300 | 26642.9139 | 9046.0612 | 4672.2138 | 19628.5395 | 13130.6101
|  | 1305 | 30677.193 | 9230.5308 | 4743.4928 | 20468.1796 | 13791.0015
|  | 1310 | 33375.0102 | 9773.6957 | 4984.4831 | 22346.5539 | 14852.9895
|  | 1315 | 31925.6374 | 10206.7602 | 5040.69 | 22037.0861 | 14907.5467
|  | 1320 | 30953.8308 | 10841.89 | 5083.1618 | 24547.5616 | 15479.1136
|  | 1325 | 33281.5923 | 10731.3126 | 5050.9664 | 22252.966 | 15707.32
|  | 1330 | 33812.4635 | 10564.1015 | 4851.941 | 20065.1444 | 15506.3703
|  | 1335 | 37218.0134 | 10562.4873 | 4766.4067 | 20193.3184 | 14729.4376
|  | 1340 | 31347.6296 | 10123.9276 | 4640.0025 | 17768.5996 | 13439.5652
|  | 1345 | 31030.9437 | 10130.9847 | 4546.2196 | 17612.9264 | 12731.9513
|  | 1350 | 34489.2778 | 9901.4377 | 4613.9486 | 18190.5543 | 12918.4314
|  | 1355 | 30593.8635 | 10158.6195 | 4814.765 | 18630.9573 | 13902.5552
|  | 1360 | 26464.8684 | 10619.7226 | 5045.9227 | 18790.77 | 14527.8263
|  | 1365 | 26523.0363 | 10899.2917 | 5043.7874 | 17431.5926 | 13803.3552
|  | 1370 | 27040.7067 | 11522.2841 | 5132.2322 | 18837.1095 | 13866.0554
|  | 1375 | 26545.3686 | 11283.6537 | 5156.4485 | 18455.7539 | 13899.9944
|  | 1380 | 23472.1699 | 10371.7859 | 4841.3968 | 17333.5446 | 12917.7444
|  | 1385 | 21468.428 | 9507.5971 | 4630.4092 | 16537.9503 | 11523.7697
|  | 1390 | 21707.3453 | 9086.2373 | 4588.3697 | 16641.5739 | 11330.5191
|  | 1395 | 21827.9889 | 9161.2386 | 4738.5115 | 18491.6698 | 11513.2969
|  | 1400 | 21328.7307 | 8809.5688 | 4755.1588 | 16587.6509 | 11282.5801
|  | 1405 | 21795.0261 | 9559.3773 | 4790.6021 | 15537.9322 | 10920.0192
|  | 1410 | 22612.1006 | 10449.0263 | 4954.7458 | 17485.3551 | 10735.0844
|  | 1415 | 25099.9989 | 10782.6973 | 5128.5257 | 17068.8208 | 10554.6701
|  | 1420 | 26893.4886 | 11867.0049 | 5459.841 | 18814.764 | 11611.5783
|  | 1425 | 26495.5982 | 11766.2589 | 5710.4471 | 18241.368 | 12373.6359
|  | 1430 | 27201.6325 | 11121.2637 | 5717.4134 | 17861.4715 | 12523.4246
|  | 1435 | 30564.9474 | 11149.3275 | 5624.3025 | 18509.7119 | 12079.1611
|  | 1440 | 34163.2672 | 11351.6978 | 5568.4721 | 19690.6148 | 12001.7336
|  | 1445 | 27370.6642 | 10495.3773 | 5376.1077 | 17890.5105 | 11555.8573
|  | 1450 | 26869.2974 | 10197.1925 | 5030.9651 | 16161.6912 | 10979.5884
|  | 1455 | 26359.8961 | 10208.2293 | 4997.5856 | 16361.8773 | 11453.9732
|  | 1460 | 22591.1025 | 9741.6113 | 5027.5392 | 15801.5981 | 11763.8771
|  | 1465 | 22929.5235 | 9837.5014 | 5233.0396 | 15577.6814 | 11842.9807
|  | 1470 | 22479.1449 | 9710.2055 | 5548.4631 | 15709.3235 | 11958.6518
|  | 1475 | 21043.1065 | 10115.0099 | 5710.1989 | 15492.8589 | 11579.6411
|  | 1480 | 23863.1083 | 10510.1011 | 6056.5113 | 16367.1943 | 12201.5223
|  | 1485 | 23655.0355 | 10945.9324 | 6062.227 | 15790.7302 | 12015.8761
|  | 1490 | 23479.0041 | 11205.3835 | 6197.6368 | 17081.7137 | 12351.2319
|  | 1495 | 21152.6887 | 11375.6841 | 6241.9947 | 15568.4843 | 12376.3823
|  | 1500 | 23584.4088 | 12004.2959 | 6265.6712 | 16146.0548 | 13174.2084
|  | 1505 | 23214.3032 | 11684.3474 | 6376.5091 | 14818.7314 | 13930.3815
|  | 1510 | 22045.9745 | 11144.8969 | 6168.2569 | 14543.3178 | 12731.7587
|  | 1515 | 23648.8515 | 11249.4508 | 6170.1931 | 15954.3468 | 12986.4664
|  | 1520 | 26743.6523 | 10277.0573 | 6060.5419 | 15465.1237 | 13426.1094
|  | 1525 | 26174.4657 | 10440.8525 | 5835.3349 | 15187.2543 | 12872.0635
|  | 1530 | 29199.2592 | 10074.8131 | 5939.1705 | 15735.6681 | 13630.5817
|  | 1535 | 26177.2719 | 10425.4579 | 5793.265 | 15201.5727 | 12759.9749
|  | 1540 | 29601.6673 | 11595.6959 | 6043.3771 | 16630.0583 | 14251.977
|  | 1545 | 29956.1158 | 11766.7044 | 6339.4266 | 14948.016 | 15687.2599
|  | 1550 | 30611.8109 | 11618.1663 | 6442.3125 | 15515.6945 | 15727.0102
|  | 1555 | 30871.1307 | 12131.6731 | 6602.8094 | 16224.1327 | 14923.5906
|  | 1560 | 28106.2252 | 12029.5434 | 6376.5245 | 16685.902 | 14263.4277
|  | 1565 | 30919.7655 | 11989.9509 | 6398.9788 | 17484.9352 | 15259.1676
|  | 1570 | 26742.931 | 10951.343 | 5927.5351 | 15517.86 | 13667.4964
|  | 1575 | 23429.44 | 11657.1572 | 5645.5777 | 14561.4296 | 13840.5977
|  | 1580 | 23721.6349 | 11656.7102 | 5633.31 | 14325.9698 | 15052.4679
|  | 1585 | 20824.9255 | 11096.2694 | 5360.9549 | 13250.4056 | 13354.2511
|  | 1590 | 20437.7155 | 11424.9413 | 5213.8464 | 13044.4442 | 13140.1392
|  | 1595 | 19522.354 | 10792.7846 | 5171.7933 | 11759.0322 | 12367.29
|  | 1600 | 19780.8827 | 11150.1479 | 5179.2987 | 12947.5438 | 12388.9698
|  | 1605 | 22165.5631 | 11874.3095 | 5262.2279 | 13249.6698 | 13169.5192
|  | 1610 | 19043.7484 | 11340.0107 | 5206.069 | 12240.3403 | 12774.8156
|  | 1615 | 20561.5729 | 12432.099 | 5438.068 | 13525.9447 | 12700.2985
|  | 1620 | 21535.5649 | 13718.0886 | 5493.577 | 13722.788 | 12544.0686
|  | 1625 | 22852.9915 | 13838.5361 | 5622.9694 | 13462.4476 | 12683.2746
|  | 1630 | 25223.874 | 13557.2346 | 5599.3715 | 13943.9856 | 11518.4794
|  | 1635 | 25157.5694 | 13559.7702 | 5487.5789 | 14150.1022 | 10925.6467
|  | 1640 | 28529.9385 | 14446.1736 | 5796.8635 | 15995.3588 | 11936.1797
|  | 1645 | 31890.2156 | 12658.5117 | 5778.7586 | 15094.4719 | 11699.4696
|  | 1650 | 28184.4301 | 12114.5622 | 5618.3727 | 15433.7409 | 10905.1706
|  | 1655 | 27384.5077 | 11759.9695 | 5615.2525 | 15388.3519 | 10791.9978
|  | 1660 | 23677.0769 | 11609.3236 | 5363.8372 | 15385.2239 | 10508.6602
|  | 1665 | 27193.3364 | 11584.7791 | 5241.4493 | 15584.9314 | 10838.1044
|  | 1670 | 23137.0178 | 10655.8495 | 5054.6644 | 13844.1708 | 10581.9002
|  | 1675 | 22476.8346 | 9694.8472 | 5201.0606 | 12877.9722 | 10206.5304
|  | 1680 | 25213.855 | 10315.4899 | 5366.8823 | 12356.2519 | 10025.5814
|  | 1685 | 20600.0182 | 9681.7762 | 5338.4052 | 11655.1892 | 10274.5268
|  | 1690 | 20274.8406 | 9489.636 | 5652.1873 | 12566.2446 | 11336.9251
|  | 1695 | 17845.6777 | 9110.8145 | 5419.3656 | 11969.295 | 11350.4499
|  | 1700 | 16978.2191 | 9876.4818 | 5588.5255 | 13624.3811 | 12379.1613
|  | 1705 | 17984.3615 | 10066.2555 | 5586.2405 | 14982.4477 | 13743.3243
|  | 1710 | 15797.5702 | 10018.5392 | 5476.3244 | 13444.2808 | 12238.8351
|  | 1715 | 16063.7438 | 10208.0807 | 5726.2575 | 14225.9738 | 13152.4862
|  | 1720 | 16089.3437 | 9924.8763 | 6020.0676 | 13718.6448 | 11904.9721
|  | 1725 | 19004.2963 | 9523.6102 | 5997.9734 | 13104.6563 | 11471.7058
|  | 1730 | 16543.2137 | 9898.3456 | 5878.7949 | 12258.2925 | 11616.6967
|  | 1735 | 13975.9345 | 9163.142 | 5546.5622 | 12212.5036 | 11420.1512
|  | 1740 | 13818.6477 | 9290.7412 | 5632.0683 | 12955.1449 | 12646.2571
|  | 1745 | 14302.5558 | 10056.9258 | 5352.7046 | 11266.5169 | 12368.2225
|  | 1750 | 15708.3219 | 9799.5669 | 5131.2382 | 10242.82 | 10687.6019
|  | 1755 | 14928.4866 | 9490.114 | 5042.0929 | 9254.0536 | 9722.0514
|  | 1760 | 15955.921 | 9763.9069 | 5231.983 | 8931.1834 | 9598.6261
|  | 1765 | 16495.7991 | 9826.8077 | 5293.4399 | 9137.9549 | 9882.6953
|  | 1770 | 17411.0218 | 9444.015 | 5199.62 | 9384.9 | 9912.347
|  | 1775 | 17454.7903 | 9762.7085 | 5242.8387 | 10495.4003 | 10943.4193
|  | 1780 | 15477.5644 | 10130.4932 | 5274.5051 | 10556.9765 | 11075.1639
|  | 1785 | 17594.3981 | 9734.5701 | 5135.889 | 11533.2602 | 11496.8481
|  | 1790 | 19829.4846 | 10966.4594 | 5472.7844 | 12174.1709 | 12350.1076
|  | 1795 | 21914.794 | 11100.4519 | 5507.9574 | 11580.4463 | 11162.6853
|  | 1800 | 22616.8304 | 10672.6789 | 5516.6058 | 12087.9935 | 10376.4681

## Normalized Contrast Ratio
LCC1623(/M) Normalized Contrast Ratio
|  | Frequency (Hz) | Normalized Contrast Ratio
|  | 1 | 1
|  | 2 | 1
|  | 3 | 0.98974
|  | 4 | 0.98974
Product Raw Data |  | 5 | 0.97949
Liquid Crystal Optical Shutter / Variable Attenuator, 1050 - 1700 nm |  | 6 | 0.94872
|  | 7 | 0.89744
Item # | LCC1623(/M) | 8 | 0.82564
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 9 | 0.74359
|  | 10 | 0.65128
|  | 15 | 0.2359
|  | 20 | 0.092308
|  | 25 | 0.082051
This data may be used in publications. However, please cite Thorlabs as the source.
Additional Information:
Shutter Mode

## Transmission & Contrast
LCC1623(/M) Transmission & Contrast Ratio
|  | Wavelength (nm) | Transmission (%) | Contrast Ratio
|  | 900 | 59.9014 | 2111.509
|  | 905 | 61.0809 | 2154.68
|  | 910 | 61.9916 | 2326.0801
|  | 915 | 62.6725 | 2476.7325
Product Raw Data |  | 920 | 63.555 | 2610.2964
Liquid Crystal Optical Shutter / Variable Attenuator, 1050 - 1700 nm |  | 925 | 64.7455 | 2715.3965
|  | 930 | 65.8812 | 2828.5441
Item # | LCC1623(/M) | 935 | 66.5729 | 2954.021
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 940 | 66.8166 | 3041.1292
|  | 945 | 67.2121 | 3091.6061
|  | 950 | 68.3953 | 3195.7558
|  | 955 | 70.056 | 3415.702
|  | 960 | 71.0799 | 3660.8915
|  | 965 | 70.7875 | 3764.3655
This data may be used in publications. However, please cite Thorlabs as the source. |  | 970 | 70.1019 | 3763.5292
|  | 975 | 70.7024 | 3804.4393
|  | 980 | 72.8339 | 3975.7892
Additional Information: |  | 985 | 74.8105 | 4126.6875
T = 25 °C |  | 990 | 74.8011 | 4097.75
|  | 995 | 73.1158 | 3947.939
|  | 1000 | 72.0867 | 3882.8763
|  | 1005 | 73.4693 | 3939.3359
|  | 1010 | 76.4194 | 4124.2724
|  | 1015 | 78.2223 | 4252.4731
|  | 1020 | 77.1968 | 4203.225
|  | 1025 | 74.6769 | 4148.8187
|  | 1030 | 73.5468 | 4256.3148
|  | 1035 | 75.3324 | 4528.2986
|  | 1040 | 78.7926 | 4882.7045
|  | 1045 | 80.8762 | 5208.8374
|  | 1050 | 79.7246 | 5481.5455
|  | 1055 | 76.7014 | 5799.6074
|  | 1060 | 74.8932 | 6272.5557
|  | 1065 | 76.0977 | 6919.6341
|  | 1070 | 79.6461 | 7936.036
|  | 1075 | 82.7146 | 9035.1833
|  | 1080 | 82.8114 | 10264.8673
|  | 1085 | 80.0469 | 10730.2792
|  | 1090 | 76.9644 | 11161.176
|  | 1095 | 76.2271 | 12745.0605
|  | 1100 | 78.5299 | 15456.9748
|  | 1105 | 82.3828 | 17741.0072
|  | 1110 | 85.0394 | 18744.2912
|  | 1115 | 84.4404 | 18714.2584
|  | 1120 | 81.2148 | 20055.7411
|  | 1125 | 78.0493 | 20745.7408
|  | 1130 | 77.1787 | 21545.7237
|  | 1135 | 79.2304 | 21519.8963
|  | 1140 | 82.9728 | 23657.9699
|  | 1145 | 86.0139 | 26640.1801
|  | 1150 | 86.1609 | 26310.1385
|  | 1155 | 83.3896 | 24027.8066
|  | 1160 | 79.7855 | 24858.8054
|  | 1165 | 77.648 | 24300.9019
|  | 1170 | 78.0876 | 26749.8223
|  | 1175 | 80.9119 | 26980.4317
|  | 1180 | 84.546 | 26167.1427
|  | 1185 | 86.8055 | 28326.5729
|  | 1190 | 86.1885 | 27709.2916
|  | 1195 | 83.2506 | 27346.6438
|  | 1200 | 79.9504 | 25357.6731
|  | 1205 | 78.2591 | 26683.9361
|  | 1210 | 79.0527 | 26927.8038
|  | 1215 | 82.0362 | 27919.8684
|  | 1220 | 86.0191 | 29094.4575
|  | 1225 | 89.0423 | 27690.4006
|  | 1230 | 89.4739 | 25460.1415
|  | 1235 | 87.2045 | 24173.4211
|  | 1240 | 83.6338 | 22320.2039
|  | 1245 | 80.7317 | 20628.7789
|  | 1250 | 79.8523 | 19818.9338
|  | 1255 | 81.3025 | 20855.559
|  | 1260 | 84.5732 | 21110.6852
|  | 1265 | 88.2692 | 22902.739
|  | 1270 | 90.8438 | 22043.1381
|  | 1275 | 90.9724 | 22239.1919
|  | 1280 | 88.724 | 21311.5809
|  | 1285 | 85.3768 | 23014.8623
|  | 1290 | 82.4752 | 22827.3551
|  | 1295 | 81.1821 | 22845.3858
|  | 1300 | 81.8349 | 26642.9139
|  | 1305 | 84.2368 | 30677.193
|  | 1310 | 87.6124 | 33375.0102
|  | 1315 | 90.6572 | 31925.6374
|  | 1320 | 92.037 | 30953.8308
|  | 1325 | 91.1462 | 33281.5923
|  | 1330 | 88.352 | 33812.4635
|  | 1335 | 85.0465 | 37218.0134
|  | 1340 | 82.2847 | 31347.6296
|  | 1345 | 80.9569 | 31030.9437
|  | 1350 | 81.2128 | 34489.2778
|  | 1355 | 82.9094 | 30593.8635
|  | 1360 | 85.5056 | 26464.8684
|  | 1365 | 87.8033 | 26523.0363
|  | 1370 | 87.9241 | 27040.7067
|  | 1375 | 84.658 | 25673.0372
|  | 1380 | 79.6219 | 22745.5604
|  | 1385 | 75.6625 | 20828.0285
|  | 1390 | 74.0201 | 21038.7539
|  | 1395 | 73.733 | 21149.5106
|  | 1400 | 74.445 | 20686.4873
|  | 1405 | 76.237 | 21140.1149
|  | 1410 | 79.0149 | 21931.9688
|  | 1415 | 82.3462 | 24297.4453
|  | 1420 | 85.624 | 26008.2774
|  | 1425 | 88.0449 | 25658.8582
|  | 1430 | 88.9914 | 27201.6325
|  | 1435 | 88.3327 | 30564.9474
|  | 1440 | 86.4703 | 34163.2672
|  | 1445 | 84.0777 | 27370.6642
|  | 1450 | 81.922 | 26869.2974
|  | 1455 | 80.5654 | 26359.8961
|  | 1460 | 80.2908 | 22591.1025
|  | 1465 | 81.0746 | 22929.5235
|  | 1470 | 82.7519 | 22479.1449
|  | 1475 | 84.9472 | 21043.1065
|  | 1480 | 87.2392 | 23863.1083
|  | 1485 | 89.044 | 23655.0355
|  | 1490 | 89.8413 | 23479.0041
|  | 1495 | 89.2893 | 21152.6887
|  | 1500 | 87.6225 | 23584.4088
|  | 1505 | 85.4455 | 23214.3032
|  | 1510 | 83.1694 | 22045.9745
|  | 1515 | 81.3993 | 23648.8515
|  | 1520 | 80.4449 | 26743.6523
|  | 1525 | 80.4341 | 26174.4657
|  | 1530 | 81.304 | 29199.2592
|  | 1535 | 82.9153 | 26177.2719
|  | 1540 | 85.0429 | 29601.6673
|  | 1545 | 87.1914 | 29956.1158
|  | 1550 | 88.944 | 30611.8109
|  | 1555 | 89.8153 | 30871.1307
|  | 1560 | 89.6742 | 28106.2252
|  | 1565 | 88.5626 | 30919.7655
|  | 1570 | 86.6666 | 26742.931
|  | 1575 | 84.4716 | 23429.44
|  | 1580 | 82.4025 | 23721.6349
|  | 1585 | 80.778 | 20824.9255
|  | 1590 | 79.813 | 20437.7155
|  | 1595 | 79.5944 | 19522.354
|  | 1600 | 80.127 | 19780.8827
|  | 1605 | 81.2791 | 22165.5631
|  | 1610 | 82.8922 | 19043.7484
|  | 1615 | 84.5511 | 20561.5729
|  | 1620 | 85.8192 | 21535.5649
|  | 1625 | 86.3698 | 22852.9915
|  | 1630 | 86.2358 | 25223.874
|  | 1635 | 85.8857 | 25157.5694
|  | 1640 | 85.193 | 28529.9385
|  | 1645 | 83.7408 | 31890.2156
|  | 1650 | 81.7554 | 28184.4301
|  | 1655 | 79.6814 | 27384.5077
|  | 1660 | 77.7943 | 23677.0769
|  | 1665 | 76.1216 | 27193.3364
|  | 1670 | 74.6484 | 23137.0178
|  | 1675 | 73.5871 | 22476.8346
|  | 1680 | 73.0033 | 25213.855
|  | 1685 | 72.8379 | 20600.0182
|  | 1690 | 72.8106 | 20274.8406
|  | 1695 | 72.9272 | 17845.6777
|  | 1700 | 73.0943 | 16978.2191
|  | 1705 | 73.4285 | 17984.3615
|  | 1710 | 73.868 | 15797.5702
|  | 1715 | 73.8918 | 16063.7438
|  | 1720 | 73.1495 | 16089.3437
|  | 1725 | 71.933 | 19004.2963
|  | 1730 | 70.6064 | 16543.2137
|  | 1735 | 69.3562 | 13975.9345
|  | 1740 | 68.2604 | 13818.6477
|  | 1745 | 67.5328 | 14302.5558
|  | 1750 | 67.3444 | 15708.3219
|  | 1755 | 67.7251 | 14928.4866
|  | 1760 | 68.5017 | 15955.921
|  | 1765 | 69.5388 | 16495.7991
|  | 1770 | 70.7109 | 17411.0218
|  | 1775 | 71.9788 | 17454.7903
|  | 1780 | 73.3229 | 15477.5644
|  | 1785 | 74.5251 | 17594.3981
|  | 1790 | 75.5287 | 19829.4846
|  | 1795 | 76.1679 | 21914.794
|  | 1800 | 76.3996 | 22616.8304