## Frequency
EF516
| Frequency (Hz) | Relative Response (dB)
| 1000000 | -0.54305
| 1119789.0316 | -0.58657
| 1232290.2198 | -0.62209
| 1356093.9989 | -0.65658
Product Raw Data | 1492335.8997 | -0.70058
DC to 4.5 MHz Low-Pass Filter | 1642265.5357 | -0.73957
| 1807258.0645 | -0.77492
EF516 | 1988826.801 | -0.7941
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. | 2188637.0973 | -0.81624
| 2408521.6175 | -0.81031
| 2650497.1469 | -0.76906
| 2916783.09 | -0.69973
| 3209821.8268 | -0.57442
| 3532301.1146 | -0.40597
This data may be used in publications. However, please cite Thorlabs as the source. | 3887178.7399 | -0.21017
| 4277709.6476 | -0.023048
| 4429249.4184 | 0
Additional Information: | 4467965.8521 | -0.000727
All data presented here has been measured. | 4507020.7094 | -0.004889
| 4546416.9484 | -0.012368
| 4586157.5531 | -0.024686
| 4748624.2284 | -0.11643
| 4916846.3582 | -0.30715
| 5046912.3555 | -0.57747
| 5180419.0061 | -1.0367
| 5410824.2788 | -2.2366
| 5553957.5405 | -3.2271
| 5700877.1255 | -4.3922
| 5954430.3897 | -6.6232
| 6058981.6792 | -7.5978
| 6667705.8397 | -13.5107
| 7337586.3335 | -20.5468
| 8074767.3181 | -27.1383
| 8886010.2326 | -34.2286
| 9444191.1334 | -39.4248
| 9526743.5854 | -40.1816
| 10483861.3483 | -48.7342
| 10575501.6433 | -49.5622
| 11637984.3672 | -60.3946
| 12807210.9202 | -64.7368
| 14093905.4717 | -65.0758
| 15509869.6105 | -68.0842
| 17068090.5884 | -71.1354
| 18782860.4397 | -68.9443
| 20490795.3399 | -65.9612
| 22549432.063 | -64.04
| 24814892.635 | -62.9478
| 27307955.9062 | -62.4411
| 30051488.3035 | -62.3202
| 32218376.519 | -62.4398

## Group Delay
EF516
| Frequency (Hz) | Group Delay Variation (ns)
| 1000000 | 0
| 1119789.0316 | -0.348
| 1232290.2198 | -0.528
| 1356093.9989 | 0.855
Product Raw Data | 1492335.8997 | 2.347
DC to 4.5 MHz Low-Pass Filter | 1642265.5357 | 4.081
| 1807258.0645 | 5.742
EF516 | 1988826.801 | 8.007
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. | 2188637.0973 | 9.32
| 2408521.6175 | 12.17
| 2650497.1469 | 14.635
| 2916783.09 | 17.939
| 3209821.8268 | 21.95
| 3532301.1146 | 28.027
This data may be used in publications. However, please cite Thorlabs as the source. | 3887178.7399 | 33.705
| 4277709.6476 | 49.423
| 4429249.4184 | 58.244
Additional Information: | 4467965.8521 | 60.709
All data presented here has been measured. | 4507020.7094 | 63.917
| 4546416.9484 | 67.103
| 4586157.5531 | 70.6
| 4748624.2284 | 84.706
| 4916846.3582 | 103.643
| 5046912.3555 | 120.115
| 5180419.0061 | 139.197
| 5410824.2788 | 157.516
| 5553957.5405 | 153.36
| 5700877.1255 | 137.31
| 5954430.3897 | 97.191
| 6058981.6792 | 80.186