## FH53135PK Transmission
|  | Wavelength | Transmission
|  | (nm) | (%)
|  | 250 | 0.0077297
|  | 251 | 0.0085807
|  | 252 | 0.0079162
|  | 253 | 0.0078039
Product Raw Data |  | 254 | 0.0081089
Optical-Grade Epoxy |  | 255 | 0.0080015
|  | 256 | 0.0073971
Item # | FH5313PK | 257 | 0.0079598
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 258 | 0.0073313
|  | 259 | 0.0079664
|  | 260 | 0.0090409
|  | 261 | 0.0092877
|  | 262 | 0.0089526
|  | 263 | 0.0095893
This data may be used in publications. However, please cite Thorlabs as the source. |  | 264 | 0.0091208
|  | 265 | 0.01056
|  | 266 | 0.0072566
Additional Information: |  | 267 | 0.008228
Instrument: Cary 5000 Spectrophotometer AOI: 0° Temperature: 23 °C |  | 268 | 0.0082826
|  | 269 | 0.0097571
|  | 270 | 0.0094049
|  | 271 | 0.0083428
|  | 272 | 0.008705
|  | 273 | 0.0089954
|  | 274 | 0.0080577
|  | 275 | 0.0096954
|  | 276 | 0.0087044
|  | 277 | 0.0090589
|  | 278 | 0.0080658
|  | 279 | 0.0094257
|  | 280 | 0.008556
|  | 281 | 0.008425
|  | 282 | 0.0087156
|  | 283 | 0.008243
|  | 284 | 0.0096084
|  | 285 | 0.0094272
|  | 286 | 0.0084139
|  | 287 | 0.0085596
|  | 288 | 0.0096158
|  | 289 | 0.0098069
|  | 290 | 0.009611
|  | 291 | 0.0089444
|  | 292 | 0.028736
|  | 293 | 0.37525
|  | 294 | 2.5293
|  | 295 | 8.9871
|  | 296 | 19.8935
|  | 297 | 33.5687
|  | 298 | 46.5085
|  | 299 | 57.6415
|  | 300 | 66.2417
|  | 301 | 72.4402
|  | 302 | 76.6689
|  | 303 | 79.6177
|  | 304 | 81.58
|  | 305 | 83.0373
|  | 306 | 84.0303
|  | 307 | 84.9767
|  | 308 | 85.7102
|  | 309 | 85.9523
|  | 310 | 86.5508
|  | 311 | 86.9997
|  | 312 | 87.3804
|  | 313 | 87.7635
|  | 314 | 88.084
|  | 315 | 88.7177
|  | 316 | 88.6374
|  | 317 | 89.2622
|  | 318 | 89.2809
|  | 319 | 89.4289
|  | 320 | 89.9302
|  | 321 | 90.2348
|  | 322 | 90.4445
|  | 323 | 90.6567
|  | 324 | 90.9739
|  | 325 | 91.1318
|  | 326 | 91.4366
|  | 327 | 91.8651
|  | 328 | 92.2115
|  | 329 | 92.3855
|  | 330 | 92.6018
|  | 331 | 92.7754
|  | 332 | 92.926
|  | 333 | 92.9802
|  | 334 | 93.3042
|  | 335 | 93.3393
|  | 336 | 93.6629
|  | 337 | 93.5932
|  | 338 | 93.7936
|  | 339 | 94.2433
|  | 340 | 94.3239
|  | 341 | 94.56
|  | 342 | 94.769
|  | 343 | 94.5688
|  | 344 | 94.9895
|  | 345 | 95.2497
|  | 346 | 95.1945
|  | 347 | 95.5
|  | 348 | 95.2288
|  | 349 | 95.684
|  | 350 | 95.8074
|  | 351 | 96.322
|  | 352 | 96.2821
|  | 353 | 95.9835
|  | 354 | 96.2449
|  | 355 | 96.3548
|  | 356 | 96.371
|  | 357 | 96.3857
|  | 358 | 96.5603
|  | 359 | 96.7132
|  | 360 | 96.7038
|  | 361 | 96.8871
|  | 362 | 97.4225
|  | 363 | 97.0187
|  | 364 | 96.9432
|  | 365 | 97.0031
|  | 366 | 96.8711
|  | 367 | 97.1065
|  | 368 | 97.2858
|  | 369 | 97.1768
|  | 370 | 97.2946
|  | 371 | 97.3919
|  | 372 | 97.3528
|  | 373 | 97.2743
|  | 374 | 97.3184
|  | 375 | 97.6227
|  | 376 | 97.2869
|  | 377 | 97.519
|  | 378 | 97.6543
|  | 379 | 97.6772
|  | 380 | 97.7281
|  | 381 | 97.5644
|  | 382 | 97.7973
|  | 383 | 97.6706
|  | 384 | 97.7562
|  | 385 | 97.745
|  | 386 | 97.9134
|  | 387 | 97.8349
|  | 388 | 97.9186
|  | 389 | 98.0236
|  | 390 | 97.932
|  | 391 | 97.9627
|  | 392 | 98.0774
|  | 393 | 97.9583
|  | 394 | 97.9644
|  | 395 | 98.0208
|  | 396 | 98.1935
|  | 397 | 98.0702
|  | 398 | 98.1428
|  | 399 | 98.2177
|  | 400 | 98.1447
|  | 401 | 98.2389
|  | 402 | 98.1882
|  | 403 | 98.1888
|  | 404 | 98.2551
|  | 405 | 98.285
|  | 406 | 98.2912
|  | 407 | 98.3581
|  | 408 | 98.5267
|  | 409 | 98.472
|  | 410 | 98.4371
|  | 411 | 98.4222
|  | 412 | 98.3922
|  | 413 | 98.433
|  | 414 | 98.4695
|  | 415 | 98.503
|  | 416 | 98.3933
|  | 417 | 98.6313
|  | 418 | 98.5658
|  | 419 | 98.7061
|  | 420 | 98.6247
|  | 421 | 98.5096
|  | 422 | 98.7318
|  | 423 | 98.6118
|  | 424 | 98.669
|  | 425 | 98.7551
|  | 426 | 98.7395
|  | 427 | 98.7271
|  | 428 | 98.683
|  | 429 | 98.7739
|  | 430 | 98.788
|  | 431 | 98.7665
|  | 432 | 98.7666
|  | 433 | 98.7559
|  | 434 | 98.7792
|  | 435 | 98.8011
|  | 436 | 98.8815
|  | 437 | 98.8342
|  | 438 | 98.8388
|  | 439 | 98.8874
|  | 440 | 98.9457
|  | 441 | 98.8685
|  | 442 | 98.886
|  | 443 | 98.9232
|  | 444 | 98.9812
|  | 445 | 98.9892
|  | 446 | 98.9345
|  | 447 | 98.9179
|  | 448 | 99.0065
|  | 449 | 98.9448
|  | 450 | 98.9874
|  | 451 | 98.9226
|  | 452 | 98.9583
|  | 453 | 98.974
|  | 454 | 98.9482
|  | 455 | 99.01
|  | 456 | 98.948
|  | 457 | 98.9994
|  | 458 | 98.9933
|  | 459 | 98.9654
|  | 460 | 99.0342
|  | 461 | 99.054
|  | 462 | 99.054
|  | 463 | 99.0843
|  | 464 | 99.0392
|  | 465 | 99.0223
|  | 466 | 99.0993
|  | 467 | 99.1376
|  | 468 | 98.9861
|  | 469 | 99.0129
|  | 470 | 99.1499
|  | 471 | 99.0361
|  | 472 | 99.1237
|  | 473 | 99.1221
|  | 474 | 99.1568
|  | 475 | 99.08
|  | 476 | 99.1227
|  | 477 | 99.1607
|  | 478 | 99.1113
|  | 479 | 99.1495
|  | 480 | 99.1311
|  | 481 | 99.1357
|  | 482 | 99.1049
|  | 483 | 99.1103
|  | 484 | 99.1568
|  | 485 | 99.2353
|  | 486 | 99.1804
|  | 487 | 99.0883
|  | 488 | 99.2263
|  | 489 | 99.1751
|  | 490 | 99.0961
|  | 491 | 99.1904
|  | 492 | 99.1894
|  | 493 | 99.2202
|  | 494 | 99.228
|  | 495 | 99.1886
|  | 496 | 99.1911
|  | 497 | 99.1813
|  | 498 | 99.1644
|  | 499 | 99.2955
|  | 500 | 99.3274
|  | 501 | 99.2524
|  | 502 | 99.2858
|  | 503 | 99.2977
|  | 504 | 99.1847
|  | 505 | 99.1831
|  | 506 | 99.2192
|  | 507 | 99.3029
|  | 508 | 99.2753
|  | 509 | 99.2494
|  | 510 | 99.2471
|  | 511 | 99.3177
|  | 512 | 99.3166
|  | 513 | 99.2576
|  | 514 | 99.173
|  | 515 | 99.2539
|  | 516 | 99.3505
|  | 517 | 99.322
|  | 518 | 99.3467
|  | 519 | 99.2614
|  | 520 | 99.2694
|  | 521 | 99.3381
|  | 522 | 99.3181
|  | 523 | 99.2873
|  | 524 | 99.3475
|  | 525 | 99.3258
|  | 526 | 99.323
|  | 527 | 99.3471
|  | 528 | 99.2842
|  | 529 | 99.2789
|  | 530 | 99.257
|  | 531 | 99.2999
|  | 532 | 99.3868
|  | 533 | 99.3206
|  | 534 | 99.3302
|  | 535 | 99.4127
|  | 536 | 99.3349
|  | 537 | 99.2494
|  | 538 | 99.4109
|  | 539 | 99.3929
|  | 540 | 99.3266
|  | 541 | 99.3508
|  | 542 | 99.3622
|  | 543 | 99.3224
|  | 544 | 99.3862
|  | 545 | 99.2983
|  | 546 | 99.4183
|  | 547 | 99.3564
|  | 548 | 99.3842
|  | 549 | 99.3786
|  | 550 | 99.3625
|  | 551 | 99.3428
|  | 552 | 99.3913
|  | 553 | 99.3474
|  | 554 | 99.4543
|  | 555 | 99.3171
|  | 556 | 99.3942
|  | 557 | 99.404
|  | 558 | 99.4285
|  | 559 | 99.399
|  | 560 | 99.4689
|  | 561 | 99.3974
|  | 562 | 99.3831
|  | 563 | 99.4961
|  | 564 | 99.386
|  | 565 | 99.474
|  | 566 | 99.399
|  | 567 | 99.5134
|  | 568 | 99.4549
|  | 569 | 99.3625
|  | 570 | 99.4896
|  | 571 | 99.4262
|  | 572 | 99.4783
|  | 573 | 99.4088
|  | 574 | 99.5073
|  | 575 | 99.3668
|  | 576 | 99.446
|  | 577 | 99.4902
|  | 578 | 99.4611
|  | 579 | 99.4189
|  | 580 | 99.4295
|  | 581 | 99.4017
|  | 582 | 99.5333
|  | 583 | 99.5465
|  | 584 | 99.4841
|  | 585 | 99.4735
|  | 586 | 99.4395
|  | 587 | 99.4303
|  | 588 | 99.4424
|  | 589 | 99.42
|  | 590 | 99.4282
|  | 591 | 99.4705
|  | 592 | 99.5007
|  | 593 | 99.4362
|  | 594 | 99.4915
|  | 595 | 99.4462
|  | 596 | 99.4632
|  | 597 | 99.5459
|  | 598 | 99.4827
|  | 599 | 99.4757
|  | 600 | 99.4979
|  | 601 | 99.5205
|  | 602 | 99.4607
|  | 603 | 99.448
|  | 604 | 99.4963
|  | 605 | 99.5121
|  | 606 | 99.4566
|  | 607 | 99.53
|  | 608 | 99.4664
|  | 609 | 99.5646
|  | 610 | 99.4774
|  | 611 | 99.5032
|  | 612 | 99.5527
|  | 613 | 99.5624
|  | 614 | 99.5244
|  | 615 | 99.5032
|  | 616 | 99.484
|  | 617 | 99.5156
|  | 618 | 99.4768
|  | 619 | 99.5356
|  | 620 | 99.5282
|  | 621 | 99.5144
|  | 622 | 99.4823
|  | 623 | 99.5373
|  | 624 | 99.5469
|  | 625 | 99.5355
|  | 626 | 99.5446
|  | 627 | 99.4886
|  | 628 | 99.5503
|  | 629 | 99.5494
|  | 630 | 99.5998
|  | 631 | 99.5669
|  | 632 | 99.5196
|  | 633 | 99.5672
|  | 634 | 99.5921
|  | 635 | 99.5973
|  | 636 | 99.5014
|  | 637 | 99.5453
|  | 638 | 99.4803
|  | 639 | 99.5565
|  | 640 | 99.5233
|  | 641 | 99.5537
|  | 642 | 99.5353
|  | 643 | 99.6148
|  | 644 | 99.5228
|  | 645 | 99.5307
|  | 646 | 99.5451
|  | 647 | 99.5846
|  | 648 | 99.6056
|  | 649 | 99.5835
|  | 650 | 99.6148
|  | 651 | 99.5655
|  | 652 | 99.5511
|  | 653 | 99.5372
|  | 654 | 99.5245
|  | 655 | 99.5552
|  | 656 | 99.5786
|  | 657 | 99.6198
|  | 658 | 99.5686
|  | 659 | 99.5602
|  | 660 | 99.5778
|  | 661 | 99.5762
|  | 662 | 99.6064
|  | 663 | 99.5562
|  | 664 | 99.5434
|  | 665 | 99.5678
|  | 666 | 99.6111
|  | 667 | 99.5757
|  | 668 | 99.5555
|  | 669 | 99.5996
|  | 670 | 99.527
|  | 671 | 99.595
|  | 672 | 99.5308
|  | 673 | 99.5997
|  | 674 | 99.607
|  | 675 | 99.5726
|  | 676 | 99.6127
|  | 677 | 99.6368
|  | 678 | 99.6037
|  | 679 | 99.5848
|  | 680 | 99.6227
|  | 681 | 99.6103
|  | 682 | 99.612
|  | 683 | 99.5757
|  | 684 | 99.5231
|  | 685 | 99.6167
|  | 686 | 99.717
|  | 687 | 99.6553
|  | 688 | 99.5939
|  | 689 | 99.6515
|  | 690 | 99.538
|  | 691 | 99.6317
|  | 692 | 99.6166
|  | 693 | 99.5925
|  | 694 | 99.6134
|  | 695 | 99.6023
|  | 696 | 99.6678
|  | 697 | 99.6772
|  | 698 | 99.526
|  | 699 | 99.6244
|  | 700 | 99.5107
|  | 701 | 99.6641
|  | 702 | 99.7193
|  | 703 | 99.6384
|  | 704 | 99.6661
|  | 705 | 99.6249
|  | 706 | 99.663
|  | 707 | 99.6594
|  | 708 | 99.5881
|  | 709 | 99.7612
|  | 710 | 99.6485
|  | 711 | 99.5447
|  | 712 | 99.6916
|  | 713 | 99.6063
|  | 714 | 99.6279
|  | 715 | 99.6286
|  | 716 | 99.7263
|  | 717 | 99.6542
|  | 718 | 99.6262
|  | 719 | 99.6159
|  | 720 | 99.6288
|  | 721 | 99.6547
|  | 722 | 99.617
|  | 723 | 99.5783
|  | 724 | 99.6673
|  | 725 | 99.5875
|  | 726 | 99.731
|  | 727 | 99.7866
|  | 728 | 99.622
|  | 729 | 99.6823
|  | 730 | 99.619
|  | 731 | 99.6764
|  | 732 | 99.7177
|  | 733 | 99.7006
|  | 734 | 99.7331
|  | 735 | 99.6986
|  | 736 | 99.7173
|  | 737 | 99.5112
|  | 738 | 99.6735
|  | 739 | 99.6499
|  | 740 | 99.7574
|  | 741 | 99.7629
|  | 742 | 99.6348
|  | 743 | 99.6758
|  | 744 | 99.6983
|  | 745 | 99.5123
|  | 746 | 99.6904
|  | 747 | 99.6141
|  | 748 | 99.7711
|  | 749 | 99.578
|  | 750 | 99.7111
|  | 751 | 99.5333
|  | 752 | 99.8013
|  | 753 | 99.6219
|  | 754 | 99.7232
|  | 755 | 99.703
|  | 756 | 99.605
|  | 757 | 99.5708
|  | 758 | 99.7683
|  | 759 | 99.6664
|  | 760 | 99.616
|  | 761 | 99.8905
|  | 762 | 99.6852
|  | 763 | 99.5952
|  | 764 | 99.5453
|  | 765 | 99.5762
|  | 766 | 99.7964
|  | 767 | 99.685
|  | 768 | 99.7015
|  | 769 | 99.6046
|  | 770 | 99.6961
|  | 771 | 99.5661
|  | 772 | 99.5436
|  | 773 | 99.6335
|  | 774 | 99.5084
|  | 775 | 99.881
|  | 776 | 99.7018
|  | 777 | 99.6438
|  | 778 | 99.6219
|  | 779 | 99.6956
|  | 780 | 99.6941
|  | 781 | 99.7266
|  | 782 | 99.7037
|  | 783 | 99.675
|  | 784 | 99.6425
|  | 785 | 99.7746
|  | 786 | 99.8465
|  | 787 | 99.6725
|  | 788 | 99.6285
|  | 789 | 99.7702
|  | 790 | 99.804
|  | 791 | 99.6715
|  | 792 | 99.6454
|  | 793 | 99.6528
|  | 794 | 99.8008
|  | 795 | 99.6495
|  | 796 | 99.595
|  | 797 | 99.8075
|  | 798 | 99.7104
|  | 799 | 99.6564
|  | 800 | 99.6985
|  | 801 | 99.8296
|  | 802 | 99.6293
|  | 803 | 99.8335
|  | 804 | 99.9115
|  | 805 | 99.5707
|  | 806 | 99.6843
|  | 807 | 99.8682
|  | 808 | 99.7869
|  | 809 | 99.8151
|  | 810 | 99.5852
|  | 811 | 99.7659
|  | 812 | 99.6033
|  | 813 | 99.6808
|  | 814 | 99.7524
|  | 815 | 99.7861
|  | 816 | 99.5207
|  | 817 | 99.6192
|  | 818 | 99.7572
|  | 819 | 99.7306
|  | 820 | 99.6549
|  | 821 | 99.7173
|  | 822 | 99.7561
|  | 823 | 99.5145
|  | 824 | 99.8041
|  | 825 | 99.564
|  | 826 | 99.5888
|  | 827 | 99.9583
|  | 828 | 99.9325
|  | 829 | 99.6716
|  | 830 | 99.5032
|  | 831 | 99.8158
|  | 832 | 99.7504
|  | 833 | 99.6133
|  | 834 | 99.4555
|  | 835 | 99.5597
|  | 836 | 99.7463
|  | 837 | 99.723
|  | 838 | 99.9079
|  | 839 | 99.5235
|  | 840 | 99.9063
|  | 841 | 99.7633
|  | 842 | 99.8793
|  | 843 | 99.7428
|  | 844 | 99.314
|  | 845 | 99.6984
|  | 846 | 99.8709
|  | 847 | 99.1127
|  | 848 | 99.6232
|  | 849 | 100.0708
|  | 850 | 99.6883
|  | 851 | 99.6885
|  | 852 | 99.6862
|  | 853 | 99.6765
|  | 854 | 99.6844
|  | 855 | 99.6793
|  | 856 | 99.6846
|  | 857 | 99.6847
|  | 858 | 99.676
|  | 859 | 99.6776
|  | 860 | 99.67
|  | 861 | 99.673
|  | 862 | 99.6822
|  | 863 | 99.6708
|  | 864 | 99.6664
|  | 865 | 99.6733
|  | 866 | 99.6742
|  | 867 | 99.6656
|  | 868 | 99.6676
|  | 869 | 99.662
|  | 870 | 99.6635
|  | 871 | 99.6617
|  | 872 | 99.6619
|  | 873 | 99.6614
|  | 874 | 99.6548
|  | 875 | 99.6666
|  | 876 | 99.6568
|  | 877 | 99.6614
|  | 878 | 99.6568
|  | 879 | 99.6638
|  | 880 | 99.6631
|  | 881 | 99.6645
|  | 882 | 99.6812
|  | 883 | 99.6647
|  | 884 | 99.6634
|  | 885 | 99.6566
|  | 886 | 99.6542
|  | 887 | 99.6754
|  | 888 | 99.6736
|  | 889 | 99.6635
|  | 890 | 99.6639
|  | 891 | 99.6777
|  | 892 | 99.6737
|  | 893 | 99.6742
|  | 894 | 99.6667
|  | 895 | 99.6676
|  | 896 | 99.6777
|  | 897 | 99.6701
|  | 898 | 99.6669
|  | 899 | 99.6751
|  | 900 | 99.6603
|  | 901 | 99.6671
|  | 902 | 99.6644
|  | 903 | 99.6708
|  | 904 | 99.6706
|  | 905 | 99.6722
|  | 906 | 99.6674
|  | 907 | 99.6642
|  | 908 | 99.6696
|  | 909 | 99.6552
|  | 910 | 99.6636
|  | 911 | 99.6657
|  | 912 | 99.6645
|  | 913 | 99.6616
|  | 914 | 99.6686
|  | 915 | 99.6679
|  | 916 | 99.6695
|  | 917 | 99.6725
|  | 918 | 99.6733
|  | 919 | 99.6718
|  | 920 | 99.6794
|  | 921 | 99.6818
|  | 922 | 99.6818
|  | 923 | 99.6757
|  | 924 | 99.675
|  | 925 | 99.6758
|  | 926 | 99.6852
|  | 927 | 99.6892
|  | 928 | 99.6759
|  | 929 | 99.679
|  | 930 | 99.6808
|  | 931 | 99.6743
|  | 932 | 99.6809
|  | 933 | 99.6763
|  | 934 | 99.6756
|  | 935 | 99.6726
|  | 936 | 99.6637
|  | 937 | 99.6588
|  | 938 | 99.6577
|  | 939 | 99.6439
|  | 940 | 99.6393
|  | 941 | 99.6393
|  | 942 | 99.6264
|  | 943 | 99.6359
|  | 944 | 99.6249
|  | 945 | 99.6245
|  | 946 | 99.6221
|  | 947 | 99.6378
|  | 948 | 99.6219
|  | 949 | 99.648
|  | 950 | 99.6473
|  | 951 | 99.6567
|  | 952 | 99.6596
|  | 953 | 99.6638
|  | 954 | 99.6768
|  | 955 | 99.6749
|  | 956 | 99.6724
|  | 957 | 99.6839
|  | 958 | 99.6816
|  | 959 | 99.6872
|  | 960 | 99.705
|  | 961 | 99.7058
|  | 962 | 99.7066
|  | 963 | 99.7139
|  | 964 | 99.7166
|  | 965 | 99.7077
|  | 966 | 99.7162
|  | 967 | 99.7148
|  | 968 | 99.7174
|  | 969 | 99.7111
|  | 970 | 99.7287
|  | 971 | 99.7248
|  | 972 | 99.7147
|  | 973 | 99.7371
|  | 974 | 99.7281
|  | 975 | 99.7262
|  | 976 | 99.7315
|  | 977 | 99.7348
|  | 978 | 99.7209
|  | 979 | 99.7169
|  | 980 | 99.7281
|  | 981 | 99.7225
|  | 982 | 99.7281
|  | 983 | 99.7432
|  | 984 | 99.7311
|  | 985 | 99.7425
|  | 986 | 99.747
|  | 987 | 99.7432
|  | 988 | 99.7466
|  | 989 | 99.7337
|  | 990 | 99.7434
|  | 991 | 99.7441
|  | 992 | 99.7384
|  | 993 | 99.7447
|  | 994 | 99.7452
|  | 995 | 99.741
|  | 996 | 99.7524
|  | 997 | 99.7473
|  | 998 | 99.7564
|  | 999 | 99.7439
|  | 1000 | 99.7384
|  | 1001 | 99.7437
|  | 1002 | 99.7347
|  | 1003 | 99.7455
|  | 1004 | 99.7503
|  | 1005 | 99.754
|  | 1006 | 99.7526
|  | 1007 | 99.7563
|  | 1008 | 99.7571
|  | 1009 | 99.7524
|  | 1010 | 99.7508
|  | 1011 | 99.737
|  | 1012 | 99.7403
|  | 1013 | 99.7432
|  | 1014 | 99.7346
|  | 1015 | 99.7417
|  | 1016 | 99.7518
|  | 1017 | 99.7538
|  | 1018 | 99.7614
|  | 1019 | 99.7613
|  | 1020 | 99.7531
|  | 1021 | 99.7541
|  | 1022 | 99.7414
|  | 1023 | 99.7378
|  | 1024 | 99.7533
|  | 1025 | 99.7473
|  | 1026 | 99.7468
|  | 1027 | 99.7487
|  | 1028 | 99.7568
|  | 1029 | 99.7654
|  | 1030 | 99.76
|  | 1031 | 99.7652
|  | 1032 | 99.753
|  | 1033 | 99.7512
|  | 1034 | 99.7458
|  | 1035 | 99.7576
|  | 1036 | 99.7533
|  | 1037 | 99.7577
|  | 1038 | 99.7566
|  | 1039 | 99.7609
|  | 1040 | 99.7709
|  | 1041 | 99.7712
|  | 1042 | 99.778
|  | 1043 | 99.7636
|  | 1044 | 99.7635
|  | 1045 | 99.7605
|  | 1046 | 99.7647
|  | 1047 | 99.7589
|  | 1048 | 99.7561
|  | 1049 | 99.7623
|  | 1050 | 99.7608
|  | 1051 | 99.7661
|  | 1052 | 99.7672
|  | 1053 | 99.7682
|  | 1054 | 99.7831
|  | 1055 | 99.787
|  | 1056 | 99.7828
|  | 1057 | 99.7729
|  | 1058 | 99.7599
|  | 1059 | 99.7609
|  | 1060 | 99.7679
|  | 1061 | 99.7532
|  | 1062 | 99.7711
|  | 1063 | 99.7856
|  | 1064 | 99.7873
|  | 1065 | 99.7745
|  | 1066 | 99.7913
|  | 1067 | 99.7836
|  | 1068 | 99.7826
|  | 1069 | 99.7815
|  | 1070 | 99.7817
|  | 1071 | 99.7752
|  | 1072 | 99.7712
|  | 1073 | 99.7614
|  | 1074 | 99.7748
|  | 1075 | 99.7674
|  | 1076 | 99.7904
|  | 1077 | 99.7887
|  | 1078 | 99.8018
|  | 1079 | 99.7895
|  | 1080 | 99.8021
|  | 1081 | 99.785
|  | 1082 | 99.7752
|  | 1083 | 99.7803
|  | 1084 | 99.7674
|  | 1085 | 99.7885
|  | 1086 | 99.7836
|  | 1087 | 99.7849
|  | 1088 | 99.791
|  | 1089 | 99.7919
|  | 1090 | 99.7965
|  | 1091 | 99.7954
|  | 1092 | 99.8081
|  | 1093 | 99.8077
|  | 1094 | 99.8037
|  | 1095 | 99.7877
|  | 1096 | 99.7826
|  | 1097 | 99.7816
|  | 1098 | 99.7786
|  | 1099 | 99.7859
|  | 1100 | 99.7829
|  | 1101 | 99.7976
|  | 1102 | 99.7917
|  | 1103 | 99.7943
|  | 1104 | 99.7909
|  | 1105 | 99.7959
|  | 1106 | 99.8101
|  | 1107 | 99.8002
|  | 1108 | 99.7927
|  | 1109 | 99.7922
|  | 1110 | 99.7915
|  | 1111 | 99.7732
|  | 1112 | 99.766
|  | 1113 | 99.7726
|  | 1114 | 99.7802
|  | 1115 | 99.783
|  | 1116 | 99.782
|  | 1117 | 99.7784
|  | 1118 | 99.786
|  | 1119 | 99.7875
|  | 1120 | 99.7813
|  | 1121 | 99.7775
|  | 1122 | 99.7705
|  | 1123 | 99.7663
|  | 1124 | 99.7486
|  | 1125 | 99.745
|  | 1126 | 99.7335
|  | 1127 | 99.7243
|  | 1128 | 99.7201
|  | 1129 | 99.7339
|  | 1130 | 99.7253
|  | 1131 | 99.7288
|  | 1132 | 99.7149
|  | 1133 | 99.7172
|  | 1134 | 99.7011
|  | 1135 | 99.6968
|  | 1136 | 99.6873
|  | 1137 | 99.6775
|  | 1138 | 99.6707
|  | 1139 | 99.6603
|  | 1140 | 99.6619
|  | 1141 | 99.658
|  | 1142 | 99.6624
|  | 1143 | 99.6786
|  | 1144 | 99.6869
|  | 1145 | 99.6894
|  | 1146 | 99.7124
|  | 1147 | 99.6977
|  | 1148 | 99.6928
|  | 1149 | 99.7066
|  | 1150 | 99.6947
|  | 1151 | 99.7019
|  | 1152 | 99.707
|  | 1153 | 99.6959
|  | 1154 | 99.6896
|  | 1155 | 99.6946
|  | 1156 | 99.6978
|  | 1157 | 99.6967
|  | 1158 | 99.7091
|  | 1159 | 99.7199
|  | 1160 | 99.7198
|  | 1161 | 99.7298
|  | 1162 | 99.7192
|  | 1163 | 99.7127
|  | 1164 | 99.7145
|  | 1165 | 99.7098
|  | 1166 | 99.7048
|  | 1167 | 99.7066
|  | 1168 | 99.6975
|  | 1169 | 99.6907
|  | 1170 | 99.6851
|  | 1171 | 99.6868
|  | 1172 | 99.6867
|  | 1173 | 99.6905
|  | 1174 | 99.701
|  | 1175 | 99.7002
|  | 1176 | 99.6981
|  | 1177 | 99.6939
|  | 1178 | 99.6973
|  | 1179 | 99.6835
|  | 1180 | 99.6745
|  | 1181 | 99.6773
|  | 1182 | 99.6719
|  | 1183 | 99.6571
|  | 1184 | 99.6406
|  | 1185 | 99.6329
|  | 1186 | 99.6346
|  | 1187 | 99.621
|  | 1188 | 99.6326
|  | 1189 | 99.6375
|  | 1190 | 99.647
|  | 1191 | 99.642
|  | 1192 | 99.645
|  | 1193 | 99.6478
|  | 1194 | 99.659
|  | 1195 | 99.667
|  | 1196 | 99.6688
|  | 1197 | 99.6767
|  | 1198 | 99.659
|  | 1199 | 99.6599
|  | 1200 | 99.6691
|  | 1201 | 99.6861
|  | 1202 | 99.6796
|  | 1203 | 99.6947
|  | 1204 | 99.6929
|  | 1205 | 99.7035
|  | 1206 | 99.7109
|  | 1207 | 99.7137
|  | 1208 | 99.7131
|  | 1209 | 99.7228
|  | 1210 | 99.7248
|  | 1211 | 99.7194
|  | 1212 | 99.7206
|  | 1213 | 99.714
|  | 1214 | 99.7132
|  | 1215 | 99.7151
|  | 1216 | 99.7204
|  | 1217 | 99.7288
|  | 1218 | 99.7089
|  | 1219 | 99.719
|  | 1220 | 99.7189
|  | 1221 | 99.7176
|  | 1222 | 99.7335
|  | 1223 | 99.735
|  | 1224 | 99.7393
|  | 1225 | 99.7454
|  | 1226 | 99.752
|  | 1227 | 99.7515
|  | 1228 | 99.7368
|  | 1229 | 99.7247
|  | 1230 | 99.7221
|  | 1231 | 99.7274
|  | 1232 | 99.7181
|  | 1233 | 99.7161
|  | 1234 | 99.6848
|  | 1235 | 99.6876
|  | 1236 | 99.6787
|  | 1237 | 99.6715
|  | 1238 | 99.6811
|  | 1239 | 99.673
|  | 1240 | 99.6647
|  | 1241 | 99.6636
|  | 1242 | 99.6435
|  | 1243 | 99.6501
|  | 1244 | 99.6448
|  | 1245 | 99.6422
|  | 1246 | 99.6443
|  | 1247 | 99.6429
|  | 1248 | 99.6373
|  | 1249 | 99.635
|  | 1250 | 99.6317
|  | 1251 | 99.6366
|  | 1252 | 99.6516
|  | 1253 | 99.6498
|  | 1254 | 99.6822
|  | 1255 | 99.6836
|  | 1256 | 99.6933
|  | 1257 | 99.7059
|  | 1258 | 99.707
|  | 1259 | 99.7328
|  | 1260 | 99.7297
|  | 1261 | 99.7456
|  | 1262 | 99.7544
|  | 1263 | 99.75
|  | 1264 | 99.7489
|  | 1265 | 99.74
|  | 1266 | 99.7437
|  | 1267 | 99.7513
|  | 1268 | 99.7583
|  | 1269 | 99.7611
|  | 1270 | 99.758
|  | 1271 | 99.7724
|  | 1272 | 99.7708
|  | 1273 | 99.7821
|  | 1274 | 99.7738
|  | 1275 | 99.7978
|  | 1276 | 99.8081
|  | 1277 | 99.808
|  | 1278 | 99.8043
|  | 1279 | 99.8
|  | 1280 | 99.8016
|  | 1281 | 99.7983
|  | 1282 | 99.8004
|  | 1283 | 99.8026
|  | 1284 | 99.7979
|  | 1285 | 99.799
|  | 1286 | 99.7953
|  | 1287 | 99.7914
|  | 1288 | 99.7887
|  | 1289 | 99.7959
|  | 1290 | 99.7994
|  | 1291 | 99.8147
|  | 1292 | 99.8163
|  | 1293 | 99.8192
|  | 1294 | 99.824
|  | 1295 | 99.8171
|  | 1296 | 99.829
|  | 1297 | 99.825
|  | 1298 | 99.8279
|  | 1299 | 99.8319
|  | 1300 | 99.8253
|  | 1301 | 99.8138
|  | 1302 | 99.8076
|  | 1303 | 99.7997
|  | 1304 | 99.7974
|  | 1305 | 99.7927
|  | 1306 | 99.8078
|  | 1307 | 99.8079
|  | 1308 | 99.8022
|  | 1309 | 99.8169
|  | 1310 | 99.8103
|  | 1311 | 99.8145
|  | 1312 | 99.8162
|  | 1313 | 99.8187
|  | 1314 | 99.825
|  | 1315 | 99.8162
|  | 1316 | 99.8116
|  | 1317 | 99.8058
|  | 1318 | 99.7941
|  | 1319 | 99.7908
|  | 1320 | 99.7896
|  | 1321 | 99.781
|  | 1322 | 99.7745
|  | 1323 | 99.7633
|  | 1324 | 99.7591
|  | 1325 | 99.7505
|  | 1326 | 99.751
|  | 1327 | 99.7487
|  | 1328 | 99.7436
|  | 1329 | 99.7447
|  | 1330 | 99.7494
|  | 1331 | 99.7401
|  | 1332 | 99.7323
|  | 1333 | 99.7176
|  | 1334 | 99.7151
|  | 1335 | 99.7193
|  | 1336 | 99.7075
|  | 1337 | 99.6986
|  | 1338 | 99.6751
|  | 1339 | 99.6579
|  | 1340 | 99.6408
|  | 1341 | 99.6296
|  | 1342 | 99.6264
|  | 1343 | 99.6185
|  | 1344 | 99.6124
|  | 1345 | 99.5973
|  | 1346 | 99.5844
|  | 1347 | 99.5714
|  | 1348 | 99.5707
|  | 1349 | 99.563
|  | 1350 | 99.5625
|  | 1351 | 99.5527
|  | 1352 | 99.5522
|  | 1353 | 99.5397
|  | 1354 | 99.5206
|  | 1355 | 99.4904
|  | 1356 | 99.4857
|  | 1357 | 99.4651
|  | 1358 | 99.4623
|  | 1359 | 99.4509
|  | 1360 | 99.4321
|  | 1361 | 99.4019
|  | 1362 | 99.3659
|  | 1363 | 99.3563
|  | 1364 | 99.3333
|  | 1365 | 99.2998
|  | 1366 | 99.2639
|  | 1367 | 99.2141
|  | 1368 | 99.1475
|  | 1369 | 99.0678
|  | 1370 | 98.9707
|  | 1371 | 98.8376
|  | 1372 | 98.6704
|  | 1373 | 98.4748
|  | 1374 | 98.2253
|  | 1375 | 97.9627
|  | 1376 | 97.6656
|  | 1377 | 97.3597
|  | 1378 | 97.0596
|  | 1379 | 96.8058
|  | 1380 | 96.5914
|  | 1381 | 96.4013
|  | 1382 | 96.274
|  | 1383 | 96.1822
|  | 1384 | 96.1418
|  | 1385 | 96.1663
|  | 1386 | 96.23
|  | 1387 | 96.3018
|  | 1388 | 96.4066
|  | 1389 | 96.534
|  | 1390 | 96.6591
|  | 1391 | 96.7946
|  | 1392 | 96.929
|  | 1393 | 97.0808
|  | 1394 | 97.213
|  | 1395 | 97.36
|  | 1396 | 97.4977
|  | 1397 | 97.6315
|  | 1398 | 97.7642
|  | 1399 | 97.8686
|  | 1400 | 97.9812
|  | 1401 | 98.096
|  | 1402 | 98.1976
|  | 1403 | 98.2841
|  | 1404 | 98.363
|  | 1405 | 98.4426
|  | 1406 | 98.5019
|  | 1407 | 98.558
|  | 1408 | 98.6372
|  | 1409 | 98.7068
|  | 1410 | 98.7723
|  | 1411 | 98.8115
|  | 1412 | 98.8711
|  | 1413 | 98.904
|  | 1414 | 98.9286
|  | 1415 | 98.9873
|  | 1416 | 99.0231
|  | 1417 | 99.0657
|  | 1418 | 99.0828
|  | 1419 | 99.1152
|  | 1420 | 99.1248
|  | 1421 | 99.1374
|  | 1422 | 99.1515
|  | 1423 | 99.1692
|  | 1424 | 99.1923
|  | 1425 | 99.197
|  | 1426 | 99.2083
|  | 1427 | 99.2137
|  | 1428 | 99.2245
|  | 1429 | 99.2333
|  | 1430 | 99.2478
|  | 1431 | 99.2747
|  | 1432 | 99.2925
|  | 1433 | 99.3135
|  | 1434 | 99.3238
|  | 1435 | 99.3332
|  | 1436 | 99.3504
|  | 1437 | 99.3755
|  | 1438 | 99.3857
|  | 1439 | 99.4124
|  | 1440 | 99.429
|  | 1441 | 99.4403
|  | 1442 | 99.4479
|  | 1443 | 99.4603
|  | 1444 | 99.4577
|  | 1445 | 99.4803
|  | 1446 | 99.4912
|  | 1447 | 99.4984
|  | 1448 | 99.5135
|  | 1449 | 99.5191
|  | 1450 | 99.5157
|  | 1451 | 99.5198
|  | 1452 | 99.5281
|  | 1453 | 99.5435
|  | 1454 | 99.5631
|  | 1455 | 99.5678
|  | 1456 | 99.5823
|  | 1457 | 99.5797
|  | 1458 | 99.5862
|  | 1459 | 99.6032
|  | 1460 | 99.6037
|  | 1461 | 99.6242
|  | 1462 | 99.6389
|  | 1463 | 99.6433
|  | 1464 | 99.6523
|  | 1465 | 99.6519
|  | 1466 | 99.6521
|  | 1467 | 99.6486
|  | 1468 | 99.6575
|  | 1469 | 99.668
|  | 1470 | 99.6752
|  | 1471 | 99.6771
|  | 1472 | 99.672
|  | 1473 | 99.6542
|  | 1474 | 99.6692
|  | 1475 | 99.6677
|  | 1476 | 99.67
|  | 1477 | 99.6886
|  | 1478 | 99.6914
|  | 1479 | 99.7001
|  | 1480 | 99.6987
|  | 1481 | 99.6986
|  | 1482 | 99.7099
|  | 1483 | 99.7223
|  | 1484 | 99.7295
|  | 1485 | 99.7404
|  | 1486 | 99.7443
|  | 1487 | 99.7436
|  | 1488 | 99.7399
|  | 1489 | 99.7414
|  | 1490 | 99.7471
|  | 1491 | 99.7558
|  | 1492 | 99.7717
|  | 1493 | 99.7592
|  | 1494 | 99.7556
|  | 1495 | 99.7523
|  | 1496 | 99.7442
|  | 1497 | 99.753
|  | 1498 | 99.7576
|  | 1499 | 99.766
|  | 1500 | 99.7792
|  | 1501 | 99.7657
|  | 1502 | 99.7659
|  | 1503 | 99.7643
|  | 1504 | 99.7627
|  | 1505 | 99.7805
|  | 1506 | 99.7857
|  | 1507 | 99.8105
|  | 1508 | 99.8096
|  | 1509 | 99.8079
|  | 1510 | 99.804
|  | 1511 | 99.7988
|  | 1512 | 99.8061
|  | 1513 | 99.8216
|  | 1514 | 99.8321
|  | 1515 | 99.8243
|  | 1516 | 99.8216
|  | 1517 | 99.8186
|  | 1518 | 99.7987
|  | 1519 | 99.8029
|  | 1520 | 99.8163
|  | 1521 | 99.8221
|  | 1522 | 99.823
|  | 1523 | 99.8002
|  | 1524 | 99.7997
|  | 1525 | 99.799
|  | 1526 | 99.8028
|  | 1527 | 99.8057
|  | 1528 | 99.8187
|  | 1529 | 99.8179
|  | 1530 | 99.8188
|  | 1531 | 99.828
|  | 1532 | 99.8168
|  | 1533 | 99.8244
|  | 1534 | 99.8406
|  | 1535 | 99.8434
|  | 1536 | 99.8496
|  | 1537 | 99.8455
|  | 1538 | 99.8416
|  | 1539 | 99.8427
|  | 1540 | 99.8305
|  | 1541 | 99.8389
|  | 1542 | 99.8345
|  | 1543 | 99.8433
|  | 1544 | 99.8535
|  | 1545 | 99.8378
|  | 1546 | 99.8278
|  | 1547 | 99.8246
|  | 1548 | 99.8076
|  | 1549 | 99.8132
|  | 1550 | 99.8248
|  | 1551 | 99.8186
|  | 1552 | 99.8239
|  | 1553 | 99.8259
|  | 1554 | 99.8219
|  | 1555 | 99.8125
|  | 1556 | 99.8218
|  | 1557 | 99.8205
|  | 1558 | 99.8342
|  | 1559 | 99.8342
|  | 1560 | 99.8327
|  | 1561 | 99.84
|  | 1562 | 99.8351
|  | 1563 | 99.8403
|  | 1564 | 99.835
|  | 1565 | 99.8556
|  | 1566 | 99.8489
|  | 1567 | 99.8589
|  | 1568 | 99.8472
|  | 1569 | 99.8469
|  | 1570 | 99.8355
|  | 1571 | 99.8276
|  | 1572 | 99.834
|  | 1573 | 99.8281
|  | 1574 | 99.828
|  | 1575 | 99.834
|  | 1576 | 99.8168
|  | 1577 | 99.8036
|  | 1578 | 99.8037
|  | 1579 | 99.8164
|  | 1580 | 99.8161
|  | 1581 | 99.8214
|  | 1582 | 99.8211
|  | 1583 | 99.8229
|  | 1584 | 99.8171
|  | 1585 | 99.8097
|  | 1586 | 99.8233
|  | 1587 | 99.8266
|  | 1588 | 99.8402
|  | 1589 | 99.8314
|  | 1590 | 99.8286
|  | 1591 | 99.8292
|  | 1592 | 99.8263
|  | 1593 | 99.8303
|  | 1594 | 99.8221
|  | 1595 | 99.8313
|  | 1596 | 99.8315
|  | 1597 | 99.8265
|  | 1598 | 99.813
|  | 1599 | 99.7999
|  | 1600 | 99.8038
|  | 1601 | 99.7967
|  | 1602 | 99.7994
|  | 1603 | 99.8015
|  | 1604 | 99.7863
|  | 1605 | 99.7772
|  | 1606 | 99.7795
|  | 1607 | 99.7676
|  | 1608 | 99.7788
|  | 1609 | 99.771
|  | 1610 | 99.7773
|  | 1611 | 99.7788
|  | 1612 | 99.7723
|  | 1613 | 99.7627
|  | 1614 | 99.7615
|  | 1615 | 99.7616
|  | 1616 | 99.7549
|  | 1617 | 99.7515
|  | 1618 | 99.7684
|  | 1619 | 99.7537
|  | 1620 | 99.7444
|  | 1621 | 99.7404
|  | 1622 | 99.735
|  | 1623 | 99.7312
|  | 1624 | 99.7221
|  | 1625 | 99.7347
|  | 1626 | 99.7181
|  | 1627 | 99.7057
|  | 1628 | 99.6867
|  | 1629 | 99.6669
|  | 1630 | 99.6454
|  | 1631 | 99.6359
|  | 1632 | 99.6304
|  | 1633 | 99.6115
|  | 1634 | 99.6033
|  | 1635 | 99.5724
|  | 1636 | 99.5572
|  | 1637 | 99.5474
|  | 1638 | 99.5362
|  | 1639 | 99.5253
|  | 1640 | 99.5184
|  | 1641 | 99.5113
|  | 1642 | 99.4788
|  | 1643 | 99.4413
|  | 1644 | 99.4185
|  | 1645 | 99.4088
|  | 1646 | 99.3762
|  | 1647 | 99.366
|  | 1648 | 99.3482
|  | 1649 | 99.3347
|  | 1650 | 99.3302
|  | 1651 | 99.3193
|  | 1652 | 99.315
|  | 1653 | 99.311
|  | 1654 | 99.3111
|  | 1655 | 99.2979
|  | 1656 | 99.2816
|  | 1657 | 99.2504
|  | 1658 | 99.2085
|  | 1659 | 99.1838
|  | 1660 | 99.1331
|  | 1661 | 99.0673
|  | 1662 | 99.011
|  | 1663 | 98.9258
|  | 1664 | 98.8366
|  | 1665 | 98.7508
|  | 1666 | 98.6771
|  | 1667 | 98.5851
|  | 1668 | 98.5238
|  | 1669 | 98.4847
|  | 1670 | 98.4444
|  | 1671 | 98.4326
|  | 1672 | 98.4375
|  | 1673 | 98.4514
|  | 1674 | 98.4888
|  | 1675 | 98.5253
|  | 1676 | 98.5641
|  | 1677 | 98.6094
|  | 1678 | 98.6363
|  | 1679 | 98.6559
|  | 1680 | 98.6528
|  | 1681 | 98.6492
|  | 1682 | 98.6362
|  | 1683 | 98.6061
|  | 1684 | 98.569
|  | 1685 | 98.5288
|  | 1686 | 98.4867
|  | 1687 | 98.4493
|  | 1688 | 98.4134
|  | 1689 | 98.4009
|  | 1690 | 98.4014
|  | 1691 | 98.4169
|  | 1692 | 98.4304
|  | 1693 | 98.4277
|  | 1694 | 98.425
|  | 1695 | 98.4136
|  | 1696 | 98.3884
|  | 1697 | 98.3771
|  | 1698 | 98.3672
|  | 1699 | 98.3541
|  | 1700 | 98.3539
|  | 1701 | 98.3728
|  | 1702 | 98.3851
|  | 1703 | 98.4099
|  | 1704 | 98.4365
|  | 1705 | 98.478
|  | 1706 | 98.5136
|  | 1707 | 98.5509
|  | 1708 | 98.5774
|  | 1709 | 98.5894
|  | 1710 | 98.6084
|  | 1711 | 98.6157
|  | 1712 | 98.6347
|  | 1713 | 98.6551
|  | 1714 | 98.6548
|  | 1715 | 98.6742
|  | 1716 | 98.6682
|  | 1717 | 98.6639
|  | 1718 | 98.6586
|  | 1719 | 98.6632
|  | 1720 | 98.6622
|  | 1721 | 98.674
|  | 1722 | 98.6817
|  | 1723 | 98.6791
|  | 1724 | 98.6861
|  | 1725 | 98.6859
|  | 1726 | 98.6937
|  | 1727 | 98.6976
|  | 1728 | 98.7019
|  | 1729 | 98.7107
|  | 1730 | 98.7074
|  | 1731 | 98.6904
|  | 1732 | 98.6947
|  | 1733 | 98.686
|  | 1734 | 98.6866
|  | 1735 | 98.6849
|  | 1736 | 98.6935
|  | 1737 | 98.7037
|  | 1738 | 98.7205
|  | 1739 | 98.7272
|  | 1740 | 98.7395
|  | 1741 | 98.7587
|  | 1742 | 98.7779
|  | 1743 | 98.8157
|  | 1744 | 98.8276
|  | 1745 | 98.8499
|  | 1746 | 98.8784
|  | 1747 | 98.8948
|  | 1748 | 98.9134
|  | 1749 | 98.9357
|  | 1750 | 98.9611
|  | 1751 | 98.9611
|  | 1752 | 98.9831
|  | 1753 | 98.986
|  | 1754 | 98.9826
|  | 1755 | 98.999
|  | 1756 | 99.0061
|  | 1757 | 99.0025
|  | 1758 | 99.0231
|  | 1759 | 99.0161
|  | 1760 | 99.0174
|  | 1761 | 99.0096
|  | 1762 | 99.004
|  | 1763 | 99.0099
|  | 1764 | 99.0004
|  | 1765 | 98.9998
|  | 1766 | 99.0152
|  | 1767 | 99.0068
|  | 1768 | 99.0098
|  | 1769 | 99.0186
|  | 1770 | 99.0164
|  | 1771 | 99.0324
|  | 1772 | 99.0399
|  | 1773 | 99.0627
|  | 1774 | 99.0804
|  | 1775 | 99.0863
|  | 1776 | 99.1122
|  | 1777 | 99.1082
|  | 1778 | 99.1251
|  | 1779 | 99.1515
|  | 1780 | 99.1343
|  | 1781 | 99.1568
|  | 1782 | 99.1632
|  | 1783 | 99.1674
|  | 1784 | 99.1594
|  | 1785 | 99.1711
|  | 1786 | 99.1654
|  | 1787 | 99.1701
|  | 1788 | 99.181
|  | 1789 | 99.1809
|  | 1790 | 99.1784
|  | 1791 | 99.17
|  | 1792 | 99.1788
|  | 1793 | 99.1816
|  | 1794 | 99.1844
|  | 1795 | 99.1858
|  | 1796 | 99.1874
|  | 1797 | 99.1822
|  | 1798 | 99.1798
|  | 1799 | 99.1814
|  | 1800 | 99.2015
|  | 1801 | 99.1862
|  | 1802 | 99.1935
|  | 1803 | 99.1989
|  | 1804 | 99.2117
|  | 1805 | 99.2131
|  | 1806 | 99.2052
|  | 1807 | 99.2123
|  | 1808 | 99.2094
|  | 1809 | 99.2134
|  | 1810 | 99.2259
|  | 1811 | 99.2264
|  | 1812 | 99.2373
|  | 1813 | 99.2294
|  | 1814 | 99.2263
|  | 1815 | 99.232
|  | 1816 | 99.2335
|  | 1817 | 99.2367
|  | 1818 | 99.2332
|  | 1819 | 99.2363
|  | 1820 | 99.2421
|  | 1821 | 99.2432
|  | 1822 | 99.2389
|  | 1823 | 99.228
|  | 1824 | 99.226
|  | 1825 | 99.2242
|  | 1826 | 99.2191
|  | 1827 | 99.2177
|  | 1828 | 99.2273
|  | 1829 | 99.2038
|  | 1830 | 99.2198
|  | 1831 | 99.2189
|  | 1832 | 99.2133
|  | 1833 | 99.224
|  | 1834 | 99.2402
|  | 1835 | 99.2141
|  | 1836 | 99.2269
|  | 1837 | 99.2372
|  | 1838 | 99.2323
|  | 1839 | 99.2676
|  | 1840 | 99.2451
|  | 1841 | 99.2531
|  | 1842 | 99.2607
|  | 1843 | 99.2678
|  | 1844 | 99.2675
|  | 1845 | 99.2738
|  | 1846 | 99.2869
|  | 1847 | 99.3012
|  | 1848 | 99.2925
|  | 1849 | 99.3101
|  | 1850 | 99.3091
|  | 1851 | 99.3177
|  | 1852 | 99.3226
|  | 1853 | 99.3167
|  | 1854 | 99.3202
|  | 1855 | 99.3186
|  | 1856 | 99.32
|  | 1857 | 99.3228
|  | 1858 | 99.3144
|  | 1859 | 99.3142
|  | 1860 | 99.3127
|  | 1861 | 99.3119
|  | 1862 | 99.3126
|  | 1863 | 99.316
|  | 1864 | 99.3133
|  | 1865 | 99.3018
|  | 1866 | 99.3068
|  | 1867 | 99.2973
|  | 1868 | 99.3023
|  | 1869 | 99.2922
|  | 1870 | 99.2908
|  | 1871 | 99.2962
|  | 1872 | 99.2944
|  | 1873 | 99.2876
|  | 1874 | 99.2826
|  | 1875 | 99.2985
|  | 1876 | 99.2943
|  | 1877 | 99.3058
|  | 1878 | 99.3012
|  | 1879 | 99.3059
|  | 1880 | 99.3106
|  | 1881 | 99.3167
|  | 1882 | 99.3116
|  | 1883 | 99.3161
|  | 1884 | 99.309
|  | 1885 | 99.312
|  | 1886 | 99.323
|  | 1887 | 99.3101
|  | 1888 | 99.3088
|  | 1889 | 99.3138
|  | 1890 | 99.3134
|  | 1891 | 99.3176
|  | 1892 | 99.3114
|  | 1893 | 99.3103
|  | 1894 | 99.3051
|  | 1895 | 99.311
|  | 1896 | 99.3061
|  | 1897 | 99.3078
|  | 1898 | 99.2935
|  | 1899 | 99.2949
|  | 1900 | 99.2974
|  | 1901 | 99.2866
|  | 1902 | 99.2769
|  | 1903 | 99.2743
|  | 1904 | 99.2577
|  | 1905 | 99.2777
|  | 1906 | 99.2436
|  | 1907 | 99.2673
|  | 1908 | 99.2506
|  | 1909 | 99.2466
|  | 1910 | 99.2477
|  | 1911 | 99.2396
|  | 1912 | 99.2555
|  | 1913 | 99.2365
|  | 1914 | 99.2496
|  | 1915 | 99.2435
|  | 1916 | 99.2468
|  | 1917 | 99.2517
|  | 1918 | 99.2519
|  | 1919 | 99.2525
|  | 1920 | 99.2467
|  | 1921 | 99.2633
|  | 1922 | 99.2664
|  | 1923 | 99.2705
|  | 1924 | 99.2596
|  | 1925 | 99.2798
|  | 1926 | 99.2745
|  | 1927 | 99.2881
|  | 1928 | 99.2851
|  | 1929 | 99.296
|  | 1930 | 99.2927
|  | 1931 | 99.3046
|  | 1932 | 99.2923
|  | 1933 | 99.2919
|  | 1934 | 99.2958
|  | 1935 | 99.2974
|  | 1936 | 99.3003
|  | 1937 | 99.2977
|  | 1938 | 99.3009
|  | 1939 | 99.3005
|  | 1940 | 99.3024
|  | 1941 | 99.3026
|  | 1942 | 99.3058
|  | 1943 | 99.3053
|  | 1944 | 99.3016
|  | 1945 | 99.2968
|  | 1946 | 99.3
|  | 1947 | 99.2931
|  | 1948 | 99.3033
|  | 1949 | 99.3166
|  | 1950 | 99.3038
|  | 1951 | 99.2991
|  | 1952 | 99.3015
|  | 1953 | 99.3025
|  | 1954 | 99.3062
|  | 1955 | 99.3067
|  | 1956 | 99.31
|  | 1957 | 99.3171
|  | 1958 | 99.3035
|  | 1959 | 99.3137
|  | 1960 | 99.3141
|  | 1961 | 99.3166
|  | 1962 | 99.3189
|  | 1963 | 99.3279
|  | 1964 | 99.3269
|  | 1965 | 99.3215
|  | 1966 | 99.3269
|  | 1967 | 99.3282
|  | 1968 | 99.3404
|  | 1969 | 99.3296
|  | 1970 | 99.3326
|  | 1971 | 99.3353
|  | 1972 | 99.3371
|  | 1973 | 99.3376
|  | 1974 | 99.3337
|  | 1975 | 99.3272
|  | 1976 | 99.346
|  | 1977 | 99.3264
|  | 1978 | 99.3444
|  | 1979 | 99.3299
|  | 1980 | 99.3342
|  | 1981 | 99.3294
|  | 1982 | 99.3277
|  | 1983 | 99.3185
|  | 1984 | 99.3161
|  | 1985 | 99.3232
|  | 1986 | 99.3136
|  | 1987 | 99.3062
|  | 1988 | 99.315
|  | 1989 | 99.299
|  | 1990 | 99.2956
|  | 1991 | 99.2886
|  | 1992 | 99.2835
|  | 1993 | 99.2785
|  | 1994 | 99.2735
|  | 1995 | 99.266
|  | 1996 | 99.2648
|  | 1997 | 99.2544
|  | 1998 | 99.2558
|  | 1999 | 99.2496
|  | 2000 | 99.2522
|  | 2001 | 99.243
|  | 2002 | 99.2326
|  | 2003 | 99.2324
|  | 2004 | 99.2263
|  | 2005 | 99.2188
|  | 2006 | 99.2218
|  | 2007 | 99.2048
|  | 2008 | 99.2105
|  | 2009 | 99.2011
|  | 2010 | 99.1966
|  | 2011 | 99.1893
|  | 2012 | 99.1774
|  | 2013 | 99.1755
|  | 2014 | 99.1683
|  | 2015 | 99.1621
|  | 2016 | 99.1521
|  | 2017 | 99.1486
|  | 2018 | 99.1393
|  | 2019 | 99.1364
|  | 2020 | 99.1175
|  | 2021 | 99.1159
|  | 2022 | 99.0911
|  | 2023 | 99.0908
|  | 2024 | 99.0775
|  | 2025 | 99.058
|  | 2026 | 99.0472
|  | 2027 | 99.0379
|  | 2028 | 99.0191
|  | 2029 | 99.0081
|  | 2030 | 98.9784
|  | 2031 | 98.9767
|  | 2032 | 98.9564
|  | 2033 | 98.9583
|  | 2034 | 98.9236
|  | 2035 | 98.9133
|  | 2036 | 98.9037
|  | 2037 | 98.8831
|  | 2038 | 98.8754
|  | 2039 | 98.8684
|  | 2040 | 98.8544
|  | 2041 | 98.8418
|  | 2042 | 98.8384
|  | 2043 | 98.816
|  | 2044 | 98.8175
|  | 2045 | 98.8044
|  | 2046 | 98.7982
|  | 2047 | 98.7869
|  | 2048 | 98.7866
|  | 2049 | 98.7771
|  | 2050 | 98.7773
|  | 2051 | 98.7707
|  | 2052 | 98.7616
|  | 2053 | 98.7631
|  | 2054 | 98.7538
|  | 2055 | 98.7622
|  | 2056 | 98.7492
|  | 2057 | 98.7428
|  | 2058 | 98.7442
|  | 2059 | 98.7285
|  | 2060 | 98.7385
|  | 2061 | 98.7234
|  | 2062 | 98.7281
|  | 2063 | 98.7153
|  | 2064 | 98.7115
|  | 2065 | 98.6983
|  | 2066 | 98.7041
|  | 2067 | 98.6945
|  | 2068 | 98.6765
|  | 2069 | 98.6815
|  | 2070 | 98.6701
|  | 2071 | 98.666
|  | 2072 | 98.6586
|  | 2073 | 98.6501
|  | 2074 | 98.6438
|  | 2075 | 98.6335
|  | 2076 | 98.6214
|  | 2077 | 98.6225
|  | 2078 | 98.6203
|  | 2079 | 98.6029
|  | 2080 | 98.6049
|  | 2081 | 98.5922
|  | 2082 | 98.5901
|  | 2083 | 98.5785
|  | 2084 | 98.5821
|  | 2085 | 98.5747
|  | 2086 | 98.563
|  | 2087 | 98.5659
|  | 2088 | 98.5525
|  | 2089 | 98.5436
|  | 2090 | 98.5402
|  | 2091 | 98.5438
|  | 2092 | 98.5265
|  | 2093 | 98.5342
|  | 2094 | 98.5179
|  | 2095 | 98.5259
|  | 2096 | 98.504
|  | 2097 | 98.5078
|  | 2098 | 98.4932
|  | 2099 | 98.4997
|  | 2100 | 98.4675
|  | 2101 | 98.4644
|  | 2102 | 98.4568
|  | 2103 | 98.4444
|  | 2104 | 98.4216
|  | 2105 | 98.4157
|  | 2106 | 98.3881
|  | 2107 | 98.3716
|  | 2108 | 98.3469
|  | 2109 | 98.3179
|  | 2110 | 98.2951
|  | 2111 | 98.2712
|  | 2112 | 98.2461
|  | 2113 | 98.2238
|  | 2114 | 98.1846
|  | 2115 | 98.1672
|  | 2116 | 98.1251
|  | 2117 | 98.1014
|  | 2118 | 98.0703
|  | 2119 | 98.0433
|  | 2120 | 98.0079
|  | 2121 | 97.9647
|  | 2122 | 97.9245
|  | 2123 | 97.8844
|  | 2124 | 97.8363
|  | 2125 | 97.7855
|  | 2126 | 97.709
|  | 2127 | 97.6416
|  | 2128 | 97.5569
|  | 2129 | 97.4719
|  | 2130 | 97.3798
|  | 2131 | 97.2821
|  | 2132 | 97.1913
|  | 2133 | 97.1032
|  | 2134 | 97.0323
|  | 2135 | 96.9647
|  | 2136 | 96.9051
|  | 2137 | 96.8717
|  | 2138 | 96.8511
|  | 2139 | 96.8337
|  | 2140 | 96.8397
|  | 2141 | 96.8463
|  | 2142 | 96.8659
|  | 2143 | 96.8729
|  | 2144 | 96.8866
|  | 2145 | 96.8931
|  | 2146 | 96.8904
|  | 2147 | 96.8872
|  | 2148 | 96.8572
|  | 2149 | 96.8241
|  | 2150 | 96.7801
|  | 2151 | 96.7154
|  | 2152 | 96.6345
|  | 2153 | 96.5421
|  | 2154 | 96.449
|  | 2155 | 96.3371
|  | 2156 | 96.2237
|  | 2157 | 96.1014
|  | 2158 | 95.9822
|  | 2159 | 95.873
|  | 2160 | 95.764
|  | 2161 | 95.6749
|  | 2162 | 95.6019
|  | 2163 | 95.545
|  | 2164 | 95.5104
|  | 2165 | 95.4898
|  | 2166 | 95.4923
|  | 2167 | 95.5134
|  | 2168 | 95.5449
|  | 2169 | 95.5883
|  | 2170 | 95.6419
|  | 2171 | 95.6875
|  | 2172 | 95.7213
|  | 2173 | 95.7475
|  | 2174 | 95.7635
|  | 2175 | 95.7655
|  | 2176 | 95.7357
|  | 2177 | 95.7013
|  | 2178 | 95.6387
|  | 2179 | 95.5573
|  | 2180 | 95.4628
|  | 2181 | 95.3518
|  | 2182 | 95.2138
|  | 2183 | 95.0588
|  | 2184 | 94.8937
|  | 2185 | 94.7126
|  | 2186 | 94.5038
|  | 2187 | 94.2687
|  | 2188 | 94.0143
|  | 2189 | 93.7521
|  | 2190 | 93.4494
|  | 2191 | 93.1333
|  | 2192 | 92.7831
|  | 2193 | 92.3891
|  | 2194 | 91.9955
|  | 2195 | 91.5551
|  | 2196 | 91.0924
|  | 2197 | 90.6199
|  | 2198 | 90.1161
|  | 2199 | 89.608
|  | 2200 | 89.0844
|  | 2201 | 88.6033
|  | 2202 | 88.0945
|  | 2203 | 87.6335
|  | 2204 | 87.1947
|  | 2205 | 86.8016
|  | 2206 | 86.4583
|  | 2207 | 86.1762
|  | 2208 | 85.9548
|  | 2209 | 85.7746
|  | 2210 | 85.6607
|  | 2211 | 85.5972
|  | 2212 | 85.5799
|  | 2213 | 85.6144
|  | 2214 | 85.6941
|  | 2215 | 85.7979
|  | 2216 | 85.9389
|  | 2217 | 86.0799
|  | 2218 | 86.242
|  | 2219 | 86.4116
|  | 2220 | 86.5778
|  | 2221 | 86.7519
|  | 2222 | 86.9087
|  | 2223 | 87.055
|  | 2224 | 87.1952
|  | 2225 | 87.3172
|  | 2226 | 87.4222
|  | 2227 | 87.5261
|  | 2228 | 87.6048
|  | 2229 | 87.685
|  | 2230 | 87.7545
|  | 2231 | 87.8095
|  | 2232 | 87.8564
|  | 2233 | 87.9021
|  | 2234 | 87.923
|  | 2235 | 87.9502
|  | 2236 | 87.9742
|  | 2237 | 87.9963
|  | 2238 | 88.005
|  | 2239 | 88.0102
|  | 2240 | 88.0117
|  | 2241 | 87.99
|  | 2242 | 87.9827
|  | 2243 | 87.9731
|  | 2244 | 87.954
|  | 2245 | 87.9262
|  | 2246 | 87.9167
|  | 2247 | 87.887
|  | 2248 | 87.8576
|  | 2249 | 87.8334
|  | 2250 | 87.8127
|  | 2251 | 87.7911
|  | 2252 | 87.7773
|  | 2253 | 87.7643
|  | 2254 | 87.7489
|  | 2255 | 87.7315
|  | 2256 | 87.7244
|  | 2257 | 87.7106
|  | 2258 | 87.7148
|  | 2259 | 87.6977
|  | 2260 | 87.7098
|  | 2261 | 87.7201
|  | 2262 | 87.7041
|  | 2263 | 87.702
|  | 2264 | 87.693
|  | 2265 | 87.6964
|  | 2266 | 87.7025
|  | 2267 | 87.7034
|  | 2268 | 87.7084
|  | 2269 | 87.7186
|  | 2270 | 87.733
|  | 2271 | 87.7537
|  | 2272 | 87.78
|  | 2273 | 87.8106
|  | 2274 | 87.847
|  | 2275 | 87.8893
|  | 2276 | 87.9315
|  | 2277 | 87.9767
|  | 2278 | 88.0246
|  | 2279 | 88.0688
|  | 2280 | 88.1108
|  | 2281 | 88.1561
|  | 2282 | 88.1936
|  | 2283 | 88.216
|  | 2284 | 88.2532
|  | 2285 | 88.2781
|  | 2286 | 88.3001
|  | 2287 | 88.3162
|  | 2288 | 88.3412
|  | 2289 | 88.359
|  | 2290 | 88.3799
|  | 2291 | 88.4013
|  | 2292 | 88.4227
|  | 2293 | 88.4482
|  | 2294 | 88.4985
|  | 2295 | 88.5374
|  | 2296 | 88.5846
|  | 2297 | 88.6375
|  | 2298 | 88.6773
|  | 2299 | 88.7319
|  | 2300 | 88.8034
|  | 2301 | 88.8756
|  | 2302 | 88.9448
|  | 2303 | 89.0108
|  | 2304 | 89.0739
|  | 2305 | 89.1381
|  | 2306 | 89.2034
|  | 2307 | 89.2679
|  | 2308 | 89.3168
|  | 2309 | 89.3647
|  | 2310 | 89.4078
|  | 2311 | 89.4535
|  | 2312 | 89.4925
|  | 2313 | 89.5456
|  | 2314 | 89.6021
|  | 2315 | 89.6829
|  | 2316 | 89.7664
|  | 2317 | 89.8736
|  | 2318 | 89.9969
|  | 2319 | 90.1115
|  | 2320 | 90.2597
|  | 2321 | 90.3883
|  | 2322 | 90.5528
|  | 2323 | 90.6946
|  | 2324 | 90.8203
|  | 2325 | 90.9479
|  | 2326 | 91.0612
|  | 2327 | 91.1876
|  | 2328 | 91.2886
|  | 2329 | 91.3859
|  | 2330 | 91.4885
|  | 2331 | 91.5772
|  | 2332 | 91.6592
|  | 2333 | 91.7695
|  | 2334 | 91.8445
|  | 2335 | 91.9224
|  | 2336 | 92.0148
|  | 2337 | 92.0768
|  | 2338 | 92.1511
|  | 2339 | 92.2034
|  | 2340 | 92.2574
|  | 2341 | 92.2805
|  | 2342 | 92.3391
|  | 2343 | 92.3722
|  | 2344 | 92.3804
|  | 2345 | 92.4157
|  | 2346 | 92.4219
|  | 2347 | 92.434
|  | 2348 | 92.4458
|  | 2349 | 92.4633
|  | 2350 | 92.4648
|  | 2351 | 92.4831
|  | 2352 | 92.4931
|  | 2353 | 92.5058
|  | 2354 | 92.5183
|  | 2355 | 92.5283
|  | 2356 | 92.5376
|  | 2357 | 92.5491
|  | 2358 | 92.5454
|  | 2359 | 92.5367
|  | 2360 | 92.5369
|  | 2361 | 92.5111
|  | 2362 | 92.4995
|  | 2363 | 92.4798
|  | 2364 | 92.4674
|  | 2365 | 92.4552
|  | 2366 | 92.4398
|  | 2367 | 92.4288
|  | 2368 | 92.4181
|  | 2369 | 92.4033
|  | 2370 | 92.3894
|  | 2371 | 92.3918
|  | 2372 | 92.3662
|  | 2373 | 92.3701
|  | 2374 | 92.3621
|  | 2375 | 92.3497
|  | 2376 | 92.3472
|  | 2377 | 92.3249
|  | 2378 | 92.3132
|  | 2379 | 92.3035
|  | 2380 | 92.2832
|  | 2381 | 92.2623
|  | 2382 | 92.233
|  | 2383 | 92.1983
|  | 2384 | 92.1656
|  | 2385 | 92.1414
|  | 2386 | 92.103
|  | 2387 | 92.0682
|  | 2388 | 92.0301
|  | 2389 | 92.0002
|  | 2390 | 91.9709
|  | 2391 | 91.9362
|  | 2392 | 91.9144
|  | 2393 | 91.8788
|  | 2394 | 91.8509
|  | 2395 | 91.8199
|  | 2396 | 91.7835
|  | 2397 | 91.7678
|  | 2398 | 91.7304
|  | 2399 | 91.7088
|  | 2400 | 91.6862
|  | 2401 | 91.6669
|  | 2402 | 91.6613
|  | 2403 | 91.6597
|  | 2404 | 91.6686
|  | 2405 | 91.6817
|  | 2406 | 91.7118
|  | 2407 | 91.7413
|  | 2408 | 91.7754
|  | 2409 | 91.8168
|  | 2410 | 91.8484
|  | 2411 | 91.8764
|  | 2412 | 91.9131
|  | 2413 | 91.9341
|  | 2414 | 91.9455
|  | 2415 | 91.9547
|  | 2416 | 91.9612
|  | 2417 | 91.9653
|  | 2418 | 91.9591
|  | 2419 | 91.9512
|  | 2420 | 91.9416
|  | 2421 | 91.9416
|  | 2422 | 91.9214
|  | 2423 | 91.9088
|  | 2424 | 91.8857
|  | 2425 | 91.8672
|  | 2426 | 91.85
|  | 2427 | 91.8216
|  | 2428 | 91.8062
|  | 2429 | 91.7541
|  | 2430 | 91.7282
|  | 2431 | 91.6895
|  | 2432 | 91.645
|  | 2433 | 91.5876
|  | 2434 | 91.5139
|  | 2435 | 91.4539
|  | 2436 | 91.3629
|  | 2437 | 91.2669
|  | 2438 | 91.1606
|  | 2439 | 91.0366
|  | 2440 | 90.9098
|  | 2441 | 90.7693
|  | 2442 | 90.6019
|  | 2443 | 90.4244
|  | 2444 | 90.26
|  | 2445 | 90.0576
|  | 2446 | 89.8501
|  | 2447 | 89.6566
|  | 2448 | 89.4491
|  | 2449 | 89.2417
|  | 2450 | 89.0267
|  | 2451 | 88.8257
|  | 2452 | 88.6239
|  | 2453 | 88.4297
|  | 2454 | 88.2421
|  | 2455 | 88.0558
|  | 2456 | 87.8832
|  | 2457 | 87.7337
|  | 2458 | 87.5885
|  | 2459 | 87.4747
|  | 2460 | 87.384
|  | 2461 | 87.3316
|  | 2462 | 87.298
|  | 2463 | 87.2967
|  | 2464 | 87.3332
|  | 2465 | 87.3885
|  | 2466 | 87.4668
|  | 2467 | 87.5638
|  | 2468 | 87.6759
|  | 2469 | 87.7921
|  | 2470 | 87.9148
|  | 2471 | 88.0387
|  | 2472 | 88.1523
|  | 2473 | 88.2622
|  | 2474 | 88.371
|  | 2475 | 88.4564
|  | 2476 | 88.5342
|  | 2477 | 88.6018
|  | 2478 | 88.6473
|  | 2479 | 88.6903
|  | 2480 | 88.7067
|  | 2481 | 88.7195
|  | 2482 | 88.7043
|  | 2483 | 88.6912
|  | 2484 | 88.661
|  | 2485 | 88.624
|  | 2486 | 88.5784
|  | 2487 | 88.5291
|  | 2488 | 88.4736
|  | 2489 | 88.413
|  | 2490 | 88.3506
|  | 2491 | 88.2832
|  | 2492 | 88.2114
|  | 2493 | 88.1515
|  | 2494 | 88.0821
|  | 2495 | 88.0125
|  | 2496 | 87.9398
|  | 2497 | 87.874
|  | 2498 | 87.7858
|  | 2499 | 87.7163
|  | 2500 | 87.63