## Transmission
|  | Wavelength (nm) | % Transmission
|  | 200 | 9.3e-05
|  | 201 | 0.000103
|  | 202 | 0.000103
|  | 203 | 0.000112
Product Raw Data |  | 204 | 0.000113
Ø25 mm Neutral Density Filter, AR Coated: 350-700 nm, OD: 1.0 |  | 205 | 0.000108
|  | 206 | 9e-05
Item # | NE10B-A | 207 | 8.5e-05
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 208 | 7.9e-05
|  | 209 | 9.6e-05
|  | 210 | 9.3e-05
|  | 211 | 0.000102
|  | 212 | 9.3e-05
|  | 213 | 8.2e-05
|  | 214 | 8.6e-05
Additional Information: |  | 215 | 0.000104
Measurements Made at Normal Incidence |  | 216 | 8.7e-05
|  | 217 | 8.5e-05
|  | 218 | 7.8e-05
|  | 219 | 8.5e-05
|  | 220 | 9.1e-05
|  | 221 | 8.3e-05
|  | 222 | 7.8e-05
|  | 223 | 9.7e-05
|  | 224 | 8.3e-05
|  | 225 | 9.2e-05
|  | 226 | 8e-05
|  | 227 | 7.3e-05
|  | 228 | 7.4e-05
|  | 229 | 8.6e-05
|  | 230 | 8.6e-05
|  | 231 | 8e-05
|  | 232 | 6.7e-05
|  | 233 | 7.2e-05
|  | 234 | 7.8e-05
|  | 235 | 6.9e-05
|  | 236 | 6.6e-05
|  | 237 | 7.1e-05
|  | 238 | 6.4e-05
|  | 239 | 7.8e-05
|  | 240 | 7.9e-05
|  | 241 | 8.2e-05
|  | 242 | 6.5e-05
|  | 243 | 7.2e-05
|  | 244 | 7.7e-05
|  | 245 | 6.8e-05
|  | 246 | 6.5e-05
|  | 247 | 7.8e-05
|  | 248 | 7.6e-05
|  | 249 | 6.6e-05
|  | 250 | 6.6e-05
|  | 251 | 8e-05
|  | 252 | 7.9e-05
|  | 253 | 7e-05
|  | 254 | 6.1e-05
|  | 255 | 6.7e-05
|  | 256 | 6.7e-05
|  | 257 | 5.6e-05
|  | 258 | 5.4e-05
|  | 259 | 5.9e-05
|  | 260 | 7.4e-05
|  | 261 | 6.6e-05
|  | 262 | 6.6e-05
|  | 263 | 6.6e-05
|  | 264 | 6.2e-05
|  | 265 | 5.4e-05
|  | 266 | 4.5e-05
|  | 267 | 5e-05
|  | 268 | 3.7e-05
|  | 269 | 4.3e-05
|  | 270 | 4.7e-05
|  | 271 | 4.8e-05
|  | 272 | 3.6e-05
|  | 273 | 3.8e-05
|  | 274 | 3.9e-05
|  | 275 | 5.6e-05
|  | 276 | 6.2e-05
|  | 277 | 5.3e-05
|  | 278 | 3.5e-05
|  | 279 | 3.9e-05
|  | 280 | 4.7e-05
|  | 281 | 5.6e-05
|  | 282 | 5.2e-05
|  | 283 | 4.9e-05
|  | 284 | 4e-05
|  | 285 | 5.5e-05
|  | 286 | 5e-05
|  | 287 | 5.7e-05
|  | 288 | 5e-05
|  | 289 | 5e-05
|  | 290 | 4.9e-05
|  | 291 | 4.7e-05
|  | 292 | 6e-05
|  | 293 | 5.5e-05
|  | 294 | 4.9e-05
|  | 295 | 4.5e-05
|  | 296 | 4.8e-05
|  | 297 | 4e-05
|  | 298 | 4.7e-05
|  | 299 | 4.4e-05
|  | 300 | 4.7e-05
|  | 301 | 5.4e-05
|  | 302 | 3.2e-05
|  | 303 | 1.4e-05
|  | 304 | 2.7e-05
|  | 305 | 3.8e-05
|  | 306 | 3.2e-05
|  | 307 | 2.7e-05
|  | 308 | 4.4e-05
|  | 309 | 3e-05
|  | 310 | 1.7e-05
|  | 311 | 1.9e-05
|  | 312 | 2.5e-05
|  | 313 | 3.4e-05
|  | 314 | 3.1e-05
|  | 315 | 2.4e-05
|  | 316 | 2.6e-05
|  | 317 | 3.5e-05
|  | 318 | 4.4e-05
|  | 319 | 3.7e-05
|  | 320 | 3.5e-05
|  | 321 | 4e-05
|  | 322 | 3.4e-05
|  | 323 | 3.3e-05
|  | 324 | 3.2e-05
|  | 325 | 4.1e-05
|  | 326 | 4.4e-05
|  | 327 | 3.6e-05
|  | 328 | 4.6e-05
|  | 329 | 5e-05
|  | 330 | 4.7e-05
|  | 331 | 5.4e-05
|  | 332 | 8.7e-05
|  | 333 | 0.000125
|  | 334 | 0.000204
|  | 335 | 0.000346
|  | 336 | 0.00061
|  | 337 | 0.001029
|  | 338 | 0.001711
|  | 339 | 0.002775
|  | 340 | 0.004422
|  | 341 | 0.006823
|  | 342 | 0.01024
|  | 343 | 0.014918
|  | 344 | 0.021295
|  | 345 | 0.029857
|  | 346 | 0.04112
|  | 347 | 0.0559
|  | 348 | 0.074984
|  | 349 | 0.098999
|  | 350 | 0.12858
|  | 351 | 0.1644
|  | 352 | 0.2066
|  | 353 | 0.25572
|  | 354 | 0.31236
|  | 355 | 0.37833
|  | 356 | 0.45329
|  | 357 | 0.53952
|  | 358 | 0.63662
|  | 359 | 0.74423
|  | 360 | 0.86341
|  | 361 | 0.99006
|  | 362 | 1.1245
|  | 363 | 1.0213
|  | 364 | 1.4423
|  | 365 | 1.6076
|  | 366 | 1.7126
|  | 367 | 1.8294
|  | 368 | 1.947
|  | 369 | 1.9191
|  | 370 | 2.0679
|  | 371 | 2.0614
|  | 372 | 2.2357
|  | 373 | 2.0462
|  | 374 | 1.9786
|  | 375 | 1.9809
|  | 376 | 1.8987
|  | 377 | 1.9439
|  | 378 | 1.9026
|  | 379 | 2.2076
|  | 380 | 2.2522
|  | 381 | 2.4298
|  | 382 | 2.7625
|  | 383 | 3.2068
|  | 384 | 3.401
|  | 385 | 3.9071
|  | 386 | 4.2074
|  | 387 | 4.6488
|  | 388 | 4.8393
|  | 389 | 5.319
|  | 390 | 5.7597
|  | 391 | 6.071
|  | 392 | 6.4597
|  | 393 | 6.6847
|  | 394 | 6.9406
|  | 395 | 7.2357
|  | 396 | 7.4788
|  | 397 | 7.6576
|  | 398 | 7.8695
|  | 399 | 8.0546
|  | 400 | 8.1686
|  | 401 | 8.2305
|  | 402 | 8.3598
|  | 403 | 8.4733
|  | 404 | 8.4457
|  | 405 | 8.4934
|  | 406 | 8.5096
|  | 407 | 8.5111
|  | 408 | 8.575
|  | 409 | 8.5145
|  | 410 | 8.4926
|  | 411 | 8.5273
|  | 412 | 8.5325
|  | 413 | 8.5603
|  | 414 | 8.5632
|  | 415 | 8.6075
|  | 416 | 8.6634
|  | 417 | 8.6952
|  | 418 | 8.7947
|  | 419 | 8.862
|  | 420 | 8.9397
|  | 421 | 8.974
|  | 422 | 9.1216
|  | 423 | 9.1684
|  | 424 | 9.2403
|  | 425 | 9.3554
|  | 426 | 9.4229
|  | 427 | 9.4622
|  | 428 | 9.5471
|  | 429 | 9.5626
|  | 430 | 9.6049
|  | 431 | 9.616
|  | 432 | 9.6499
|  | 433 | 9.6315
|  | 434 | 9.6184
|  | 435 | 9.6076
|  | 436 | 9.5584
|  | 437 | 9.5245
|  | 438 | 9.4668
|  | 439 | 9.4918
|  | 440 | 9.4929
|  | 441 | 9.5357
|  | 442 | 9.5358
|  | 443 | 9.6312
|  | 444 | 9.6834
|  | 445 | 9.7781
|  | 446 | 9.8723
|  | 447 | 10.0035
|  | 448 | 10.0802
|  | 449 | 10.2148
|  | 450 | 10.3371
|  | 451 | 10.48
|  | 452 | 10.5984
|  | 453 | 10.6931
|  | 454 | 10.813
|  | 455 | 10.9029
|  | 456 | 10.9981
|  | 457 | 11.0601
|  | 458 | 11.1642
|  | 459 | 11.1961
|  | 460 | 11.2532
|  | 461 | 11.2867
|  | 462 | 11.3172
|  | 463 | 11.3269
|  | 464 | 11.3335
|  | 465 | 11.3224
|  | 466 | 11.3112
|  | 467 | 11.2861
|  | 468 | 11.2473
|  | 469 | 11.219
|  | 470 | 11.1743
|  | 471 | 11.1455
|  | 472 | 11.0898
|  | 473 | 11.0434
|  | 474 | 10.9959
|  | 475 | 10.9553
|  | 476 | 10.9098
|  | 477 | 10.8483
|  | 478 | 10.7942
|  | 479 | 10.74
|  | 480 | 10.6831
|  | 481 | 10.6253
|  | 482 | 10.5752
|  | 483 | 10.5374
|  | 484 | 10.4734
|  | 485 | 10.4426
|  | 486 | 10.3826
|  | 487 | 10.3504
|  | 488 | 10.3008
|  | 489 | 10.2619
|  | 490 | 10.24
|  | 491 | 10.1892
|  | 492 | 10.1774
|  | 493 | 10.1373
|  | 494 | 10.1167
|  | 495 | 10.0745
|  | 496 | 10.0493
|  | 497 | 10.0266
|  | 498 | 10.0107
|  | 499 | 9.9845
|  | 500 | 9.9699
|  | 501 | 9.9551
|  | 502 | 9.9394
|  | 503 | 9.9278
|  | 504 | 9.9147
|  | 505 | 9.906
|  | 506 | 9.882
|  | 507 | 9.8875
|  | 508 | 9.8947
|  | 509 | 9.8776
|  | 510 | 9.8906
|  | 511 | 9.9086
|  | 512 | 9.9168
|  | 513 | 9.9297
|  | 514 | 9.9409
|  | 515 | 9.9655
|  | 516 | 9.9753
|  | 517 | 10.0107
|  | 518 | 10.033
|  | 519 | 10.0522
|  | 520 | 10.0824
|  | 521 | 10.1019
|  | 522 | 10.1324
|  | 523 | 10.175
|  | 524 | 10.2099
|  | 525 | 10.2484
|  | 526 | 10.2846
|  | 527 | 10.3215
|  | 528 | 10.3762
|  | 529 | 10.4188
|  | 530 | 10.4608
|  | 531 | 10.5029
|  | 532 | 10.5551
|  | 533 | 10.5953
|  | 534 | 10.638
|  | 535 | 10.6735
|  | 536 | 10.7081
|  | 537 | 10.7475
|  | 538 | 10.7896
|  | 539 | 10.8339
|  | 540 | 10.8468
|  | 541 | 10.8775
|  | 542 | 10.8869
|  | 543 | 10.9066
|  | 544 | 10.9199
|  | 545 | 10.9408
|  | 546 | 10.942
|  | 547 | 10.9419
|  | 548 | 10.9471
|  | 549 | 10.9345
|  | 550 | 10.9301
|  | 551 | 10.9214
|  | 552 | 10.8864
|  | 553 | 10.8727
|  | 554 | 10.8364
|  | 555 | 10.8091
|  | 556 | 10.7829
|  | 557 | 10.7515
|  | 558 | 10.6939
|  | 559 | 10.6586
|  | 560 | 10.62
|  | 561 | 10.5783
|  | 562 | 10.5236
|  | 563 | 10.491
|  | 564 | 10.4261
|  | 565 | 10.3623
|  | 566 | 10.3311
|  | 567 | 10.2616
|  | 568 | 10.1963
|  | 569 | 10.1321
|  | 570 | 10.0973
|  | 571 | 10.0384
|  | 572 | 9.9775
|  | 573 | 9.9235
|  | 574 | 9.8724
|  | 575 | 9.8161
|  | 576 | 9.7588
|  | 577 | 9.7093
|  | 578 | 9.6578
|  | 579 | 9.6179
|  | 580 | 9.5678
|  | 581 | 9.5275
|  | 582 | 9.4931
|  | 583 | 9.4496
|  | 584 | 9.412
|  | 585 | 9.3924
|  | 586 | 9.3605
|  | 587 | 9.3363
|  | 588 | 9.3258
|  | 589 | 9.3046
|  | 590 | 9.2966
|  | 591 | 9.296
|  | 592 | 9.2988
|  | 593 | 9.3068
|  | 594 | 9.3115
|  | 595 | 9.3237
|  | 596 | 9.3437
|  | 597 | 9.355
|  | 598 | 9.3796
|  | 599 | 9.4027
|  | 600 | 9.4157
|  | 601 | 9.4453
|  | 602 | 9.4726
|  | 603 | 9.4917
|  | 604 | 9.5229
|  | 605 | 9.5503
|  | 606 | 9.5726
|  | 607 | 9.6029
|  | 608 | 9.6313
|  | 609 | 9.661
|  | 610 | 9.6887
|  | 611 | 9.7207
|  | 612 | 9.7505
|  | 613 | 9.7797
|  | 614 | 9.8062
|  | 615 | 9.8389
|  | 616 | 9.8645
|  | 617 | 9.8886
|  | 618 | 9.9184
|  | 619 | 9.943
|  | 620 | 9.9614
|  | 621 | 9.9804
|  | 622 | 10.0043
|  | 623 | 10.0156
|  | 624 | 10.0287
|  | 625 | 10.042
|  | 626 | 10.05
|  | 627 | 10.0572
|  | 628 | 10.0627
|  | 629 | 10.0635
|  | 630 | 10.0599
|  | 631 | 10.0659
|  | 632 | 10.0574
|  | 633 | 10.0553
|  | 634 | 10.0513
|  | 635 | 10.0404
|  | 636 | 10.0431
|  | 637 | 10.042
|  | 638 | 10.0323
|  | 639 | 10.0251
|  | 640 | 10.0275
|  | 641 | 10.0215
|  | 642 | 10.0238
|  | 643 | 10.0209
|  | 644 | 10.0276
|  | 645 | 10.034
|  | 646 | 10.0375
|  | 647 | 10.0531
|  | 648 | 10.064
|  | 649 | 10.0866
|  | 650 | 10.1126
|  | 651 | 10.1359
|  | 652 | 10.167
|  | 653 | 10.1968
|  | 654 | 10.2309
|  | 655 | 10.276
|  | 656 | 10.3179
|  | 657 | 10.3697
|  | 658 | 10.4229
|  | 659 | 10.4837
|  | 660 | 10.5501
|  | 661 | 10.6182
|  | 662 | 10.6922
|  | 663 | 10.7748
|  | 664 | 10.8587
|  | 665 | 10.9513
|  | 666 | 11.0499
|  | 667 | 11.1547
|  | 668 | 11.2655
|  | 669 | 11.3792
|  | 670 | 11.5047
|  | 671 | 11.6386
|  | 672 | 11.771
|  | 673 | 11.9147
|  | 674 | 12.0693
|  | 675 | 12.2297
|  | 676 | 12.3879
|  | 677 | 12.5544
|  | 678 | 12.7313
|  | 679 | 12.911
|  | 680 | 13.0828
|  | 681 | 13.2722
|  | 682 | 13.4559
|  | 683 | 13.6448
|  | 684 | 13.836
|  | 685 | 14.0205
|  | 686 | 14.2078
|  | 687 | 14.3871
|  | 688 | 14.568
|  | 689 | 14.7491
|  | 690 | 14.9233
|  | 691 | 15.0886
|  | 692 | 15.2589
|  | 693 | 15.4147
|  | 694 | 15.5694
|  | 695 | 15.7149
|  | 696 | 15.8592
|  | 697 | 15.9948
|  | 698 | 16.1188
|  | 699 | 16.246
|  | 700 | 16.3665
|  | 701 | 16.4723
|  | 702 | 16.5784
|  | 703 | 16.6762
|  | 704 | 16.7684
|  | 705 | 16.8617
|  | 706 | 16.9407
|  | 707 | 17.0203
|  | 708 | 17.0876
|  | 709 | 17.1558
|  | 710 | 17.2121
|  | 711 | 17.281
|  | 712 | 17.33
|  | 713 | 17.3829
|  | 714 | 17.4352
|  | 715 | 17.4633
|  | 716 | 17.5151
|  | 717 | 17.5475
|  | 718 | 17.5814
|  | 719 | 17.6004
|  | 720 | 17.6314
|  | 721 | 17.6629
|  | 722 | 17.6772
|  | 723 | 17.6943
|  | 724 | 17.7082
|  | 725 | 17.7169
|  | 726 | 17.7321
|  | 727 | 17.7379
|  | 728 | 17.7478
|  | 729 | 17.7503
|  | 730 | 17.7495
|  | 731 | 17.7531
|  | 732 | 17.7543
|  | 733 | 17.7432
|  | 734 | 17.7433
|  | 735 | 17.7366
|  | 736 | 17.73
|  | 737 | 17.7247
|  | 738 | 17.7209
|  | 739 | 17.7057
|  | 740 | 17.6907
|  | 741 | 17.6758
|  | 742 | 17.6576
|  | 743 | 17.6434
|  | 744 | 17.6217
|  | 745 | 17.601
|  | 746 | 17.5835
|  | 747 | 17.5625
|  | 748 | 17.545
|  | 749 | 17.513
|  | 750 | 17.4894
|  | 751 | 17.4693
|  | 752 | 17.4395
|  | 753 | 17.4213
|  | 754 | 17.3933
|  | 755 | 17.3636
|  | 756 | 17.3321
|  | 757 | 17.3009
|  | 758 | 17.2783
|  | 759 | 17.2389
|  | 760 | 17.2174
|  | 761 | 17.1786
|  | 762 | 17.1495
|  | 763 | 17.1125
|  | 764 | 17.0805
|  | 765 | 17.05
|  | 766 | 17.0107
|  | 767 | 16.9763
|  | 768 | 16.9333
|  | 769 | 16.9047
|  | 770 | 16.8694
|  | 771 | 16.8284
|  | 772 | 16.7945
|  | 773 | 16.7554
|  | 774 | 16.7135
|  | 775 | 16.6768
|  | 776 | 16.6397
|  | 777 | 16.6036
|  | 778 | 16.5633
|  | 779 | 16.5238
|  | 780 | 16.4737
|  | 781 | 16.4443
|  | 782 | 16.3946
|  | 783 | 16.361
|  | 784 | 16.3212
|  | 785 | 16.2783
|  | 786 | 16.2322
|  | 787 | 16.191
|  | 788 | 16.1517
|  | 789 | 16.11
|  | 790 | 16.0721
|  | 791 | 16.0257
|  | 792 | 15.9868
|  | 793 | 15.9416
|  | 794 | 15.9035
|  | 795 | 15.8529
|  | 796 | 15.8125
|  | 797 | 15.7625
|  | 798 | 15.7204
|  | 799 | 15.6815
|  | 800 | 15.6408
|  | 801 | 15.5904
|  | 802 | 15.5516
|  | 803 | 15.509
|  | 804 | 15.4667
|  | 805 | 15.4209
|  | 806 | 15.3776
|  | 807 | 15.3326
|  | 808 | 15.2898
|  | 809 | 15.2461
|  | 810 | 15.198
|  | 811 | 15.1562
|  | 812 | 15.1121
|  | 813 | 15.0715
|  | 814 | 15.0267
|  | 815 | 14.9792
|  | 816 | 14.9383
|  | 817 | 14.8966
|  | 818 | 14.8522
|  | 819 | 14.8132
|  | 820 | 14.7646
|  | 821 | 14.7127
|  | 822 | 14.6751
|  | 823 | 14.6382
|  | 824 | 14.5903
|  | 825 | 14.5504
|  | 826 | 14.5046
|  | 827 | 14.4672
|  | 828 | 14.4187
|  | 829 | 14.376
|  | 830 | 14.3331
|  | 831 | 14.2952
|  | 832 | 14.2414
|  | 833 | 14.2018
|  | 834 | 14.158
|  | 835 | 14.1182
|  | 836 | 14.0766
|  | 837 | 14.0311
|  | 838 | 13.9917
|  | 839 | 13.945
|  | 840 | 13.9081
|  | 841 | 13.869
|  | 842 | 13.8275
|  | 843 | 13.7802
|  | 844 | 13.7366
|  | 845 | 13.6954
|  | 846 | 13.6541
|  | 847 | 13.6119
|  | 848 | 13.5737
|  | 849 | 13.5329
|  | 850 | 13.4881
|  | 851 | 13.4487
|  | 852 | 13.4093
|  | 853 | 13.3656
|  | 854 | 13.3215
|  | 855 | 13.2827
|  | 856 | 13.2386
|  | 857 | 13.198
|  | 858 | 13.1582
|  | 859 | 13.1199
|  | 860 | 13.0789
|  | 861 | 13.0363
|  | 862 | 12.9971
|  | 863 | 12.9542
|  | 864 | 12.9151
|  | 865 | 12.8761
|  | 866 | 12.8354
|  | 867 | 12.7937
|  | 868 | 12.758
|  | 869 | 12.7158
|  | 870 | 12.68
|  | 871 | 12.6386
|  | 872 | 12.5991
|  | 873 | 12.5599
|  | 874 | 12.5206
|  | 875 | 12.4833
|  | 876 | 12.4422
|  | 877 | 12.4054
|  | 878 | 12.3659
|  | 879 | 12.3279
|  | 880 | 12.2872
|  | 881 | 12.2516
|  | 882 | 12.2127
|  | 883 | 12.1745
|  | 884 | 12.1381
|  | 885 | 12.1018
|  | 886 | 12.0625
|  | 887 | 12.0238
|  | 888 | 11.988
|  | 889 | 11.9481
|  | 890 | 11.9124
|  | 891 | 11.876
|  | 892 | 11.8402
|  | 893 | 11.8025
|  | 894 | 11.7654
|  | 895 | 11.728
|  | 896 | 11.6937
|  | 897 | 11.6568
|  | 898 | 11.6211
|  | 899 | 11.5846
|  | 900 | 11.55
|  | 901 | 11.5127
|  | 902 | 11.4779
|  | 903 | 11.4442
|  | 904 | 11.4094
|  | 905 | 11.3745
|  | 906 | 11.3403
|  | 907 | 11.3055
|  | 908 | 11.2694
|  | 909 | 11.2336
|  | 910 | 11.2001
|  | 911 | 11.1679
|  | 912 | 11.1342
|  | 913 | 11.0999
|  | 914 | 11.0665
|  | 915 | 11.0319
|  | 916 | 10.9993
|  | 917 | 10.9659
|  | 918 | 10.9335
|  | 919 | 10.9015
|  | 920 | 10.8664
|  | 921 | 10.8362
|  | 922 | 10.8033
|  | 923 | 10.7722
|  | 924 | 10.7388
|  | 925 | 10.7097
|  | 926 | 10.6777
|  | 927 | 10.6452
|  | 928 | 10.6142
|  | 929 | 10.5844
|  | 930 | 10.555
|  | 931 | 10.523
|  | 932 | 10.4928
|  | 933 | 10.4628
|  | 934 | 10.4318
|  | 935 | 10.4032
|  | 936 | 10.3721
|  | 937 | 10.3436
|  | 938 | 10.3139
|  | 939 | 10.2859
|  | 940 | 10.2572
|  | 941 | 10.2276
|  | 942 | 10.1996
|  | 943 | 10.171
|  | 944 | 10.1423
|  | 945 | 10.1131
|  | 946 | 10.0848
|  | 947 | 10.0575
|  | 948 | 10.03
|  | 949 | 10.0017
|  | 950 | 9.9761
|  | 951 | 9.9483
|  | 952 | 9.9192
|  | 953 | 9.8931
|  | 954 | 9.8676
|  | 955 | 9.8399
|  | 956 | 9.8133
|  | 957 | 9.789
|  | 958 | 9.763
|  | 959 | 9.7367
|  | 960 | 9.7123
|  | 961 | 9.687
|  | 962 | 9.6612
|  | 963 | 9.6371
|  | 964 | 9.6129
|  | 965 | 9.5882
|  | 966 | 9.5637
|  | 967 | 9.5408
|  | 968 | 9.5168
|  | 969 | 9.4932
|  | 970 | 9.4698
|  | 971 | 9.4469
|  | 972 | 9.4242
|  | 973 | 9.4015
|  | 974 | 9.3783
|  | 975 | 9.3568
|  | 976 | 9.3352
|  | 977 | 9.3121
|  | 978 | 9.2899
|  | 979 | 9.2692
|  | 980 | 9.2475
|  | 981 | 9.2259
|  | 982 | 9.2052
|  | 983 | 9.1844
|  | 984 | 9.1633
|  | 985 | 9.1426
|  | 986 | 9.1225
|  | 987 | 9.103
|  | 988 | 9.0823
|  | 989 | 9.0622
|  | 990 | 9.0429
|  | 991 | 9.0231
|  | 992 | 9.0035
|  | 993 | 8.9852
|  | 994 | 8.9664
|  | 995 | 8.9475
|  | 996 | 8.929
|  | 997 | 8.9111
|  | 998 | 8.8925
|  | 999 | 8.875
|  | 1000 | 8.8568
|  | 1001 | 8.8407
|  | 1002 | 8.8213
|  | 1003 | 8.8048
|  | 1004 | 8.7877
|  | 1005 | 8.7714
|  | 1006 | 8.7532
|  | 1007 | 8.7375
|  | 1008 | 8.7207
|  | 1009 | 8.7054
|  | 1010 | 8.6886
|  | 1011 | 8.6745
|  | 1012 | 8.6574
|  | 1013 | 8.6415
|  | 1014 | 8.6282
|  | 1015 | 8.6126
|  | 1016 | 8.5966
|  | 1017 | 8.5827
|  | 1018 | 8.5678
|  | 1019 | 8.5532
|  | 1020 | 8.5399
|  | 1021 | 8.5255
|  | 1022 | 8.5104
|  | 1023 | 8.4976
|  | 1024 | 8.4832
|  | 1025 | 8.4697
|  | 1026 | 8.4571
|  | 1027 | 8.4436
|  | 1028 | 8.4313
|  | 1029 | 8.4184
|  | 1030 | 8.4066
|  | 1031 | 8.3928
|  | 1032 | 8.3816
|  | 1033 | 8.37
|  | 1034 | 8.3571
|  | 1035 | 8.3456
|  | 1036 | 8.3338
|  | 1037 | 8.3232
|  | 1038 | 8.3116
|  | 1039 | 8.3017
|  | 1040 | 8.2903
|  | 1041 | 8.2787
|  | 1042 | 8.2693
|  | 1043 | 8.2582
|  | 1044 | 8.2485
|  | 1045 | 8.238
|  | 1046 | 8.2282
|  | 1047 | 8.2182
|  | 1048 | 8.2099
|  | 1049 | 8.1994
|  | 1050 | 8.1757
|  | 1051 | 8.164
|  | 1052 | 8.1562
|  | 1053 | 8.1473
|  | 1054 | 8.1369
|  | 1055 | 8.1296
|  | 1056 | 8.1201
|  | 1057 | 8.1149
|  | 1058 | 8.1083
|  | 1059 | 8.0989
|  | 1060 | 8.0897
|  | 1061 | 8.084
|  | 1062 | 8.0764
|  | 1063 | 8.0681
|  | 1064 | 8.0626
|  | 1065 | 8.0564
|  | 1066 | 8.0486
|  | 1067 | 8.0385
|  | 1068 | 8.0356
|  | 1069 | 8.0291
|  | 1070 | 8.0224
|  | 1071 | 8.0173
|  | 1072 | 8.012
|  | 1073 | 8.0071
|  | 1074 | 7.9982
|  | 1075 | 7.9939
|  | 1076 | 7.9923
|  | 1077 | 7.9824
|  | 1078 | 7.9801
|  | 1079 | 7.9751
|  | 1080 | 7.9706
|  | 1081 | 7.9649
|  | 1082 | 7.9604
|  | 1083 | 7.9572
|  | 1084 | 7.9525
|  | 1085 | 7.948
|  | 1086 | 7.9458
|  | 1087 | 7.943
|  | 1088 | 7.9389
|  | 1089 | 7.9364
|  | 1090 | 7.9337
|  | 1091 | 7.9296
|  | 1092 | 7.926
|  | 1093 | 7.9267
|  | 1094 | 7.9246
|  | 1095 | 7.9188
|  | 1096 | 7.9185
|  | 1097 | 7.9181
|  | 1098 | 7.9129
|  | 1099 | 7.9122
|  | 1100 | 7.912
|  | 1101 | 7.9121
|  | 1102 | 7.9115
|  | 1103 | 7.9082
|  | 1104 | 7.9071
|  | 1105 | 7.9062
|  | 1106 | 7.9055
|  | 1107 | 7.9071
|  | 1108 | 7.9061
|  | 1109 | 7.907
|  | 1110 | 7.9051
|  | 1111 | 7.9053
|  | 1112 | 7.9065
|  | 1113 | 7.906
|  | 1114 | 7.909
|  | 1115 | 7.9107
|  | 1116 | 7.9108
|  | 1117 | 7.9089
|  | 1118 | 7.9127
|  | 1119 | 7.9186
|  | 1120 | 7.9142
|  | 1121 | 7.9188
|  | 1122 | 7.9213
|  | 1123 | 7.9214
|  | 1124 | 7.9233
|  | 1125 | 7.9264
|  | 1126 | 7.9283
|  | 1127 | 7.9316
|  | 1128 | 7.9356
|  | 1129 | 7.9389
|  | 1130 | 7.9411
|  | 1131 | 7.9423
|  | 1132 | 7.9495
|  | 1133 | 7.9511
|  | 1134 | 7.9559
|  | 1135 | 7.96
|  | 1136 | 7.9663
|  | 1137 | 7.9746
|  | 1138 | 7.9663
|  | 1139 | 7.9809
|  | 1140 | 7.9817
|  | 1141 | 7.9878
|  | 1142 | 7.9971
|  | 1143 | 7.9968
|  | 1144 | 8.0036
|  | 1145 | 8.0097
|  | 1146 | 8.0184
|  | 1147 | 8.0215
|  | 1148 | 8.0279
|  | 1149 | 8.0374
|  | 1150 | 8.036
|  | 1151 | 8.0478
|  | 1152 | 8.0543
|  | 1153 | 8.0611
|  | 1154 | 8.0667
|  | 1155 | 8.0786
|  | 1156 | 8.0827
|  | 1157 | 8.0929
|  | 1158 | 8.0952
|  | 1159 | 8.106
|  | 1160 | 8.116
|  | 1161 | 8.1219
|  | 1162 | 8.1306
|  | 1163 | 8.1422
|  | 1164 | 8.1456
|  | 1165 | 8.1564
|  | 1166 | 8.169
|  | 1167 | 8.1746
|  | 1168 | 8.1926
|  | 1169 | 8.1904
|  | 1170 | 8.2049
|  | 1171 | 8.2151
|  | 1172 | 8.2255
|  | 1173 | 8.2379
|  | 1174 | 8.2445
|  | 1175 | 8.2588
|  | 1176 | 8.2697
|  | 1177 | 8.2788
|  | 1178 | 8.2901
|  | 1179 | 8.3039
|  | 1180 | 8.3143
|  | 1181 | 8.3267
|  | 1182 | 8.3343
|  | 1183 | 8.3493
|  | 1184 | 8.3627
|  | 1185 | 8.3746
|  | 1186 | 8.3906
|  | 1187 | 8.3985
|  | 1188 | 8.416
|  | 1189 | 8.4279
|  | 1190 | 8.4402
|  | 1191 | 8.4532
|  | 1192 | 8.4672
|  | 1193 | 8.4823
|  | 1194 | 8.4933
|  | 1195 | 8.5098
|  | 1196 | 8.5223
|  | 1197 | 8.539
|  | 1198 | 8.5546
|  | 1199 | 8.5685
|  | 1200 | 8.5862
|  | 1201 | 8.6006
|  | 1202 | 8.6119
|  | 1203 | 8.6289
|  | 1204 | 8.6458
|  | 1205 | 8.6621
|  | 1206 | 8.6777
|  | 1207 | 8.6937
|  | 1208 | 8.7112
|  | 1209 | 8.7271
|  | 1210 | 8.7451
|  | 1211 | 8.774
|  | 1212 | 8.7803
|  | 1213 | 8.7972
|  | 1214 | 8.8134
|  | 1215 | 8.8348
|  | 1216 | 8.852
|  | 1217 | 8.8671
|  | 1218 | 8.8877
|  | 1219 | 8.9075
|  | 1220 | 8.9255
|  | 1221 | 8.9393
|  | 1222 | 8.9666
|  | 1223 | 8.9849
|  | 1224 | 9.0016
|  | 1225 | 9.0204
|  | 1226 | 9.0432
|  | 1227 | 9.0684
|  | 1228 | 9.0866
|  | 1229 | 9.1043
|  | 1230 | 9.1201
|  | 1231 | 9.1485
|  | 1232 | 9.1694
|  | 1233 | 9.1907
|  | 1234 | 9.2073
|  | 1235 | 9.2304
|  | 1236 | 9.2613
|  | 1237 | 9.2783
|  | 1238 | 9.298
|  | 1239 | 9.3199
|  | 1240 | 9.3471
|  | 1241 | 9.3682
|  | 1242 | 9.3914
|  | 1243 | 9.4171
|  | 1244 | 9.4398
|  | 1245 | 9.4636
|  | 1246 | 9.4866
|  | 1247 | 9.5115
|  | 1248 | 9.5368
|  | 1249 | 9.5624
|  | 1250 | 9.5868
|  | 1251 | 9.5886
|  | 1252 | 9.6343
|  | 1253 | 9.6594
|  | 1254 | 9.6884
|  | 1255 | 9.7133
|  | 1256 | 9.7362
|  | 1257 | 9.7644
|  | 1258 | 9.7976
|  | 1259 | 9.8204
|  | 1260 | 9.8433
|  | 1261 | 9.8747
|  | 1262 | 9.9015
|  | 1263 | 9.9273
|  | 1264 | 9.9531
|  | 1265 | 9.9827
|  | 1266 | 9.9847
|  | 1267 | 10.0381
|  | 1268 | 10.0651
|  | 1269 | 10.0955
|  | 1270 | 10.124
|  | 1271 | 10.1509
|  | 1272 | 10.181
|  | 1273 | 10.2102
|  | 1274 | 10.2377
|  | 1275 | 10.2683
|  | 1276 | 10.2986
|  | 1277 | 10.3284
|  | 1278 | 10.3574
|  | 1279 | 10.3886
|  | 1280 | 10.4193
|  | 1281 | 10.4506
|  | 1282 | 10.4806
|  | 1283 | 10.514
|  | 1284 | 10.5426
|  | 1285 | 10.5715
|  | 1286 | 10.607
|  | 1287 | 10.6395
|  | 1288 | 10.6714
|  | 1289 | 10.7023
|  | 1290 | 10.7343
|  | 1291 | 10.7666
|  | 1292 | 10.7988
|  | 1293 | 10.8309
|  | 1294 | 10.8657
|  | 1295 | 10.8979
|  | 1296 | 10.9284
|  | 1297 | 10.9667
|  | 1298 | 10.9956
|  | 1299 | 11.0312
|  | 1300 | 11.065
|  | 1301 | 11.099
|  | 1302 | 11.1344
|  | 1303 | 11.1671
|  | 1304 | 11.203
|  | 1305 | 11.2353
|  | 1306 | 11.2745
|  | 1307 | 11.3021
|  | 1308 | 11.3425
|  | 1309 | 11.3758
|  | 1310 | 11.4131
|  | 1311 | 11.4532
|  | 1312 | 11.4849
|  | 1313 | 11.5169
|  | 1314 | 11.555
|  | 1315 | 11.5972
|  | 1316 | 11.6205
|  | 1317 | 11.6645
|  | 1318 | 11.7002
|  | 1319 | 11.7379
|  | 1320 | 11.7751
|  | 1321 | 11.8108
|  | 1322 | 11.8465
|  | 1323 | 11.8842
|  | 1324 | 11.9204
|  | 1325 | 11.961
|  | 1326 | 11.9966
|  | 1327 | 12.0329
|  | 1328 | 12.0711
|  | 1329 | 12.1073
|  | 1330 | 12.1467
|  | 1331 | 12.1875
|  | 1332 | 12.2225
|  | 1333 | 12.2623
|  | 1334 | 12.3025
|  | 1335 | 12.341
|  | 1336 | 12.3753
|  | 1337 | 12.4184
|  | 1338 | 12.4575
|  | 1339 | 12.4928
|  | 1340 | 12.5283
|  | 1341 | 12.574
|  | 1342 | 12.6176
|  | 1343 | 12.6516
|  | 1344 | 12.6959
|  | 1345 | 12.7291
|  | 1346 | 12.7652
|  | 1347 | 12.8088
|  | 1348 | 12.8481
|  | 1349 | 12.8874
|  | 1350 | 12.9286
|  | 1351 | 12.9668
|  | 1352 | 13.0073
|  | 1353 | 13.0487
|  | 1354 | 13.0896
|  | 1355 | 13.1287
|  | 1356 | 13.1704
|  | 1357 | 13.21
|  | 1358 | 13.2506
|  | 1359 | 13.2932
|  | 1360 | 13.3352
|  | 1361 | 13.3732
|  | 1362 | 13.4179
|  | 1363 | 13.4616
|  | 1364 | 13.5056
|  | 1365 | 13.5467
|  | 1366 | 13.5926
|  | 1367 | 13.6278
|  | 1368 | 13.6681
|  | 1369 | 13.7132
|  | 1370 | 13.7528
|  | 1371 | 13.7895
|  | 1372 | 13.8329
|  | 1373 | 13.8708
|  | 1374 | 13.9116
|  | 1375 | 13.9531
|  | 1376 | 13.9873
|  | 1377 | 14.0259
|  | 1378 | 14.0624
|  | 1379 | 14.104
|  | 1380 | 14.1455
|  | 1381 | 14.1834
|  | 1382 | 14.2281
|  | 1383 | 14.2666
|  | 1384 | 14.3039
|  | 1385 | 14.3447
|  | 1386 | 14.3836
|  | 1387 | 14.4161
|  | 1388 | 14.4592
|  | 1389 | 14.4916
|  | 1390 | 14.5301
|  | 1391 | 14.5644
|  | 1392 | 14.5994
|  | 1393 | 14.6358
|  | 1394 | 14.673
|  | 1395 | 14.7087
|  | 1396 | 14.7502
|  | 1397 | 14.7874
|  | 1398 | 14.8165
|  | 1399 | 14.852
|  | 1400 | 14.8874
|  | 1401 | 14.9266
|  | 1402 | 14.9627
|  | 1403 | 15.0016
|  | 1404 | 15.0459
|  | 1405 | 15.0644
|  | 1406 | 15.1197
|  | 1407 | 15.1508
|  | 1408 | 15.1987
|  | 1409 | 15.2316
|  | 1410 | 15.2804
|  | 1411 | 15.3185
|  | 1412 | 15.3634
|  | 1413 | 15.4017
|  | 1414 | 15.4416
|  | 1415 | 15.482
|  | 1416 | 15.5259
|  | 1417 | 15.5708
|  | 1418 | 15.6147
|  | 1419 | 15.658
|  | 1420 | 15.6996
|  | 1421 | 15.7319
|  | 1422 | 15.7845
|  | 1423 | 15.8281
|  | 1424 | 15.8671
|  | 1425 | 15.9119
|  | 1426 | 15.9558
|  | 1427 | 15.9965
|  | 1428 | 16.0419
|  | 1429 | 16.084
|  | 1430 | 16.1274
|  | 1431 | 16.1699
|  | 1432 | 16.2147
|  | 1433 | 16.2593
|  | 1434 | 16.2987
|  | 1435 | 16.3417
|  | 1436 | 16.3832
|  | 1437 | 16.4252
|  | 1438 | 16.4697
|  | 1439 | 16.5098
|  | 1440 | 16.551
|  | 1441 | 16.5932
|  | 1442 | 16.636
|  | 1443 | 16.6758
|  | 1444 | 16.72
|  | 1445 | 16.7591
|  | 1446 | 16.7993
|  | 1447 | 16.8415
|  | 1448 | 16.8821
|  | 1449 | 16.921
|  | 1450 | 16.9615
|  | 1451 | 17.0012
|  | 1452 | 17.04
|  | 1453 | 17.0816
|  | 1454 | 17.1212
|  | 1455 | 17.162
|  | 1456 | 17.1987
|  | 1457 | 17.2362
|  | 1458 | 17.2748
|  | 1459 | 17.3133
|  | 1460 | 17.3535
|  | 1461 | 17.3926
|  | 1462 | 17.431
|  | 1463 | 17.4694
|  | 1464 | 17.5071
|  | 1465 | 17.5464
|  | 1466 | 17.5974
|  | 1467 | 17.6211
|  | 1468 | 17.6124
|  | 1469 | 17.6927
|  | 1470 | 17.7357
|  | 1471 | 17.7754
|  | 1472 | 17.8058
|  | 1473 | 17.8417
|  | 1474 | 17.8758
|  | 1475 | 17.9115
|  | 1476 | 17.9508
|  | 1477 | 17.9829
|  | 1478 | 18.0182
|  | 1479 | 18.0542
|  | 1480 | 18.091
|  | 1481 | 18.1254
|  | 1482 | 18.1598
|  | 1483 | 18.1972
|  | 1484 | 18.2372
|  | 1485 | 18.2617
|  | 1486 | 18.2954
|  | 1487 | 18.33
|  | 1488 | 18.3642
|  | 1489 | 18.3989
|  | 1490 | 18.4318
|  | 1491 | 18.4673
|  | 1492 | 18.4874
|  | 1493 | 18.5283
|  | 1494 | 18.5619
|  | 1495 | 18.5953
|  | 1496 | 18.627
|  | 1497 | 18.6497
|  | 1498 | 18.6882
|  | 1499 | 18.7227
|  | 1500 | 18.7489
|  | 1501 | 18.781
|  | 1502 | 18.8082
|  | 1503 | 18.8399
|  | 1504 | 18.8779
|  | 1505 | 18.9014
|  | 1506 | 18.9309
|  | 1507 | 18.9516
|  | 1508 | 18.989
|  | 1509 | 19.0199
|  | 1510 | 19.0443
|  | 1511 | 19.0749
|  | 1512 | 19.1177
|  | 1513 | 19.1216
|  | 1514 | 19.1597
|  | 1515 | 19.1886
|  | 1516 | 19.2161
|  | 1517 | 19.2399
|  | 1518 | 19.2662
|  | 1519 | 19.2954
|  | 1520 | 19.3246
|  | 1521 | 19.3538
|  | 1522 | 19.3589
|  | 1523 | 19.3985
|  | 1524 | 19.4311
|  | 1525 | 19.4524
|  | 1526 | 19.4657
|  | 1527 | 19.4998
|  | 1528 | 19.5278
|  | 1529 | 19.5494
|  | 1530 | 19.5719
|  | 1531 | 19.586
|  | 1532 | 19.6221
|  | 1533 | 19.6463
|  | 1534 | 19.6642
|  | 1535 | 19.6793
|  | 1536 | 19.7175
|  | 1537 | 19.7344
|  | 1538 | 19.7444
|  | 1539 | 19.784
|  | 1540 | 19.8014
|  | 1541 | 19.8188
|  | 1542 | 19.8405
|  | 1543 | 19.8521
|  | 1544 | 19.89
|  | 1545 | 19.9008
|  | 1546 | 19.9226
|  | 1547 | 19.9294
|  | 1548 | 19.9721
|  | 1549 | 19.982
|  | 1550 | 19.9956
|  | 1551 | 20.0153
|  | 1552 | 20.0387
|  | 1553 | 20.0601
|  | 1554 | 20.0762
|  | 1555 | 20.0944
|  | 1556 | 20.1106
|  | 1557 | 20.1379
|  | 1558 | 20.1479
|  | 1559 | 20.1644
|  | 1560 | 20.1735
|  | 1561 | 20.1999
|  | 1562 | 20.2126
|  | 1563 | 20.2272
|  | 1564 | 20.2433
|  | 1565 | 20.2592
|  | 1566 | 20.2774
|  | 1567 | 20.288
|  | 1568 | 20.3035
|  | 1569 | 20.3219
|  | 1570 | 20.3357
|  | 1571 | 20.3489
|  | 1572 | 20.3648
|  | 1573 | 20.3776
|  | 1574 | 20.3882
|  | 1575 | 20.4032
|  | 1576 | 20.4183
|  | 1577 | 20.4336
|  | 1578 | 20.4447
|  | 1579 | 20.4566
|  | 1580 | 20.4693
|  | 1581 | 20.4798
|  | 1582 | 20.4933
|  | 1583 | 20.5063
|  | 1584 | 20.5052
|  | 1585 | 20.54
|  | 1586 | 20.5391
|  | 1587 | 20.5507
|  | 1588 | 20.5561
|  | 1589 | 20.5744
|  | 1590 | 20.5798
|  | 1591 | 20.5905
|  | 1592 | 20.6085
|  | 1593 | 20.6137
|  | 1594 | 20.6121
|  | 1595 | 20.6366
|  | 1596 | 20.645
|  | 1597 | 20.6515
|  | 1598 | 20.6497
|  | 1599 | 20.6678
|  | 1600 | 20.6842
|  | 1601 | 20.6778
|  | 1602 | 20.692
|  | 1603 | 20.6995
|  | 1604 | 20.7168
|  | 1605 | 20.7173
|  | 1606 | 20.7272
|  | 1607 | 20.7385
|  | 1608 | 20.7314
|  | 1609 | 20.7467
|  | 1610 | 20.7543
|  | 1611 | 20.7626
|  | 1612 | 20.7738
|  | 1613 | 20.7759
|  | 1614 | 20.7809
|  | 1615 | 20.7868
|  | 1616 | 20.795
|  | 1617 | 20.7997
|  | 1618 | 20.8077
|  | 1619 | 20.8068
|  | 1620 | 20.8153
|  | 1621 | 20.822
|  | 1622 | 20.8294
|  | 1623 | 20.8366
|  | 1624 | 20.8351
|  | 1625 | 20.8417
|  | 1626 | 20.8509
|  | 1627 | 20.8511
|  | 1628 | 20.8549
|  | 1629 | 20.8647
|  | 1630 | 20.862
|  | 1631 | 20.8657
|  | 1632 | 20.8748
|  | 1633 | 20.8731
|  | 1634 | 20.882
|  | 1635 | 20.8871
|  | 1636 | 20.8846
|  | 1637 | 20.8927
|  | 1638 | 20.8988
|  | 1639 | 20.8945
|  | 1640 | 20.9024
|  | 1641 | 20.9104
|  | 1642 | 20.9024
|  | 1643 | 20.9139
|  | 1644 | 20.9168
|  | 1645 | 20.9141
|  | 1646 | 20.9231
|  | 1647 | 20.9222
|  | 1648 | 20.9243
|  | 1649 | 20.9339
|  | 1650 | 20.9323
|  | 1651 | 20.9321
|  | 1652 | 20.9433
|  | 1653 | 20.9358
|  | 1654 | 20.9376
|  | 1655 | 20.9533
|  | 1656 | 20.9384
|  | 1657 | 20.9467
|  | 1658 | 20.9617
|  | 1659 | 20.9541
|  | 1660 | 20.9442
|  | 1661 | 20.9672
|  | 1662 | 20.9623
|  | 1663 | 20.9535
|  | 1664 | 20.9623
|  | 1665 | 20.9651
|  | 1666 | 20.9759
|  | 1667 | 20.9705
|  | 1668 | 20.9709
|  | 1669 | 20.9834
|  | 1670 | 20.9781
|  | 1671 | 20.9688
|  | 1672 | 20.9817
|  | 1673 | 20.9822
|  | 1674 | 20.985
|  | 1675 | 20.982
|  | 1676 | 20.9897
|  | 1677 | 20.985
|  | 1678 | 20.9914
|  | 1679 | 20.994
|  | 1680 | 20.987
|  | 1681 | 20.9973
|  | 1682 | 20.9998
|  | 1683 | 20.9943
|  | 1684 | 21.0022
|  | 1685 | 21.0083
|  | 1686 | 20.996
|  | 1687 | 21.0032
|  | 1688 | 21.013
|  | 1689 | 21.0021
|  | 1690 | 21.0117
|  | 1691 | 21.0141
|  | 1692 | 21.0305
|  | 1693 | 21.0037
|  | 1694 | 21.0192
|  | 1695 | 21.0203
|  | 1696 | 21.0263
|  | 1697 | 21.026
|  | 1698 | 21.0251
|  | 1699 | 21.0265
|  | 1700 | 21.0319
|  | 1701 | 21.0341
|  | 1702 | 21.0299
|  | 1703 | 21.0374
|  | 1704 | 21.0436
|  | 1705 | 21.0386
|  | 1706 | 21.0429
|  | 1707 | 21.0495
|  | 1708 | 21.0438
|  | 1709 | 21.0517
|  | 1710 | 21.0546
|  | 1711 | 21.0598
|  | 1712 | 21.0577
|  | 1713 | 21.0588
|  | 1714 | 21.0727
|  | 1715 | 21.0654
|  | 1716 | 21.064
|  | 1717 | 21.0831
|  | 1718 | 21.0752
|  | 1719 | 21.0789
|  | 1720 | 21.0675
|  | 1721 | 21.1001
|  | 1722 | 21.0884
|  | 1723 | 21.092
|  | 1724 | 21.0957
|  | 1725 | 21.0978
|  | 1726 | 21.0969
|  | 1727 | 21.1042
|  | 1728 | 21.111
|  | 1729 | 21.1125
|  | 1730 | 21.114
|  | 1731 | 21.12
|  | 1732 | 21.1296
|  | 1733 | 21.1257
|  | 1734 | 21.1265
|  | 1735 | 21.1424
|  | 1736 | 21.1377
|  | 1737 | 21.1369
|  | 1738 | 21.1528
|  | 1739 | 21.1525
|  | 1740 | 21.1504
|  | 1741 | 21.1685
|  | 1742 | 21.1684
|  | 1743 | 21.1693
|  | 1744 | 21.1736
|  | 1745 | 21.1781
|  | 1746 | 21.1874
|  | 1747 | 21.1897
|  | 1748 | 21.1984
|  | 1749 | 21.2012
|  | 1750 | 21.2037
|  | 1751 | 21.214
|  | 1752 | 21.2174
|  | 1753 | 21.2244
|  | 1754 | 21.2263
|  | 1755 | 21.234
|  | 1756 | 21.2398
|  | 1757 | 21.2477
|  | 1758 | 21.2553
|  | 1759 | 21.2564
|  | 1760 | 21.2583
|  | 1761 | 21.2792
|  | 1762 | 21.2773
|  | 1763 | 21.2833
|  | 1764 | 21.2891
|  | 1765 | 21.2983
|  | 1766 | 21.3031
|  | 1767 | 21.3101
|  | 1768 | 21.3151
|  | 1769 | 21.3248
|  | 1770 | 21.3387
|  | 1771 | 21.336
|  | 1772 | 21.3437
|  | 1773 | 21.3534
|  | 1774 | 21.366
|  | 1775 | 21.3703
|  | 1776 | 21.3752
|  | 1777 | 21.3842
|  | 1778 | 21.3939
|  | 1779 | 21.4018
|  | 1780 | 21.4069
|  | 1781 | 21.4201
|  | 1782 | 21.4259
|  | 1783 | 21.4357
|  | 1784 | 21.4449
|  | 1785 | 21.4514
|  | 1786 | 21.459
|  | 1787 | 21.4694
|  | 1788 | 21.4791
|  | 1789 | 21.4898
|  | 1790 | 21.5018
|  | 1791 | 21.5024
|  | 1792 | 21.5185
|  | 1793 | 21.5306
|  | 1794 | 21.5296
|  | 1795 | 21.5463
|  | 1796 | 21.5574
|  | 1797 | 21.5623
|  | 1798 | 21.5786
|  | 1799 | 21.5865
|  | 1800 | 21.5994
|  | 1801 | 21.6023
|  | 1802 | 21.6176
|  | 1803 | 21.6281
|  | 1804 | 21.638
|  | 1805 | 21.6521
|  | 1806 | 21.6559
|  | 1807 | 21.6753
|  | 1808 | 21.6753
|  | 1809 | 21.6992
|  | 1810 | 21.7016
|  | 1811 | 21.7128
|  | 1812 | 21.7199
|  | 1813 | 21.7311
|  | 1814 | 21.7438
|  | 1815 | 21.7508
|  | 1816 | 21.7672
|  | 1817 | 21.7767
|  | 1818 | 21.7913
|  | 1819 | 21.8026
|  | 1820 | 21.8125
|  | 1821 | 21.8347
|  | 1822 | 21.8416
|  | 1823 | 21.8589
|  | 1824 | 21.8733
|  | 1825 | 21.8828
|  | 1826 | 21.8974
|  | 1827 | 21.9139
|  | 1828 | 21.926
|  | 1829 | 21.9378
|  | 1830 | 21.9485
|  | 1831 | 21.9596
|  | 1832 | 21.9733
|  | 1833 | 21.9813
|  | 1834 | 21.9957
|  | 1835 | 22.0109
|  | 1836 | 22.0209
|  | 1837 | 22.0362
|  | 1838 | 22.0478
|  | 1839 | 22.063
|  | 1840 | 22.0762
|  | 1841 | 22.0933
|  | 1842 | 22.1099
|  | 1843 | 22.1227
|  | 1844 | 22.1371
|  | 1845 | 22.1503
|  | 1846 | 22.1674
|  | 1847 | 22.1829
|  | 1848 | 22.1941
|  | 1849 | 22.2122
|  | 1850 | 22.228
|  | 1851 | 22.2413
|  | 1852 | 22.2607
|  | 1853 | 22.2776
|  | 1854 | 22.2939
|  | 1855 | 22.3079
|  | 1856 | 22.3285
|  | 1857 | 22.3445
|  | 1858 | 22.3509
|  | 1859 | 22.373
|  | 1860 | 22.3895
|  | 1861 | 22.4055
|  | 1862 | 22.4197
|  | 1863 | 22.4394
|  | 1864 | 22.4514
|  | 1865 | 22.4716
|  | 1866 | 22.4859
|  | 1867 | 22.5046
|  | 1868 | 22.5201
|  | 1869 | 22.5353
|  | 1870 | 22.5578
|  | 1871 | 22.5755
|  | 1872 | 22.5966
|  | 1873 | 22.6125
|  | 1874 | 22.6405
|  | 1875 | 22.6592
|  | 1876 | 22.6722
|  | 1877 | 22.6899
|  | 1878 | 22.712
|  | 1879 | 22.7224
|  | 1880 | 22.7389
|  | 1881 | 22.7598
|  | 1882 | 22.7721
|  | 1883 | 22.7882
|  | 1884 | 22.804
|  | 1885 | 22.8206
|  | 1886 | 22.841
|  | 1887 | 22.8522
|  | 1888 | 22.8732
|  | 1889 | 22.8957
|  | 1890 | 22.909
|  | 1891 | 22.9276
|  | 1892 | 22.9461
|  | 1893 | 22.9722
|  | 1894 | 22.9836
|  | 1895 | 22.9969
|  | 1896 | 23.0167
|  | 1897 | 23.0357
|  | 1898 | 23.0566
|  | 1899 | 23.0833
|  | 1900 | 23.0981
|  | 1901 | 23.1281
|  | 1902 | 23.1344
|  | 1903 | 23.1566
|  | 1904 | 23.1743
|  | 1905 | 23.196
|  | 1906 | 23.2147
|  | 1907 | 23.2355
|  | 1908 | 23.2481
|  | 1909 | 23.2693
|  | 1910 | 23.2905
|  | 1911 | 23.3028
|  | 1912 | 23.3232
|  | 1913 | 23.3408
|  | 1914 | 23.363
|  | 1915 | 23.3822
|  | 1916 | 23.4027
|  | 1917 | 23.4244
|  | 1918 | 23.4462
|  | 1919 | 23.4642
|  | 1920 | 23.4896
|  | 1921 | 23.4999
|  | 1922 | 23.5269
|  | 1923 | 23.5499
|  | 1924 | 23.5696
|  | 1925 | 23.5902
|  | 1926 | 23.6059
|  | 1927 | 23.6288
|  | 1928 | 23.6496
|  | 1929 | 23.6642
|  | 1930 | 23.6865
|  | 1931 | 23.7123
|  | 1932 | 23.7253
|  | 1933 | 23.7445
|  | 1934 | 23.7624
|  | 1935 | 23.7694
|  | 1936 | 23.8148
|  | 1937 | 23.8264
|  | 1938 | 23.8498
|  | 1939 | 23.8727
|  | 1940 | 23.8937
|  | 1941 | 23.9158
|  | 1942 | 23.9373
|  | 1943 | 23.9581
|  | 1944 | 23.9827
|  | 1945 | 24.0021
|  | 1946 | 24.0218
|  | 1947 | 24.0406
|  | 1948 | 24.0603
|  | 1949 | 24.084
|  | 1950 | 24.1069
|  | 1951 | 24.116
|  | 1952 | 24.1471
|  | 1953 | 24.163
|  | 1954 | 24.1816
|  | 1955 | 24.2052
|  | 1956 | 24.2271
|  | 1957 | 24.2448
|  | 1958 | 24.2634
|  | 1959 | 24.2874
|  | 1960 | 24.3017
|  | 1961 | 24.3385
|  | 1962 | 24.3458
|  | 1963 | 24.3632
|  | 1964 | 24.3899
|  | 1965 | 24.408
|  | 1966 | 24.4448
|  | 1967 | 24.4553
|  | 1968 | 24.4732
|  | 1969 | 24.4984
|  | 1970 | 24.5229
|  | 1971 | 24.5338
|  | 1972 | 24.5601
|  | 1973 | 24.5765
|  | 1974 | 24.6046
|  | 1975 | 24.6183
|  | 1976 | 24.6433
|  | 1977 | 24.6646
|  | 1978 | 24.6787
|  | 1979 | 24.71
|  | 1980 | 24.7247
|  | 1981 | 24.7424
|  | 1982 | 24.7811
|  | 1983 | 24.7823
|  | 1984 | 24.8072
|  | 1985 | 24.8474
|  | 1986 | 24.8397
|  | 1987 | 24.8714
|  | 1988 | 24.9111
|  | 1989 | 24.9183
|  | 1990 | 24.9255
|  | 1991 | 24.9722
|  | 1992 | 24.9796
|  | 1993 | 24.9951
|  | 1994 | 25.0304
|  | 1995 | 25.0479
|  | 1996 | 25.0686
|  | 1997 | 25.0858
|  | 1998 | 25.1114
|  | 1999 | 25.128
|  | 2000 | 25.1676
|  | 2001 | 25.1654
|  | 2002 | 25.1999
|  | 2003 | 25.2279
|  | 2004 | 25.2374
|  | 2005 | 25.2709
|  | 2006 | 25.2868
|  | 2007 | 25.3139
|  | 2008 | 25.3358
|  | 2009 | 25.3565
|  | 2010 | 25.3765
|  | 2011 | 25.4077
|  | 2012 | 25.4242
|  | 2013 | 25.4443
|  | 2014 | 25.4738
|  | 2015 | 25.4928
|  | 2016 | 25.5152
|  | 2017 | 25.5464
|  | 2018 | 25.5647
|  | 2019 | 25.5893
|  | 2020 | 25.5991
|  | 2021 | 25.6506
|  | 2022 | 25.6564
|  | 2023 | 25.6714
|  | 2024 | 25.7177
|  | 2025 | 25.7326
|  | 2026 | 25.7637
|  | 2027 | 25.7623
|  | 2028 | 25.803
|  | 2029 | 25.8297
|  | 2030 | 25.8518
|  | 2031 | 25.8729
|  | 2032 | 25.8971
|  | 2033 | 25.928
|  | 2034 | 25.9454
|  | 2035 | 25.9698
|  | 2036 | 25.9935
|  | 2037 | 26.0217
|  | 2038 | 26.0424
|  | 2039 | 26.0652
|  | 2040 | 26.1013
|  | 2041 | 26.1164
|  | 2042 | 26.138
|  | 2043 | 26.1749
|  | 2044 | 26.1868
|  | 2045 | 26.2167
|  | 2046 | 26.2458
|  | 2047 | 26.2596
|  | 2048 | 26.2863
|  | 2049 | 26.3208
|  | 2050 | 26.3349
|  | 2051 | 26.3625
|  | 2052 | 26.3954
|  | 2053 | 26.4088
|  | 2054 | 26.4302
|  | 2055 | 26.4634
|  | 2056 | 26.4804
|  | 2057 | 26.5074
|  | 2058 | 26.5347
|  | 2059 | 26.55
|  | 2060 | 26.5792
|  | 2061 | 26.6064
|  | 2062 | 26.624
|  | 2063 | 26.6474
|  | 2064 | 26.686
|  | 2065 | 26.6931
|  | 2066 | 26.7211
|  | 2067 | 26.7579
|  | 2068 | 26.7603
|  | 2069 | 26.7915
|  | 2070 | 26.8213
|  | 2071 | 26.8319
|  | 2072 | 26.8645
|  | 2073 | 26.8842
|  | 2074 | 26.9093
|  | 2075 | 26.9437
|  | 2076 | 26.9343
|  | 2077 | 26.9761
|  | 2078 | 26.9986
|  | 2079 | 27.0269
|  | 2080 | 27.045
|  | 2081 | 27.0669
|  | 2082 | 27.0886
|  | 2083 | 27.1168
|  | 2084 | 27.1309
|  | 2085 | 27.1559
|  | 2086 | 27.185
|  | 2087 | 27.1986
|  | 2088 | 27.2236
|  | 2089 | 27.2481
|  | 2090 | 27.2652
|  | 2091 | 27.2901
|  | 2092 | 27.3171
|  | 2093 | 27.3231
|  | 2094 | 27.353
|  | 2095 | 27.3908
|  | 2096 | 27.3836
|  | 2097 | 27.4168
|  | 2098 | 27.4352
|  | 2099 | 27.463
|  | 2100 | 27.4765
|  | 2101 | 27.4998
|  | 2102 | 27.5218
|  | 2103 | 27.5416
|  | 2104 | 27.5604
|  | 2105 | 27.5755
|  | 2106 | 27.6024
|  | 2107 | 27.6171
|  | 2108 | 27.6427
|  | 2109 | 27.6546
|  | 2110 | 27.6704
|  | 2111 | 27.7013
|  | 2112 | 27.7096
|  | 2113 | 27.7277
|  | 2114 | 27.7622
|  | 2115 | 27.7543
|  | 2116 | 27.7836
|  | 2117 | 27.8162
|  | 2118 | 27.8071
|  | 2119 | 27.8387
|  | 2120 | 27.8561
|  | 2121 | 27.8856
|  | 2122 | 27.8677
|  | 2123 | 27.9051
|  | 2124 | 27.9197
|  | 2125 | 27.9242
|  | 2126 | 27.9658
|  | 2127 | 27.9712
|  | 2128 | 27.9859
|  | 2129 | 27.9923
|  | 2130 | 28.0182
|  | 2131 | 28.0309
|  | 2132 | 28.0401
|  | 2133 | 28.0601
|  | 2134 | 28.0703
|  | 2135 | 28.0857
|  | 2136 | 28.0978
|  | 2137 | 28.1173
|  | 2138 | 28.1252
|  | 2139 | 28.1386
|  | 2140 | 28.1493
|  | 2141 | 28.174
|  | 2142 | 28.1783
|  | 2143 | 28.1863
|  | 2144 | 28.2223
|  | 2145 | 28.2193
|  | 2146 | 28.2269
|  | 2147 | 28.2562
|  | 2148 | 28.2673
|  | 2149 | 28.2811
|  | 2150 | 28.2852
|  | 2151 | 28.3095
|  | 2152 | 28.3317
|  | 2153 | 28.3277
|  | 2154 | 28.3531
|  | 2155 | 28.3702
|  | 2156 | 28.3825
|  | 2157 | 28.4113
|  | 2158 | 28.4222
|  | 2159 | 28.4364
|  | 2160 | 28.4564
|  | 2161 | 28.4702
|  | 2162 | 28.4932
|  | 2163 | 28.506
|  | 2164 | 28.5289
|  | 2165 | 28.5499
|  | 2166 | 28.5645
|  | 2167 | 28.5856
|  | 2168 | 28.6074
|  | 2169 | 28.6254
|  | 2170 | 28.6438
|  | 2171 | 28.6678
|  | 2172 | 28.6858
|  | 2173 | 28.702
|  | 2174 | 28.719
|  | 2175 | 28.7296
|  | 2176 | 28.7618
|  | 2177 | 28.7872
|  | 2178 | 28.7746
|  | 2179 | 28.8278
|  | 2180 | 28.819
|  | 2181 | 28.8565
|  | 2182 | 28.8517
|  | 2183 | 28.8936
|  | 2184 | 28.8992
|  | 2185 | 28.9188
|  | 2186 | 28.9356
|  | 2187 | 28.9465
|  | 2188 | 28.949
|  | 2189 | 28.9799
|  | 2190 | 28.9958
|  | 2191 | 29.0086
|  | 2192 | 29.0253
|  | 2193 | 29.0456
|  | 2194 | 29.0608
|  | 2195 | 29.073
|  | 2196 | 29.0928
|  | 2197 | 29.1029
|  | 2198 | 29.1253
|  | 2199 | 29.1322
|  | 2200 | 29.158
|  | 2201 | 29.1653
|  | 2202 | 29.19
|  | 2203 | 29.2035
|  | 2204 | 29.2159
|  | 2205 | 29.2308
|  | 2206 | 29.2479
|  | 2207 | 29.2626
|  | 2208 | 29.279
|  | 2209 | 29.2964
|  | 2210 | 29.3159
|  | 2211 | 29.3306
|  | 2212 | 29.3515
|  | 2213 | 29.364
|  | 2214 | 29.3941
|  | 2215 | 29.4097
|  | 2216 | 29.4256
|  | 2217 | 29.4483
|  | 2218 | 29.47
|  | 2219 | 29.4905
|  | 2220 | 29.5117
|  | 2221 | 29.536
|  | 2222 | 29.5599
|  | 2223 | 29.5818
|  | 2224 | 29.6039
|  | 2225 | 29.6331
|  | 2226 | 29.655
|  | 2227 | 29.6743
|  | 2228 | 29.701
|  | 2229 | 29.726
|  | 2230 | 29.7544
|  | 2231 | 29.779
|  | 2232 | 29.8041
|  | 2233 | 29.8332
|  | 2234 | 29.8547
|  | 2235 | 29.8823
|  | 2236 | 29.9102
|  | 2237 | 29.936
|  | 2238 | 29.9641
|  | 2239 | 29.9893
|  | 2240 | 30.018
|  | 2241 | 30.043
|  | 2242 | 30.0709
|  | 2243 | 30.0987
|  | 2244 | 30.1242
|  | 2245 | 30.1528
|  | 2246 | 30.1762
|  | 2247 | 30.2069
|  | 2248 | 30.231
|  | 2249 | 30.2596
|  | 2250 | 30.2883
|  | 2251 | 30.3134
|  | 2252 | 30.3392
|  | 2253 | 30.3704
|  | 2254 | 30.3969
|  | 2255 | 30.4228
|  | 2256 | 30.4571
|  | 2257 | 30.4852
|  | 2258 | 30.5143
|  | 2259 | 30.5407
|  | 2260 | 30.5654
|  | 2261 | 30.5938
|  | 2262 | 30.6193
|  | 2263 | 30.6477
|  | 2264 | 30.6788
|  | 2265 | 30.7072
|  | 2266 | 30.7411
|  | 2267 | 30.7658
|  | 2268 | 30.7948
|  | 2269 | 30.8245
|  | 2270 | 30.8442
|  | 2271 | 30.8916
|  | 2272 | 30.9152
|  | 2273 | 30.9413
|  | 2274 | 30.9714
|  | 2275 | 30.9951
|  | 2276 | 31.0301
|  | 2277 | 31.0602
|  | 2278 | 31.0844
|  | 2279 | 31.1152
|  | 2280 | 31.1463
|  | 2281 | 31.1657
|  | 2282 | 31.1947
|  | 2283 | 31.2209
|  | 2284 | 31.2479
|  | 2285 | 31.268
|  | 2286 | 31.3009
|  | 2287 | 31.3283
|  | 2288 | 31.3514
|  | 2289 | 31.3739
|  | 2290 | 31.4015
|  | 2291 | 31.4319
|  | 2292 | 31.454
|  | 2293 | 31.4773
|  | 2294 | 31.5096
|  | 2295 | 31.5266
|  | 2296 | 31.5534
|  | 2297 | 31.5838
|  | 2298 | 31.6094
|  | 2299 | 31.6272
|  | 2300 | 31.658
|  | 2301 | 31.6833
|  | 2302 | 31.7043
|  | 2303 | 31.7283
|  | 2304 | 31.7553
|  | 2305 | 31.7802
|  | 2306 | 31.8047
|  | 2307 | 31.8235
|  | 2308 | 31.8524
|  | 2309 | 31.8707
|  | 2310 | 31.8979
|  | 2311 | 31.9234
|  | 2312 | 31.9503
|  | 2313 | 31.9694
|  | 2314 | 31.9873
|  | 2315 | 32.0175
|  | 2316 | 32.0377
|  | 2317 | 32.0622
|  | 2318 | 32.0777
|  | 2319 | 32.1072
|  | 2320 | 32.1286
|  | 2321 | 32.1459
|  | 2322 | 32.1613
|  | 2323 | 32.1854
|  | 2324 | 32.2039
|  | 2325 | 32.2218
|  | 2326 | 32.2716
|  | 2327 | 32.2682
|  | 2328 | 32.3064
|  | 2329 | 32.3103
|  | 2330 | 32.3611
|  | 2331 | 32.3347
|  | 2332 | 32.3774
|  | 2333 | 32.4088
|  | 2334 | 32.4163
|  | 2335 | 32.4298
|  | 2336 | 32.4773
|  | 2337 | 32.4729
|  | 2338 | 32.4922
|  | 2339 | 32.5077
|  | 2340 | 32.5289
|  | 2341 | 32.545
|  | 2342 | 32.5588
|  | 2343 | 32.5772
|  | 2344 | 32.5919
|  | 2345 | 32.6067
|  | 2346 | 32.6212
|  | 2347 | 32.6406
|  | 2348 | 32.6522
|  | 2349 | 32.6691
|  | 2350 | 32.684
|  | 2351 | 32.7004
|  | 2352 | 32.7107
|  | 2353 | 32.7217
|  | 2354 | 32.7384
|  | 2355 | 32.7498
|  | 2356 | 32.7588
|  | 2357 | 32.7736
|  | 2358 | 32.7811
|  | 2359 | 32.7939
|  | 2360 | 32.8028
|  | 2361 | 32.8068
|  | 2362 | 32.8193
|  | 2363 | 32.8304
|  | 2364 | 32.8325
|  | 2365 | 32.8476
|  | 2366 | 32.8534
|  | 2367 | 32.8565
|  | 2368 | 32.8683
|  | 2369 | 32.8672
|  | 2370 | 32.8803
|  | 2371 | 32.8828
|  | 2372 | 32.8911
|  | 2373 | 32.8913
|  | 2374 | 32.9012
|  | 2375 | 32.8992
|  | 2376 | 32.9086
|  | 2377 | 32.9162
|  | 2378 | 32.9194
|  | 2379 | 32.92
|  | 2380 | 32.9322
|  | 2381 | 32.9291
|  | 2382 | 32.9359
|  | 2383 | 32.9419
|  | 2384 | 32.9495
|  | 2385 | 32.9473
|  | 2386 | 32.9582
|  | 2387 | 32.9605
|  | 2388 | 32.9714
|  | 2389 | 32.9789
|  | 2390 | 32.9856
|  | 2391 | 32.9924
|  | 2392 | 33.0002
|  | 2393 | 33.0166
|  | 2394 | 33.0234
|  | 2395 | 33.0306
|  | 2396 | 33.0397
|  | 2397 | 33.0532
|  | 2398 | 33.0632
|  | 2399 | 33.0722
|  | 2400 | 33.086
|  | 2401 | 33.0903
|  | 2402 | 33.1117
|  | 2403 | 33.1237
|  | 2404 | 33.1447
|  | 2405 | 33.1527
|  | 2406 | 33.1691
|  | 2407 | 33.1872
|  | 2408 | 33.2014
|  | 2409 | 33.2232
|  | 2410 | 33.234
|  | 2411 | 33.2469
|  | 2412 | 33.2667
|  | 2413 | 33.2808
|  | 2414 | 33.2995
|  | 2415 | 33.3103
|  | 2416 | 33.3352
|  | 2417 | 33.3554
|  | 2418 | 33.3712
|  | 2419 | 33.3914
|  | 2420 | 33.4062
|  | 2421 | 33.4251
|  | 2422 | 33.447
|  | 2423 | 33.4648
|  | 2424 | 33.4779
|  | 2425 | 33.5154
|  | 2426 | 33.5171
|  | 2427 | 33.5396
|  | 2428 | 33.5502
|  | 2429 | 33.573
|  | 2430 | 33.5939
|  | 2431 | 33.6073
|  | 2432 | 33.63
|  | 2433 | 33.6438
|  | 2434 | 33.6651
|  | 2435 | 33.666
|  | 2436 | 33.685
|  | 2437 | 33.6955
|  | 2438 | 33.7165
|  | 2439 | 33.729
|  | 2440 | 33.7405
|  | 2441 | 33.7615
|  | 2442 | 33.7715
|  | 2443 | 33.7792
|  | 2444 | 33.7892
|  | 2445 | 33.8018
|  | 2446 | 33.8244
|  | 2447 | 33.8347
|  | 2448 | 33.8513
|  | 2449 | 33.8613
|  | 2450 | 33.8761
|  | 2451 | 33.8882
|  | 2452 | 33.9012
|  | 2453 | 33.9067
|  | 2454 | 33.9225
|  | 2455 | 33.9346
|  | 2456 | 33.9479
|  | 2457 | 33.9598
|  | 2458 | 33.9728
|  | 2459 | 33.9897
|  | 2460 | 33.9977
|  | 2461 | 34.008
|  | 2462 | 34.0291
|  | 2463 | 34.0193
|  | 2464 | 34.0587
|  | 2465 | 34.0638
|  | 2466 | 34.0768
|  | 2467 | 34.0774
|  | 2468 | 34.091
|  | 2469 | 34.1044
|  | 2470 | 34.1158
|  | 2471 | 34.1258
|  | 2472 | 34.1379
|  | 2473 | 34.1442
|  | 2474 | 34.1489
|  | 2475 | 34.168
|  | 2476 | 34.1783
|  | 2477 | 34.1957
|  | 2478 | 34.2066
|  | 2479 | 34.2165
|  | 2480 | 34.2305
|  | 2481 | 34.2431
|  | 2482 | 34.2506
|  | 2483 | 34.2584
|  | 2484 | 34.2677
|  | 2485 | 34.2891
|  | 2486 | 34.2923
|  | 2487 | 34.3059
|  | 2488 | 34.318
|  | 2489 | 34.3273
|  | 2490 | 34.3432
|  | 2491 | 34.3531
|  | 2492 | 34.3659
|  | 2493 | 34.3728
|  | 2494 | 34.3915
|  | 2495 | 34.3992
|  | 2496 | 34.4131
|  | 2497 | 34.4292
|  | 2498 | 34.4372
|  | 2499 | 34.4467
|  | 2500 | 34.4593
|  | 2501 | 34.4707
|  | 2502 | 34.4827
|  | 2503 | 34.4934
|  | 2504 | 34.5085
|  | 2505 | 34.5235
|  | 2506 | 34.5313
|  | 2507 | 34.542
|  | 2508 | 34.5524
|  | 2509 | 34.5695
|  | 2510 | 34.5748
|  | 2511 | 34.5867
|  | 2512 | 34.5975
|  | 2513 | 34.6064
|  | 2514 | 34.6156
|  | 2515 | 34.6292
|  | 2516 | 34.6329
|  | 2517 | 34.6433
|  | 2518 | 34.6592
|  | 2519 | 34.668
|  | 2520 | 34.6792
|  | 2521 | 34.6877
|  | 2522 | 34.6969
|  | 2523 | 34.7049
|  | 2524 | 34.7189
|  | 2525 | 34.7224
|  | 2526 | 34.7381
|  | 2527 | 34.7464
|  | 2528 | 34.7555
|  | 2529 | 34.7716
|  | 2530 | 34.7807
|  | 2531 | 34.7863
|  | 2532 | 34.7961
|  | 2533 | 34.809
|  | 2534 | 34.8203
|  | 2535 | 34.8324
|  | 2536 | 34.842
|  | 2537 | 34.857
|  | 2538 | 34.8738
|  | 2539 | 34.8829
|  | 2540 | 34.8989
|  | 2541 | 34.9135
|  | 2542 | 34.9244
|  | 2543 | 34.9378
|  | 2544 | 34.9542
|  | 2545 | 34.9669
|  | 2546 | 34.9758
|  | 2547 | 34.9934
|  | 2548 | 35.0097
|  | 2549 | 35.0229
|  | 2550 | 35.0411
|  | 2551 | 35.0561
|  | 2552 | 35.0666
|  | 2553 | 35.0903
|  | 2554 | 35.1056
|  | 2555 | 35.1248
|  | 2556 | 35.1415
|  | 2557 | 35.1551
|  | 2558 | 35.1749
|  | 2559 | 35.1869
|  | 2560 | 35.2065
|  | 2561 | 35.2223
|  | 2562 | 35.2463
|  | 2563 | 35.2632
|  | 2564 | 35.2841
|  | 2565 | 35.3019
|  | 2566 | 35.3194
|  | 2567 | 35.3354
|  | 2568 | 35.3502
|  | 2569 | 35.3682
|  | 2570 | 35.3772
|  | 2571 | 35.4001
|  | 2572 | 35.4114
|  | 2573 | 35.4223
|  | 2574 | 35.4335
|  | 2575 | 35.4527
|  | 2576 | 35.4655
|  | 2577 | 35.4759
|  | 2578 | 35.4928
|  | 2579 | 35.4989
|  | 2580 | 35.5088
|  | 2581 | 35.5221
|  | 2582 | 35.5295
|  | 2583 | 35.5469
|  | 2584 | 35.5594
|  | 2585 | 35.567
|  | 2586 | 35.5792
|  | 2587 | 35.5993
|  | 2588 | 35.5973
|  | 2589 | 35.6154
|  | 2590 | 35.6256
|  | 2591 | 35.6329
|  | 2592 | 35.6533
|  | 2593 | 35.6703
|  | 2594 | 35.6824
|  | 2595 | 35.6913
|  | 2596 | 35.7111
|  | 2597 | 35.7382
|  | 2598 | 35.7429
|  | 2599 | 35.7739
|  | 2600 | 35.7783