## %Transmission
NE30B Transmission
|  | Wavelength (nm) | % Transmission
|  | 200 | 8.4e-05
|  | 201 | 7.3667e-05
|  | 202 | 5.9e-05
|  | 203 | 4.2333e-05
Product Raw Data |  | 204 | 2.8333e-05
Unmounted Ø25 mm Absorptive ND Filter, Optical Density: 3.0 |  | 205 | 2.2333e-05
|  | 206 | 3.3667e-05
Item # | NE30B | 207 | 4.5333e-05
DISCLAIMER: The data presented here are typical. Slight variations in performance data will occur from lot to lot. Please contact Technical Support with any questions regarding the use or reliability of this data. |  | 208 | 3.7333e-05
|  | 209 | 2.8e-05
|  | 210 | 1.6e-05
|  | 211 | 1.9e-05
|  | 212 | 1.5667e-05
|  | 213 | 1.5333e-05
This data may be used in publications. However, please cite Thorlabs as the source. |  | 214 | 1.1333e-05
|  | 215 | 1.0667e-05
|  | 216 | 9.6667e-06
Additional Information: |  | 217 | 2.0667e-05
|  | 218 | 1.3667e-05
|  | 219 | 1.7333e-05
|  | 220 | 1.3667e-05
|  | 221 | 2.1667e-05
|  | 222 | 2.7667e-05
|  | 223 | 2.4667e-05
|  | 224 | 3.1667e-05
|  | 225 | 3.1667e-05
|  | 226 | 2.6667e-05
|  | 227 | 1.3e-05
|  | 228 | 7.3333e-06
|  | 229 | 1.3333e-05
|  | 230 | 1.5667e-05
|  | 231 | 1.5667e-05
|  | 232 | 1e-05
|  | 233 | 1.7667e-05
|  | 234 | 2.2333e-05
|  | 235 | 2.3333e-05
|  | 236 | 1.2667e-05
|  | 237 | 3e-06
|  | 238 | 1.1e-05
|  | 239 | 1.3667e-05
|  | 240 | 1.8333e-05
|  | 241 | 1.4667e-05
|  | 242 | 1.4e-05
|  | 243 | 1.0333e-05
|  | 244 | 1.3e-05
|  | 245 | 2.2667e-05
|  | 246 | 2.3667e-05
|  | 247 | 1.6333e-05
|  | 248 | 7.3333e-06
|  | 249 | 4.3333e-06
|  | 250 | 3.6667e-06
|  | 251 | 8.6667e-06
|  | 252 | 1.8e-05
|  | 253 | 1.8e-05
|  | 254 | 2.3667e-05
|  | 255 | 1.7333e-05
|  | 256 | 2.0333e-05
|  | 257 | 2.1667e-05
|  | 258 | 2e-05
|  | 259 | 1.7e-05
|  | 260 | 1.7333e-05
|  | 261 | 2.2e-05
|  | 262 | 2.5e-05
|  | 263 | 1.9333e-05
|  | 264 | 1.6e-05
|  | 265 | 1.9667e-05
|  | 266 | 1.3667e-05
|  | 267 | 1.8667e-05
|  | 268 | 2.8667e-05
|  | 269 | 4.3333e-05
|  | 270 | 3.9333e-05
|  | 271 | 3.9333e-05
|  | 272 | 2.8e-05
|  | 273 | 2.7e-05
|  | 274 | 1.6333e-05
|  | 275 | 3.0667e-05
|  | 276 | 3e-05
|  | 277 | 2.4667e-05
|  | 278 | 9.6667e-06
|  | 279 | 2.5667e-05
|  | 280 | 4e-05
|  | 281 | 5.8333e-05
|  | 282 | 5e-05
|  | 283 | 4.8667e-05
|  | 284 | 4.5e-05
|  | 285 | 6.0667e-05
|  | 286 | 7e-05
|  | 287 | 7.1e-05
|  | 288 | 4.6e-05
|  | 289 | 4.3333e-05
|  | 290 | 2.4333e-05
|  | 291 | 3.7e-05
|  | 292 | 2.7667e-05
|  | 293 | 4.4333e-05
|  | 294 | 3.3667e-05
|  | 295 | 2.6667e-05
|  | 296 | 1.6667e-05
|  | 297 | 1.5333e-05
|  | 298 | 2.2e-05
|  | 299 | 2.4e-05
|  | 300 | 3.7667e-05
|  | 301 | 4e-05
|  | 302 | 3.2667e-05
|  | 303 | 2.5e-05
|  | 304 | 3.5333e-05
|  | 305 | 5.2333e-05
|  | 306 | 5.7333e-05
|  | 307 | 4.6e-05
|  | 308 | 3.5e-05
|  | 309 | 3.0667e-05
|  | 310 | 3.0333e-05
|  | 311 | 3.2e-05
|  | 312 | 4.1e-05
|  | 313 | 3.6667e-05
|  | 314 | 3e-05
|  | 315 | 2.0333e-05
|  | 316 | 4.3e-05
|  | 317 | 4.2667e-05
|  | 318 | 4.1667e-05
|  | 319 | 2.5333e-05
|  | 320 | 3.6333e-05
|  | 321 | 3.6333e-05
|  | 322 | 3.3667e-05
|  | 323 | 1.9e-05
|  | 324 | 2.2333e-05
|  | 325 | 1.9e-05
|  | 326 | 3.4667e-05
|  | 327 | 2.6333e-05
|  | 328 | 2.4667e-05
|  | 329 | 1.2333e-05
|  | 330 | 1.4333e-05
|  | 331 | 1.9667e-05
|  | 332 | 1.6e-05
|  | 333 | 1.3e-05
|  | 334 | 3e-06
|  | 335 | 1.3333e-05
|  | 336 | 2.1333e-05
|  | 337 | 2.4333e-05
|  | 338 | 2.1e-05
|  | 339 | 1.3667e-05
|  | 340 | 1.0333e-05
|  | 341 | 6.3333e-06
|  | 342 | 5.6667e-06
|  | 343 | 1.3333e-05
|  | 344 | 1.7667e-05
|  | 345 | 2.1667e-05
|  | 346 | 1.6e-05
|  | 347 | 1.2667e-05
|  | 348 | 1.3333e-05
|  | 349 | 1.5667e-05
|  | 350 | 1.3e-05
|  | 351 | 1.5667e-05
|  | 352 | 2.1333e-05
|  | 353 | 3.0333e-05
|  | 354 | 2.4333e-05
|  | 355 | 1.5333e-05
|  | 356 | 5e-06
|  | 357 | 1.1667e-05
|  | 358 | 3.1667e-05
|  | 359 | 4.7e-05
|  | 360 | 6.7e-05
|  | 361 | 5.6333e-05
|  | 362 | 6.8667e-05
|  | 363 | 9.0667e-05
|  | 364 | 0.00014967
|  | 365 | 0.00019667
|  | 366 | 0.00023967
|  | 367 | 0.000266
|  | 368 | 0.00031467
|  | 369 | 0.00037067
|  | 370 | 0.00046833
|  | 371 | 0.00054667
|  | 372 | 0.00061
|  | 373 | 0.000624
|  | 374 | 0.00062833
|  | 375 | 0.00063733
|  | 376 | 0.00067167
|  | 377 | 0.00068167
|  | 378 | 0.000719
|  | 379 | 0.000789
|  | 380 | 0.000973
|  | 381 | 0.0012213
|  | 382 | 0.0015437
|  | 383 | 0.0019353
|  | 384 | 0.002404
|  | 385 | 0.0029677
|  | 386 | 0.0036387
|  | 387 | 0.0044183
|  | 388 | 0.005317
|  | 389 | 0.006296
|  | 390 | 0.0073657
|  | 391 | 0.0084863
|  | 392 | 0.009658
|  | 393 | 0.010884
|  | 394 | 0.012154
|  | 395 | 0.013473
|  | 396 | 0.014785
|  | 397 | 0.016085
|  | 398 | 0.017416
|  | 399 | 0.018745
|  | 400 | 0.02004
|  | 401 | 0.021222
|  | 402 | 0.0223
|  | 403 | 0.023283
|  | 404 | 0.024156
|  | 405 | 0.024958
|  | 406 | 0.025722
|  | 407 | 0.026452
|  | 408 | 0.02705
|  | 409 | 0.027582
|  | 410 | 0.028101
|  | 411 | 0.028703
|  | 412 | 0.029358
|  | 413 | 0.030058
|  | 414 | 0.030743
|  | 415 | 0.031438
|  | 416 | 0.032189
|  | 417 | 0.033098
|  | 418 | 0.034109
|  | 419 | 0.03517
|  | 420 | 0.036201
|  | 421 | 0.037241
|  | 422 | 0.038281
|  | 423 | 0.039407
|  | 424 | 0.040589
|  | 425 | 0.041758
|  | 426 | 0.042765
|  | 427 | 0.043675
|  | 428 | 0.04454
|  | 429 | 0.045434
|  | 430 | 0.046232
|  | 431 | 0.046873
|  | 432 | 0.047268
|  | 433 | 0.047501
|  | 434 | 0.04762
|  | 435 | 0.047768
|  | 436 | 0.047891
|  | 437 | 0.047972
|  | 438 | 0.048016
|  | 439 | 0.04813
|  | 440 | 0.048456
|  | 441 | 0.049041
|  | 442 | 0.04983
|  | 443 | 0.050741
|  | 444 | 0.051738
|  | 445 | 0.052888
|  | 446 | 0.054258
|  | 447 | 0.055868
|  | 448 | 0.057676
|  | 449 | 0.0595
|  | 450 | 0.061223
|  | 451 | 0.062877
|  | 452 | 0.064566
|  | 453 | 0.066366
|  | 454 | 0.068183
|  | 455 | 0.06989
|  | 456 | 0.071423
|  | 457 | 0.072775
|  | 458 | 0.074095
|  | 459 | 0.075388
|  | 460 | 0.076627
|  | 461 | 0.07764
|  | 462 | 0.078299
|  | 463 | 0.078735
|  | 464 | 0.079055
|  | 465 | 0.079375
|  | 466 | 0.079613
|  | 467 | 0.079702
|  | 468 | 0.079597
|  | 469 | 0.079284
|  | 470 | 0.078926
|  | 471 | 0.078588
|  | 472 | 0.07826
|  | 473 | 0.077856
|  | 474 | 0.077341
|  | 475 | 0.076786
|  | 476 | 0.076275
|  | 477 | 0.075825
|  | 478 | 0.075358
|  | 479 | 0.074791
|  | 480 | 0.074095
|  | 481 | 0.073351
|  | 482 | 0.072654
|  | 483 | 0.072081
|  | 484 | 0.071611
|  | 485 | 0.071108
|  | 486 | 0.070578
|  | 487 | 0.070057
|  | 488 | 0.069502
|  | 489 | 0.068976
|  | 490 | 0.068486
|  | 491 | 0.068061
|  | 492 | 0.067642
|  | 493 | 0.067214
|  | 494 | 0.0669
|  | 495 | 0.066702
|  | 496 | 0.066544
|  | 497 | 0.066332
|  | 498 | 0.066017
|  | 499 | 0.065676
|  | 500 | 0.065363
|  | 501 | 0.06518
|  | 502 | 0.06508
|  | 503 | 0.064974
|  | 504 | 0.064809
|  | 505 | 0.064649
|  | 506 | 0.064559
|  | 507 | 0.064612
|  | 508 | 0.064763
|  | 509 | 0.06494
|  | 510 | 0.065089
|  | 511 | 0.065172
|  | 512 | 0.065258
|  | 513 | 0.065471
|  | 514 | 0.065794
|  | 515 | 0.066187
|  | 516 | 0.066494
|  | 517 | 0.066769
|  | 518 | 0.067128
|  | 519 | 0.06762
|  | 520 | 0.068223
|  | 521 | 0.068788
|  | 522 | 0.069258
|  | 523 | 0.069705
|  | 524 | 0.07024
|  | 525 | 0.070962
|  | 526 | 0.071699
|  | 527 | 0.072409
|  | 528 | 0.073058
|  | 529 | 0.073739
|  | 530 | 0.074608
|  | 531 | 0.07557
|  | 532 | 0.076528
|  | 533 | 0.077417
|  | 534 | 0.078219
|  | 535 | 0.07898
|  | 536 | 0.079738
|  | 537 | 0.080466
|  | 538 | 0.081204
|  | 539 | 0.08195
|  | 540 | 0.082677
|  | 541 | 0.083337
|  | 542 | 0.083833
|  | 543 | 0.084283
|  | 544 | 0.084769
|  | 545 | 0.085269
|  | 546 | 0.085755
|  | 547 | 0.086052
|  | 548 | 0.086166
|  | 549 | 0.086213
|  | 550 | 0.086245
|  | 551 | 0.086331
|  | 552 | 0.0864
|  | 553 | 0.086336
|  | 554 | 0.08603
|  | 555 | 0.085585
|  | 556 | 0.085287
|  | 557 | 0.085029
|  | 558 | 0.084654
|  | 559 | 0.08409
|  | 560 | 0.083525
|  | 561 | 0.082949
|  | 562 | 0.082408
|  | 563 | 0.081815
|  | 564 | 0.081172
|  | 565 | 0.080514
|  | 566 | 0.079867
|  | 567 | 0.079172
|  | 568 | 0.078443
|  | 569 | 0.077662
|  | 570 | 0.076973
|  | 571 | 0.07633
|  | 572 | 0.075662
|  | 573 | 0.074967
|  | 574 | 0.074208
|  | 575 | 0.073522
|  | 576 | 0.072934
|  | 577 | 0.072356
|  | 578 | 0.071761
|  | 579 | 0.071106
|  | 580 | 0.0706
|  | 581 | 0.070225
|  | 582 | 0.069887
|  | 583 | 0.069506
|  | 584 | 0.069129
|  | 585 | 0.068922
|  | 586 | 0.068813
|  | 587 | 0.068837
|  | 588 | 0.068927
|  | 589 | 0.068997
|  | 590 | 0.069088
|  | 591 | 0.069258
|  | 592 | 0.069632
|  | 593 | 0.070051
|  | 594 | 0.070423
|  | 595 | 0.070777
|  | 596 | 0.071313
|  | 597 | 0.071981
|  | 598 | 0.072778
|  | 599 | 0.07354
|  | 600 | 0.074336
|  | 601 | 0.075045
|  | 602 | 0.075741
|  | 603 | 0.076451
|  | 604 | 0.077259
|  | 605 | 0.078128
|  | 606 | 0.07911
|  | 607 | 0.080038
|  | 608 | 0.080991
|  | 609 | 0.081886
|  | 610 | 0.082903
|  | 611 | 0.083834
|  | 612 | 0.08488
|  | 613 | 0.085889
|  | 614 | 0.086921
|  | 615 | 0.087863
|  | 616 | 0.088905
|  | 617 | 0.090006
|  | 618 | 0.091131
|  | 619 | 0.092082
|  | 620 | 0.092939
|  | 621 | 0.093695
|  | 622 | 0.094501
|  | 623 | 0.095401
|  | 624 | 0.096343
|  | 625 | 0.097365
|  | 626 | 0.098174
|  | 627 | 0.098956
|  | 628 | 0.099567
|  | 629 | 0.10018
|  | 630 | 0.10079
|  | 631 | 0.10148
|  | 632 | 0.10213
|  | 633 | 0.10261
|  | 634 | 0.10296
|  | 635 | 0.10348
|  | 636 | 0.10421
|  | 637 | 0.10487
|  | 638 | 0.10543
|  | 639 | 0.10589
|  | 640 | 0.10655
|  | 641 | 0.10726
|  | 642 | 0.10812
|  | 643 | 0.10896
|  | 644 | 0.10994
|  | 645 | 0.11077
|  | 646 | 0.11167
|  | 647 | 0.11263
|  | 648 | 0.11371
|  | 649 | 0.11491
|  | 650 | 0.11626
|  | 651 | 0.11773
|  | 652 | 0.11909
|  | 653 | 0.1204
|  | 654 | 0.12205
|  | 655 | 0.12417
|  | 656 | 0.12624
|  | 657 | 0.12817
|  | 658 | 0.13012
|  | 659 | 0.13244
|  | 660 | 0.13521
|  | 661 | 0.13821
|  | 662 | 0.14122
|  | 663 | 0.14423
|  | 664 | 0.14748
|  | 665 | 0.15106
|  | 666 | 0.15514
|  | 667 | 0.15926
|  | 668 | 0.16403
|  | 669 | 0.16865
|  | 670 | 0.17361
|  | 671 | 0.17882
|  | 672 | 0.18464
|  | 673 | 0.19067
|  | 674 | 0.19694
|  | 675 | 0.20356
|  | 676 | 0.21073
|  | 677 | 0.21834
|  | 678 | 0.22651
|  | 679 | 0.23533
|  | 680 | 0.24398
|  | 681 | 0.25261
|  | 682 | 0.26159
|  | 683 | 0.271
|  | 684 | 0.28139
|  | 685 | 0.29144
|  | 686 | 0.30221
|  | 687 | 0.31229
|  | 688 | 0.32326
|  | 689 | 0.33434
|  | 690 | 0.34616
|  | 691 | 0.35763
|  | 692 | 0.3689
|  | 693 | 0.38003
|  | 694 | 0.39081
|  | 695 | 0.4018
|  | 696 | 0.41279
|  | 697 | 0.42378
|  | 698 | 0.43494
|  | 699 | 0.44591
|  | 700 | 0.4571
|  | 701 | 0.46707
|  | 702 | 0.47804
|  | 703 | 0.48803
|  | 704 | 0.49853
|  | 705 | 0.5076
|  | 706 | 0.5173
|  | 707 | 0.52719
|  | 708 | 0.53695
|  | 709 | 0.54659
|  | 710 | 0.55472
|  | 711 | 0.56257
|  | 712 | 0.57063
|  | 713 | 0.57919
|  | 714 | 0.58759
|  | 715 | 0.59583
|  | 716 | 0.60364
|  | 717 | 0.61173
|  | 718 | 0.61793
|  | 719 | 0.62605
|  | 720 | 0.63282
|  | 721 | 0.64065
|  | 722 | 0.64637
|  | 723 | 0.6518
|  | 724 | 0.65784
|  | 725 | 0.66404
|  | 726 | 0.67074
|  | 727 | 0.67655
|  | 728 | 0.6814
|  | 729 | 0.68799
|  | 730 | 0.69256
|  | 731 | 0.69871
|  | 732 | 0.7039
|  | 733 | 0.70923
|  | 734 | 0.71374
|  | 735 | 0.71796
|  | 736 | 0.72248
|  | 737 | 0.72748
|  | 738 | 0.73196
|  | 739 | 0.73642
|  | 740 | 0.73965
|  | 741 | 0.743
|  | 742 | 0.74731
|  | 743 | 0.75147
|  | 744 | 0.75604
|  | 745 | 0.75907
|  | 746 | 0.76274
|  | 747 | 0.7651
|  | 748 | 0.76907
|  | 749 | 0.77275
|  | 750 | 0.7767
|  | 751 | 0.77986
|  | 752 | 0.7828
|  | 753 | 0.78588
|  | 754 | 0.78946
|  | 755 | 0.79276
|  | 756 | 0.79676
|  | 757 | 0.7987
|  | 758 | 0.80075
|  | 759 | 0.80158
|  | 760 | 0.80493
|  | 761 | 0.80747
|  | 762 | 0.81065
|  | 763 | 0.81195
|  | 764 | 0.81414
|  | 765 | 0.81627
|  | 766 | 0.81954
|  | 767 | 0.82153
|  | 768 | 0.82429
|  | 769 | 0.82529
|  | 770 | 0.82698
|  | 771 | 0.82747
|  | 772 | 0.82899
|  | 773 | 0.8306
|  | 774 | 0.83274
|  | 775 | 0.834
|  | 776 | 0.83535
|  | 777 | 0.83665
|  | 778 | 0.83875
|  | 779 | 0.83954
|  | 780 | 0.84113
|  | 781 | 0.84305
|  | 782 | 0.8443
|  | 783 | 0.84358
|  | 784 | 0.84333
|  | 785 | 0.84422
|  | 786 | 0.84499
|  | 787 | 0.84574
|  | 788 | 0.84718
|  | 789 | 0.84879
|  | 790 | 0.84937
|  | 791 | 0.84974
|  | 792 | 0.84971
|  | 793 | 0.85039
|  | 794 | 0.85058
|  | 795 | 0.85055
|  | 796 | 0.85
|  | 797 | 0.85052
|  | 798 | 0.85111
|  | 799 | 0.85189
|  | 800 | 0.852
|  | 801 | 0.85048
|  | 802 | 0.84944
|  | 803 | 0.84848
|  | 804 | 0.84913
|  | 805 | 0.84945
|  | 806 | 0.84957
|  | 807 | 0.84903
|  | 808 | 0.84829
|  | 809 | 0.8474
|  | 810 | 0.8476
|  | 811 | 0.8483
|  | 812 | 0.8482
|  | 813 | 0.84704
|  | 814 | 0.84627
|  | 815 | 0.84627
|  | 816 | 0.84575
|  | 817 | 0.84432
|  | 818 | 0.84297
|  | 819 | 0.84298
|  | 820 | 0.84143
|  | 821 | 0.8404
|  | 822 | 0.83867
|  | 823 | 0.83824
|  | 824 | 0.83786
|  | 825 | 0.83855
|  | 826 | 0.83788
|  | 827 | 0.8367
|  | 828 | 0.83477
|  | 829 | 0.83405
|  | 830 | 0.83262
|  | 831 | 0.83235
|  | 832 | 0.83197
|  | 833 | 0.83154
|  | 834 | 0.83036
|  | 835 | 0.82924
|  | 836 | 0.82765
|  | 837 | 0.82619
|  | 838 | 0.82484
|  | 839 | 0.8245
|  | 840 | 0.82318
|  | 841 | 0.8216
|  | 842 | 0.82018
|  | 843 | 0.81933
|  | 844 | 0.81878
|  | 845 | 0.8172
|  | 846 | 0.81483
|  | 847 | 0.81169
|  | 848 | 0.80943
|  | 849 | 0.80911
|  | 850 | 0.80953
|  | 851 | 0.80911
|  | 852 | 0.80742
|  | 853 | 0.80544
|  | 854 | 0.80242
|  | 855 | 0.79986
|  | 856 | 0.79772
|  | 857 | 0.79695
|  | 858 | 0.79415
|  | 859 | 0.78976
|  | 860 | 0.78224
|  | 861 | 0.7699
|  | 862 | 0.75869
|  | 863 | 0.75265
|  | 864 | 0.75734
|  | 865 | 0.76652
|  | 866 | 0.776
|  | 867 | 0.77437
|  | 868 | 0.76279
|  | 869 | 0.74879
|  | 870 | 0.74096
|  | 871 | 0.73824
|  | 872 | 0.73839
|  | 873 | 0.74218
|  | 874 | 0.74686
|  | 875 | 0.74877
|  | 876 | 0.74672
|  | 877 | 0.74127
|  | 878 | 0.73422
|  | 879 | 0.72914
|  | 880 | 0.73115
|  | 881 | 0.73648
|  | 882 | 0.74064
|  | 883 | 0.73614
|  | 884 | 0.72511
|  | 885 | 0.71542
|  | 886 | 0.71729
|  | 887 | 0.72717
|  | 888 | 0.72989
|  | 889 | 0.72052
|  | 890 | 0.70754
|  | 891 | 0.70214
|  | 892 | 0.70625
|  | 893 | 0.71352
|  | 894 | 0.71838
|  | 895 | 0.71305
|  | 896 | 0.70111
|  | 897 | 0.69135
|  | 898 | 0.68979
|  | 899 | 0.69584
|  | 900 | 0.70128
|  | 901 | 0.69793
|  | 902 | 0.68571
|  | 903 | 0.67578
|  | 904 | 0.67912
|  | 905 | 0.68966
|  | 906 | 0.69225
|  | 907 | 0.68589
|  | 908 | 0.68085
|  | 909 | 0.67868
|  | 910 | 0.67305
|  | 911 | 0.6644
|  | 912 | 0.66224
|  | 913 | 0.66364
|  | 914 | 0.66122
|  | 915 | 0.65461
|  | 916 | 0.6528
|  | 917 | 0.65983
|  | 918 | 0.66958
|  | 919 | 0.67256
|  | 920 | 0.66316
|  | 921 | 0.65026
|  | 922 | 0.64632
|  | 923 | 0.65287
|  | 924 | 0.65709
|  | 925 | 0.64848
|  | 926 | 0.63595
|  | 927 | 0.63325
|  | 928 | 0.64248
|  | 929 | 0.64921
|  | 930 | 0.64074
|  | 931 | 0.62333
|  | 932 | 0.61294
|  | 933 | 0.61735
|  | 934 | 0.63138
|  | 935 | 0.63768
|  | 936 | 0.63195
|  | 937 | 0.62235
|  | 938 | 0.61985
|  | 939 | 0.62206
|  | 940 | 0.62409
|  | 941 | 0.62145
|  | 942 | 0.61413
|  | 943 | 0.60749
|  | 944 | 0.60675
|  | 945 | 0.61079
|  | 946 | 0.61488
|  | 947 | 0.61295
|  | 948 | 0.60569
|  | 949 | 0.59965
|  | 950 | 0.60038
|  | 951 | 0.60356
|  | 952 | 0.60004
|  | 953 | 0.59308
|  | 954 | 0.58999
|  | 955 | 0.59295
|  | 956 | 0.59513
|  | 957 | 0.59725
|  | 958 | 0.59491
|  | 959 | 0.58971
|  | 960 | 0.58565
|  | 961 | 0.58454
|  | 962 | 0.58872
|  | 963 | 0.59099
|  | 964 | 0.58972
|  | 965 | 0.58884
|  | 966 | 0.5879
|  | 967 | 0.58498
|  | 968 | 0.57559
|  | 969 | 0.56995
|  | 970 | 0.57066
|  | 971 | 0.57797
|  | 972 | 0.58232
|  | 973 | 0.58182
|  | 974 | 0.57735
|  | 975 | 0.57568
|  | 976 | 0.57544
|  | 977 | 0.57386
|  | 978 | 0.57252
|  | 979 | 0.57202
|  | 980 | 0.56889
|  | 981 | 0.56132
|  | 982 | 0.55839
|  | 983 | 0.55979
|  | 984 | 0.56223
|  | 985 | 0.5672
|  | 986 | 0.57308
|  | 987 | 0.57502
|  | 988 | 0.56683
|  | 989 | 0.55672
|  | 990 | 0.55619
|  | 991 | 0.559
|  | 992 | 0.55959
|  | 993 | 0.55167
|  | 994 | 0.54351
|  | 995 | 0.54507
|  | 996 | 0.54992
|  | 997 | 0.55471
|  | 998 | 0.55275
|  | 999 | 0.5548
|  | 1000 | 0.55688
|  | 1001 | 0.55597
|  | 1002 | 0.54836
|  | 1003 | 0.54204
|  | 1004 | 0.54623
|  | 1005 | 0.55349
|  | 1006 | 0.55844
|  | 1007 | 0.55259
|  | 1008 | 0.54416
|  | 1009 | 0.53973
|  | 1010 | 0.54282
|  | 1011 | 0.54833
|  | 1012 | 0.55181
|  | 1013 | 0.54813
|  | 1014 | 0.54116
|  | 1015 | 0.53558
|  | 1016 | 0.53877
|  | 1017 | 0.54714
|  | 1018 | 0.55053
|  | 1019 | 0.54687
|  | 1020 | 0.53753
|  | 1021 | 0.53258
|  | 1022 | 0.53519
|  | 1023 | 0.5426
|  | 1024 | 0.54759
|  | 1025 | 0.54354
|  | 1026 | 0.53833
|  | 1027 | 0.53532
|  | 1028 | 0.53994
|  | 1029 | 0.54506
|  | 1030 | 0.548
|  | 1031 | 0.54438
|  | 1032 | 0.53754
|  | 1033 | 0.53036
|  | 1034 | 0.52462
|  | 1035 | 0.52877
|  | 1036 | 0.53594
|  | 1037 | 0.54223
|  | 1038 | 0.53989
|  | 1039 | 0.53389
|  | 1040 | 0.5296
|  | 1041 | 0.53282
|  | 1042 | 0.53968
|  | 1043 | 0.54471
|  | 1044 | 0.54249
|  | 1045 | 0.53738
|  | 1046 | 0.53365
|  | 1047 | 0.5273
|  | 1048 | 0.5238
|  | 1049 | 0.53004
|  | 1050 | 0.5396
|  | 1051 | 0.54797
|  | 1052 | 0.5452
|  | 1053 | 0.54065
|  | 1054 | 0.53441
|  | 1055 | 0.52934
|  | 1056 | 0.52559
|  | 1057 | 0.53428
|  | 1058 | 0.54362
|  | 1059 | 0.55299
|  | 1060 | 0.55244
|  | 1061 | 0.54947
|  | 1062 | 0.54542
|  | 1063 | 0.54139
|  | 1064 | 0.53656
|  | 1065 | 0.53095
|  | 1066 | 0.52341
|  | 1067 | 0.52175
|  | 1068 | 0.53212
|  | 1069 | 0.54484
|  | 1070 | 0.5535
|  | 1071 | 0.55382
|  | 1072 | 0.55322
|  | 1073 | 0.55102
|  | 1074 | 0.54528
|  | 1075 | 0.53749
|  | 1076 | 0.5326
|  | 1077 | 0.54096
|  | 1078 | 0.55198
|  | 1079 | 0.56017
|  | 1080 | 0.55533
|  | 1081 | 0.54906
|  | 1082 | 0.5433
|  | 1083 | 0.53891
|  | 1084 | 0.54511
|  | 1085 | 0.55429
|  | 1086 | 0.56203
|  | 1087 | 0.56091
|  | 1088 | 0.55704
|  | 1089 | 0.55277
|  | 1090 | 0.54737
|  | 1091 | 0.54437
|  | 1092 | 0.55505
|  | 1093 | 0.56557
|  | 1094 | 0.57567
|  | 1095 | 0.57218
|  | 1096 | 0.56715
|  | 1097 | 0.55964
|  | 1098 | 0.55481
|  | 1099 | 0.55087
|  | 1100 | 0.55203
|  | 1101 | 0.56299
|  | 1102 | 0.57464
|  | 1103 | 0.58535
|  | 1104 | 0.58587
|  | 1105 | 0.58639
|  | 1106 | 0.58327
|  | 1107 | 0.58139
|  | 1108 | 0.58115
|  | 1109 | 0.5812
|  | 1110 | 0.57842
|  | 1111 | 0.5763
|  | 1112 | 0.57338
|  | 1113 | 0.57129
|  | 1114 | 0.57099
|  | 1115 | 0.57013
|  | 1116 | 0.56875
|  | 1117 | 0.56414
|  | 1118 | 0.55985
|  | 1119 | 0.55635
|  | 1120 | 0.56028
|  | 1121 | 0.57678
|  | 1122 | 0.59161
|  | 1123 | 0.59714
|  | 1124 | 0.59242
|  | 1125 | 0.59259
|  | 1126 | 0.60565
|  | 1127 | 0.61942
|  | 1128 | 0.62605
|  | 1129 | 0.61385
|  | 1130 | 0.58895
|  | 1131 | 0.57164
|  | 1132 | 0.57307
|  | 1133 | 0.59858
|  | 1134 | 0.61186
|  | 1135 | 0.60695
|  | 1136 | 0.59067
|  | 1137 | 0.59799
|  | 1138 | 0.61142
|  | 1139 | 0.62562
|  | 1140 | 0.62531
|  | 1141 | 0.62603
|  | 1142 | 0.62797
|  | 1143 | 0.6312
|  | 1144 | 0.63424
|  | 1145 | 0.63305
|  | 1146 | 0.63067
|  | 1147 | 0.62701
|  | 1148 | 0.62753
|  | 1149 | 0.63602
|  | 1150 | 0.64778
|  | 1151 | 0.65746
|  | 1152 | 0.65751
|  | 1153 | 0.65613
|  | 1154 | 0.65482
|  | 1155 | 0.65481
|  | 1156 | 0.65375
|  | 1157 | 0.65177
|  | 1158 | 0.64946
|  | 1159 | 0.64692
|  | 1160 | 0.64397
|  | 1161 | 0.64615
|  | 1162 | 0.65913
|  | 1163 | 0.6762
|  | 1164 | 0.68736
|  | 1165 | 0.69111
|  | 1166 | 0.69006
|  | 1167 | 0.69362
|  | 1168 | 0.6963
|  | 1169 | 0.70091
|  | 1170 | 0.70315
|  | 1171 | 0.70516
|  | 1172 | 0.70702
|  | 1173 | 0.71011
|  | 1174 | 0.71287
|  | 1175 | 0.71532
|  | 1176 | 0.71896
|  | 1177 | 0.72397
|  | 1178 | 0.72985
|  | 1179 | 0.73219
|  | 1180 | 0.73178
|  | 1181 | 0.7264
|  | 1182 | 0.72328
|  | 1183 | 0.72016
|  | 1184 | 0.72763
|  | 1185 | 0.74915
|  | 1186 | 0.78252
|  | 1187 | 0.82072
|  | 1188 | 0.83596
|  | 1189 | 0.80997
|  | 1190 | 0.7729
|  | 1191 | 0.74429
|  | 1192 | 0.74787
|  | 1193 | 0.75002
|  | 1194 | 0.75165
|  | 1195 | 0.75576
|  | 1196 | 0.77227
|  | 1197 | 0.78667
|  | 1198 | 0.79391
|  | 1199 | 0.78713
|  | 1200 | 0.78508
|  | 1201 | 0.79523
|  | 1202 | 0.80572
|  | 1203 | 0.81052
|  | 1204 | 0.80886
|  | 1205 | 0.8214
|  | 1206 | 0.8365
|  | 1207 | 0.8462
|  | 1208 | 0.84305
|  | 1209 | 0.8392
|  | 1210 | 0.83944
|  | 1211 | 0.84252
|  | 1212 | 0.84789
|  | 1213 | 0.85544
|  | 1214 | 0.86389
|  | 1215 | 0.87284
|  | 1216 | 0.87142
|  | 1217 | 0.86095
|  | 1218 | 0.85249
|  | 1219 | 0.85507
|  | 1220 | 0.86878
|  | 1221 | 0.8826
|  | 1222 | 0.88857
|  | 1223 | 0.88416
|  | 1224 | 0.87783
|  | 1225 | 0.87743
|  | 1226 | 0.88604
|  | 1227 | 0.89368
|  | 1228 | 0.90311
|  | 1229 | 0.91471
|  | 1230 | 0.92467
|  | 1231 | 0.93058
|  | 1232 | 0.93223
|  | 1233 | 0.93649
|  | 1234 | 0.93848
|  | 1235 | 0.93937
|  | 1236 | 0.94824
|  | 1237 | 0.97036
|  | 1238 | 0.99208
|  | 1239 | 1.0035
|  | 1240 | 1.0036
|  | 1241 | 1.0039
|  | 1242 | 1.0034
|  | 1243 | 1.0046
|  | 1244 | 1.0171
|  | 1245 | 1.0439
|  | 1246 | 1.0727
|  | 1247 | 1.0917
|  | 1248 | 1.0847
|  | 1249 | 1.0615
|  | 1250 | 1.0412
|  | 1251 | 1.037
|  | 1252 | 1.0509
|  | 1253 | 1.0668
|  | 1254 | 1.0834
|  | 1255 | 1.0977
|  | 1256 | 1.1016
|  | 1257 | 1.0989
|  | 1258 | 1.098
|  | 1259 | 1.1082
|  | 1260 | 1.1233
|  | 1261 | 1.1264
|  | 1262 | 1.1188
|  | 1263 | 1.1154
|  | 1264 | 1.1277
|  | 1265 | 1.1506
|  | 1266 | 1.1739
|  | 1267 | 1.1907
|  | 1268 | 1.19
|  | 1269 | 1.1734
|  | 1270 | 1.1571
|  | 1271 | 1.1533
|  | 1272 | 1.1629
|  | 1273 | 1.1856
|  | 1274 | 1.2191
|  | 1275 | 1.2525
|  | 1276 | 1.274
|  | 1277 | 1.2811
|  | 1278 | 1.2857
|  | 1279 | 1.2867
|  | 1280 | 1.2869
|  | 1281 | 1.2859
|  | 1282 | 1.2981
|  | 1283 | 1.3241
|  | 1284 | 1.3497
|  | 1285 | 1.365
|  | 1286 | 1.3718
|  | 1287 | 1.3809
|  | 1288 | 1.3879
|  | 1289 | 1.3924
|  | 1290 | 1.3967
|  | 1291 | 1.4013
|  | 1292 | 1.409
|  | 1293 | 1.4193
|  | 1294 | 1.4351
|  | 1295 | 1.4561
|  | 1296 | 1.4756
|  | 1297 | 1.4857
|  | 1298 | 1.4776
|  | 1299 | 1.4605
|  | 1300 | 1.4522
|  | 1301 | 1.4642
|  | 1302 | 1.491
|  | 1303 | 1.5166
|  | 1304 | 1.5411
|  | 1305 | 1.571
|  | 1306 | 1.6029
|  | 1307 | 1.6071
|  | 1308 | 1.5912
|  | 1309 | 1.5733
|  | 1310 | 1.5702
|  | 1311 | 1.5757
|  | 1312 | 1.5814
|  | 1313 | 1.5939
|  | 1314 | 1.6101
|  | 1315 | 1.6217
|  | 1316 | 1.6366
|  | 1317 | 1.6522
|  | 1318 | 1.6746
|  | 1319 | 1.6939
|  | 1320 | 1.7105
|  | 1321 | 1.7278
|  | 1322 | 1.7456
|  | 1323 | 1.7617
|  | 1324 | 1.7766
|  | 1325 | 1.7954
|  | 1326 | 1.8204
|  | 1327 | 1.8473
|  | 1328 | 1.8759
|  | 1329 | 1.9097
|  | 1330 | 1.9358
|  | 1331 | 1.9256
|  | 1332 | 1.8945
|  | 1333 | 1.869
|  | 1334 | 1.8816
|  | 1335 | 1.9088
|  | 1336 | 1.9407
|  | 1337 | 1.9717
|  | 1338 | 2.0029
|  | 1339 | 2.0081
|  | 1340 | 2.0038
|  | 1341 | 2.0199
|  | 1342 | 2.062
|  | 1343 | 2.0783
|  | 1344 | 2.0429
|  | 1345 | 2.0222
|  | 1346 | 2.0656
|  | 1347 | 2.1492
|  | 1348 | 2.1906
|  | 1349 | 2.1629
|  | 1350 | 2.0686
|  | 1351 | 1.9744
|  | 1352 | 1.9742
|  | 1353 | 2.1466
|  | 1354 | 2.3805
|  | 1355 | 2.4707
|  | 1356 | 2.3109
|  | 1357 | 2.0182
|  | 1358 | 1.8235
|  | 1359 | 1.9037
|  | 1360 | 2.1837
|  | 1361 | 2.4174
|  | 1362 | 2.499
|  | 1363 | 2.4547
|  | 1364 | 2.3737
|  | 1365 | 2.3075
|  | 1366 | 2.2678
|  | 1367 | 2.2715
|  | 1368 | 2.2957
|  | 1369 | 2.3949
|  | 1370 | 2.5499
|  | 1371 | 2.6717
|  | 1372 | 2.7041
|  | 1373 | 2.7371
|  | 1374 | 2.8097
|  | 1375 | 2.8445
|  | 1376 | 2.7085
|  | 1377 | 2.3855
|  | 1378 | 2.0666
|  | 1379 | 1.9634
|  | 1380 | 2.1575
|  | 1381 | 2.5344
|  | 1382 | 2.8279
|  | 1383 | 2.8757
|  | 1384 | 2.7292
|  | 1385 | 2.6515
|  | 1386 | 2.8113
|  | 1387 | 3.0352
|  | 1388 | 3.0463
|  | 1389 | 2.861
|  | 1390 | 2.643
|  | 1391 | 2.5074
|  | 1392 | 2.4604
|  | 1393 | 2.6582
|  | 1394 | 3.0461
|  | 1395 | 3.133
|  | 1396 | 2.8175
|  | 1397 | 2.4619
|  | 1398 | 2.6606
|  | 1399 | 3.1444
|  | 1400 | 3.321
|  | 1401 | 3.1274
|  | 1402 | 2.8824
|  | 1403 | 2.8885
|  | 1404 | 2.9114
|  | 1405 | 2.8627
|  | 1406 | 2.8839
|  | 1407 | 3.1092
|  | 1408 | 3.3691
|  | 1409 | 3.3763
|  | 1410 | 3.1568
|  | 1411 | 2.9569
|  | 1412 | 3.0355
|  | 1413 | 3.1726
|  | 1414 | 3.2136
|  | 1415 | 3.1227
|  | 1416 | 3.1251
|  | 1417 | 3.2101
|  | 1418 | 3.296
|  | 1419 | 3.2755
|  | 1420 | 3.223
|  | 1421 | 3.2732
|  | 1422 | 3.4138
|  | 1423 | 3.5372
|  | 1424 | 3.4835
|  | 1425 | 3.384
|  | 1426 | 3.3304
|  | 1427 | 3.3459
|  | 1428 | 3.3629
|  | 1429 | 3.3971
|  | 1430 | 3.4638
|  | 1431 | 3.5197
|  | 1432 | 3.5368
|  | 1433 | 3.5419
|  | 1434 | 3.5727
|  | 1435 | 3.6302
|  | 1436 | 3.7046
|  | 1437 | 3.7405
|  | 1438 | 3.6872
|  | 1439 | 3.6201
|  | 1440 | 3.5827
|  | 1441 | 3.6116
|  | 1442 | 3.661
|  | 1443 | 3.7736
|  | 1444 | 3.8765
|  | 1445 | 3.8993
|  | 1446 | 3.7769
|  | 1447 | 3.708
|  | 1448 | 3.7403
|  | 1449 | 3.8538
|  | 1450 | 3.9136
|  | 1451 | 3.924
|  | 1452 | 3.9398
|  | 1453 | 3.9911
|  | 1454 | 4.066
|  | 1455 | 4.1155
|  | 1456 | 4.0668
|  | 1457 | 4.0071
|  | 1458 | 3.9997
|  | 1459 | 4.0725
|  | 1460 | 4.114
|  | 1461 | 4.0776
|  | 1462 | 4.0507
|  | 1463 | 4.0632
|  | 1464 | 4.1401
|  | 1465 | 4.1667
|  | 1466 | 4.0898
|  | 1467 | 4.0089
|  | 1468 | 3.9925
|  | 1469 | 4.1775
|  | 1470 | 4.3585
|  | 1471 | 4.4989
|  | 1472 | 4.4862
|  | 1473 | 4.3526
|  | 1474 | 4.2421
|  | 1475 | 4.1734
|  | 1476 | 4.2095
|  | 1477 | 4.2422
|  | 1478 | 4.3929
|  | 1479 | 4.558
|  | 1480 | 4.7114
|  | 1481 | 4.6916
|  | 1482 | 4.5914
|  | 1483 | 4.4921
|  | 1484 | 4.4479
|  | 1485 | 4.48
|  | 1486 | 4.4919
|  | 1487 | 4.4999
|  | 1488 | 4.5026
|  | 1489 | 4.521
|  | 1490 | 4.5406
|  | 1491 | 4.5595
|  | 1492 | 4.5994
|  | 1493 | 4.6376
|  | 1494 | 4.7057
|  | 1495 | 4.766
|  | 1496 | 4.8372
|  | 1497 | 4.8491
|  | 1498 | 4.7739
|  | 1499 | 4.6866
|  | 1500 | 4.647
|  | 1501 | 4.6868
|  | 1502 | 4.7595
|  | 1503 | 4.8268
|  | 1504 | 4.9321
|  | 1505 | 4.966
|  | 1506 | 4.9131
|  | 1507 | 4.8399
|  | 1508 | 4.8287
|  | 1509 | 4.8909
|  | 1510 | 4.9611
|  | 1511 | 5.0192
|  | 1512 | 5.0637
|  | 1513 | 4.993
|  | 1514 | 4.929
|  | 1515 | 4.8999
|  | 1516 | 4.9668
|  | 1517 | 5.058
|  | 1518 | 5.1377
|  | 1519 | 5.1756
|  | 1520 | 5.1134
|  | 1521 | 5.0514
|  | 1522 | 5.0354
|  | 1523 | 5.0827
|  | 1524 | 5.1328
|  | 1525 | 5.1882
|  | 1526 | 5.2638
|  | 1527 | 5.2963
|  | 1528 | 5.2221
|  | 1529 | 5.1539
|  | 1530 | 5.1191
|  | 1531 | 5.1542
|  | 1532 | 5.1808
|  | 1533 | 5.2186
|  | 1534 | 5.289
|  | 1535 | 5.3515
|  | 1536 | 5.4108
|  | 1537 | 5.4219
|  | 1538 | 5.3524
|  | 1539 | 5.2765
|  | 1540 | 5.2408
|  | 1541 | 5.2857
|  | 1542 | 5.3175
|  | 1543 | 5.365
|  | 1544 | 5.4164
|  | 1545 | 5.4919
|  | 1546 | 5.5361
|  | 1547 | 5.5202
|  | 1548 | 5.4386
|  | 1549 | 5.3618
|  | 1550 | 5.3318
|  | 1551 | 5.3717
|  | 1552 | 5.4457
|  | 1553 | 5.5225
|  | 1554 | 5.6104
|  | 1555 | 5.6108
|  | 1556 | 5.5263
|  | 1557 | 5.4157
|  | 1558 | 5.3946
|  | 1559 | 5.4668
|  | 1560 | 5.5588
|  | 1561 | 5.6378
|  | 1562 | 5.7175
|  | 1563 | 5.7375
|  | 1564 | 5.6567
|  | 1565 | 5.5682
|  | 1566 | 5.5515
|  | 1567 | 5.6427
|  | 1568 | 5.7386
|  | 1569 | 5.7368
|  | 1570 | 5.625
|  | 1571 | 5.5291
|  | 1572 | 5.5046
|  | 1573 | 5.595
|  | 1574 | 5.6794
|  | 1575 | 5.7517
|  | 1576 | 5.7492
|  | 1577 | 5.6624
|  | 1578 | 5.5911
|  | 1579 | 5.5537
|  | 1580 | 5.593
|  | 1581 | 5.6523
|  | 1582 | 5.7346
|  | 1583 | 5.8143
|  | 1584 | 5.8434
|  | 1585 | 5.8234
|  | 1586 | 5.7371
|  | 1587 | 5.6652
|  | 1588 | 5.6255
|  | 1589 | 5.6409
|  | 1590 | 5.6532
|  | 1591 | 5.6732
|  | 1592 | 5.6918
|  | 1593 | 5.7142
|  | 1594 | 5.7303
|  | 1595 | 5.7441
|  | 1596 | 5.7747
|  | 1597 | 5.8122
|  | 1598 | 5.8355
|  | 1599 | 5.8433
|  | 1600 | 5.8599
|  | 1601 | 5.9018
|  | 1602 | 5.958
|  | 1603 | 6.0069
|  | 1604 | 6.0511
|  | 1605 | 6.0787
|  | 1606 | 6.0551
|  | 1607 | 5.9365
|  | 1608 | 5.817
|  | 1609 | 5.7528
|  | 1610 | 5.7697
|  | 1611 | 5.8014
|  | 1612 | 5.8356
|  | 1613 | 5.8627
|  | 1614 | 5.8673
|  | 1615 | 5.8569
|  | 1616 | 5.8553
|  | 1617 | 5.8659
|  | 1618 | 5.8909
|  | 1619 | 5.9303
|  | 1620 | 5.993
|  | 1621 | 6.0501
|  | 1622 | 6.0387
|  | 1623 | 5.9397
|  | 1624 | 5.8465
|  | 1625 | 5.8135
|  | 1626 | 5.8549
|  | 1627 | 5.9044
|  | 1628 | 5.9747
|  | 1629 | 6.0254
|  | 1630 | 5.9945
|  | 1631 | 5.888
|  | 1632 | 5.8086
|  | 1633 | 5.8153
|  | 1634 | 5.8873
|  | 1635 | 5.9667
|  | 1636 | 6.0237
|  | 1637 | 6.0036
|  | 1638 | 5.9179
|  | 1639 | 5.8419
|  | 1640 | 5.8484
|  | 1641 | 5.9247
|  | 1642 | 6.0001
|  | 1643 | 6.0037
|  | 1644 | 5.9197
|  | 1645 | 5.823
|  | 1646 | 5.7989
|  | 1647 | 5.8537
|  | 1648 | 5.9208
|  | 1649 | 5.9937
|  | 1650 | 6.048
|  | 1651 | 6.0199
|  | 1652 | 5.9201
|  | 1653 | 5.8358
|  | 1654 | 5.8262
|  | 1655 | 5.8756
|  | 1656 | 5.9301
|  | 1657 | 5.9993
|  | 1658 | 6.0699
|  | 1659 | 6.1271
|  | 1660 | 6.1828
|  | 1661 | 6.2307
|  | 1662 | 6.2129
|  | 1663 | 6.1174
|  | 1664 | 6.0138
|  | 1665 | 6.0012
|  | 1666 | 6.1053
|  | 1667 | 6.2502
|  | 1668 | 6.2931
|  | 1669 | 6.166
|  | 1670 | 5.9636
|  | 1671 | 5.8207
|  | 1672 | 5.7912
|  | 1673 | 5.8142
|  | 1674 | 5.8686
|  | 1675 | 5.934
|  | 1676 | 6.0096
|  | 1677 | 6.0562
|  | 1678 | 6.0128
|  | 1679 | 5.9063
|  | 1680 | 5.791
|  | 1681 | 5.7657
|  | 1682 | 5.8012
|  | 1683 | 5.8503
|  | 1684 | 5.8951
|  | 1685 | 5.9529
|  | 1686 | 6.0411
|  | 1687 | 6.1084
|  | 1688 | 6.0551
|  | 1689 | 5.9282
|  | 1690 | 5.8205
|  | 1691 | 5.8149
|  | 1692 | 5.8666
|  | 1693 | 5.9174
|  | 1694 | 5.9572
|  | 1695 | 5.9879
|  | 1696 | 6.0278
|  | 1697 | 6.0442
|  | 1698 | 5.9809
|  | 1699 | 5.8647
|  | 1700 | 5.7553
|  | 1701 | 5.7424
|  | 1702 | 5.7831
|  | 1703 | 5.8318
|  | 1704 | 5.8382
|  | 1705 | 5.8341
|  | 1706 | 5.8452
|  | 1707 | 5.8828
|  | 1708 | 5.927
|  | 1709 | 5.9618
|  | 1710 | 6.0107
|  | 1711 | 6.077
|  | 1712 | 6.1316
|  | 1713 | 6.0811
|  | 1714 | 5.9604
|  | 1715 | 5.8363
|  | 1716 | 5.8047
|  | 1717 | 5.8135
|  | 1718 | 5.8253
|  | 1719 | 5.8489
|  | 1720 | 5.8819
|  | 1721 | 5.9169
|  | 1722 | 5.9226
|  | 1723 | 5.9273
|  | 1724 | 5.9572
|  | 1725 | 6.0199
|  | 1726 | 6.0956
|  | 1727 | 6.1425
|  | 1728 | 6.0693
|  | 1729 | 5.9526
|  | 1730 | 5.8508
|  | 1731 | 5.8304
|  | 1732 | 5.8267
|  | 1733 | 5.8221
|  | 1734 | 5.8234
|  | 1735 | 5.8214
|  | 1736 | 5.8295
|  | 1737 | 5.8578
|  | 1738 | 5.8914
|  | 1739 | 5.9341
|  | 1740 | 5.974
|  | 1741 | 6.0264
|  | 1742 | 6.0714
|  | 1743 | 6.1306
|  | 1744 | 6.159
|  | 1745 | 6.0767
|  | 1746 | 5.9662
|  | 1747 | 5.8678
|  | 1748 | 5.8491
|  | 1749 | 5.839
|  | 1750 | 5.8502
|  | 1751 | 5.8709
|  | 1752 | 5.8855
|  | 1753 | 5.9037
|  | 1754 | 5.9322
|  | 1755 | 5.9671
|  | 1756 | 5.9781
|  | 1757 | 6.0192
|  | 1758 | 6.0581
|  | 1759 | 6.1217
|  | 1760 | 6.1534
|  | 1761 | 6.0858
|  | 1762 | 5.9765
|  | 1763 | 5.8617
|  | 1764 | 5.8503
|  | 1765 | 5.8593
|  | 1766 | 5.8696
|  | 1767 | 5.8708
|  | 1768 | 5.875
|  | 1769 | 5.8708
|  | 1770 | 5.8419
|  | 1771 | 5.8158
|  | 1772 | 5.8135
|  | 1773 | 5.8182
|  | 1774 | 5.8038
|  | 1775 | 5.7856
|  | 1776 | 5.8517
|  | 1777 | 5.9552
|  | 1778 | 6.0529
|  | 1779 | 6.1287
|  | 1780 | 6.2108
|  | 1781 | 6.2608
|  | 1782 | 6.2335
|  | 1783 | 6.1744
|  | 1784 | 6.1864
|  | 1785 | 6.2163
|  | 1786 | 6.2259
|  | 1787 | 6.1591
|  | 1788 | 6.0916
|  | 1789 | 6.084
|  | 1790 | 6.1075
|  | 1791 | 6.1657
|  | 1792 | 6.2081
|  | 1793 | 6.2614
|  | 1794 | 6.3519
|  | 1795 | 6.4044
|  | 1796 | 6.3213
|  | 1797 | 6.1298
|  | 1798 | 6.0081
|  | 1799 | 6.074
|  | 1800 | 6.2065
|  | 1801 | 6.2299
|  | 1802 | 6.1308
|  | 1803 | 6.0721
|  | 1804 | 6.1384
|  | 1805 | 6.3008
|  | 1806 | 6.377
|  | 1807 | 6.2881
|  | 1808 | 6.135
|  | 1809 | 6.0765
|  | 1810 | 6.0455
|  | 1811 | 6.1127
|  | 1812 | 6.1872
|  | 1813 | 6.4675
|  | 1814 | 6.6926
|  | 1815 | 6.5479
|  | 1816 | 5.9651
|  | 1817 | 5.3535
|  | 1818 | 5.2724
|  | 1819 | 5.9725
|  | 1820 | 6.8965
|  | 1821 | 7.3774
|  | 1822 | 7.0564
|  | 1823 | 6.395
|  | 1824 | 5.9194
|  | 1825 | 5.7459
|  | 1826 | 5.7676
|  | 1827 | 5.9637
|  | 1828 | 6.3922
|  | 1829 | 6.9192
|  | 1830 | 7.0745
|  | 1831 | 6.7816
|  | 1832 | 6.1773
|  | 1833 | 5.8414
|  | 1834 | 5.8037
|  | 1835 | 5.8251
|  | 1836 | 5.6177
|  | 1837 | 5.3847
|  | 1838 | 5.6132
|  | 1839 | 6.6985
|  | 1840 | 8.077
|  | 1841 | 8.5802
|  | 1842 | 7.6304
|  | 1843 | 5.8553
|  | 1844 | 4.6934
|  | 1845 | 4.9393
|  | 1846 | 6.2795
|  | 1847 | 7.5097
|  | 1848 | 7.7769
|  | 1849 | 7.055
|  | 1850 | 6.227
|  | 1851 | 5.8949
|  | 1852 | 6.2664
|  | 1853 | 6.7296
|  | 1854 | 6.8345
|  | 1855 | 6.4578
|  | 1856 | 5.9968
|  | 1857 | 5.9101
|  | 1858 | 6.3093
|  | 1859 | 7.051
|  | 1860 | 7.7273
|  | 1861 | 7.965
|  | 1862 | 7.6803
|  | 1863 | 7.1044
|  | 1864 | 6.4555
|  | 1865 | 5.9882
|  | 1866 | 5.6551
|  | 1867 | 5.4336
|  | 1868 | 5.4426
|  | 1869 | 5.5581
|  | 1870 | 5.7572
|  | 1871 | 6.0627
|  | 1872 | 6.3897
|  | 1873 | 6.7351
|  | 1874 | 7.0257
|  | 1875 | 7.4073
|  | 1876 | 7.7424
|  | 1877 | 7.6891
|  | 1878 | 7.2014
|  | 1879 | 6.6593
|  | 1880 | 6.4063
|  | 1881 | 6.5625
|  | 1882 | 6.8756
|  | 1883 | 7.0983
|  | 1884 | 7.1741
|  | 1885 | 7.0774
|  | 1886 | 6.7464
|  | 1887 | 6.3883
|  | 1888 | 6.188
|  | 1889 | 6.3567
|  | 1890 | 6.8742
|  | 1891 | 7.4902
|  | 1892 | 7.8409
|  | 1893 | 7.6266
|  | 1894 | 6.9488
|  | 1895 | 6.2814
|  | 1896 | 5.9904
|  | 1897 | 6.2864
|  | 1898 | 6.8502
|  | 1899 | 7.2116
|  | 1900 | 7.0956
|  | 1901 | 6.6513
|  | 1902 | 6.227
|  | 1903 | 6.2128
|  | 1904 | 6.815
|  | 1905 | 7.6702
|  | 1906 | 8.197
|  | 1907 | 7.9107
|  | 1908 | 7.1667
|  | 1909 | 6.4824
|  | 1910 | 6.3461
|  | 1911 | 6.6286
|  | 1912 | 7.2386
|  | 1913 | 7.7123
|  | 1914 | 7.8108
|  | 1915 | 7.3309
|  | 1916 | 6.5872
|  | 1917 | 6.087
|  | 1918 | 6.0861
|  | 1919 | 6.5626
|  | 1920 | 7.1028
|  | 1921 | 7.4114
|  | 1922 | 7.359
|  | 1923 | 7.1326
|  | 1924 | 6.9302
|  | 1925 | 6.8679
|  | 1926 | 6.9868
|  | 1927 | 7.1791
|  | 1928 | 7.3387
|  | 1929 | 7.3758
|  | 1930 | 7.3123
|  | 1931 | 7.2809
|  | 1932 | 7.2675
|  | 1933 | 7.2448
|  | 1934 | 7.2398
|  | 1935 | 7.1989
|  | 1936 | 7.1752
|  | 1937 | 7.2152
|  | 1938 | 7.3764
|  | 1939 | 7.592
|  | 1940 | 7.6269
|  | 1941 | 7.497
|  | 1942 | 7.3795
|  | 1943 | 7.3175
|  | 1944 | 7.3862
|  | 1945 | 7.4609
|  | 1946 | 7.5377
|  | 1947 | 7.5167
|  | 1948 | 7.4789
|  | 1949 | 7.4739
|  | 1950 | 7.4505
|  | 1951 | 7.4114
|  | 1952 | 7.4508
|  | 1953 | 7.5592
|  | 1954 | 7.5675
|  | 1955 | 7.4827
|  | 1956 | 7.5092
|  | 1957 | 7.664
|  | 1958 | 7.7485
|  | 1959 | 7.6608
|  | 1960 | 7.5581
|  | 1961 | 7.5902
|  | 1962 | 7.6549
|  | 1963 | 7.7221
|  | 1964 | 7.6843
|  | 1965 | 7.7188
|  | 1966 | 7.7682
|  | 1967 | 7.8163
|  | 1968 | 7.7757
|  | 1969 | 7.6899
|  | 1970 | 7.7161
|  | 1971 | 7.8967
|  | 1972 | 8.0296
|  | 1973 | 8.0686
|  | 1974 | 7.982
|  | 1975 | 7.9557
|  | 1976 | 7.9539
|  | 1977 | 7.9455
|  | 1978 | 7.9337
|  | 1979 | 7.9033
|  | 1980 | 7.8889
|  | 1981 | 7.8772
|  | 1982 | 7.8888
|  | 1983 | 7.9059
|  | 1984 | 7.923
|  | 1985 | 7.9581
|  | 1986 | 8.0172
|  | 1987 | 8.0949
|  | 1988 | 8.1717
|  | 1989 | 8.2368
|  | 1990 | 8.2053
|  | 1991 | 8.0965
|  | 1992 | 7.9898
|  | 1993 | 7.9888
|  | 1994 | 8.0696
|  | 1995 | 8.178
|  | 1996 | 8.2463
|  | 1997 | 8.2868
|  | 1998 | 8.2499
|  | 1999 | 8.1783
|  | 2000.0658 | 8.1224
|  | 2009.9427 | 8.1579
|  | 2020.0986 | 8.2777
|  | 2029.9693 | 8.4176
|  | 2039.837 | 8.5029
|  | 2049.9835 | 8.607
|  | 2059.845 | 8.7352
|  | 2069.985 | 8.9411
|  | 2079.8403 | 9.1042
|  | 2089.9739 | 9.2426
|  | 2099.8228 | 9.3401
|  | 2109.9499 | 9.4872
|  | 2119.7925 | 9.6973
|  | 2129.913 | 9.9154
|  | 2140.0301 | 10.1326
|  | 2149.8629 | 10.2792
|  | 2159.9734 | 10.425
|  | 2169.7997 | 10.5691
|  | 2179.9034 | 10.7346
|  | 2190.0037 | 10.8948
|  | 2199.8201 | 11.0478
|  | 2209.9135 | 11.2034
|  | 2219.7232 | 11.3945
|  | 2229.8097 | 11.5646
|  | 2239.8927 | 11.7531
|  | 2249.6922 | 11.9509
|  | 2259.7683 | 12.1932
|  | 2269.8407 | 12.4557
|  | 2279.9096 | 12.6935
|  | 2289.6953 | 12.9323
|  | 2299.757 | 13.1417
|  | 2309.8151 | 13.3544
|  | 2319.8696 | 13.5551
|  | 2329.6413 | 13.7708
|  | 2339.6885 | 14.0096
|  | 2349.732 | 14.2003
|  | 2359.7718 | 14.3293
|  | 2369.8079 | 14.4118
|  | 2379.8403 | 14.5446
|  | 2389.5903 | 14.7146
|  | 2399.6153 | 14.8811
|  | 2409.6364 | 15.0205
|  | 2419.6537 | 15.1684
|  | 2429.6672 | 15.317
|  | 2439.6769 | 15.4736
|  | 2449.6827 | 15.6282
|  | 2459.6847 | 15.8104
|  | 2469.6827 | 15.9767
|  | 2479.6769 | 16.1543
|  | 2489.6672 | 16.2851
|  | 2499.6535 | 16.4276
|  | 2509.6359 | 16.4941
|  | 2519.6143 | 16.5735
|  | 2529.5887 | 16.6691
|  | 2539.5591 | 16.8518
|  | 2549.5256 | 17.0822
|  | 2559.488 | 17.289
|  | 2569.7229 | 17.4282
|  | 2579.6771 | 17.5174
|  | 2589.6272 | 17.5952
|  | 2599.5732 | 17.7073
|  | 2609.5151 | 17.8015
|  | 2619.4529 | 17.8766
|  | 2629.6624 | 17.9754
|  | 2639.5918 | 18.1375
|  | 2649.5171 | 18.3433
|  | 2659.4381 | 18.4414
|  | 2669.6304 | 18.4229
|  | 2679.5429 | 18.2906
|  | 2689.4511 | 18.0901
|  | 2699.6302 | 17.6893
|  | 2709.5299 | 16.8575
|  | 2719.4252 | 15.3392
|  | 2729.591 | 13.0389
|  | 2739.4777 | 10.2583
|  | 2749.36 | 7.5384
|  | 2759.5123 | 5.3269
|  | 2769.3858 | 3.727
|  | 2779.529 | 2.5948
|  | 2789.3936 | 1.8465
|  | 2799.5277 | 1.4181
|  | 2809.3833 | 1.2471
|  | 2819.5081 | 1.1849
|  | 2829.3548 | 1.1119
|  | 2839.4703 | 1.0721
|  | 2849.3079 | 1.0744
|  | 2859.414 | 1.1394
|  | 2869.5154 | 1.1643
|  | 2879.3392 | 1.1732
|  | 2889.4311 | 1.2198
|  | 2899.2457 | 1.3105
|  | 2909.3281 | 1.4238
|  | 2919.4056 | 1.4834
|  | 2929.2061 | 1.5051
|  | 2939.2741 | 1.5019
|  | 2949.3371 | 1.5154
|  | 2959.3952 | 1.5694
|  | 2969.1767 | 1.6812
|  | 2979.2251 | 1.8578
|  | 2989.2684 | 2.0224
|  | 2999.3068 | 2.1503
|  | 3009.3402 | 2.2034
|  | 3019.3686 | 2.2892
|  | 3029.3919 | 2.4156
|  | 3039.1395 | 2.5701
|  | 3049.1528 | 2.7379
|  | 3059.1611 | 2.8503
|  | 3069.1643 | 2.96
|  | 3079.1623 | 3.0297
|  | 3089.1552 | 3.1096
|  | 3099.1429 | 3.2132
|  | 3109.1255 | 3.2947
|  | 3119.1029 | 3.4048
|  | 3129.0751 | 3.491
|  | 3139.3114 | 3.6595
|  | 3149.273 | 3.8478
|  | 3159.2293 | 4.1404
|  | 3169.1804 | 4.407
|  | 3179.1261 | 4.6417
|  | 3189.0666 | 4.7727
|  | 3199.2702 | 4.8924
|  | 3209.1999 | 5.0852
|  | 3219.1242 | 5.2941
|  | 3229.0432 | 5.4878
|  | 3239.2246 | 5.5808
|  | 3249.1326 | 5.677
|  | 3259.0352 | 5.7694
|  | 3269.1998 | 5.878
|  | 3279.0914 | 5.9388
|  | 3288.9775 | 6.0119
|  | 3299.125 | 6.061
|  | 3309 | 6.1199
|  | 3319.1361 | 6.1066
|  | 3328.9998 | 6.0875
|  | 3339.1244 | 5.9979
|  | 3348.9769 | 5.8981
|  | 3359.0898 | 5.7396
|  | 3368.9309 | 5.5613
|  | 3379.0322 | 5.2707
|  | 3389.1275 | 4.9078
|  | 3398.9514 | 4.4615
|  | 3409.035 | 4.0665
|  | 3419.1125 | 3.6803
|  | 3428.9191 | 3.3679
|  | 3438.9847 | 3.0057
|  | 3449.0443 | 2.6047
|  | 3458.8333 | 2.1532
|  | 3468.8809 | 1.7902
|  | 3478.9224 | 1.5615
|  | 3488.9578 | 1.4284
|  | 3498.987 | 1.3026
|  | 3509.0101 | 1.1396
|  | 3519.027 | 0.99229
|  | 3529.0377 | 0.84134
|  | 3538.779 | 0.75078
|  | 3548.7774 | 0.64675
|  | 3558.7696 | 0.55537
|  | 3568.7556 | 0.4279
|  | 3578.9978 | 0.28651
|  | 3588.971 | 0.28651
|  | 3598.9378 | 0.22678
|  | 3608.8984 | 0.17614
|  | 3618.8526 | 0.14068
|  | 3628.8004 | 0.11818
|  | 3638.7418 | 0.11048
|  | 3648.9383 | 0.1264
|  | 3658.8667 | 0.15223
|  | 3668.7887 | 0.177
|  | 3678.7043 | 0.18749
|  | 3688.874 | 0.19
|  | 3698.7765 | 0.19333
|  | 3708.6724 | 0.19782
|  | 3718.8219 | 0.20903
|  | 3728.7046 | 0.2205
|  | 3738.8405 | 0.23237
|  | 3748.7099 | 0.24034
|  | 3758.8321 | 0.24567
|  | 3768.6881 | 0.24678
|  | 3778.7966 | 0.24626
|  | 3788.6391 | 0.24743
|  | 3798.7337 | 0.25463
|  | 3808.8213 | 0.26233
|  | 3818.6434 | 0.27236
|  | 3828.717 | 0.28879
|  | 3838.7835 | 0.31295
|  | 3848.5851 | 0.33812
|  | 3858.6376 | 0.3553
|  | 3868.6829 | 0.36834
|  | 3878.721 | 0.382
|  | 3888.7519 | 0.39934
|  | 3898.5188 | 0.41448
|  | 3908.5355 | 0.4253
|  | 3918.5449 | 0.43283
|  | 3928.5471 | 0.43988
|  | 3938.542 | 0.44607
|  | 3948.5296 | 0.45219
|  | 3958.5099 | 0.46049
|  | 3968.4829 | 0.4706
|  | 3978.7039 | 0.47793
|  | 3988.662 | 0.47862
|  | 3998.6126 | 0.4733
|  | 4008.5559 | 0.46713
|  | 4018.4917 | 0.46299
|  | 4028.6745 | 0.46048
|  | 4038.5952 | 0.45631
|  | 4048.5084 | 0.44984
|  | 4058.4141 | 0.44423
|  | 4068.566 | 0.44216
|  | 4078.4565 | 0.4434
|  | 4088.5927 | 0.44253
|  | 4098.4678 | 0.43822
|  | 4108.5883 | 0.43055
|  | 4118.448 | 0.425
|  | 4128.5526 | 0.42083
|  | 4138.3969 | 0.41792
|  | 4148.4856 | 0.41597
|  | 4158.5662 | 0.41785
|  | 4168.387 | 0.42368
|  | 4178.4516 | 0.42863
|  | 4188.508 | 0.42904
|  | 4198.3052 | 0.42607
|  | 4208.3454 | 0.423
|  | 4218.3775 | 0.42024
|  | 4228.4014 | 0.41766
|  | 4238.417 | 0.41387
|  | 4248.4243 | 0.41161
|  | 4258.4234 | 0.41095
|  | 4268.4142 | 0.41546
|  | 4278.3966 | 0.42458
|  | 4288.3707 | 0.43746
|  | 4298.3365 | 0.44684
|  | 4308.2938 | 0.45078
|  | 4318.2428 | 0.44896
|  | 4328.4318 | 0.44741
|  | 4338.3636 | 0.44788
|  | 4348.2871 | 0.44883
|  | 4358.202 | 0.44812
|  | 4368.3561 | 0.44489
|  | 4378.2538 | 0.44071
|  | 4388.3901 | 0.43656
|  | 4398.2706 | 0.43302
|  | 4408.3891 | 0.43127
|  | 4418.2521 | 0.43008
|  | 4428.3528 | 0.42812
|  | 4438.1984 | 0.42431
|  | 4448.2812 | 0.42006
|  | 4458.3548 | 0.41683
|  | 4468.1739 | 0.41381
|  | 4478.2295 | 0.41066
|  | 4488.2759 | 0.40682
|  | 4498.3131 | 0.40359
|  | 4508.0966 | 0.40143
|  | 4518.1156 | 0.39988
|  | 4528.1254 | 0.39792
|  | 4538.1258 | 0.39533
|  | 4548.117 | 0.39211
|  | 4558.0988 | 0.38927
|  | 4568.0713 | 0.38699
|  | 4578.2774 | 0.38522
|  | 4588.2309 | 0.38356
|  | 4598.1751 | 0.38165
|  | 4608.1098 | 0.38
|  | 4618.0351 | 0.37809
|  | 4628.1926 | 0.37585
|  | 4638.0988 | 0.37311
|  | 4647.9954 | 0.37018
|  | 4658.1235 | 0.36706
|  | 4668.0009 | 0.36408
|  | 4678.1092 | 0.36149
|  | 4687.9671 | 0.35891
|  | 4698.0556 | 0.35627
|  | 4708.1339 | 0.35425
|  | 4717.9625 | 0.35245
|  | 4728.0208 | 0.3506
|  | 4738.069 | 0.34801
|  | 4748.107 | 0.34527
|  | 4758.1347 | 0.34293
|  | 4767.9139 | 0.3404
|  | 4777.9214 | 0.3378
|  | 4787.9187 | 0.3353
|  | 4797.9056 | 0.33284
|  | 4807.8823 | 0.33043
|  | 4818.0858 | 0.32805
|  | 4828.0415 | 0.32571
|  | 4837.9869 | 0.3234
|  | 4847.9218 | 0.32113
|  | 4857.8464 | 0.3189
|  | 4867.9964 | 0.3167
|  | 4877.8997 | 0.31453
|  | 4888.028 | 0.3124
|  | 4897.9102 | 0.3103
|  | 4908.0167 | 0.30823
|  | 4917.8775 | 0.30619
|  | 4927.9621 | 0.30418
|  | 4937.8015 | 0.3022
|  | 4947.8642 | 0.30025
|  | 4957.9157 | 0.29832
|  | 4967.9561 | 0.29643
|  | 4977.9852 | 0.29456
|  | 4987.7703 | 0.29272
|  | 4997.7773 | 0.29091
|  | 5007.7767 | 0.28912
|  | 5017.5958 | 0.28736
|  | 5028.1691 | 0.28562
|  | 5037.9861 | 0.2839
|  | 5047.802 | 0.28221
|  | 5057.6169 | 0.28053
|  | 5068.1856 | 0.27888
|  | 5077.9983 | 0.27725
|  | 5087.81 | 0.27564
|  | 5097.6206 | 0.27405
|  | 5107.4302 | 0.27249
|  | 5117.9932 | 0.27094
|  | 5127.8006 | 0.26941
|  | 5137.6069 | 0.2679
|  | 5147.4122 | 0.2664
|  | 5157.9706 | 0.26492
|  | 5167.7736 | 0.26347
|  | 5177.5757 | 0.26203
|  | 5187.3766 | 0.26061
|  | 5197.9303 | 0.25921
|  | 5207.729 | 0.25782
|  | 5217.5267 | 0.25646
|  | 5227.3232 | 0.2551
|  | 5237.8722 | 0.25377
|  | 5247.6665 | 0.25244
|  | 5257.4598 | 0.25114
|  | 5268.0052 | 0.24986
|  | 5277.7962 | 0.24859
|  | 5287.5861 | 0.24733
|  | 5297.375 | 0.24609
|  | 5307.9156 | 0.24487
|  | 5317.7021 | 0.24366
|  | 5327.4876 | 0.24247
|  | 5337.272 | 0.24129
|  | 5347.8078 | 0.24012
|  | 5357.5899 | 0.23897
|  | 5367.3709 | 0.23783
|  | 5377.903 | 0.23671
|  | 5387.6817 | 0.2356
|  | 5397.4593 | 0.2345
|  | 5407.2357 | 0.23341
|  | 5417.763 | 0.23234
|  | 5427.5371 | 0.23128
|  | 5437.3102 | 0.23023
|  | 5447.8337 | 0.22919
|  | 5457.6044 | 0.22816
|  | 5467.374 | 0.22713
|  | 5477.1425 | 0.22612
|  | 5487.6611 | 0.22512
|  | 5497.4272 | 0.22413
|  | 5507.1922 | 0.22315
|  | 5517.7071 | 0.22218
|  | 5527.4697 | 0.22122
|  | 5537.2312 | 0.22027
|  | 5547.7423 | 0.21933
|  | 5557.5014 | 0.2184
|  | 5567.2594 | 0.21748
|  | 5577.7667 | 0.21657
|  | 5587.5223 | 0.21567
|  | 5597.2767 | 0.21478
|  | 5607.7802 | 0.21389
|  | 5617.5322 | 0.21301
|  | 5627.2831 | 0.21213
|  | 5637.0328 | 0.21127
|  | 5647.5312 | 0.21041
|  | 5657.2786 | 0.20956
|  | 5667.0247 | 0.20872
|  | 5677.5193 | 0.20788
|  | 5687.263 | 0.20705
|  | 5697.0055 | 0.20623
|  | 5707.4962 | 0.20542
|  | 5717.2363 | 0.20462
|  | 5726.9752 | 0.20382
|  | 5737.462 | 0.20303
|  | 5747.1985 | 0.20225
|  | 5757.6826 | 0.20148
|  | 5767.4166 | 0.20071
|  | 5777.1495 | 0.19995
|  | 5787.6296 | 0.1992
|  | 5797.36 | 0.19846
|  | 5807.0892 | 0.19772
|  | 5817.5654 | 0.19699
|  | 5827.2921 | 0.19627
|  | 5837.0176 | 0.19556
|  | 5847.4898 | 0.19486
|  | 5857.2128 | 0.19417
|  | 5866.9346 | 0.19348
|  | 5877.4028 | 0.1928
|  | 5887.1221 | 0.19212
|  | 5897.5877 | 0.19145
|  | 5907.3044 | 0.19078
|  | 5917.0199 | 0.19012
|  | 5927.4815 | 0.18946
|  | 5937.1945 | 0.18881
|  | 5946.9062 | 0.18816
|  | 5957.3637 | 0.18752
|  | 5967.0729 | 0.18688
|  | 5977.5276 | 0.18625
|  | 5987.2343 | 0.18562
|  | 5996.9398 | 0.185
|  | 6007.3904 | 0.18439
|  | 6017.0933 | 0.18377
|  | 6026.7949 | 0.18317
|  | 6037.2414 | 0.18257
|  | 6046.9405 | 0.18197
|  | 6057.3842 | 0.18138
|  | 6067.0807 | 0.18079
|  | 6076.7759 | 0.18021
|  | 6087.2155 | 0.17963
|  | 6096.9081 | 0.17906
|  | 6107.3449 | 0.17849
|  | 6117.0349 | 0.17793
|  | 6126.7237 | 0.17737
|  | 6137.1563 | 0.17682
|  | 6146.8424 | 0.17627
|  | 6157.2722 | 0.17572
|  | 6166.9557 | 0.17518
|  | 6177.3827 | 0.17464
|  | 6187.0635 | 0.17411
|  | 6196.7431 | 0.17357
|  | 6207.1659 | 0.17304
|  | 6216.8428 | 0.17252
|  | 6227.2627 | 0.172
|  | 6236.9369 | 0.17148
|  | 6246.6099 | 0.17096
|  | 6257.0255 | 0.17045
|  | 6266.6958 | 0.16995
|  | 6277.1086 | 0.16944
|  | 6286.7762 | 0.16894
|  | 6297.1861 | 0.16845
|  | 6306.851 | 0.16795
|  | 6317.2579 | 0.16746
|  | 6326.9202 | 0.16698
|  | 6336.5811 | 0.1665
|  | 6346.9837 | 0.16602
|  | 6356.6419 | 0.16554
|  | 6367.0416 | 0.16507
|  | 6376.6971 | 0.16459
|  | 6387.0939 | 0.16413
|  | 6396.7467 | 0.16366
|  | 6407.1405 | 0.1632
|  | 6416.7905 | 0.16274
|  | 6427.1814 | 0.16229
|  | 6436.8287 | 0.16184
|  | 6446.4746 | 0.16139
|  | 6456.8611 | 0.16095
|  | 6466.5043 | 0.16051
|  | 6476.8878 | 0.16007
|  | 6486.5282 | 0.15964
|  | 6496.9087 | 0.1592
|  | 6506.5464 | 0.15878
|  | 6516.9239 | 0.15835
|  | 6526.5588 | 0.15793
|  | 6536.9333 | 0.15752
|  | 6546.5654 | 0.15711
|  | 6556.9369 | 0.1567
|  | 6566.5662 | 0.15629
|  | 6576.9346 | 0.15588
|  | 6586.5611 | 0.15548
|  | 6596.9265 | 0.15507
|  | 6606.5502 | 0.15467
|  | 6616.9126 | 0.15427
|  | 6626.5334 | 0.15387
|  | 6636.8928 | 0.15347
|  | 6646.5108 | 0.15307
|  | 6656.8671 | 0.15267
|  | 6666.4822 | 0.15228
|  | 6676.8354 | 0.15188
|  | 6686.4477 | 0.15149
|  | 6696.7979 | 0.1511
|  | 6706.4073 | 0.15071
|  | 6716.7543 | 0.15032
|  | 6726.3609 | 0.14994
|  | 6736.7049 | 0.14956
|  | 6746.3085 | 0.14918
|  | 6756.6494 | 0.1488
|  | 6766.2502 | 0.14842
|  | 6776.5879 | 0.14805
|  | 6786.9241 | 0.14768
|  | 6796.5205 | 0.14731
|  | 6806.8535 | 0.14694
|  | 6816.4469 | 0.14658
|  | 6826.7768 | 0.14621
|  | 6836.3674 | 0.14585
|  | 6846.6941 | 0.14549
|  | 6856.2817 | 0.14512
|  | 6866.6053 | 0.14476
|  | 6876.19 | 0.1444
|  | 6886.5104 | 0.14405
|  | 6896.8291 | 0.14369
|  | 6906.4093 | 0.14334
|  | 6916.7249 | 0.14298
|  | 6926.3022 | 0.14263
|  | 6936.6146 | 0.14228
|  | 6946.1889 | 0.14193
|  | 6956.4981 | 0.14158
|  | 6966.8056 | 0.14123
|  | 6976.3754 | 0.14089
|  | 6986.6797 | 0.14054
|  | 6996.2465 | 0.1402
|  | 7006.5476 | 0.13987
|  | 7016.1114 | 0.13953
|  | 7026.4093 | 0.1392
|  | 7036.7055 | 0.13887
|  | 7046.2647 | 0.13854
|  | 7056.5577 | 0.13822
|  | 7066.1139 | 0.13789
|  | 7076.4036 | 0.13757
|  | 7086.6916 | 0.13725
|  | 7096.2432 | 0.13693
|  | 7106.528 | 0.13661
|  | 7116.0766 | 0.13629
|  | 7126.358 | 0.13597
|  | 7136.6378 | 0.13565
|  | 7146.1817 | 0.13534
|  | 7156.4582 | 0.13503
|  | 7165.9991 | 0.13472
|  | 7176.2723 | 0.13441
|  | 7186.5438 | 0.13411
|  | 7196.08 | 0.13381
|  | 7206.3482 | 0.13351
|  | 7216.6146 | 0.13322
|  | 7226.1461 | 0.13293
|  | 7236.4093 | 0.13264
|  | 7245.9377 | 0.13235
|  | 7256.1975 | 0.13206
|  | 7266.4555 | 0.13178
|  | 7275.9793 | 0.1315
|  | 7286.234 | 0.13122
|  | 7296.4869 | 0.13094
|  | 7306.0059 | 0.13066
|  | 7316.2555 | 0.13038
|  | 7326.5034 | 0.13011
|  | 7336.0176 | 0.12983
|  | 7346.2621 | 0.12956
|  | 7356.5048 | 0.12929
|  | 7366.0143 | 0.12902
|  | 7376.2536 | 0.12875
|  | 7386.4912 | 0.12849
|  | 7395.9959 | 0.12822
|  | 7406.23 | 0.12795
|  | 7416.4624 | 0.12769
|  | 7425.9623 | 0.12743
|  | 7436.1913 | 0.12717
|  | 7446.4185 | 0.12691
|  | 7455.9135 | 0.12665
|  | 7466.1373 | 0.1264
|  | 7476.3593 | 0.12614
|  | 7485.8495 | 0.12588
|  | 7496.068 | 0.12563
|  | 7506.2847 | 0.12538
|  | 7515.7701 | 0.12512
|  | 7525.9834 | 0.12487
|  | 7536.1948 | 0.12462
|  | 7545.6753 | 0.12437
|  | 7555.8833 | 0.12413
|  | 7566.0895 | 0.12388
|  | 7576.2939 | 0.12363
|  | 7585.7678 | 0.12339
|  | 7595.9687 | 0.12315
|  | 7606.1678 | 0.12291
|  | 7615.6367 | 0.12267
|  | 7625.8323 | 0.12243
|  | 7636.0261 | 0.12219
|  | 7646.218 | 0.12196
|  | 7655.6803 | 0.12172
|  | 7665.8687 | 0.12148
|  | 7676.0553 | 0.12125
|  | 7686.2401 | 0.12101
|  | 7695.6957 | 0.12078
|  | 7705.8769 | 0.12055
|  | 7716.0562 | 0.12032
|  | 7726.2338 | 0.12009
|  | 7735.6827 | 0.11986
|  | 7745.8566 | 0.11964
|  | 7756.0287 | 0.11941
|  | 7766.199 | 0.11918
|  | 7775.6412 | 0.11896
|  | 7785.8078 | 0.11874
|  | 7795.9727 | 0.11851
|  | 7806.1356 | 0.11829
|  | 7815.571 | 0.11807
|  | 7825.7303 | 0.11785
|  | 7835.8878 | 0.11763
|  | 7846.0435 | 0.11741
|  | 7855.472 | 0.1172
|  | 7865.624 | 0.11698
|  | 7875.7741 | 0.11677
|  | 7885.9224 | 0.11656
|  | 7896.0687 | 0.11635
|  | 7905.4887 | 0.11614
|  | 7915.6314 | 0.11593
|  | 7925.7722 | 0.11572
|  | 7935.9112 | 0.11552
|  | 7946.0482 | 0.11531
|  | 7955.4595 | 0.11511
|  | 7965.5929 | 0.1149
|  | 7975.7243 | 0.1147
|  | 7985.8539 | 0.1145
|  | 7995.9816 | 0.1143
|  | 8005.3841 | 0.1141
|  | 8015.5081 | 0.1139
|  | 8025.6302 | 0.1137
|  | 8035.7503 | 0.1135
|  | 8045.8686 | 0.11331
|  | 8055.9849 | 0.11311
|  | 8065.3769 | 0.11292
|  | 8075.4895 | 0.11272
|  | 8085.6002 | 0.11252
|  | 8095.7089 | 0.11233
|  | 8105.8157 | 0.11214
|  | 8115.9206 | 0.11195
|  | 8125.3019 | 0.11176
|  | 8135.4031 | 0.11157
|  | 8145.5023 | 0.11138
|  | 8155.5995 | 0.11119
|  | 8165.6948 | 0.111
|  | 8175.7881 | 0.11081
|  | 8185.8795 | 0.11062
|  | 8195.2484 | 0.11043
|  | 8205.336 | 0.11025
|  | 8215.4216 | 0.11006
|  | 8225.5053 | 0.10987
|  | 8235.5871 | 0.10969
|  | 8245.6668 | 0.1095
|  | 8255.7446 | 0.10932
|  | 8265.8204 | 0.10913
|  | 8275.1748 | 0.10895
|  | 8285.2468 | 0.10876
|  | 8295.3169 | 0.10858
|  | 8305.3849 | 0.1084
|  | 8315.451 | 0.10822
|  | 8325.5151 | 0.10804
|  | 8335.5772 | 0.10786
|  | 8345.6373 | 0.10768
|  | 8355.6954 | 0.1075
|  | 8365.7515 | 0.10732
|  | 8375.0876 | 0.10714
|  | 8385.1398 | 0.10697
|  | 8395.1901 | 0.10679
|  | 8405.2383 | 0.10662
|  | 8415.2846 | 0.10644
|  | 8425.3288 | 0.10627
|  | 8435.3711 | 0.1061
|  | 8445.4113 | 0.10592
|  | 8455.4495 | 0.10575
|  | 8465.4856 | 0.10558
|  | 8475.5198 | 0.10541
|  | 8485.5519 | 0.10524
|  | 8495.582 | 0.10507
|  | 8505.6101 | 0.1049
|  | 8515.6362 | 0.10473
|  | 8525.6602 | 0.10456
|  | 8535.6821 | 0.10439
|  | 8544.9864 | 0.10423
|  | 8555.0045 | 0.10406
|  | 8565.0205 | 0.1039
|  | 8575.0344 | 0.10374
|  | 8585.0463 | 0.10358
|  | 8595.0562 | 0.10342
|  | 8605.064 | 0.10326
|  | 8615.0697 | 0.1031
|  | 8625.0734 | 0.10294
|  | 8635.075 | 0.10278
|  | 8645.0746 | 0.10262
|  | 8655.0721 | 0.10247
|  | 8665.0675 | 0.10231
|  | 8675.0609 | 0.10216
|  | 8685.0522 | 0.102
|  | 8695.0414 | 0.10185
|  | 8705.0286 | 0.1017
|  | 8715.0136 | 0.10155
|  | 8724.9966 | 0.1014
|  | 8734.9775 | 0.10125
|  | 8744.9563 | 0.1011
|  | 8754.9331 | 0.10096
|  | 8764.9077 | 0.10081
|  | 8774.8802 | 0.10067
|  | 8784.8507 | 0.10053
|  | 8794.819 | 0.10038
|  | 8804.7853 | 0.10025
|  | 8815.4611 | 0.10011
|  | 8825.4229 | 0.099973
|  | 8835.3827 | 0.099839
|  | 8845.3404 | 0.099704
|  | 8855.296 | 0.09957
|  | 8865.2494 | 0.099436
|  | 8875.2007 | 0.099302
|  | 8885.1499 | 0.099168
|  | 8895.097 | 0.099034
|  | 8905.042 | 0.098901
|  | 8914.9848 | 0.098769
|  | 8924.9255 | 0.098638
|  | 8934.8641 | 0.098508
|  | 8944.8005 | 0.098377
|  | 8954.7348 | 0.098246
|  | 8965.3764 | 0.098115
|  | 8975.3062 | 0.097986
|  | 8985.234 | 0.097858
|  | 8995.1595 | 0.09773
|  | 9005.083 | 0.097603
|  | 9015.0042 | 0.097475
|  | 9024.9234 | 0.097348
|  | 9034.8404 | 0.097221
|  | 9044.7552 | 0.097095
|  | 9054.6678 | 0.09697
|  | 9065.2861 | 0.096845
|  | 9075.1943 | 0.096722
|  | 9085.1003 | 0.0966
|  | 9095.0041 | 0.096478
|  | 9104.9058 | 0.096358
|  | 9114.8053 | 0.096238
|  | 9124.7026 | 0.096119
|  | 9134.5978 | 0.096001
|  | 9145.1973 | 0.095882
|  | 9155.0879 | 0.095765
|  | 9164.9763 | 0.095648
|  | 9174.8625 | 0.095533
|  | 9184.7466 | 0.095418
|  | 9194.6284 | 0.095304
|  | 9204.5081 | 0.095191
|  | 9215.091 | 0.095079
|  | 9224.9661 | 0.094967
|  | 9234.839 | 0.094855
|  | 9244.7097 | 0.094743
|  | 9254.5782 | 0.094629
|  | 9265.1491 | 0.094516
|  | 9275.013 | 0.094403
|  | 9284.8747 | 0.094291
|  | 9294.7342 | 0.09418
|  | 9304.5914 | 0.094068
|  | 9314.4465 | 0.093956
|  | 9325.0029 | 0.093844
|  | 9334.8534 | 0.093734
|  | 9344.7016 | 0.093624
|  | 9354.5475 | 0.093516
|  | 9364.3912 | 0.093408
|  | 9374.9356 | 0.093301
|  | 9384.7747 | 0.093194
|  | 9394.6115 | 0.093087
|  | 9404.4461 | 0.092981
|  | 9414.9807 | 0.092875
|  | 9424.8107 | 0.092769
|  | 9434.6384 | 0.092663
|  | 9444.4638 | 0.092557
|  | 9454.9886 | 0.092451
|  | 9464.8094 | 0.092345
|  | 9474.6279 | 0.092239
|  | 9484.4441 | 0.092133
|  | 9494.959 | 0.092028
|  | 9504.7706 | 0.091923
|  | 9514.5798 | 0.091818
|  | 9524.3869 | 0.091713
|  | 9534.8918 | 0.091609
|  | 9544.6941 | 0.091506
|  | 9554.4942 | 0.091404
|  | 9564.2919 | 0.091302
|  | 9574.7869 | 0.091201
|  | 9584.5799 | 0.091101
|  | 9594.3706 | 0.091001
|  | 9604.8581 | 0.090901
|  | 9614.6441 | 0.0908
|  | 9624.4278 | 0.090701
|  | 9634.2091 | 0.090601
|  | 9644.6866 | 0.090502
|  | 9654.4632 | 0.090403
|  | 9664.2375 | 0.090304
|  | 9674.7074 | 0.090205
|  | 9684.4769 | 0.090107
|  | 9694.2441 | 0.090009
|  | 9704.7064 | 0.089911
|  | 9714.4688 | 0.089813
|  | 9724.2289 | 0.089715
|  | 9734.6835 | 0.089618
|  | 9744.4388 | 0.089522
|  | 9754.1918 | 0.089427
|  | 9764.6387 | 0.089334
|  | 9774.3869 | 0.089241
|  | 9784.1326 | 0.089149
|  | 9794.5719 | 0.089057
|  | 9804.3129 | 0.088965
|  | 9814.747 | 0.088873
|  | 9824.4831 | 0.088781
|  | 9834.2168 | 0.088688
|  | 9844.6432 | 0.088597
|  | 9854.3721 | 0.088505
|  | 9864.0986 | 0.088415
|  | 9874.5172 | 0.088325
|  | 9884.2389 | 0.088238
|  | 9894.6523 | 0.088151
|  | 9904.369 | 0.088064
|  | 9914.0834 | 0.087978
|  | 9924.489 | 0.087893
|  | 9934.1985 | 0.087808
|  | 9944.5989 | 0.087724
|  | 9954.3034 | 0.08764
|  | 9964.0056 | 0.087557
|  | 9974.3981 | 0.087475
|  | 9984.0954 | 0.087392
|  | 9994.4826 | 0.08731
|  | 10004.1749 | 0.087228
|  | 10014.5569 | 0.087146
|  | 10024.2442 | 0.087065
|  | 10033.9292 | 0.086984
|  | 10044.3033 | 0.086903
|  | 10053.9832 | 0.086823
|  | 10064.352 | 0.086743
|  | 10074.027 | 0.086664
|  | 10084.3904 | 0.086584
|  | 10094.0605 | 0.086505
|  | 10104.4185 | 0.086425
|  | 10114.0835 | 0.086345
|  | 10124.4363 | 0.086266
|  | 10134.0963 | 0.086187
|  | 10144.4436 | 0.086109
|  | 10154.0986 | 0.086032
|  | 10164.4406 | 0.085954
|  | 10174.0906 | 0.085877
|  | 10184.4271 | 0.085799
|  | 10194.0721 | 0.085721
|  | 10204.4032 | 0.085643
|  | 10214.0431 | 0.085565
|  | 10224.3689 | 0.085487
|  | 10234.0037 | 0.085409
|  | 10244.3241 | 0.085332
|  | 10253.9539 | 0.085256
|  | 10264.2688 | 0.085181
|  | 10273.8935 | 0.085106
|  | 10284.2029 | 0.085031
|  | 10293.8226 | 0.084956
|  | 10304.1266 | 0.084882
|  | 10313.7411 | 0.084808
|  | 10324.0396 | 0.084735
|  | 10334.3353 | 0.084662
|  | 10343.9421 | 0.08459
|  | 10354.2323 | 0.084519
|  | 10363.834 | 0.08445
|  | 10374.1187 | 0.084381
|  | 10383.7153 | 0.084313
|  | 10393.9945 | 0.084245
|  | 10404.2709 | 0.084176
|  | 10413.8596 | 0.084107
|  | 10424.1305 | 0.084039
|  | 10433.7141 | 0.083971
|  | 10443.9794 | 0.083903
|  | 10454.2419 | 0.083835
|  | 10463.8176 | 0.083766
|  | 10474.0746 | 0.083697
|  | 10483.6451 | 0.083628
|  | 10493.8965 | 0.08356
|  | 10504.145 | 0.083492
|  | 10513.7077 | 0.083423
|  | 10523.9506 | 0.083356
|  | 10534.1907 | 0.083289
|  | 10543.7455 | 0.083222
|  | 10553.9799 | 0.083156
|  | 10564.2115 | 0.083089
|  | 10573.7584 | 0.083023
|  | 10583.9843 | 0.082957
|  | 10593.5259 | 0.082891
|  | 10603.7463 | 0.082825
|  | 10613.9638 | 0.082759
|  | 10624.1783 | 0.082694
|  | 10633.7092 | 0.082629
|  | 10643.9181 | 0.082567
|  | 10654.1241 | 0.082506
|  | 10663.6471 | 0.082445
|  | 10673.8474 | 0.082383
|  | 10684.0449 | 0.082322
|  | 10693.5598 | 0.08226
|  | 10703.7515 | 0.082198
|  | 10713.9404 | 0.082136
|  | 10723.4473 | 0.082073
|  | 10733.6304 | 0.082011
|  | 10743.8106 | 0.081949
|  | 10753.9878 | 0.081888
|  | 10763.4839 | 0.081827
|  | 10773.6555 | 0.081767
|  | 10783.8241 | 0.081707
|  | 10793.9897 | 0.081649
|  | 10803.4749 | 0.081591
|  | 10813.6349 | 0.081534
|  | 10823.7918 | 0.081478
|  | 10833.9458 | 0.081423
|  | 10843.4201 | 0.081368
|  | 10853.5684 | 0.081314
|  | 10863.7136 | 0.081261
|  | 10873.8559 | 0.081208
|  | 10883.3193 | 0.081156
|  | 10893.4559 | 0.081104
|  | 10903.5894 | 0.081053
|  | 10913.7199 | 0.081001
|  | 10923.8475 | 0.080951
|  | 10933.2971 | 0.0809
|  | 10943.4189 | 0.080849
|  | 10953.5376 | 0.080798
|  | 10963.6534 | 0.080746
|  | 10973.7661 | 0.080695
|  | 10983.8759 | 0.080643
|  | 10993.3089 | 0.080591
|  | 11003.4128 | 0.080539
|  | 11013.5137 | 0.080488
|  | 11023.6116 | 0.080438
|  | 11033.7064 | 0.080388
|  | 11043.7982 | 0.08034
|  | 11053.2146 | 0.080293
|  | 11063.3005 | 0.080245
|  | 11073.3835 | 0.080198
|  | 11083.4634 | 0.08015
|  | 11093.5402 | 0.080103
|  | 11103.6141 | 0.080057
|  | 11113.6848 | 0.080013
|  | 11123.7526 | 0.079969
|  | 11133.1464 | 0.079925
|  | 11143.2082 | 0.07988
|  | 11153.267 | 0.079834
|  | 11163.3227 | 0.079789
|  | 11173.3753 | 0.079745
|  | 11183.4249 | 0.079703
|  | 11193.4715 | 0.079662
|  | 11203.5149 | 0.079621
|  | 11213.5553 | 0.07958
|  | 11223.5926 | 0.079539
|  | 11233.6269 | 0.079499
|  | 11243.658 | 0.079459
|  | 11253.6861 | 0.079419
|  | 11263.7111 | 0.079378
|  | 11273.065 | 0.079337
|  | 11283.084 | 0.079298
|  | 11293.0999 | 0.079258
|  | 11303.1127 | 0.079219
|  | 11313.1225 | 0.079178
|  | 11323.1291 | 0.079137
|  | 11333.1326 | 0.079095
|  | 11343.133 | 0.079053
|  | 11353.1303 | 0.079012
|  | 11363.1245 | 0.078971
|  | 11373.1156 | 0.07893
|  | 11383.1036 | 0.07889
|  | 11393.0884 | 0.078849
|  | 11403.0701 | 0.078809
|  | 11413.0487 | 0.07877
|  | 11423.0242 | 0.078731
|  | 11432.9965 | 0.078692
|  | 11442.9657 | 0.078653
|  | 11452.9318 | 0.078614
|  | 11463.5588 | 0.078575
|  | 11473.5183 | 0.078536
|  | 11483.4748 | 0.078499
|  | 11493.428 | 0.078462
|  | 11503.3782 | 0.078426
|  | 11513.3251 | 0.07839
|  | 11523.2689 | 0.078356
|  | 11533.2096 | 0.078322
|  | 11543.1471 | 0.078287
|  | 11553.0814 | 0.078252
|  | 11563.0126 | 0.078217
|  | 11572.9405 | 0.078183
|  | 11582.8654 | 0.078148
|  | 11593.4483 | 0.078112
|  | 11603.3666 | 0.078077
|  | 11613.2817 | 0.078043
|  | 11623.1935 | 0.078008
|  | 11633.1022 | 0.077974
|  | 11643.0077 | 0.077938
|  | 11652.9101 | 0.077902
|  | 11662.8092 | 0.077865
|  | 11673.3647 | 0.077828
|  | 11683.2572 | 0.077792
|  | 11693.1465 | 0.077756
|  | 11703.0326 | 0.077722
|  | 11712.9155 | 0.077688
|  | 11722.7952 | 0.077654
|  | 11733.33 | 0.077621
|  | 11743.203 | 0.077588
|  | 11753.0729 | 0.077555
|  | 11762.9395 | 0.077522
|  | 11772.8028 | 0.077491
|  | 11783.3202 | 0.077461
|  | 11793.1769 | 0.077434
|  | 11803.0304 | 0.077408
|  | 11812.8806 | 0.077382
|  | 11822.7276 | 0.077356
|  | 11833.2275 | 0.07733
|  | 11843.0678 | 0.077302
|  | 11852.9048 | 0.077274
|  | 11862.7386 | 0.077247
|  | 11873.2244 | 0.07722
|  | 11883.0515 | 0.077193
|  | 11892.8753 | 0.077166
|  | 11902.6958 | 0.077138
|  | 11913.1675 | 0.077111
|  | 11922.9813 | 0.077085
|  | 11932.7918 | 0.077058
|  | 11942.5991 | 0.077031
|  | 11953.0565 | 0.077003
|  | 11962.857 | 0.076975
|  | 11972.6542 | 0.076947
|  | 11983.101 | 0.076918
|  | 11992.8914 | 0.076889
|  | 12002.6786 | 0.07686
|  | 12013.1146 | 0.07683
|  | 12022.8949 | 0.0768
|  | 12032.6719 | 0.076768
|  | 12043.0971 | 0.076738
|  | 12052.8674 | 0.076707
|  | 12062.6343 | 0.076676
|  | 12073.0487 | 0.076647
|  | 12082.8087 | 0.076618
|  | 12092.5655 | 0.076591
|  | 12102.9691 | 0.076564
|  | 12112.719 | 0.076537
|  | 12122.4656 | 0.07651
|  | 12132.8583 | 0.076485
|  | 12142.598 | 0.07646
|  | 12152.9833 | 0.076435
|  | 12162.7162 | 0.076411
|  | 12172.4457 | 0.076385
|  | 12182.8201 | 0.076358
|  | 12192.5427 | 0.076331
|  | 12202.9098 | 0.076302
|  | 12212.6255 | 0.076273
|  | 12222.9852 | 0.076245
|  | 12232.694 | 0.076219
|  | 12242.3994 | 0.076192
|  | 12252.7481 | 0.076164
|  | 12262.4466 | 0.076135
|  | 12272.788 | 0.076105
|  | 12282.4795 | 0.076076
|  | 12292.8134 | 0.076048
|  | 12302.498 | 0.076021
|  | 12312.8244 | 0.075996
|  | 12322.502 | 0.075973
|  | 12332.8211 | 0.075953
|  | 12342.4917 | 0.075932
|  | 12352.8033 | 0.075913
|  | 12362.4669 | 0.075892
|  | 12372.771 | 0.075871
|  | 12382.4276 | 0.07585
|  | 12392.7242 | 0.075829
|  | 12402.3738 | 0.075809
|  | 12412.6629 | 0.075787
|  | 12422.3055 | 0.075767
|  | 12432.5871 | 0.075748
|  | 12442.2226 | 0.075731
|  | 12452.4967 | 0.075714
|  | 12462.767 | 0.075698
|  | 12472.3918 | 0.075681
|  | 12482.6545 | 0.075663
|  | 12492.2722 | 0.075645
|  | 12502.5274 | 0.075626
|  | 12512.7786 | 0.075605
|  | 12522.3856 | 0.075585
|  | 12532.6293 | 0.075564
|  | 12542.2292 | 0.075545
|  | 12552.4653 | 0.075526
|  | 12562.6975 | 0.075508
|  | 12572.2867 | 0.07549
|  | 12582.5112 | 0.075473
|  | 12592.7319 | 0.075456
|  | 12602.3102 | 0.07544
|  | 12612.5233 | 0.075424
|  | 12622.0945 | 0.075408
|  | 12632.2999 | 0.075394
|  | 12642.5014 | 0.07538
|  | 12652.6989 | 0.075367
|  | 12662.2556 | 0.075355
|  | 12672.4455 | 0.075342
|  | 12682.6314 | 0.075328
|  | 12692.1771 | 0.075315
|  | 12702.3554 | 0.075302
|  | 12712.5297 | 0.07529
|  | 12722.0646 | 0.075278
|  | 12732.2312 | 0.075266
|  | 12742.3939 | 0.075252
|  | 12752.5526 | 0.075238
|  | 12762.0727 | 0.075222
|  | 12772.2237 | 0.075206
|  | 12782.3707 | 0.075191
|  | 12792.5137 | 0.075177
|  | 12802.0191 | 0.075166
|  | 12812.1544 | 0.075155
|  | 12822.2857 | 0.075146
|  | 12832.4129 | 0.075136
|  | 12842.5362 | 0.075128
|  | 12852.0232 | 0.075119
|  | 12862.1387 | 0.075111
|  | 12872.2502 | 0.075103
|  | 12882.3576 | 0.075098
|  | 12892.4611 | 0.075096
|  | 12901.9294 | 0.075095
|  | 12912.0251 | 0.075094
|  | 12922.1167 | 0.075092
|  | 12932.2044 | 0.075089
|  | 12942.2879 | 0.075083
|  | 12952.3675 | 0.075077
|  | 12962.443 | 0.075069
|  | 12971.8851 | 0.07506
|  | 12981.9527 | 0.075051
|  | 12992.0163 | 0.075042
|  | 13002.0759 | 0.075032
|  | 13012.1314 | 0.075021
|  | 13022.1829 | 0.075008
|  | 13032.2302 | 0.074994
|  | 13042.2736 | 0.074981
|  | 13052.3128 | 0.074968
|  | 13062.348 | 0.074954
|  | 13072.3791 | 0.074943
|  | 13081.7795 | 0.074933
|  | 13091.8028 | 0.074924
|  | 13101.8219 | 0.074914
|  | 13111.8369 | 0.074903
|  | 13121.8478 | 0.074891
|  | 13131.8547 | 0.074878
|  | 13141.8574 | 0.074863
|  | 13151.8561 | 0.074847
|  | 13161.8506 | 0.074832
|  | 13171.8411 | 0.074815
|  | 13181.8274 | 0.074798
|  | 13191.8096 | 0.07478
|  | 13201.7877 | 0.074762
|  | 13211.7617 | 0.074744
|  | 13221.7316 | 0.074726
|  | 13231.6973 | 0.074706
|  | 13241.6589 | 0.074687
|  | 13252.2386 | 0.074668
|  | 13262.1917 | 0.074651
|  | 13272.1407 | 0.074633
|  | 13282.0855 | 0.074616
|  | 13292.0262 | 0.074601
|  | 13301.9627 | 0.074586
|  | 13311.8951 | 0.074572
|  | 13321.8233 | 0.074559
|  | 13331.7474 | 0.074546
|  | 13341.6673 | 0.074536
|  | 13351.5831 | 0.074527
|  | 13362.114 | 0.074519
|  | 13372.0211 | 0.074513
|  | 13381.9241 | 0.074507
|  | 13391.8229 | 0.074499
|  | 13401.7176 | 0.074492
|  | 13411.608 | 0.074485
|  | 13422.1121 | 0.074479
|  | 13431.9939 | 0.074472
|  | 13441.8715 | 0.074465
|  | 13451.745 | 0.074459
|  | 13461.6142 | 0.074453
|  | 13472.0957 | 0.074447
|  | 13481.9562 | 0.074439
|  | 13491.8126 | 0.074431
|  | 13501.6648 | 0.074422
|  | 13511.5127 | 0.074412
|  | 13521.9716 | 0.074402
|  | 13531.8108 | 0.074393
|  | 13541.6459 | 0.074384
|  | 13551.4767 | 0.074374
|  | 13561.9173 | 0.074364
|  | 13571.7394 | 0.074352
|  | 13581.5572 | 0.074339
|  | 13591.9841 | 0.074325
|  | 13601.7932 | 0.07431
|  | 13611.5981 | 0.074296
|  | 13621.3987 | 0.074282
|  | 13631.8072 | 0.074268
|  | 13641.5991 | 0.074255
|  | 13651.3867 | 0.074241
|  | 13661.7814 | 0.074227
|  | 13671.5602 | 0.074215
|  | 13681.9455 | 0.074205
|  | 13691.7155 | 0.074196
|  | 13701.4813 | 0.074186
|  | 13711.8527 | 0.074173
|  | 13721.6096 | 0.074158
|  | 13731.3623 | 0.074144
|  | 13741.7198 | 0.07413
|  | 13751.4636 | 0.074115
|  | 13761.8117 | 0.074098
|  | 13771.5467 | 0.07408
|  | 13781.8854 | 0.074061
|  | 13791.6115 | 0.074041
|  | 13801.3333 | 0.074017
|  | 13811.658 | 0.073993
|  | 13821.3709 | 0.073969
|  | 13831.6861 | 0.073945
|  | 13841.3902 | 0.073921
|  | 13851.696 | 0.073897
|  | 13861.3911 | 0.073875
|  | 13871.6874 | 0.073854
|  | 13881.3736 | 0.073834
|  | 13891.6604 | 0.073813
|  | 13901.3377 | 0.073789
|  | 13911.615 | 0.073763
|  | 13921.2833 | 0.073734
|  | 13931.5512 | 0.073704
|  | 13941.2105 | 0.073672
|  | 13951.4688 | 0.07364
|  | 13961.7222 | 0.07361
|  | 13971.3679 | 0.073581
|  | 13981.6118 | 0.073551
|  | 13991.2486 | 0.073521
|  | 14001.4828 | 0.073491
|  | 14011.7122 | 0.07346
|  | 14021.3353 | 0.07343
|  | 14031.5551 | 0.073399
|  | 14041.1691 | 0.07337
|  | 14051.3793 | 0.073343
|  | 14061.5845 | 0.073318
|  | 14071.1849 | 0.07329
|  | 14081.3805 | 0.073263
|  | 14091.5712 | 0.073234
|  | 14101.1578 | 0.073205
|  | 14111.3389 | 0.07317
|  | 14121.5149 | 0.073136
|  | 14131.0878 | 0.073102
|  | 14141.2542 | 0.073068
|  | 14151.4156 | 0.073032
|  | 14161.572 | 0.072992
|  | 14171.1265 | 0.072951
|  | 14181.2732 | 0.072908
|  | 14191.415 | 0.072863
|  | 14201.5517 | 0.072816
|  | 14211.0876 | 0.072766
|  | 14221.2147 | 0.072715
|  | 14231.3367 | 0.072665
|  | 14241.4537 | 0.072616
|  | 14250.971 | 0.072566
|  | 14261.0783 | 0.072516
|  | 14271.1806 | 0.072467
|  | 14281.2778 | 0.072419
|  | 14291.37 | 0.072366
|  | 14301.4572 | 0.072305
|  | 14310.9464 | 0.07224
|  | 14321.0238 | 0.072178
|  | 14331.0961 | 0.072116
|  | 14341.1634 | 0.072051
|  | 14351.2257 | 0.071985
|  | 14361.2829 | 0.071918
|  | 14371.335 | 0.071853
|  | 14381.3821 | 0.071789
|  | 14391.4242 | 0.071724
|  | 14400.8708 | 0.071659
|  | 14410.903 | 0.071594
|  | 14420.9301 | 0.07153
|  | 14430.9521 | 0.071469
|  | 14440.9691 | 0.071412
|  | 14450.9809 | 0.07136
|  | 14460.9877 | 0.071311
|  | 14470.9894 | 0.07126
|  | 14480.986 | 0.071213
|  | 14490.9775 | 0.071164
|  | 14500.9638 | 0.071115
|  | 14510.9451 | 0.07106
|  | 14520.9213 | 0.071008
|  | 14530.8923 | 0.070958
|  | 14540.8582 | 0.070911
|  | 14550.8191 | 0.070864
|  | 14560.7748 | 0.070819
|  | 14571.3105 | 0.07077
|  | 14581.2556 | 0.070717
|  | 14591.1956 | 0.07066
|  | 14601.1305 | 0.070599
|  | 14611.0602 | 0.070537
|  | 14620.9847 | 0.070474
|  | 14630.9042 | 0.070415
|  | 14640.8184 | 0.070363
|  | 14650.7275 | 0.070311
|  | 14661.2139 | 0.070262
|  | 14671.1124 | 0.07021
|  | 14681.0057 | 0.070158
|  | 14690.8939 | 0.070104
|  | 14700.7769 | 0.070049
|  | 14710.6547 | 0.069988
|  | 14721.1079 | 0.069929
|  | 14730.975 | 0.069868
|  | 14740.837 | 0.069821
|  | 14750.6937 | 0.069783
|  | 14761.1246 | 0.069739
|  | 14770.9707 | 0.069686
|  | 14780.8115 | 0.069626
|  | 14790.6472 | 0.069571
|  | 14801.0557 | 0.069521
|  | 14810.8806 | 0.069475
|  | 14820.7003 | 0.069426
|  | 14831.092 | 0.069373
|  | 14840.9009 | 0.069313
|  | 14850.7047 | 0.069261
|  | 14861.0794 | 0.06922
|  | 14870.8724 | 0.069194
|  | 14880.6601 | 0.069172
|  | 14891.0179 | 0.069154
|  | 14900.7948 | 0.069139
|  | 14910.5665 | 0.069124
|  | 14920.9073 | 0.06911
|  | 14930.6681 | 0.069098
|  | 14940.9974 | 0.069089
|  | 14950.7475 | 0.069091
|  | 14960.4923 | 0.069101
|  | 14970.8045 | 0.069118
|  | 14980.5385 | 0.069135
|  | 14990.8392 | 0.069159
|  | 15000.5623 | 0.069193
|  | 15010.8515 | 0.069233
|  | 15020.5637 | 0.069276
|  | 15030.8415 | 0.069318
|  | 15040.5428 | 0.069358
|  | 15050.8089 | 0.069383
|  | 15060.4993 | 0.069402
|  | 15070.754 | 0.069422
|  | 15080.4334 | 0.069455
|  | 15090.6765 | 0.069485
|  | 15100.9136 | 0.069509
|  | 15110.5765 | 0.069526
|  | 15120.802 | 0.069545
|  | 15130.4539 | 0.069561
|  | 15140.6678 | 0.069563
|  | 15150.8757 | 0.069552
|  | 15160.511 | 0.06954
|  | 15170.7073 | 0.069539
|  | 15180.3316 | 0.069546
|  | 15190.5163 | 0.069563
|  | 15200.6949 | 0.069585
|  | 15210.3025 | 0.06962
|  | 15220.4695 | 0.069661
|  | 15230.6305 | 0.069694
|  | 15240.7854 | 0.069717
|  | 15250.3706 | 0.069739
|  | 15260.5139 | 0.069765
|  | 15270.6511 | 0.069794
|  | 15280.7823 | 0.069823
|  | 15290.3451 | 0.069859
|  | 15300.4645 | 0.069897
|  | 15310.5779 | 0.069939
|  | 15320.6853 | 0.06997
|  | 15330.2256 | 0.069986
|  | 15340.3212 | 0.069982
|  | 15350.4107 | 0.069969
|  | 15360.4942 | 0.069943
|  | 15370.5716 | 0.069904
|  | 15380.643 | 0.069852
|  | 15390.7083 | 0.069798
|  | 15400.2088 | 0.069739
|  | 15410.2622 | 0.069681
|  | 15420.3096 | 0.069623
|  | 15430.3509 | 0.069589
|  | 15440.3861 | 0.069565
|  | 15450.4152 | 0.069543
|  | 15460.4382 | 0.069518
|  | 15470.4551 | 0.069507
|  | 15480.4659 | 0.069518
|  | 15490.4706 | 0.069534
|  | 15500.4692 | 0.069547
|  | 15510.4616 | 0.069528
|  | 15520.4479 | 0.069486
|  | 15530.4281 | 0.069433
|  | 15540.4022 | 0.069378
|  | 15550.3701 | 0.069322
|  | 15560.3319 | 0.069278
|  | 15570.2876 | 0.069252
|  | 15580.2371 | 0.069243
|  | 15590.1804 | 0.069239
|  | 15600.1176 | 0.069235
|  | 15610.0487 | 0.069242
|  | 15620.5247 | 0.069242
|  | 15630.4431 | 0.069235
|  | 15640.3553 | 0.069229
|  | 15650.2613 | 0.069207
|  | 15660.1611 | 0.069177
|  | 15670.0548 | 0.069126
|  | 15680.4914 | 0.069071
|  | 15690.3723 | 0.069019
|  | 15700.2471 | 0.068981
|  | 15710.1156 | 0.068935
|  | 15719.978 | 0.06889
|  | 15730.3815 | 0.068853
|  | 15740.2311 | 0.068817
|  | 15750.0744 | 0.068794
|  | 15759.9116 | 0.068786
|  | 15770.2885 | 0.068822
|  | 15780.1129 | 0.068912
|  | 15789.931 | 0.069073
|  | 15800.2878 | 0.069292
|  | 15810.0931 | 0.06956
|  | 15819.8922 | 0.069842
|  | 15830.2289 | 0.07017
|  | 15840.0151 | 0.070508
|  | 15850.3382 | 0.070802
|  | 15860.1116 | 0.071004
|  | 15869.8787 | 0.071149
|  | 15880.1816 | 0.071365
|  | 15889.9358 | 0.071563
|  | 15900.2252 | 0.071731
|  | 15909.9665 | 0.071814
|  | 15920.2422 | 0.071948
|  | 15929.9706 | 0.072162
|  | 15940.2326 | 0.072408
|  | 15949.9481 | 0.07262
|  | 15960.1965 | 0.072749
|  | 15969.899 | 0.072897
|  | 15980.1338 | 0.072961
|  | 15989.8233 | 0.072932
|  | 16000.0444 | 0.072967