## A001034
SN: | A001034
Item #: | ROB58HA
Item Description: | 3-Wavelength WDM: 488, 594, and 640 nm
Fiber Type: | Thorlabs 460HP
Port Name: | Channel 1
Test Wavelength (nm): | 488
Insertion Loss (dB): | -26.44
Isolation Channel 2 (dB): | -0.31
Isolation Channel 3 (dB): | -25.66
Port Name: | Channel 2
Test Wavelength (nm): | 594
Insertion Loss (dB): | -29.99
Isolation Channel 1 (dB): | -0.25
Isolation Channel 3 (dB): | -28.62
Port Name: | Channel 3
Test Wavelength (nm): | 640
Insertion Loss (dB): | -0.19
Isolation Channel 1 (dB): | -22.71
Isolation Channel 2 (dB): | -18.63
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 | Insertion Loss (dB) - Channel 2 | Insertion Loss (dB) - Channel 3
473 | -15.442 | -1.502 | -6.292
473.365 | -15.474 | -1.492 | -6.314
473.729 | -15.722 | -1.414 | -6.48
474.094 | -15.839 | -1.342 | -6.669
474.459 | -16.079 | -1.285 | -6.87
474.824 | -16.496 | -1.239 | -7.074
475.188 | -17.048 | -1.186 | -7.262
475.553 | -17.368 | -1.132 | -7.468
475.918 | -17.584 | -1.081 | -7.687
476.283 | -17.774 | -1.036 | -7.912
476.647 | -18.007 | -1 | -8.135
477.012 | -18.092 | -0.96 | -8.373
477.377 | -18.287 | -0.907 | -8.616
477.741 | -18.711 | -0.853 | -8.862
478.106 | -19.338 | -0.807 | -9.111
478.471 | -19.71 | -0.776 | -9.377
478.836 | -19.814 | -0.748 | -9.654
479.2 | -20.012 | -0.715 | -9.938
479.565 | -20.468 | -0.676 | -10.232
479.93 | -21.303 | -0.634 | -10.541
480.295 | -22.027 | -0.6 | -10.861
480.659 | -22.059 | -0.576 | -11.193
481.024 | -21.653 | -0.558 | -11.543
481.389 | -21.259 | -0.543 | -11.913
481.754 | -21.555 | -0.529 | -12.305
482.118 | -22.187 | -0.509 | -12.715
482.483 | -23.019 | -0.482 | -13.141
482.848 | -23.79 | -0.45 | -13.58
483.212 | -23.687 | -0.425 | -14.029
483.577 | -23.517 | -0.402 | -14.503
483.942 | -24.237 | -0.381 | -15.001
484.307 | -28.018 | -0.364 | -15.527
484.671 | -38.891 | -0.354 | -16.083
485.036 | -53.23 | -0.339 | -16.67
485.401 | -55.967 | -0.325 | -17.285
485.766 | -48.334 | -0.315 | -17.93
486.13 | -35.947 | -0.304 | -18.607
486.495 | -29.671 | -0.282 | -19.353
486.86 | -26.391 | -0.265 | -20.137
487.224 | -25.421 | -0.255 | -20.946
487.589 | -26.049 | -0.253 | -21.771
487.954 | -26.43 | -0.253 | -22.606
488.319 | -25.973 | -0.261 | -23.365
488.683 | -24.939 | -0.265 | -24.003
489.048 | -23.683 | -0.261 | -24.472
489.413 | -22.765 | -0.251 | -24.688
489.778 | -22.284 | -0.252 | -24.57
490.142 | -21.515 | -0.256 | -24.195
490.507 | -20.748 | -0.259 | -23.601
490.872 | -20.434 | -0.263 | -22.832
491.236 | -20.16 | -0.266 | -21.979
491.601 | -19.991 | -0.273 | -21.117
491.966 | -19.795 | -0.283 | -20.263
492.331 | -19.469 | -0.294 | -19.431
492.695 | -19.019 | -0.303 | -18.656
493.06 | -18.525 | -0.313 | -17.934
493.425 | -18.105 | -0.328 | -17.253
493.79 | -17.802 | -0.347 | -16.611
494.154 | -17.586 | -0.371 | -16.013
494.519 | -17.217 | -0.392 | -15.453
494.884 | -16.931 | -0.411 | -14.911
495.249 | -16.713 | -0.433 | -14.399
495.613 | -16.473 | -0.465 | -13.928
495.978 | -16.202 | -0.492 | -13.481
496.343 | -15.877 | -0.511 | -13.037
496.707 | -15.564 | -0.533 | -12.623
497.072 | -15.314 | -0.562 | -12.242
497.437 | -15.126 | -0.592 | -11.852
497.802 | -14.969 | -0.631 | -11.487
498.166 | -14.811 | -0.668 | -11.143
498.531 | -14.625 | -0.701 | -10.81
498.896 | -14.393 | -0.733 | -10.481
499.261 | -14.182 | -0.777 | -10.18
499.625 | -14.007 | -0.826 | -9.888
499.99 | -13.858 | -0.873 | -9.601
500.355 | -13.718 | -0.917 | -9.323
500.719 | -13.572 | -0.966 | -9.06
501.084 | -13.385 | -1.013 | -8.805
501.449 | -13.184 | -1.056 | -8.553
501.814 | -13.007 | -1.102 | -8.306
502.178 | -12.891 | -1.16 | -8.077
502.543 | -12.794 | -1.218 | -7.855
502.908 | -12.682 | -1.274 | -7.635
503.273 | -12.553 | -1.331 | -7.418
503.637 | -12.428 | -1.394 | -7.21
504.002 | -12.324 | -1.458 | -7.007
504.367 | -12.234 | -1.519 | -6.811
504.731 | -12.15 | -1.58 | -6.622
505.096 | -12.065 | -1.645 | -6.441
505.461 | -11.976 | -1.713 | -6.26
505.826 | -11.878 | -1.783 | -6.083
506.19 | -11.774 | -1.855 | -5.911
506.555 | -11.671 | -1.932 | -5.745
506.92 | -11.582 | -2.01 | -5.583
507.285 | -11.514 | -2.09 | -5.422
507.649 | -11.457 | -2.172 | -5.267
508.014 | -11.403 | -2.258 | -5.118
508.379 | -11.347 | -2.345 | -4.972
508.743 | -11.293 | -2.432 | -4.83
509.108 | -11.244 | -2.52 | -4.693
509.473 | -11.2 | -2.608 | -4.561
509.838 | -11.161 | -2.698 | -4.429
510.202 | -11.123 | -2.793 | -4.298
510.567 | -11.084 | -2.889 | -4.17
510.932 | -11.048 | -2.988 | -4.047
511.297 | -11.018 | -3.088 | -3.927
511.661 | -10.996 | -3.189 | -3.811
512.026 | -10.974 | -3.293 | -3.699
512.391 | -10.951 | -3.399 | -3.588
512.755 | -10.928 | -3.509 | -3.477
513.12 | -10.91 | -3.623 | -3.37
513.485 | -10.899 | -3.74 | -3.265
513.85 | -10.892 | -3.858 | -3.163
514.214 | -10.888 | -3.977 | -3.063
514.579 | -10.89 | -4.096 | -2.967
514.944 | -10.899 | -4.219 | -2.869
515.309 | -10.912 | -4.346 | -2.776
515.673 | -10.927 | -4.475 | -2.687
516.038 | -10.942 | -4.608 | -2.601
516.403 | -10.957 | -4.741 | -2.514
516.768 | -10.98 | -4.875 | -2.428
517.132 | -11.01 | -5.012 | -2.345
517.497 | -11.045 | -5.153 | -2.263
517.862 | -11.081 | -5.3 | -2.184
518.226 | -11.116 | -5.451 | -2.109
518.591 | -11.154 | -5.604 | -2.036
518.956 | -11.197 | -5.76 | -1.962
519.321 | -11.245 | -5.918 | -1.888
519.685 | -11.299 | -6.078 | -1.815
520.05 | -11.36 | -6.243 | -1.745
520.415 | -11.428 | -6.413 | -1.678
520.78 | -11.499 | -6.589 | -1.614
521.144 | -11.569 | -6.768 | -1.551
521.509 | -11.637 | -6.951 | -1.49
521.874 | -11.711 | -7.137 | -1.43
522.238 | -11.794 | -7.328 | -1.371
522.603 | -11.889 | -7.523 | -1.314
522.968 | -11.989 | -7.721 | -1.26
523.333 | -12.095 | -7.924 | -1.209
523.697 | -12.205 | -8.131 | -1.157
524.062 | -12.319 | -8.344 | -1.103
524.427 | -12.439 | -8.564 | -1.055
524.792 | -12.565 | -8.79 | -1.007
525.156 | -12.694 | -9.02 | -0.959
525.521 | -12.827 | -9.256 | -0.913
525.886 | -12.964 | -9.499 | -0.871
526.25 | -13.11 | -9.749 | -0.829
526.615 | -13.266 | -10.004 | -0.787
526.98 | -13.432 | -10.267 | -0.745
527.345 | -13.608 | -10.539 | -0.705
527.709 | -13.793 | -10.82 | -0.668
528.074 | -13.984 | -11.107 | -0.632
528.439 | -14.182 | -11.4 | -0.598
528.804 | -14.39 | -11.704 | -0.565
529.168 | -14.61 | -12.021 | -0.533
529.533 | -14.842 | -12.348 | -0.5
529.898 | -15.088 | -12.685 | -0.469
530.263 | -15.344 | -13.032 | -0.438
530.627 | -15.61 | -13.393 | -0.407
530.992 | -15.893 | -13.77 | -0.382
531.357 | -16.194 | -14.162 | -0.362
531.721 | -16.51 | -14.571 | -0.341
532.086 | -16.841 | -14.999 | -0.318
532.451 | -17.195 | -15.449 | -0.297
532.816 | -17.57 | -15.921 | -0.276
533.18 | -17.964 | -16.413 | -0.256
533.545 | -18.381 | -16.928 | -0.239
533.91 | -18.831 | -17.473 | -0.226
534.275 | -19.312 | -18.047 | -0.207
534.639 | -19.823 | -18.647 | -0.188
535.004 | -20.368 | -19.283 | -0.176
535.369 | -20.959 | -19.967 | -0.168
535.733 | -21.601 | -20.703 | -0.156
536.098 | -22.292 | -21.489 | -0.145
536.463 | -23.037 | -22.328 | -0.135
536.828 | -23.848 | -23.23 | -0.128
537.192 | -24.729 | -24.201 | -0.129
537.557 | -25.665 | -25.228 | -0.127
537.922 | -26.639 | -26.295 | -0.115
538.287 | -27.615 | -27.363 | -0.099
538.651 | -28.501 | -28.341 | -0.095
539.016 | -29.189 | -29.121 | -0.098
539.381 | -29.591 | -29.616 | -0.101
539.745 | -29.621 | -29.738 | -0.104
540.11 | -29.226 | -29.436 | -0.108
540.475 | -28.499 | -28.802 | -0.11
540.84 | -27.574 | -27.968 | -0.113
541.204 | -26.54 | -27.025 | -0.117
541.569 | -25.476 | -26.052 | -0.123
541.934 | -24.441 | -25.109 | -0.131
542.299 | -23.457 | -24.217 | -0.141
542.663 | -22.528 | -23.381 | -0.152
543.028 | -21.66 | -22.606 | -0.162
543.393 | -20.856 | -21.893 | -0.172
543.758 | -20.104 | -21.233 | -0.184
544.122 | -19.396 | -20.618 | -0.197
544.487 | -18.732 | -20.048 | -0.212
544.852 | -18.112 | -19.524 | -0.227
545.216 | -17.527 | -19.037 | -0.243
545.581 | -16.973 | -18.577 | -0.261
545.946 | -16.446 | -18.144 | -0.281
546.311 | -15.945 | -17.737 | -0.303
546.675 | -15.468 | -17.357 | -0.327
547.04 | -15.012 | -16.999 | -0.351
547.405 | -14.577 | -16.662 | -0.374
547.77 | -14.165 | -16.346 | -0.399
548.134 | -13.772 | -16.047 | -0.425
548.499 | -13.392 | -15.761 | -0.454
548.864 | -13.022 | -15.486 | -0.483
549.228 | -12.663 | -15.224 | -0.511
549.593 | -12.319 | -14.978 | -0.541
549.958 | -11.988 | -14.746 | -0.575
550.323 | -11.669 | -14.525 | -0.609
550.687 | -11.36 | -14.314 | -0.643
551.052 | -11.061 | -14.114 | -0.678
551.417 | -10.771 | -13.922 | -0.716
551.782 | -10.49 | -13.738 | -0.755
552.146 | -10.216 | -13.561 | -0.795
552.511 | -9.949 | -13.394 | -0.835
552.876 | -9.692 | -13.237 | -0.875
553.24 | -9.444 | -13.089 | -0.917
553.605 | -9.203 | -12.948 | -0.961
553.97 | -8.97 | -12.812 | -1.008
554.335 | -8.745 | -12.682 | -1.056
554.699 | -8.525 | -12.557 | -1.105
555.064 | -8.311 | -12.44 | -1.154
555.429 | -8.102 | -12.332 | -1.204
555.794 | -7.898 | -12.229 | -1.255
556.158 | -7.698 | -12.129 | -1.307
556.523 | -7.502 | -12.031 | -1.364
556.888 | -7.31 | -11.935 | -1.423
557.253 | -7.124 | -11.846 | -1.484
557.617 | -6.944 | -11.766 | -1.547
557.982 | -6.766 | -11.691 | -1.611
558.347 | -6.59 | -11.619 | -1.674
558.711 | -6.419 | -11.551 | -1.736
559.076 | -6.252 | -11.489 | -1.799
559.441 | -6.091 | -11.433 | -1.868
559.806 | -5.934 | -11.382 | -1.938
560.17 | -5.782 | -11.335 | -2.011
560.535 | -5.633 | -11.292 | -2.086
560.9 | -5.488 | -11.252 | -2.161
561.265 | -5.347 | -11.216 | -2.237
561.629 | -5.208 | -11.185 | -2.315
561.994 | -5.069 | -11.157 | -2.395
562.359 | -4.93 | -11.133 | -2.473
562.723 | -4.795 | -11.114 | -2.555
563.088 | -4.664 | -11.098 | -2.64
563.453 | -4.538 | -11.085 | -2.726
563.818 | -4.414 | -11.074 | -2.815
564.182 | -4.295 | -11.064 | -2.91
564.547 | -4.18 | -11.055 | -3.004
564.912 | -4.068 | -11.05 | -3.099
565.277 | -3.955 | -11.051 | -3.196
565.641 | -3.84 | -11.056 | -3.296
566.006 | -3.726 | -11.061 | -3.397
566.371 | -3.614 | -11.066 | -3.5
566.735 | -3.505 | -11.074 | -3.605
567.1 | -3.399 | -11.087 | -3.714
567.465 | -3.296 | -11.109 | -3.824
567.83 | -3.196 | -11.136 | -3.937
568.194 | -3.1 | -11.166 | -4.052
568.559 | -3.005 | -11.197 | -4.172
568.924 | -2.912 | -11.233 | -4.295
569.289 | -2.821 | -11.273 | -4.419
569.653 | -2.733 | -11.317 | -4.545
570.018 | -2.648 | -11.363 | -4.673
570.383 | -2.564 | -11.41 | -4.805
570.747 | -2.479 | -11.459 | -4.941
571.112 | -2.395 | -11.514 | -5.08
571.477 | -2.316 | -11.576 | -5.226
571.842 | -2.24 | -11.642 | -5.378
572.206 | -2.165 | -11.71 | -5.53
572.571 | -2.091 | -11.778 | -5.684
572.936 | -2.018 | -11.848 | -5.842
573.301 | -1.947 | -11.925 | -6.006
573.665 | -1.879 | -12.01 | -6.175
574.03 | -1.812 | -12.1 | -6.346
574.395 | -1.746 | -12.191 | -6.519
574.76 | -1.681 | -12.285 | -6.697
575.124 | -1.617 | -12.382 | -6.881
575.489 | -1.555 | -12.485 | -7.072
575.854 | -1.494 | -12.596 | -7.269
576.218 | -1.435 | -12.713 | -7.473
576.583 | -1.379 | -12.829 | -7.685
576.948 | -1.324 | -12.943 | -7.903
577.313 | -1.269 | -13.061 | -8.127
577.677 | -1.215 | -13.187 | -8.355
578.042 | -1.164 | -13.324 | -8.591
578.407 | -1.116 | -13.467 | -8.835
578.772 | -1.071 | -13.613 | -9.086
579.136 | -1.027 | -13.767 | -9.346
579.501 | -0.984 | -13.933 | -9.615
579.866 | -0.943 | -14.105 | -9.896
580.23 | -0.903 | -14.278 | -10.184
580.595 | -0.863 | -14.45 | -10.482
580.96 | -0.824 | -14.621 | -10.793
581.325 | -0.787 | -14.799 | -11.121
581.689 | -0.751 | -14.988 | -11.462
582.054 | -0.716 | -15.193 | -11.816
582.419 | -0.682 | -15.411 | -12.185
582.784 | -0.65 | -15.635 | -12.572
583.148 | -0.62 | -15.859 | -12.974
583.513 | -0.591 | -16.085 | -13.396
583.878 | -0.564 | -16.316 | -13.839
584.242 | -0.538 | -16.553 | -14.31
584.607 | -0.514 | -16.795 | -14.808
584.972 | -0.492 | -17.048 | -15.334
585.337 | -0.47 | -17.314 | -15.885
585.701 | -0.45 | -17.596 | -16.471
586.066 | -0.432 | -17.893 | -17.107
586.431 | -0.417 | -18.199 | -17.788
586.796 | -0.401 | -18.509 | -18.512
587.16 | -0.385 | -18.825 | -19.288
587.525 | -0.368 | -19.15 | -20.128
587.89 | -0.352 | -19.495 | -21.037
588.255 | -0.338 | -19.873 | -22.006
588.619 | -0.326 | -20.288 | -23.03
588.984 | -0.316 | -20.726 | -24.077
589.349 | -0.308 | -21.164 | -25.072
589.713 | -0.303 | -21.604 | -25.918
590.078 | -0.298 | -22.076 | -26.515
590.443 | -0.294 | -22.602 | -26.722
590.808 | -0.289 | -23.161 | -26.452
591.172 | -0.286 | -23.71 | -25.821
591.537 | -0.285 | -24.277 | -24.961
591.902 | -0.285 | -24.957 | -23.964
592.267 | -0.286 | -25.79 | -22.925
592.631 | -0.288 | -26.634 | -21.915
592.996 | -0.292 | -27.417 | -20.957
593.361 | -0.298 | -28.215 | -20.058
593.725 | -0.306 | -29.17 | -19.222
594.09 | -0.315 | -30.25 | -18.451
594.455 | -0.324 | -31.241 | -17.733
594.82 | -0.334 | -31.951 | -17.063
595.184 | -0.344 | -32.155 | -16.439
595.549 | -0.356 | -31.662 | -15.859
595.914 | -0.37 | -30.71 | -15.311
596.279 | -0.384 | -29.703 | -14.79
596.643 | -0.399 | -28.957 | -14.296
597.008 | -0.417 | -28.52 | -13.83
597.373 | -0.438 | -28.148 | -13.391
597.737 | -0.461 | -27.699 | -12.973
598.102 | -0.485 | -27.124 | -12.571
598.467 | -0.509 | -26.416 | -12.185
598.832 | -0.533 | -25.664 | -11.821
599.196 | -0.558 | -24.94 | -11.473
599.561 | -0.586 | -24.28 | -11.141
599.926 | -0.617 | -23.723 | -10.825
600.291 | -0.65 | -23.275 | -10.518
600.655 | -0.683 | -22.847 | -10.218
601.02 | -0.717 | -22.41 | -9.927
601.385 | -0.752 | -21.979 | -9.647
601.75 | -0.788 | -21.56 | -9.381
602.114 | -0.825 | -21.136 | -9.124
602.479 | -0.861 | -20.724 | -8.876
602.844 | -0.9 | -20.351 | -8.637
603.208 | -0.943 | -20.035 | -8.406
603.573 | -0.987 | -19.75 | -8.181
603.938 | -1.031 | -19.467 | -7.961
604.303 | -1.076 | -19.176 | -7.747
604.667 | -1.124 | -18.882 | -7.54
605.032 | -1.176 | -18.595 | -7.342
605.397 | -1.229 | -18.318 | -7.151
605.762 | -1.282 | -18.055 | -6.965
606.126 | -1.338 | -17.815 | -6.783
606.491 | -1.398 | -17.604 | -6.603
606.856 | -1.461 | -17.406 | -6.427
607.22 | -1.524 | -17.207 | -6.256
607.585 | -1.588 | -17.003 | -6.091
607.95 | -1.652 | -16.802 | -5.931
608.315 | -1.716 | -16.61 | -5.775
608.679 | -1.78 | -16.428 | -5.621
609.044 | -1.846 | -16.256 | -5.47
609.409 | -1.915 | -16.095 | -5.323
609.774 | -1.988 | -15.94 | -5.182
610.138 | -2.064 | -15.786 | -5.045
610.503 | -2.142 | -15.637 | -4.912
610.868 | -2.22 | -15.496 | -4.783
611.232 | -2.299 | -15.365 | -4.659
611.597 | -2.378 | -15.244 | -4.534
611.962 | -2.46 | -15.13 | -4.411
612.327 | -2.543 | -15.024 | -4.29
612.691 | -2.631 | -14.926 | -4.174
613.056 | -2.722 | -14.835 | -4.053
613.421 | -2.815 | -14.748 | -3.932
613.786 | -2.91 | -14.665 | -3.818
614.15 | -3.008 | -14.583 | -3.714
614.515 | -3.11 | -14.505 | -3.616
614.88 | -3.214 | -14.432 | -3.518
615.245 | -3.319 | -14.366 | -3.421
615.609 | -3.425 | -14.305 | -3.325
615.974 | -3.533 | -14.249 | -3.23
616.339 | -3.644 | -14.194 | -3.136
616.703 | -3.756 | -14.143 | -3.043
617.068 | -3.868 | -14.096 | -2.951
617.433 | -3.983 | -14.058 | -2.862
617.798 | -4.104 | -14.028 | -2.777
618.162 | -4.229 | -14.004 | -2.694
618.527 | -4.357 | -13.983 | -2.612
618.892 | -4.486 | -13.965 | -2.532
619.257 | -4.616 | -13.951 | -2.455
619.621 | -4.748 | -13.942 | -2.378
619.986 | -4.882 | -13.94 | -2.303
620.351 | -5.021 | -13.945 | -2.23
620.715 | -5.166 | -13.96 | -2.157
621.08 | -5.317 | -13.978 | -2.085
621.445 | -5.472 | -13.997 | -2.016
621.81 | -5.628 | -14.018 | -1.949
622.174 | -5.788 | -14.044 | -1.884
622.539 | -5.953 | -14.076 | -1.819
622.904 | -6.122 | -14.112 | -1.755
623.269 | -6.295 | -14.154 | -1.695
623.633 | -6.469 | -14.204 | -1.637
623.998 | -6.647 | -14.26 | -1.579
624.363 | -6.829 | -14.321 | -1.521
624.727 | -7.017 | -14.387 | -1.466
625.092 | -7.208 | -14.459 | -1.413
625.457 | -7.405 | -14.538 | -1.358
625.822 | -7.609 | -14.622 | -1.305
626.186 | -7.819 | -14.712 | -1.256
626.551 | -8.035 | -14.807 | -1.209
626.916 | -8.254 | -14.911 | -1.164
627.281 | -8.479 | -15.022 | -1.116
627.645 | -8.712 | -15.141 | -1.071
628.01 | -8.952 | -15.268 | -1.029
628.375 | -9.198 | -15.402 | -0.988
628.74 | -9.449 | -15.541 | -0.946
629.104 | -9.707 | -15.687 | -0.905
629.469 | -9.974 | -15.841 | -0.866
629.834 | -10.251 | -16.007 | -0.83
630.198 | -10.538 | -16.184 | -0.796
630.563 | -10.831 | -16.369 | -0.76
630.928 | -11.131 | -16.561 | -0.724
631.293 | -11.44 | -16.763 | -0.69
631.657 | -11.762 | -16.978 | -0.657
632.022 | -12.096 | -17.208 | -0.625
632.387 | -12.443 | -17.453 | -0.594
632.752 | -12.803 | -17.71 | -0.566
633.116 | -13.175 | -17.981 | -0.541
633.481 | -13.562 | -18.267 | -0.515
633.846 | -13.968 | -18.571 | -0.49
634.21 | -14.395 | -18.894 | -0.464
634.575 | -14.842 | -19.236 | -0.437
634.94 | -15.31 | -19.6 | -0.412
635.305 | -15.794 | -19.983 | -0.388
635.669 | -16.297 | -20.39 | -0.368
636.034 | -16.825 | -20.825 | -0.35
636.399 | -17.389 | -21.292 | -0.33
636.764 | -17.998 | -21.8 | -0.313
637.128 | -18.642 | -22.345 | -0.295
637.493 | -19.322 | -22.928 | -0.279
637.858 | -20.047 | -23.557 | -0.265
638.222 | -20.838 | -24.251 | -0.25
638.587 | -21.688 | -25.004 | -0.236
638.952 | -22.603 | -25.823 | -0.223
639.317 | -23.595 | -26.72 | -0.209
639.681 | -24.695 | -27.729 | -0.198
640.046 | -25.801 | -28.742 | -0.189
640.411 | -26.881 | -29.727 | -0.181
640.776 | -27.901 | -30.65 | -0.173
641.14 | -28.753 | -31.407 | -0.167
641.505 | -29.247 | -31.811 | -0.164
641.87 | -29.354 | -31.828 | -0.161
642.234 | -29.072 | -31.456 | -0.159
642.599 | -28.418 | -30.709 | -0.155
642.964 | -27.499 | -29.699 | -0.153
643.329 | -26.502 | -28.609 | -0.151
643.693 | -25.483 | -27.495 | -0.15
644.058 | -24.486 | -26.402 | -0.15
644.423 | -23.56 | -25.381 | -0.154
644.788 | -22.702 | -24.437 | -0.16
645.152 | -21.906 | -23.556 | -0.166
645.517 | -21.167 | -22.73 | -0.173
645.882 | -20.485 | -21.957 | -0.181
646.247 | -19.856 | -21.237 | -0.189
646.611 | -19.271 | -20.561 | -0.197
646.976 | -18.726 | -19.924 | -0.205
647.341 | -18.217 | -19.323 | -0.217
647.705 | -17.741 | -18.759 | -0.233
648.07 | -17.291 | -18.222 | -0.25
648.435 | -16.866 | -17.71 | -0.267
648.8 | -16.468 | -17.223 | -0.283
649.164 | -16.104 | -16.767 | -0.3
649.529 | -15.757 | -16.328 | -0.317
649.894 | -15.425 | -15.905 | -0.335
650.259 | -15.106 | -15.497 | -0.354
650.623 | -14.806 | -15.108 | -0.383
650.988 | -14.52 | -14.73 | -0.411
651.353 | -14.244 | -14.361 | -0.434
651.717 | -13.976 | -14.003 | -0.457
652.082 | -13.721 | -13.662 | -0.485
652.447 | -13.481 | -13.337 | -0.512
652.812 | -13.25 | -13.02 | -0.539
653.176 | -13.028 | -12.714 | -0.568
653.541 | -12.818 | -12.422 | -0.599
653.906 | -12.625 | -12.141 | -0.633
654.271 | -12.442 | -11.859 | -0.668
654.635 | -12.263 | -11.585 | -0.702
655 | -12.086 | -11.32 | -0.737