## T149560
SN: | T149560
Item #: | TG50R1F1A
Item Description: | 1x2 99:1 GRIN Multimode Dual-Window Fiber Coupler
Fiber Type: | Equivalent to GIF50E (OM4)
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 1060
Insertion Loss (dB): | -0.05
Coupling Ratio (%): | 99
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 1060
Insertion Loss (dB): | -20.12
Coupling Ratio (%): | 1