## T134749
SN: | T134749
Item #: | TM50R2F1A
Item Description: | 1x2 50 µm Core 90:10 Multimode Fiber Optic Coupler, High OH
Fiber Type: | Thorlabs FG050UGD
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 650
Insertion Loss (dB): | -0.56
Coupling Ratio (%): | 90.3
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 650
Insertion Loss (dB): | -10.26
Coupling Ratio (%): | 9.7