## T142948
SN: | T142948
Item #: | TN830R5A1
Item Description: | 1x2 50:50 Narrowband Fiber Optic Coupler
Fiber Type: | Thorlabs 780HP
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 830
Insertion Loss (dB): | -3.11
Coupling Ratio (%): | 50.4
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 830
Insertion Loss (dB): | -3.19
Coupling Ratio (%): | 49.6