## T153179
SN: | T153179
Item #: | TN830R5A2
Item Description: | 2x2 50:50 Narrowband Fiber Optic Coupler
Fiber Type: | Thorlabs 780HP
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 830
Insertion Loss (dB): | -3.14
Coupling Ratio (%): | 49.1
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 830
Insertion Loss (dB): | -2.97
Coupling Ratio (%): | 50.9