## T150112
SN: | T150112
Item #: | TW1300R5A1
Item Description: | 1x2 50:50 Wideband Fiber Optic Coupler
Fiber Type: | SMF-28e+
Port Name: | White (Input) - Red (Tap Output)
Test Wavelength (nm): | 1300
Insertion Loss (dB): | -3.24
Coupling Ratio (%): | 48.08
Uniformity (dB): | 0.26
Port Name: | White (Input) - White (Signal Output)
Test Wavelength (nm): | 1300
Insertion Loss (dB): | -2.9
Coupling Ratio (%): | 51.92
Uniformity (dB): | 0.23
Spectral Response
Wavelength (nm) | Insertion Loss - Red (Tap Output) (dB) | Coupling Ratio - Red (Tap Output) (%) | Insertion Loss - White (Signal Output) (dB) | Coupling Ratio - White (Signal Output) (%)
1190 | -2.963 | 50.977 | -3.133 | 49.023
1190.441 | -2.958 | 51.092 | -3.148 | 48.908
1190.882 | -2.951 | 51.275 | -3.173 | 48.725
1191.323 | -2.951 | 51.383 | -3.192 | 48.617
1191.764 | -2.953 | 51.466 | -3.208 | 48.534
1192.204 | -2.954 | 51.365 | -3.191 | 48.635
1192.645 | -2.954 | 51.257 | -3.172 | 48.743
1193.086 | -2.954 | 51.132 | -3.151 | 48.868
1193.527 | -2.958 | 51.02 | -3.135 | 48.98
1193.968 | -2.967 | 50.925 | -3.128 | 49.075
1194.409 | -2.974 | 50.953 | -3.14 | 49.047
1194.85 | -2.979 | 51.042 | -3.16 | 48.958
1195.291 | -2.978 | 51.016 | -3.154 | 48.984
1195.731 | -2.975 | 50.967 | -3.143 | 49.033
1196.172 | -2.975 | 50.876 | -3.127 | 49.124
1196.613 | -2.976 | 50.802 | -3.115 | 49.198
1197.054 | -2.98 | 50.772 | -3.114 | 49.228
1197.495 | -2.982 | 50.792 | -3.119 | 49.208
1197.936 | -2.982 | 50.858 | -3.131 | 49.142
1198.377 | -2.984 | 50.851 | -3.132 | 49.149
1198.818 | -2.988 | 50.807 | -3.129 | 49.193
1199.259 | -2.993 | 50.712 | -3.117 | 49.288
1199.699 | -2.998 | 50.622 | -3.106 | 49.378
1200.14 | -2.998 | 50.596 | -3.102 | 49.404
1200.581 | -3 | 50.585 | -3.102 | 49.415
1201.022 | -3.004 | 50.598 | -3.107 | 49.402
1201.463 | -3.006 | 50.603 | -3.111 | 49.397
1201.904 | -3.007 | 50.598 | -3.111 | 49.402
1202.345 | -3.005 | 50.543 | -3.1 | 49.457
1202.786 | -3.002 | 50.473 | -3.085 | 49.527
1203.226 | -2.996 | 50.494 | -3.082 | 49.506
1203.667 | -2.991 | 50.534 | -3.084 | 49.466
1204.108 | -2.992 | 50.609 | -3.098 | 49.391
1204.549 | -2.995 | 50.639 | -3.106 | 49.361
1204.99 | -3.003 | 50.59 | -3.105 | 49.41
1205.431 | -3.009 | 50.539 | -3.102 | 49.461
1205.872 | -3.014 | 50.493 | -3.1 | 49.507
1206.313 | -3.019 | 50.494 | -3.105 | 49.506
1206.754 | -3.024 | 50.512 | -3.113 | 49.488
1207.194 | -3.023 | 50.542 | -3.117 | 49.458
1207.635 | -3.021 | 50.571 | -3.12 | 49.429
1208.076 | -3.02 | 50.589 | -3.122 | 49.411
1208.517 | -3.019 | 50.586 | -3.121 | 49.414
1208.958 | -3.019 | 50.552 | -3.114 | 49.448
1209.399 | -3.021 | 50.511 | -3.11 | 49.489
1209.84 | -3.026 | 50.469 | -3.107 | 49.531
1210.281 | -3.033 | 50.471 | -3.115 | 49.529
1210.721 | -3.039 | 50.481 | -3.123 | 49.519
1211.162 | -3.036 | 50.451 | -3.114 | 49.549
1211.603 | -3.034 | 50.416 | -3.106 | 49.584
1212.044 | -3.037 | 50.385 | -3.104 | 49.615
1212.485 | -3.04 | 50.356 | -3.102 | 49.644
1212.926 | -3.042 | 50.325 | -3.099 | 49.675
1213.367 | -3.044 | 50.27 | -3.091 | 49.73
1213.808 | -3.045 | 50.203 | -3.081 | 49.797
1214.249 | -3.044 | 50.159 | -3.072 | 49.841
1214.689 | -3.043 | 50.125 | -3.065 | 49.875
1215.13 | -3.045 | 50.109 | -3.064 | 49.891
1215.571 | -3.048 | 50.094 | -3.064 | 49.906
1216.012 | -3.053 | 50.072 | -3.065 | 49.928
1216.453 | -3.058 | 50.017 | -3.061 | 49.983
1216.894 | -3.064 | 49.932 | -3.052 | 50.068
1217.335 | -3.065 | 49.886 | -3.045 | 50.114
1217.776 | -3.063 | 49.863 | -3.039 | 50.137
1218.216 | -3.065 | 49.831 | -3.036 | 50.169
1218.657 | -3.068 | 49.801 | -3.033 | 50.199
1219.098 | -3.069 | 49.786 | -3.032 | 50.214
1219.539 | -3.074 | 49.739 | -3.029 | 50.261
1219.98 | -3.086 | 49.632 | -3.022 | 50.368
1220.421 | -3.094 | 49.568 | -3.019 | 50.432
1220.862 | -3.096 | 49.554 | -3.019 | 50.446
1221.303 | -3.097 | 49.55 | -3.018 | 50.45
1221.744 | -3.096 | 49.542 | -3.017 | 50.458
1222.184 | -3.099 | 49.501 | -3.012 | 50.499
1222.625 | -3.103 | 49.451 | -3.008 | 50.549
1223.066 | -3.109 | 49.397 | -3.004 | 50.603
1223.507 | -3.11 | 49.366 | -3 | 50.634
1223.948 | -3.105 | 49.372 | -2.996 | 50.628
1224.389 | -3.103 | 49.359 | -2.992 | 50.641
1224.83 | -3.105 | 49.327 | -2.988 | 50.673
1225.271 | -3.105 | 49.319 | -2.986 | 50.681
1225.711 | -3.103 | 49.324 | -2.985 | 50.676
1226.152 | -3.101 | 49.333 | -2.985 | 50.667
1226.593 | -3.101 | 49.359 | -2.99 | 50.641
1227.034 | -3.107 | 49.427 | -3.007 | 50.573
1227.475 | -3.109 | 49.461 | -3.016 | 50.539
1227.916 | -3.107 | 49.444 | -3.01 | 50.556
1228.357 | -3.105 | 49.451 | -3.009 | 50.549
1228.798 | -3.105 | 49.469 | -3.013 | 50.531
1229.239 | -3.11 | 49.392 | -3.005 | 50.608
1229.679 | -3.116 | 49.304 | -2.995 | 50.696
1230.12 | -3.114 | 49.362 | -3.003 | 50.638
1230.561 | -3.108 | 49.428 | -3.009 | 50.572
1231.002 | -3.102 | 49.43 | -3.003 | 50.57
1231.443 | -3.102 | 49.404 | -2.999 | 50.596
1231.884 | -3.111 | 49.37 | -3.002 | 50.63
1232.325 | -3.117 | 49.406 | -3.014 | 50.594
1232.766 | -3.119 | 49.471 | -3.027 | 50.529
1233.206 | -3.125 | 49.429 | -3.025 | 50.571
1233.647 | -3.131 | 49.36 | -3.02 | 50.64
1234.088 | -3.13 | 49.375 | -3.022 | 50.625
1234.529 | -3.129 | 49.395 | -3.024 | 50.605
1234.97 | -3.128 | 49.392 | -3.022 | 50.608
1235.411 | -3.125 | 49.413 | -3.024 | 50.587
1235.852 | -3.121 | 49.469 | -3.029 | 50.531
1236.293 | -3.12 | 49.526 | -3.038 | 50.474
1236.734 | -3.123 | 49.556 | -3.046 | 50.444
1237.174 | -3.13 | 49.486 | -3.04 | 50.514
1237.615 | -3.138 | 49.374 | -3.029 | 50.626
1238.056 | -3.144 | 49.258 | -3.015 | 50.742
1238.497 | -3.149 | 49.205 | -3.011 | 50.795
1238.938 | -3.152 | 49.256 | -3.023 | 50.744
1239.379 | -3.154 | 49.279 | -3.029 | 50.721
1239.82 | -3.155 | 49.237 | -3.022 | 50.763
1240.26 | -3.16 | 49.143 | -3.011 | 50.857
1240.701 | -3.166 | 49.062 | -3.003 | 50.938
1241.142 | -3.163 | 49.118 | -3.009 | 50.882
1241.583 | -3.16 | 49.183 | -3.018 | 50.817
1242.024 | -3.167 | 49.14 | -3.018 | 50.86
1242.465 | -3.172 | 49.117 | -3.018 | 50.883
1242.906 | -3.169 | 49.153 | -3.022 | 50.847
1243.347 | -3.171 | 49.098 | -3.014 | 50.902
1243.788 | -3.178 | 48.953 | -2.996 | 51.047
1244.229 | -3.177 | 48.853 | -2.977 | 51.147
1244.669 | -3.172 | 48.815 | -2.967 | 51.185
1245.11 | -3.177 | 48.852 | -2.978 | 51.148
1245.551 | -3.181 | 48.907 | -2.991 | 51.093
1245.992 | -3.177 | 48.934 | -2.992 | 51.066
1246.433 | -3.176 | 48.896 | -2.984 | 51.104
1246.874 | -3.183 | 48.784 | -2.971 | 51.216
1247.315 | -3.187 | 48.683 | -2.958 | 51.317
1247.755 | -3.188 | 48.639 | -2.951 | 51.361
1248.196 | -3.185 | 48.698 | -2.958 | 51.302
1248.637 | -3.181 | 48.785 | -2.97 | 51.215
1249.078 | -3.179 | 48.793 | -2.97 | 51.207
1249.519 | -3.182 | 48.743 | -2.964 | 51.257
1249.96 | -3.191 | 48.645 | -2.955 | 51.355
1250.401 | -3.199 | 48.581 | -2.952 | 51.419
1250.842 | -3.202 | 48.592 | -2.957 | 51.408
1251.283 | -3.2 | 48.658 | -2.967 | 51.342
1251.723 | -3.195 | 48.742 | -2.977 | 51.258
1252.164 | -3.189 | 48.791 | -2.979 | 51.209
1252.605 | -3.185 | 48.81 | -2.978 | 51.19
1253.046 | -3.187 | 48.802 | -2.978 | 51.198
1253.487 | -3.192 | 48.775 | -2.98 | 51.225
1253.928 | -3.2 | 48.732 | -2.98 | 51.268
1254.369 | -3.205 | 48.697 | -2.979 | 51.303
1254.81 | -3.205 | 48.69 | -2.977 | 51.31
1255.25 | -3.201 | 48.721 | -2.978 | 51.279
1255.691 | -3.196 | 48.769 | -2.982 | 51.231
1256.132 | -3.197 | 48.798 | -2.988 | 51.202
1256.573 | -3.2 | 48.806 | -2.993 | 51.194
1257.014 | -3.2 | 48.799 | -2.991 | 51.201
1257.455 | -3.198 | 48.811 | -2.992 | 51.189
1257.896 | -3.198 | 48.856 | -2.999 | 51.144
1258.337 | -3.196 | 48.896 | -3.004 | 51.104
1258.778 | -3.192 | 48.901 | -3.001 | 51.099
1259.218 | -3.189 | 48.851 | -2.99 | 51.149
1259.659 | -3.19 | 48.764 | -2.975 | 51.236
1260.1 | -3.195 | 48.665 | -2.963 | 51.335
1260.541 | -3.202 | 48.598 | -2.958 | 51.402
1260.982 | -3.204 | 48.613 | -2.963 | 51.387
1261.423 | -3.203 | 48.668 | -2.971 | 51.332
1261.864 | -3.199 | 48.734 | -2.979 | 51.266
1262.305 | -3.195 | 48.779 | -2.983 | 51.221
1262.745 | -3.192 | 48.792 | -2.982 | 51.208
1263.186 | -3.192 | 48.784 | -2.98 | 51.216
1263.627 | -3.193 | 48.761 | -2.978 | 51.239
1264.068 | -3.196 | 48.72 | -2.973 | 51.28
1264.509 | -3.199 | 48.681 | -2.969 | 51.319
1264.95 | -3.2 | 48.655 | -2.966 | 51.345
1265.391 | -3.202 | 48.602 | -2.959 | 51.398
1265.832 | -3.206 | 48.512 | -2.947 | 51.488
1266.273 | -3.209 | 48.44 | -2.938 | 51.56
1266.713 | -3.212 | 48.413 | -2.936 | 51.587
1267.154 | -3.214 | 48.43 | -2.941 | 51.57
1267.595 | -3.218 | 48.449 | -2.948 | 51.551
1268.036 | -3.224 | 48.426 | -2.95 | 51.574
1268.477 | -3.227 | 48.407 | -2.951 | 51.593
1268.918 | -3.225 | 48.438 | -2.954 | 51.562
1269.359 | -3.22 | 48.494 | -2.959 | 51.506
1269.8 | -3.218 | 48.53 | -2.962 | 51.47
1270.24 | -3.221 | 48.484 | -2.957 | 51.516
1270.681 | -3.228 | 48.368 | -2.944 | 51.632
1271.122 | -3.234 | 48.246 | -2.929 | 51.754
1271.563 | -3.238 | 48.141 | -2.915 | 51.859
1272.004 | -3.241 | 48.05 | -2.903 | 51.95
1272.445 | -3.245 | 47.969 | -2.893 | 52.031
1272.886 | -3.25 | 47.916 | -2.888 | 52.084
1273.327 | -3.251 | 47.944 | -2.894 | 52.056
1273.768 | -3.248 | 48.044 | -2.908 | 51.956
1274.208 | -3.244 | 48.117 | -2.917 | 51.883
1274.649 | -3.242 | 48.129 | -2.917 | 51.871
1275.09 | -3.242 | 48.101 | -2.912 | 51.899
1275.531 | -3.244 | 48.065 | -2.907 | 51.935
1275.972 | -3.244 | 48.043 | -2.904 | 51.957
1276.413 | -3.245 | 48.001 | -2.898 | 51.999
1276.854 | -3.247 | 47.925 | -2.886 | 52.075
1277.295 | -3.249 | 47.871 | -2.879 | 52.129
1277.735 | -3.251 | 47.86 | -2.879 | 52.14
1278.176 | -3.253 | 47.862 | -2.882 | 52.138
1278.617 | -3.255 | 47.858 | -2.883 | 52.142
1279.058 | -3.257 | 47.845 | -2.883 | 52.155
1279.499 | -3.259 | 47.857 | -2.887 | 52.143
1279.94 | -3.259 | 47.929 | -2.899 | 52.071
1280.381 | -3.256 | 48.01 | -2.91 | 51.99
1280.822 | -3.249 | 48.066 | -2.913 | 51.934
1281.263 | -3.246 | 48.119 | -2.919 | 51.881
1281.703 | -3.249 | 48.16 | -2.929 | 51.84
1282.144 | -3.251 | 48.152 | -2.93 | 51.848
1282.585 | -3.25 | 48.117 | -2.922 | 51.883
1283.026 | -3.242 | 48.107 | -2.913 | 51.893
1283.467 | -3.237 | 48.11 | -2.908 | 51.89
1283.908 | -3.24 | 48.1 | -2.91 | 51.9
1284.349 | -3.247 | 48.076 | -2.912 | 51.924
1284.79 | -3.253 | 48.055 | -2.915 | 51.945
1285.23 | -3.257 | 48.066 | -2.921 | 51.934
1285.671 | -3.259 | 48.095 | -2.928 | 51.905
1286.112 | -3.259 | 48.09 | -2.927 | 51.91
1286.553 | -3.258 | 48.061 | -2.921 | 51.939
1286.994 | -3.259 | 48.049 | -2.92 | 51.951
1287.435 | -3.257 | 48.068 | -2.921 | 51.932
1287.876 | -3.249 | 48.116 | -2.921 | 51.884
1288.317 | -3.241 | 48.163 | -2.921 | 51.837
1288.758 | -3.236 | 48.188 | -2.921 | 51.812
1289.198 | -3.231 | 48.2 | -2.918 | 51.8
1289.639 | -3.228 | 48.207 | -2.916 | 51.793
1290.08 | -3.23 | 48.211 | -2.919 | 51.789
1290.521 | -3.236 | 48.201 | -2.924 | 51.799
1290.962 | -3.243 | 48.171 | -2.925 | 51.829
1291.403 | -3.245 | 48.163 | -2.926 | 51.837
1291.844 | -3.242 | 48.198 | -2.929 | 51.802
1292.285 | -3.238 | 48.215 | -2.928 | 51.785
1292.725 | -3.236 | 48.198 | -2.923 | 51.802
1293.166 | -3.234 | 48.212 | -2.924 | 51.788
1293.607 | -3.235 | 48.242 | -2.93 | 51.758
1294.048 | -3.241 | 48.219 | -2.931 | 51.781
1294.489 | -3.244 | 48.187 | -2.929 | 51.813
1294.93 | -3.237 | 48.215 | -2.926 | 51.785
1295.371 | -3.227 | 48.236 | -2.921 | 51.764
1295.812 | -3.225 | 48.201 | -2.912 | 51.799
1296.253 | -3.228 | 48.165 | -2.909 | 51.835
1296.693 | -3.232 | 48.151 | -2.91 | 51.849
1297.134 | -3.233 | 48.114 | -2.905 | 51.886
1297.575 | -3.23 | 48.058 | -2.892 | 51.942
1298.016 | -3.225 | 48.018 | -2.88 | 51.982
1298.457 | -3.222 | 48.032 | -2.88 | 51.968
1298.898 | -3.224 | 48.112 | -2.896 | 51.888
1299.339 | -3.229 | 48.161 | -2.909 | 51.839
1299.78 | -3.233 | 48.116 | -2.906 | 51.884
1300.22 | -3.237 | 48.05 | -2.898 | 51.95
1300.661 | -3.241 | 48.003 | -2.893 | 51.997
1301.102 | -3.246 | 47.952 | -2.89 | 52.048
1301.543 | -3.248 | 47.922 | -2.887 | 52.078
1301.984 | -3.242 | 47.949 | -2.885 | 52.051
1302.425 | -3.235 | 47.973 | -2.883 | 52.027
1302.866 | -3.235 | 47.937 | -2.876 | 52.063
1303.307 | -3.238 | 47.916 | -2.876 | 52.084
1303.747 | -3.24 | 47.964 | -2.886 | 52.036
1304.188 | -3.242 | 48.036 | -2.9 | 51.964
1304.629 | -3.243 | 48.069 | -2.907 | 51.931
1305.07 | -3.241 | 48.025 | -2.897 | 51.975
1305.511 | -3.237 | 47.962 | -2.883 | 52.038
1305.952 | -3.236 | 47.968 | -2.883 | 52.032
1306.393 | -3.236 | 48.013 | -2.89 | 51.987
1306.834 | -3.235 | 48.052 | -2.896 | 51.948
1307.275 | -3.232 | 48.108 | -2.903 | 51.892
1307.715 | -3.23 | 48.172 | -2.912 | 51.828
1308.156 | -3.232 | 48.168 | -2.914 | 51.832
1308.597 | -3.239 | 48.102 | -2.909 | 51.898
1309.038 | -3.245 | 48.058 | -2.907 | 51.942
1309.479 | -3.246 | 48.05 | -2.908 | 51.95
1309.92 | -3.243 | 48.051 | -2.904 | 51.949
1310.361 | -3.237 | 48.072 | -2.901 | 51.928
1310.802 | -3.229 | 48.13 | -2.904 | 51.87
1311.242 | -3.221 | 48.208 | -2.909 | 51.792
1311.683 | -3.216 | 48.276 | -2.916 | 51.724
1312.124 | -3.217 | 48.304 | -2.922 | 51.696
1312.565 | -3.222 | 48.3 | -2.926 | 51.7
1313.006 | -3.223 | 48.3 | -2.928 | 51.7
1313.447 | -3.222 | 48.333 | -2.933 | 51.667
1313.888 | -3.222 | 48.408 | -2.945 | 51.592
1314.329 | -3.221 | 48.459 | -2.953 | 51.541
1314.77 | -3.219 | 48.433 | -2.947 | 51.567
1315.21 | -3.22 | 48.378 | -2.938 | 51.622
1315.651 | -3.224 | 48.358 | -2.938 | 51.642
1316.092 | -3.224 | 48.425 | -2.951 | 51.575
1316.533 | -3.222 | 48.529 | -2.966 | 51.471
1316.974 | -3.219 | 48.56 | -2.969 | 51.44
1317.415 | -3.218 | 48.545 | -2.965 | 51.455
1317.856 | -3.218 | 48.549 | -2.966 | 51.451
1318.297 | -3.222 | 48.53 | -2.966 | 51.47
1318.737 | -3.228 | 48.474 | -2.963 | 51.526
1319.178 | -3.228 | 48.48 | -2.964 | 51.52
1319.619 | -3.22 | 48.569 | -2.972 | 51.431
1320.06 | -3.218 | 48.639 | -2.981 | 51.361
1320.501 | -3.222 | 48.631 | -2.985 | 51.369
1320.942 | -3.23 | 48.53 | -2.974 | 51.47
1321.383 | -3.234 | 48.416 | -2.959 | 51.584
1321.824 | -3.231 | 48.372 | -2.948 | 51.628
1322.265 | -3.227 | 48.372 | -2.944 | 51.628
1322.705 | -3.225 | 48.391 | -2.946 | 51.609
1323.146 | -3.226 | 48.431 | -2.953 | 51.569
1323.587 | -3.227 | 48.477 | -2.963 | 51.523
1324.028 | -3.23 | 48.507 | -2.971 | 51.493
1324.469 | -3.234 | 48.494 | -2.972 | 51.506
1324.91 | -3.238 | 48.415 | -2.963 | 51.585
1325.351 | -3.24 | 48.322 | -2.949 | 51.678
1325.792 | -3.239 | 48.269 | -2.938 | 51.731
1326.232 | -3.24 | 48.226 | -2.931 | 51.774
1326.673 | -3.246 | 48.17 | -2.928 | 51.83
1327.114 | -3.252 | 48.112 | -2.924 | 51.888
1327.555 | -3.256 | 48.067 | -2.92 | 51.933
1327.996 | -3.256 | 48.049 | -2.917 | 51.951
1328.437 | -3.256 | 48.058 | -2.918 | 51.942
1328.878 | -3.257 | 48.09 | -2.925 | 51.91
1329.319 | -3.26 | 48.127 | -2.934 | 51.873
1329.76 | -3.263 | 48.144 | -2.941 | 51.856
1330.2 | -3.269 | 48.115 | -2.942 | 51.885
1330.641 | -3.278 | 48.037 | -2.937 | 51.963
1331.082 | -3.285 | 47.965 | -2.931 | 52.035
1331.523 | -3.286 | 47.925 | -2.926 | 52.075
1331.964 | -3.282 | 47.909 | -2.919 | 52.091
1332.405 | -3.278 | 47.893 | -2.911 | 52.107
1332.846 | -3.28 | 47.852 | -2.907 | 52.148
1333.287 | -3.285 | 47.819 | -2.906 | 52.181
1333.727 | -3.289 | 47.828 | -2.911 | 52.172
1334.168 | -3.289 | 47.866 | -2.918 | 52.134
1334.609 | -3.286 | 47.912 | -2.923 | 52.088
1335.05 | -3.287 | 47.93 | -2.927 | 52.07
1335.491 | -3.291 | 47.913 | -2.928 | 52.087
1335.932 | -3.295 | 47.887 | -2.928 | 52.113
1336.373 | -3.299 | 47.862 | -2.927 | 52.138
1336.814 | -3.301 | 47.848 | -2.927 | 52.152
1337.255 | -3.301 | 47.864 | -2.93 | 52.136
1337.695 | -3.297 | 47.928 | -2.937 | 52.072
1338.136 | -3.292 | 48.012 | -2.946 | 51.988
1338.577 | -3.287 | 48.083 | -2.953 | 51.917
1339.018 | -3.286 | 48.099 | -2.956 | 51.901
1339.459 | -3.289 | 48.083 | -2.956 | 51.917
1339.9 | -3.291 | 48.1 | -2.96 | 51.9
1340.341 | -3.29 | 48.143 | -2.968 | 51.857
1340.782 | -3.291 | 48.182 | -2.975 | 51.818
1341.222 | -3.292 | 48.204 | -2.98 | 51.796
1341.663 | -3.297 | 48.203 | -2.985 | 51.797
1342.104 | -3.303 | 48.201 | -2.99 | 51.799
1342.545 | -3.308 | 48.211 | -2.997 | 51.789
1342.986 | -3.309 | 48.233 | -3.002 | 51.767
1343.427 | -3.306 | 48.254 | -3.002 | 51.746
1343.868 | -3.303 | 48.248 | -2.999 | 51.752
1344.309 | -3.302 | 48.24 | -2.996 | 51.76
1344.75 | -3.302 | 48.261 | -3 | 51.739
1345.19 | -3.303 | 48.293 | -3.006 | 51.707
1345.631 | -3.302 | 48.332 | -3.012 | 51.668
1346.072 | -3.3 | 48.399 | -3.022 | 51.601
1346.513 | -3.298 | 48.481 | -3.034 | 51.519
1346.954 | -3.298 | 48.512 | -3.039 | 51.488
1347.395 | -3.299 | 48.498 | -3.038 | 51.502
1347.836 | -3.299 | 48.471 | -3.034 | 51.529
1348.277 | -3.298 | 48.451 | -3.029 | 51.549
1348.717 | -3.297 | 48.451 | -3.028 | 51.549
1349.158 | -3.297 | 48.456 | -3.029 | 51.544
1349.599 | -3.299 | 48.464 | -3.032 | 51.536
1350.04 | -3.3 | 48.5 | -3.039 | 51.5
1350.481 | -3.299 | 48.563 | -3.05 | 51.437
1350.922 | -3.298 | 48.616 | -3.058 | 51.384
1351.363 | -3.298 | 48.636 | -3.061 | 51.364
1351.804 | -3.298 | 48.586 | -3.053 | 51.414
1352.245 | -3.301 | 48.521 | -3.043 | 51.479
1352.685 | -3.304 | 48.487 | -3.041 | 51.513
1353.126 | -3.308 | 48.475 | -3.043 | 51.525
1353.567 | -3.311 | 48.471 | -3.045 | 51.529
1354.008 | -3.314 | 48.445 | -3.044 | 51.555
1354.449 | -3.315 | 48.413 | -3.04 | 51.587
1354.89 | -3.313 | 48.444 | -3.042 | 51.556
1355.331 | -3.306 | 48.514 | -3.048 | 51.486
1355.771 | -3.295 | 48.576 | -3.048 | 51.424
1356.212 | -3.291 | 48.573 | -3.043 | 51.427
1356.653 | -3.303 | 48.447 | -3.033 | 51.553
1357.094 | -3.316 | 48.372 | -3.033 | 51.628
1357.535 | -3.322 | 48.427 | -3.049 | 51.573
1357.976 | -3.317 | 48.539 | -3.063 | 51.461
1358.417 | -3.305 | 48.646 | -3.07 | 51.354
1358.858 | -3.3 | 48.645 | -3.065 | 51.355
1359.299 | -3.3 | 48.586 | -3.054 | 51.414
1359.74 | -3.301 | 48.526 | -3.045 | 51.474
1360.18 | -3.303 | 48.501 | -3.042 | 51.499
1360.621 | -3.307 | 48.536 | -3.053 | 51.464
1361.062 | -3.311 | 48.521 | -3.054 | 51.479
1361.503 | -3.312 | 48.442 | -3.042 | 51.558
1361.944 | -3.307 | 48.455 | -3.039 | 51.545
1362.385 | -3.3 | 48.554 | -3.048 | 51.446
1362.826 | -3.3 | 48.659 | -3.067 | 51.341
1363.266 | -3.305 | 48.724 | -3.083 | 51.276
1363.707 | -3.309 | 48.654 | -3.075 | 51.346
1364.148 | -3.312 | 48.602 | -3.069 | 51.398
1364.589 | -3.311 | 48.647 | -3.076 | 51.353
1365.03 | -3.312 | 48.675 | -3.082 | 51.325
1365.471 | -3.318 | 48.646 | -3.082 | 51.354
1365.912 | -3.327 | 48.574 | -3.079 | 51.426
1366.353 | -3.337 | 48.501 | -3.077 | 51.499
1366.794 | -3.34 | 48.528 | -3.084 | 51.472
1367.234 | -3.34 | 48.591 | -3.095 | 51.409
1367.675 | -3.343 | 48.634 | -3.105 | 51.366
1368.116 | -3.344 | 48.696 | -3.118 | 51.304
1368.557 | -3.345 | 48.782 | -3.133 | 51.218
1368.998 | -3.352 | 48.759 | -3.137 | 51.241
1369.439 | -3.367 | 48.631 | -3.129 | 51.369
1369.88 | -3.373 | 48.617 | -3.133 | 51.383
1370.321 | -3.376 | 48.675 | -3.146 | 51.325
1370.761 | -3.39 | 48.671 | -3.159 | 51.329
1371.202 | -3.407 | 48.657 | -3.173 | 51.343
1371.643 | -3.422 | 48.691 | -3.194 | 51.309
1372.084 | -3.437 | 48.753 | -3.221 | 51.247
1372.525 | -3.457 | 48.835 | -3.255 | 51.165
1372.966 | -3.483 | 48.854 | -3.284 | 51.146
1373.407 | -3.514 | 48.817 | -3.308 | 51.183
1373.848 | -3.54 | 48.844 | -3.339 | 51.156
1374.289 | -3.564 | 48.898 | -3.373 | 51.102
1374.729 | -3.587 | 48.881 | -3.392 | 51.119
1375.17 | -3.609 | 48.878 | -3.414 | 51.122
1375.611 | -3.63 | 48.988 | -3.455 | 51.012
1376.052 | -3.66 | 49.055 | -3.496 | 50.945
1376.493 | -3.701 | 49.022 | -3.531 | 50.978
1376.934 | -3.735 | 49.003 | -3.561 | 50.997
1377.375 | -3.76 | 49.005 | -3.587 | 50.995
1377.816 | -3.788 | 48.966 | -3.608 | 51.034
1378.256 | -3.817 | 48.923 | -3.63 | 51.077
1378.697 | -3.84 | 48.986 | -3.664 | 51.014
1379.138 | -3.861 | 49.052 | -3.696 | 50.948
1379.579 | -3.876 | 49.06 | -3.712 | 50.94
1380.02 | -3.891 | 49.052 | -3.726 | 50.948
1380.461 | -3.907 | 49.04 | -3.74 | 50.96
1380.902 | -3.916 | 49.061 | -3.753 | 50.939
1381.343 | -3.92 | 49.104 | -3.764 | 50.896
1381.784 | -3.929 | 49.121 | -3.777 | 50.879
1382.224 | -3.941 | 49.126 | -3.789 | 50.874
1382.665 | -3.953 | 49.129 | -3.802 | 50.871
1383.106 | -3.959 | 49.138 | -3.81 | 50.862
1383.547 | -3.952 | 49.16 | -3.806 | 50.84
1383.988 | -3.948 | 49.155 | -3.801 | 50.845
1384.429 | -3.952 | 49.11 | -3.798 | 50.89
1384.87 | -3.956 | 49.071 | -3.794 | 50.929
1385.311 | -3.956 | 49.047 | -3.79 | 50.953
1385.751 | -3.946 | 49.079 | -3.786 | 50.921
1386.192 | -3.932 | 49.127 | -3.78 | 50.873
1386.633 | -3.919 | 49.154 | -3.772 | 50.846
1387.074 | -3.909 | 49.15 | -3.761 | 50.85
1387.515 | -3.907 | 49.078 | -3.746 | 50.922
1387.956 | -3.899 | 49.045 | -3.733 | 50.955
1388.397 | -3.885 | 49.069 | -3.723 | 50.931
1388.838 | -3.869 | 49.099 | -3.713 | 50.901
1389.279 | -3.853 | 49.125 | -3.701 | 50.875
1389.719 | -3.839 | 49.132 | -3.688 | 50.868
1390.16 | -3.826 | 49.134 | -3.675 | 50.866
1390.601 | -3.812 | 49.15 | -3.665 | 50.85
1391.042 | -3.8 | 49.16 | -3.654 | 50.84
1391.483 | -3.79 | 49.154 | -3.643 | 50.846
1391.924 | -3.78 | 49.116 | -3.626 | 50.884
1392.365 | -3.769 | 49.048 | -3.604 | 50.952
1392.806 | -3.758 | 49.009 | -3.586 | 50.991
1393.246 | -3.746 | 48.992 | -3.571 | 51.008
1393.687 | -3.731 | 49.037 | -3.564 | 50.963
1394.128 | -3.715 | 49.093 | -3.557 | 50.907
1394.569 | -3.697 | 49.15 | -3.55 | 50.85
1395.01 | -3.682 | 49.179 | -3.539 | 50.821
1395.451 | -3.67 | 49.147 | -3.522 | 50.853
1395.892 | -3.661 | 49.104 | -3.505 | 50.896
1396.333 | -3.653 | 49.061 | -3.49 | 50.939
1396.774 | -3.638 | 49.108 | -3.483 | 50.892
1397.214 | -3.62 | 49.195 | -3.48 | 50.805
1397.655 | -3.604 | 49.267 | -3.477 | 50.733
1398.096 | -3.591 | 49.326 | -3.474 | 50.674
1398.537 | -3.584 | 49.331 | -3.468 | 50.669
1398.978 | -3.575 | 49.336 | -3.46 | 50.664
1399.419 | -3.56 | 49.348 | -3.447 | 50.652
1399.86 | -3.544 | 49.358 | -3.433 | 50.642
1400.301 | -3.527 | 49.369 | -3.417 | 50.631
1400.741 | -3.514 | 49.406 | -3.411 | 50.594
1401.182 | -3.503 | 49.453 | -3.408 | 50.547
1401.623 | -3.491 | 49.499 | -3.404 | 50.501
1402.064 | -3.479 | 49.54 | -3.4 | 50.46
1402.505 | -3.466 | 49.559 | -3.39 | 50.441
1402.946 | -3.458 | 49.554 | -3.38 | 50.446
1403.387 | -3.457 | 49.516 | -3.373 | 50.484
1403.828 | -3.456 | 49.512 | -3.371 | 50.488
1404.269 | -3.454 | 49.537 | -3.374 | 50.463
1404.709 | -3.44 | 49.632 | -3.376 | 50.368
1405.15 | -3.423 | 49.746 | -3.379 | 50.254
1405.591 | -3.411 | 49.799 | -3.376 | 50.201
1406.032 | -3.4 | 49.859 | -3.375 | 50.141
1406.473 | -3.393 | 49.95 | -3.385 | 50.05
1406.914 | -3.386 | 50.01 | -3.388 | 49.99
1407.355 | -3.376 | 50.025 | -3.381 | 49.975
1407.796 | -3.371 | 49.994 | -3.37 | 50.006
1408.236 | -3.368 | 49.937 | -3.357 | 50.063
1408.677 | -3.365 | 49.945 | -3.355 | 50.055
1409.118 | -3.362 | 49.968 | -3.357 | 50.032
1409.559 | -3.35 | 50.017 | -3.353 | 49.983
1410 | -3.339 | 50.049 | -3.348 | 49.951