## A015510
SN: | A015510
Item #: | TWQ1550HA
Item Description: | 1x4 Wideband Fiber Optic Coupler
Fiber Type: | SMF-28 Ultra
Port Name: | Port 1
Test Wavelength (nm): | 1550
Insertion Loss (dB): | -6.38
Coupling Ratio (%): | 23.9
Uniformity (dB): | 0.27
Port Name: | Port 2
Test Wavelength (nm): | 1550
Insertion Loss (dB): | -6.22
Coupling Ratio (%): | 24.8
Uniformity (dB): | 0.13
Port Name: | Port 3
Test Wavelength (nm): | 1550
Insertion Loss (dB): | -6.16
Coupling Ratio (%): | 25.1
Uniformity (dB): | 0.18
Port Name: | Port 4
Test Wavelength (nm): | 1550
Insertion Loss (dB): | -5.99
Coupling Ratio (%): | 26.1
Uniformity (dB): | 0.45
Spectral Response
Wavelength (nm) | Insertion Loss - Port 1 (dB) | Coupling Ratio - Port 1 (%) | Insertion Loss - Port 2 (dB) | Coupling Ratio - Port 2 (%) | Insertion Loss - Port 3 (dB) | Coupling Ratio - Port 3 (%) | Insertion Loss - Port 4 (dB) | Coupling Ratio - Port 4 (%)
1440 | -6.21 | 25.887 | -6.37 | 24.949 | -6.36 | 25.007 | -6.51 | 24.157
1440.441 | -6.21 | 25.887 | -6.37 | 24.949 | -6.36 | 25.007 | -6.51 | 24.157
1440.882 | -6.214 | 25.868 | -6.37 | 24.952 | -6.36 | 25.01 | -6.508 | 24.17
1441.323 | -6.225 | 25.811 | -6.37 | 24.961 | -6.36 | 25.018 | -6.503 | 24.209
1441.764 | -6.23 | 25.781 | -6.37 | 24.961 | -6.36 | 25.018 | -6.497 | 24.24
1442.204 | -6.23 | 25.772 | -6.37 | 24.954 | -6.36 | 25.011 | -6.492 | 24.264
1442.645 | -6.226 | 25.788 | -6.366 | 24.97 | -6.36 | 25.003 | -6.494 | 24.24
1443.086 | -6.221 | 25.81 | -6.361 | 24.991 | -6.36 | 24.994 | -6.499 | 24.205
1443.527 | -6.22 | 25.811 | -6.36 | 24.993 | -6.36 | 24.994 | -6.5 | 24.202
1443.968 | -6.22 | 25.806 | -6.359 | 24.996 | -6.359 | 24.996 | -6.499 | 24.203
1444.409 | -6.22 | 25.784 | -6.354 | 25.003 | -6.354 | 25.003 | -6.493 | 24.21
1444.85 | -6.22 | 25.767 | -6.351 | 25.004 | -6.351 | 25.004 | -6.488 | 24.225
1445.291 | -6.22 | 25.757 | -6.35 | 24.998 | -6.35 | 24.998 | -6.483 | 24.247
1445.731 | -6.224 | 25.728 | -6.35 | 24.99 | -6.346 | 25.011 | -6.477 | 24.27
1446.172 | -6.229 | 25.69 | -6.35 | 24.983 | -6.341 | 25.033 | -6.471 | 24.294
1446.613 | -6.234 | 25.643 | -6.35 | 24.968 | -6.331 | 25.077 | -6.466 | 24.311
1447.054 | -6.239 | 25.6 | -6.349 | 24.959 | -6.322 | 25.113 | -6.46 | 24.328
1447.495 | -6.24 | 25.58 | -6.344 | 24.97 | -6.321 | 25.106 | -6.455 | 24.344
1447.936 | -6.238 | 25.576 | -6.341 | 24.976 | -6.322 | 25.086 | -6.449 | 24.363
1448.377 | -6.233 | 25.595 | -6.34 | 24.971 | -6.327 | 25.049 | -6.443 | 24.385
1448.818 | -6.228 | 25.613 | -6.34 | 24.96 | -6.329 | 25.023 | -6.438 | 24.404
1449.259 | -6.222 | 25.629 | -6.34 | 24.946 | -6.33 | 25.004 | -6.432 | 24.42
1449.699 | -6.221 | 25.617 | -6.336 | 24.947 | -6.326 | 25.005 | -6.427 | 24.431
1450.14 | -6.221 | 25.598 | -6.332 | 24.952 | -6.322 | 25.01 | -6.422 | 24.44
1450.581 | -6.225 | 25.574 | -6.331 | 24.96 | -6.321 | 25.018 | -6.421 | 24.448
1451.022 | -6.228 | 25.55 | -6.328 | 24.968 | -6.318 | 25.026 | -6.418 | 24.456
1451.463 | -6.23 | 25.525 | -6.324 | 24.977 | -6.314 | 25.033 | -6.414 | 24.465
1451.904 | -6.233 | 25.497 | -6.319 | 24.996 | -6.314 | 25.024 | -6.409 | 24.483
1452.345 | -6.237 | 25.467 | -6.313 | 25.023 | -6.317 | 25.001 | -6.403 | 24.509
1452.786 | -6.242 | 25.44 | -6.311 | 25.04 | -6.319 | 24.995 | -6.401 | 24.526
1453.226 | -6.248 | 25.414 | -6.31 | 25.051 | -6.32 | 24.996 | -6.4 | 24.539
1453.667 | -6.253 | 25.383 | -6.314 | 25.03 | -6.316 | 25.022 | -6.396 | 24.565
1454.108 | -6.258 | 25.356 | -6.317 | 25.014 | -6.311 | 25.047 | -6.392 | 24.583
1454.549 | -6.259 | 25.336 | -6.314 | 25.018 | -6.306 | 25.066 | -6.391 | 24.58
1454.99 | -6.258 | 25.332 | -6.312 | 25.019 | -6.304 | 25.065 | -6.388 | 24.584
1455.431 | -6.254 | 25.345 | -6.31 | 25.017 | -6.307 | 25.04 | -6.384 | 24.598
1455.872 | -6.252 | 25.354 | -6.31 | 25.015 | -6.308 | 25.024 | -6.382 | 24.606
1456.313 | -6.25 | 25.359 | -6.31 | 25.013 | -6.31 | 25.015 | -6.38 | 24.613
1456.754 | -6.25 | 25.35 | -6.31 | 25.002 | -6.306 | 25.024 | -6.376 | 24.624
1457.194 | -6.25 | 25.337 | -6.31 | 24.99 | -6.302 | 25.037 | -6.372 | 24.636
1457.635 | -6.25 | 25.322 | -6.31 | 24.975 | -6.296 | 25.052 | -6.366 | 24.651
1458.076 | -6.25 | 25.305 | -6.308 | 24.968 | -6.291 | 25.069 | -6.362 | 24.658
1458.517 | -6.25 | 25.289 | -6.305 | 24.973 | -6.285 | 25.084 | -6.361 | 24.654
1458.958 | -6.252 | 25.266 | -6.302 | 24.979 | -6.282 | 25.094 | -6.358 | 24.661
1459.399 | -6.256 | 25.239 | -6.3 | 24.984 | -6.28 | 25.099 | -6.354 | 24.678
1459.84 | -6.262 | 25.212 | -6.3 | 24.989 | -6.28 | 25.105 | -6.352 | 24.694
1460.281 | -6.268 | 25.185 | -6.301 | 24.992 | -6.28 | 25.113 | -6.35 | 24.711
1460.721 | -6.277 | 25.155 | -6.308 | 24.975 | -6.28 | 25.136 | -6.35 | 24.734
1461.162 | -6.285 | 25.127 | -6.315 | 24.953 | -6.28 | 25.158 | -6.349 | 24.763
1461.603 | -6.293 | 25.101 | -6.323 | 24.927 | -6.28 | 25.173 | -6.345 | 24.799
1462.044 | -6.295 | 25.092 | -6.327 | 24.908 | -6.282 | 25.169 | -6.34 | 24.832
1462.485 | -6.294 | 25.098 | -6.329 | 24.896 | -6.286 | 25.145 | -6.335 | 24.861
1462.926 | -6.289 | 25.11 | -6.324 | 24.908 | -6.291 | 25.103 | -6.329 | 24.879
1463.367 | -6.284 | 25.122 | -6.318 | 24.929 | -6.296 | 25.056 | -6.324 | 24.893
1463.808 | -6.282 | 25.112 | -6.31 | 24.95 | -6.295 | 25.037 | -6.318 | 24.902
1464.249 | -6.281 | 25.093 | -6.303 | 24.968 | -6.292 | 25.028 | -6.313 | 24.911
1464.689 | -6.284 | 25.056 | -6.297 | 24.981 | -6.287 | 25.038 | -6.307 | 24.924
1465.13 | -6.287 | 25.022 | -6.292 | 24.996 | -6.283 | 25.044 | -6.302 | 24.938
1465.571 | -6.289 | 24.993 | -6.286 | 25.011 | -6.281 | 25.042 | -6.296 | 24.954
1466.012 | -6.292 | 24.963 | -6.283 | 25.018 | -6.278 | 25.046 | -6.29 | 24.973
1466.453 | -6.295 | 24.934 | -6.28 | 25.02 | -6.275 | 25.053 | -6.285 | 24.993
1466.894 | -6.298 | 24.915 | -6.28 | 25.017 | -6.272 | 25.063 | -6.282 | 25.005
1467.335 | -6.3 | 24.901 | -6.28 | 25.015 | -6.27 | 25.071 | -6.28 | 25.013
1467.776 | -6.3 | 24.899 | -6.28 | 25.014 | -6.27 | 25.072 | -6.28 | 25.014
1468.216 | -6.3 | 24.899 | -6.28 | 25.014 | -6.27 | 25.072 | -6.28 | 25.014
1468.657 | -6.3 | 24.899 | -6.28 | 25.015 | -6.27 | 25.071 | -6.28 | 25.015
1469.098 | -6.302 | 24.894 | -6.28 | 25.02 | -6.272 | 25.067 | -6.28 | 25.02
1469.539 | -6.305 | 24.885 | -6.28 | 25.028 | -6.275 | 25.058 | -6.28 | 25.029
1469.98 | -6.31 | 24.874 | -6.282 | 25.032 | -6.28 | 25.047 | -6.28 | 25.046
1470.421 | -6.315 | 24.865 | -6.286 | 25.033 | -6.285 | 25.037 | -6.28 | 25.064
1470.862 | -6.318 | 24.868 | -6.291 | 25.023 | -6.288 | 25.04 | -6.283 | 25.069
1471.303 | -6.319 | 24.876 | -6.295 | 25.015 | -6.29 | 25.043 | -6.286 | 25.066
1471.744 | -6.316 | 24.891 | -6.295 | 25.015 | -6.29 | 25.043 | -6.288 | 25.051
1472.184 | -6.312 | 24.905 | -6.292 | 25.021 | -6.288 | 25.041 | -6.29 | 25.033
1472.625 | -6.307 | 24.915 | -6.287 | 25.032 | -6.286 | 25.038 | -6.29 | 25.015
1473.066 | -6.305 | 24.912 | -6.283 | 25.038 | -6.283 | 25.039 | -6.288 | 25.01
1473.507 | -6.305 | 24.9 | -6.281 | 25.042 | -6.281 | 25.042 | -6.285 | 25.016
1473.948 | -6.308 | 24.881 | -6.28 | 25.04 | -6.28 | 25.039 | -6.28 | 25.04
1474.389 | -6.31 | 24.86 | -6.279 | 25.039 | -6.28 | 25.035 | -6.274 | 25.067
1474.83 | -6.313 | 24.837 | -6.277 | 25.045 | -6.28 | 25.028 | -6.269 | 25.09
1475.271 | -6.316 | 24.812 | -6.273 | 25.057 | -6.279 | 25.024 | -6.264 | 25.107
1475.711 | -6.319 | 24.784 | -6.268 | 25.075 | -6.276 | 25.028 | -6.261 | 25.113
1476.152 | -6.321 | 24.761 | -6.265 | 25.082 | -6.272 | 25.044 | -6.26 | 25.113
1476.593 | -6.324 | 24.741 | -6.265 | 25.08 | -6.267 | 25.069 | -6.26 | 25.11
1477.034 | -6.327 | 24.723 | -6.267 | 25.067 | -6.263 | 25.09 | -6.258 | 25.12
1477.475 | -6.33 | 24.707 | -6.27 | 25.051 | -6.26 | 25.107 | -6.255 | 25.135
1477.916 | -6.33 | 24.696 | -6.27 | 25.039 | -6.258 | 25.11 | -6.25 | 25.155
1478.357 | -6.329 | 24.688 | -6.269 | 25.032 | -6.256 | 25.109 | -6.245 | 25.17
1478.798 | -6.327 | 24.689 | -6.267 | 25.033 | -6.255 | 25.101 | -6.242 | 25.177
1479.239 | -6.324 | 24.698 | -6.263 | 25.049 | -6.257 | 25.081 | -6.242 | 25.172
1479.679 | -6.321 | 24.713 | -6.257 | 25.078 | -6.262 | 25.05 | -6.243 | 25.159
1480.12 | -6.32 | 24.72 | -6.252 | 25.111 | -6.266 | 25.027 | -6.247 | 25.142
1480.561 | -6.32 | 24.721 | -6.246 | 25.144 | -6.269 | 25.01 | -6.249 | 25.125
1481.002 | -6.32 | 24.714 | -6.241 | 25.169 | -6.27 | 25 | -6.25 | 25.116
1481.443 | -6.32 | 24.706 | -6.236 | 25.19 | -6.27 | 24.992 | -6.249 | 25.112
1481.884 | -6.32 | 24.698 | -6.232 | 25.202 | -6.27 | 24.985 | -6.247 | 25.115
1482.325 | -6.321 | 24.687 | -6.231 | 25.203 | -6.27 | 24.979 | -6.244 | 25.131
1482.766 | -6.323 | 24.674 | -6.233 | 25.191 | -6.27 | 24.978 | -6.239 | 25.158
1483.206 | -6.326 | 24.657 | -6.236 | 25.174 | -6.269 | 24.985 | -6.234 | 25.184
1483.647 | -6.329 | 24.64 | -6.239 | 25.156 | -6.266 | 24.999 | -6.231 | 25.204
1484.088 | -6.33 | 24.63 | -6.24 | 25.146 | -6.262 | 25.021 | -6.23 | 25.203
1484.529 | -6.33 | 24.623 | -6.24 | 25.136 | -6.256 | 25.045 | -6.23 | 25.196
1484.97 | -6.33 | 24.617 | -6.242 | 25.121 | -6.251 | 25.071 | -6.23 | 25.191
1485.411 | -6.33 | 24.613 | -6.245 | 25.101 | -6.246 | 25.095 | -6.229 | 25.191
1485.852 | -6.33 | 24.61 | -6.248 | 25.079 | -6.242 | 25.114 | -6.228 | 25.197
1486.293 | -6.33 | 24.606 | -6.25 | 25.065 | -6.24 | 25.119 | -6.225 | 25.21
1486.734 | -6.33 | 24.601 | -6.25 | 25.059 | -6.24 | 25.115 | -6.221 | 25.225
1487.174 | -6.329 | 24.601 | -6.249 | 25.059 | -6.24 | 25.109 | -6.219 | 25.232
1487.615 | -6.327 | 24.603 | -6.247 | 25.062 | -6.24 | 25.1 | -6.217 | 25.235
1488.056 | -6.325 | 24.602 | -6.243 | 25.069 | -6.24 | 25.087 | -6.213 | 25.242
1488.497 | -6.325 | 24.596 | -6.24 | 25.08 | -6.241 | 25.077 | -6.211 | 25.247
1488.938 | -6.328 | 24.584 | -6.238 | 25.097 | -6.242 | 25.073 | -6.212 | 25.246
1489.379 | -6.33 | 24.579 | -6.234 | 25.124 | -6.245 | 25.064 | -6.216 | 25.233
1489.82 | -6.33 | 24.582 | -6.229 | 25.159 | -6.248 | 25.05 | -6.221 | 25.209
1490.26 | -6.331 | 24.579 | -6.225 | 25.189 | -6.249 | 25.048 | -6.225 | 25.183
1490.701 | -6.333 | 24.569 | -6.221 | 25.21 | -6.247 | 25.057 | -6.229 | 25.164
1491.142 | -6.336 | 24.545 | -6.22 | 25.211 | -6.244 | 25.075 | -6.227 | 25.169
1491.583 | -6.34 | 24.52 | -6.22 | 25.204 | -6.241 | 25.084 | -6.222 | 25.192
1492.024 | -6.342 | 24.501 | -6.222 | 25.187 | -6.242 | 25.072 | -6.213 | 25.24
1492.465 | -6.344 | 24.484 | -6.225 | 25.164 | -6.244 | 25.055 | -6.202 | 25.297
1492.906 | -6.348 | 24.471 | -6.232 | 25.135 | -6.248 | 25.041 | -6.194 | 25.352
1493.347 | -6.35 | 24.471 | -6.24 | 25.099 | -6.249 | 25.045 | -6.191 | 25.385
1493.788 | -6.35 | 24.477 | -6.247 | 25.063 | -6.248 | 25.062 | -6.19 | 25.398
1494.229 | -6.351 | 24.471 | -6.25 | 25.047 | -6.243 | 25.084 | -6.189 | 25.399
1494.669 | -6.353 | 24.452 | -6.25 | 25.038 | -6.238 | 25.107 | -6.187 | 25.402
1495.11 | -6.356 | 24.42 | -6.249 | 25.033 | -6.232 | 25.128 | -6.182 | 25.419
1495.551 | -6.359 | 24.39 | -6.246 | 25.033 | -6.227 | 25.143 | -6.177 | 25.434
1495.992 | -6.359 | 24.373 | -6.241 | 25.04 | -6.223 | 25.148 | -6.173 | 25.439
1496.433 | -6.355 | 24.374 | -6.236 | 25.052 | -6.22 | 25.142 | -6.17 | 25.433
1496.874 | -6.35 | 24.388 | -6.232 | 25.062 | -6.22 | 25.129 | -6.17 | 25.42
1497.315 | -6.345 | 24.407 | -6.23 | 25.063 | -6.22 | 25.119 | -6.17 | 25.41
1497.755 | -6.341 | 24.421 | -6.228 | 25.065 | -6.22 | 25.112 | -6.17 | 25.402
1498.196 | -6.341 | 24.413 | -6.224 | 25.079 | -6.218 | 25.111 | -6.169 | 25.397
1498.637 | -6.343 | 24.39 | -6.221 | 25.086 | -6.214 | 25.125 | -6.167 | 25.4
1499.078 | -6.347 | 24.351 | -6.22 | 25.073 | -6.205 | 25.159 | -6.161 | 25.416
1499.519 | -6.35 | 24.316 | -6.22 | 25.052 | -6.197 | 25.185 | -6.152 | 25.446
1499.96 | -6.351 | 24.289 | -6.221 | 25.027 | -6.192 | 25.195 | -6.142 | 25.489
1500.401 | -6.355 | 24.261 | -6.225 | 24.997 | -6.19 | 25.197 | -6.131 | 25.546
1500.842 | -6.359 | 24.235 | -6.23 | 24.962 | -6.19 | 25.195 | -6.12 | 25.607
1501.283 | -6.36 | 24.223 | -6.236 | 24.923 | -6.19 | 25.19 | -6.109 | 25.663
1501.723 | -6.36 | 24.222 | -6.244 | 24.881 | -6.19 | 25.19 | -6.102 | 25.707
1502.164 | -6.361 | 24.229 | -6.253 | 24.839 | -6.189 | 25.204 | -6.1 | 25.728
1502.605 | -6.363 | 24.223 | -6.259 | 24.813 | -6.187 | 25.227 | -6.1 | 25.737
1503.046 | -6.368 | 24.197 | -6.26 | 24.807 | -6.183 | 25.253 | -6.099 | 25.743
1503.487 | -6.374 | 24.166 | -6.26 | 24.807 | -6.18 | 25.265 | -6.096 | 25.762
1503.928 | -6.378 | 24.141 | -6.26 | 24.808 | -6.181 | 25.263 | -6.092 | 25.788
1504.369 | -6.38 | 24.138 | -6.26 | 24.814 | -6.185 | 25.245 | -6.09 | 25.803
1504.81 | -6.38 | 24.147 | -6.26 | 24.824 | -6.191 | 25.224 | -6.092 | 25.805
1505.25 | -6.38 | 24.162 | -6.26 | 24.839 | -6.196 | 25.208 | -6.096 | 25.79
1505.691 | -6.377 | 24.185 | -6.257 | 24.862 | -6.199 | 25.198 | -6.104 | 25.755
1506.132 | -6.374 | 24.204 | -6.252 | 24.893 | -6.199 | 25.197 | -6.113 | 25.705
1506.573 | -6.374 | 24.191 | -6.244 | 24.929 | -6.196 | 25.202 | -6.115 | 25.678
1507.014 | -6.378 | 24.149 | -6.234 | 24.96 | -6.192 | 25.206 | -6.11 | 25.685
1507.455 | -6.38 | 24.104 | -6.226 | 24.969 | -6.186 | 25.203 | -6.097 | 25.724
1507.896 | -6.38 | 24.07 | -6.222 | 24.964 | -6.182 | 25.195 | -6.084 | 25.771
1508.337 | -6.379 | 24.057 | -6.22 | 24.956 | -6.18 | 25.185 | -6.076 | 25.801
1508.778 | -6.376 | 24.069 | -6.22 | 24.948 | -6.182 | 25.167 | -6.071 | 25.816
1509.218 | -6.367 | 24.111 | -6.22 | 24.941 | -6.186 | 25.137 | -6.071 | 25.81
1509.659 | -6.356 | 24.168 | -6.22 | 24.938 | -6.189 | 25.117 | -6.076 | 25.778
1510.1 | -6.346 | 24.224 | -6.22 | 24.936 | -6.19 | 25.11 | -6.084 | 25.731
1510.541 | -6.338 | 24.265 | -6.22 | 24.932 | -6.19 | 25.105 | -6.088 | 25.699
1510.982 | -6.333 | 24.288 | -6.219 | 24.931 | -6.19 | 25.098 | -6.09 | 25.684
1511.423 | -6.331 | 24.291 | -6.215 | 24.944 | -6.19 | 25.09 | -6.09 | 25.675
1511.864 | -6.332 | 24.281 | -6.212 | 24.961 | -6.19 | 25.087 | -6.09 | 25.671
1512.305 | -6.335 | 24.263 | -6.21 | 24.971 | -6.19 | 25.091 | -6.09 | 25.675
1512.745 | -6.338 | 24.243 | -6.21 | 24.971 | -6.187 | 25.101 | -6.087 | 25.685
1513.186 | -6.34 | 24.227 | -6.211 | 24.957 | -6.183 | 25.115 | -6.083 | 25.7
1513.627 | -6.34 | 24.214 | -6.213 | 24.931 | -6.178 | 25.135 | -6.078 | 25.72
1514.068 | -6.34 | 24.206 | -6.218 | 24.897 | -6.172 | 25.158 | -6.073 | 25.739
1514.509 | -6.34 | 24.202 | -6.223 | 24.862 | -6.167 | 25.186 | -6.071 | 25.749
1514.95 | -6.34 | 24.203 | -6.229 | 24.831 | -6.163 | 25.212 | -6.07 | 25.754
1515.391 | -6.34 | 24.209 | -6.234 | 24.804 | -6.161 | 25.228 | -6.07 | 25.76
1515.832 | -6.338 | 24.223 | -6.24 | 24.776 | -6.16 | 25.236 | -6.07 | 25.765
1516.273 | -6.334 | 24.244 | -6.244 | 24.752 | -6.16 | 25.238 | -6.07 | 25.766
1516.713 | -6.332 | 24.257 | -6.245 | 24.744 | -6.16 | 25.235 | -6.07 | 25.764
1517.154 | -6.33 | 24.259 | -6.242 | 24.756 | -6.161 | 25.226 | -6.07 | 25.759
1517.595 | -6.33 | 24.258 | -6.238 | 24.78 | -6.164 | 25.206 | -6.07 | 25.755
1518.036 | -6.33 | 24.259 | -6.232 | 24.811 | -6.169 | 25.175 | -6.07 | 25.755
1518.477 | -6.33 | 24.262 | -6.227 | 24.847 | -6.177 | 25.131 | -6.07 | 25.76
1518.918 | -6.332 | 24.26 | -6.223 | 24.877 | -6.185 | 25.095 | -6.07 | 25.767
1519.359 | -6.335 | 24.249 | -6.221 | 24.894 | -6.188 | 25.083 | -6.07 | 25.774
1519.8 | -6.338 | 24.234 | -6.22 | 24.9 | -6.187 | 25.089 | -6.07 | 25.776
1520.24 | -6.339 | 24.224 | -6.22 | 24.899 | -6.184 | 25.108 | -6.071 | 25.77
1520.681 | -6.34 | 24.218 | -6.22 | 24.896 | -6.179 | 25.134 | -6.073 | 25.752
1521.122 | -6.339 | 24.221 | -6.221 | 24.889 | -6.174 | 25.159 | -6.076 | 25.731
1521.563 | -6.336 | 24.236 | -6.224 | 24.872 | -6.171 | 25.175 | -6.079 | 25.717
1522.004 | -6.334 | 24.247 | -6.227 | 24.854 | -6.169 | 25.188 | -6.08 | 25.711
1522.445 | -6.335 | 24.241 | -6.229 | 24.843 | -6.166 | 25.207 | -6.08 | 25.709
1522.886 | -6.338 | 24.228 | -6.23 | 24.838 | -6.163 | 25.225 | -6.08 | 25.709
1523.327 | -6.339 | 24.219 | -6.229 | 24.839 | -6.161 | 25.234 | -6.08 | 25.708
1523.768 | -6.34 | 24.212 | -6.227 | 24.848 | -6.16 | 25.235 | -6.08 | 25.705
1524.208 | -6.34 | 24.208 | -6.224 | 24.862 | -6.161 | 25.228 | -6.08 | 25.702
1524.649 | -6.34 | 24.208 | -6.222 | 24.876 | -6.163 | 25.213 | -6.08 | 25.702
1525.09 | -6.339 | 24.215 | -6.221 | 24.88 | -6.166 | 25.196 | -6.079 | 25.709
1525.531 | -6.336 | 24.229 | -6.224 | 24.863 | -6.169 | 25.182 | -6.076 | 25.726
1525.972 | -6.333 | 24.244 | -6.229 | 24.834 | -6.17 | 25.173 | -6.071 | 25.749
1526.413 | -6.331 | 24.251 | -6.233 | 24.803 | -6.17 | 25.168 | -6.066 | 25.777
1526.854 | -6.33 | 24.252 | -6.237 | 24.778 | -6.17 | 25.164 | -6.061 | 25.806
1527.295 | -6.331 | 24.246 | -6.239 | 24.766 | -6.17 | 25.16 | -6.056 | 25.828
1527.735 | -6.333 | 24.233 | -6.237 | 24.774 | -6.17 | 25.159 | -6.055 | 25.833
1528.176 | -6.337 | 24.216 | -6.234 | 24.795 | -6.17 | 25.164 | -6.057 | 25.826
1528.617 | -6.342 | 24.198 | -6.232 | 24.819 | -6.17 | 25.173 | -6.062 | 25.81
1529.058 | -6.347 | 24.18 | -6.23 | 24.84 | -6.171 | 25.181 | -6.066 | 25.799
1529.499 | -6.353 | 24.164 | -6.23 | 24.858 | -6.174 | 25.179 | -6.068 | 25.799
1529.94 | -6.357 | 24.149 | -6.228 | 24.874 | -6.177 | 25.169 | -6.068 | 25.809
1530.381 | -6.358 | 24.136 | -6.225 | 24.889 | -6.179 | 25.151 | -6.065 | 25.824
1530.822 | -6.357 | 24.131 | -6.22 | 24.905 | -6.182 | 25.124 | -6.06 | 25.84
1531.263 | -6.355 | 24.133 | -6.215 | 24.919 | -6.185 | 25.093 | -6.055 | 25.855
1531.703 | -6.352 | 24.138 | -6.212 | 24.928 | -6.188 | 25.069 | -6.052 | 25.864
1532.144 | -6.351 | 24.144 | -6.211 | 24.929 | -6.189 | 25.056 | -6.051 | 25.871
1532.585 | -6.35 | 24.148 | -6.213 | 24.92 | -6.19 | 25.056 | -6.05 | 25.876
1533.026 | -6.35 | 24.151 | -6.216 | 24.906 | -6.188 | 25.066 | -6.05 | 25.878
1533.467 | -6.35 | 24.147 | -6.219 | 24.892 | -6.186 | 25.082 | -6.05 | 25.879
1533.908 | -6.352 | 24.134 | -6.22 | 24.88 | -6.181 | 25.102 | -6.048 | 25.884
1534.349 | -6.355 | 24.113 | -6.22 | 24.872 | -6.176 | 25.123 | -6.045 | 25.892
1534.79 | -6.357 | 24.092 | -6.22 | 24.866 | -6.173 | 25.138 | -6.043 | 25.903
1535.23 | -6.36 | 24.072 | -6.22 | 24.861 | -6.169 | 25.154 | -6.04 | 25.914
1535.671 | -6.363 | 24.049 | -6.22 | 24.852 | -6.164 | 25.175 | -6.037 | 25.924
1536.112 | -6.366 | 24.025 | -6.221 | 24.838 | -6.158 | 25.199 | -6.033 | 25.938
1536.553 | -6.368 | 24.003 | -6.223 | 24.819 | -6.154 | 25.218 | -6.028 | 25.96
1536.994 | -6.37 | 23.989 | -6.225 | 24.804 | -6.152 | 25.22 | -6.022 | 25.987
1537.435 | -6.37 | 23.983 | -6.225 | 24.8 | -6.155 | 25.203 | -6.017 | 26.015
1537.876 | -6.37 | 23.979 | -6.223 | 24.805 | -6.159 | 25.172 | -6.011 | 26.044
1538.317 | -6.369 | 23.976 | -6.22 | 24.814 | -6.163 | 25.142 | -6.006 | 26.068
1538.758 | -6.367 | 23.977 | -6.218 | 24.82 | -6.165 | 25.123 | -6.003 | 26.079
1539.198 | -6.365 | 23.979 | -6.215 | 24.821 | -6.163 | 25.118 | -6 | 26.082
1539.639 | -6.362 | 23.977 | -6.212 | 24.819 | -6.159 | 25.124 | -5.997 | 26.08
1540.08 | -6.36 | 23.971 | -6.21 | 24.814 | -6.155 | 25.135 | -5.994 | 26.081
1540.521 | -6.36 | 23.963 | -6.21 | 24.807 | -6.152 | 25.143 | -5.992 | 26.087
1540.962 | -6.362 | 23.954 | -6.21 | 24.805 | -6.15 | 25.149 | -5.99 | 26.092
1541.403 | -6.365 | 23.941 | -6.21 | 24.806 | -6.15 | 25.154 | -5.99 | 26.098
1541.844 | -6.369 | 23.925 | -6.212 | 24.805 | -6.15 | 25.163 | -5.99 | 26.107
1542.285 | -6.375 | 23.906 | -6.215 | 24.799 | -6.15 | 25.175 | -5.99 | 26.12
1542.725 | -6.38 | 23.89 | -6.22 | 24.786 | -6.15 | 25.189 | -5.99 | 26.135
1543.166 | -6.385 | 23.875 | -6.225 | 24.771 | -6.15 | 25.201 | -5.989 | 26.153
1543.607 | -6.387 | 23.862 | -6.227 | 24.758 | -6.15 | 25.205 | -5.986 | 26.175
1544.048 | -6.387 | 23.852 | -6.227 | 24.747 | -6.149 | 25.197 | -5.978 | 26.204
1544.489 | -6.382 | 23.841 | -6.222 | 24.738 | -6.146 | 25.177 | -5.966 | 26.243
1544.93 | -6.375 | 23.825 | -6.213 | 24.729 | -6.14 | 25.151 | -5.947 | 26.294
1545.371 | -6.368 | 23.805 | -6.204 | 24.724 | -6.134 | 25.125 | -5.928 | 26.346
1545.812 | -6.365 | 23.783 | -6.196 | 24.728 | -6.13 | 25.104 | -5.914 | 26.385
1546.253 | -6.366 | 23.773 | -6.193 | 24.741 | -6.133 | 25.084 | -5.911 | 26.402
1546.693 | -6.37 | 23.785 | -6.195 | 24.762 | -6.143 | 25.062 | -5.919 | 26.391
1547.134 | -6.375 | 23.814 | -6.202 | 24.781 | -6.155 | 25.049 | -5.934 | 26.356
1547.575 | -6.378 | 23.848 | -6.209 | 24.795 | -6.164 | 25.052 | -5.952 | 26.305
1548.016 | -6.38 | 23.876 | -6.214 | 24.805 | -6.168 | 25.071 | -5.968 | 26.248
1548.457 | -6.38 | 23.892 | -6.216 | 24.814 | -6.166 | 25.096 | -5.98 | 26.198
1548.898 | -6.38 | 23.896 | -6.215 | 24.822 | -6.163 | 25.118 | -5.986 | 26.163
1549.339 | -6.38 | 23.898 | -6.215 | 24.824 | -6.161 | 25.132 | -5.99 | 26.145
1549.78 | -6.38 | 23.906 | -6.217 | 24.819 | -6.162 | 25.136 | -5.992 | 26.139
1550.22 | -6.38 | 23.917 | -6.219 | 24.818 | -6.165 | 25.131 | -5.995 | 26.135
1550.661 | -6.38 | 23.926 | -6.22 | 24.824 | -6.168 | 25.124 | -5.998 | 26.126
1551.102 | -6.38 | 23.932 | -6.22 | 24.831 | -6.17 | 25.12 | -6.001 | 26.117
1551.543 | -6.38 | 23.936 | -6.22 | 24.835 | -6.17 | 25.122 | -6.003 | 26.107
1551.984 | -6.38 | 23.941 | -6.22 | 24.839 | -6.17 | 25.127 | -6.006 | 26.093
1552.425 | -6.38 | 23.945 | -6.22 | 24.844 | -6.17 | 25.131 | -6.009 | 26.08
1552.866 | -6.38 | 23.946 | -6.22 | 24.845 | -6.17 | 25.133 | -6.01 | 26.076
1553.307 | -6.38 | 23.945 | -6.219 | 24.847 | -6.169 | 25.134 | -6.01 | 26.074
1553.747 | -6.38 | 23.941 | -6.218 | 24.85 | -6.168 | 25.139 | -6.01 | 26.071
1554.188 | -6.379 | 23.933 | -6.215 | 24.854 | -6.164 | 25.147 | -6.008 | 26.066
1554.629 | -6.377 | 23.925 | -6.212 | 24.854 | -6.16 | 25.155 | -6.005 | 26.066
1555.07 | -6.373 | 23.925 | -6.21 | 24.84 | -6.156 | 25.155 | -5.999 | 26.08
1555.511 | -6.368 | 23.936 | -6.21 | 24.824 | -6.155 | 25.142 | -5.993 | 26.097
1555.952 | -6.364 | 23.963 | -6.211 | 24.82 | -6.16 | 25.115 | -5.993 | 26.102
1556.393 | -6.362 | 23.996 | -6.214 | 24.827 | -6.17 | 25.081 | -5.998 | 26.096
1556.834 | -6.363 | 24.022 | -6.219 | 24.837 | -6.18 | 25.056 | -6.006 | 26.085
1557.275 | -6.369 | 24.024 | -6.224 | 24.843 | -6.186 | 25.058 | -6.014 | 26.075
1557.715 | -6.377 | 24.002 | -6.227 | 24.844 | -6.184 | 25.094 | -6.02 | 26.06
1558.156 | -6.384 | 23.972 | -6.229 | 24.841 | -6.175 | 25.153 | -6.025 | 26.033
1558.597 | -6.386 | 23.957 | -6.227 | 24.845 | -6.165 | 25.205 | -6.031 | 25.993
1559.038 | -6.382 | 23.97 | -6.223 | 24.864 | -6.161 | 25.221 | -6.038 | 25.945
1559.479 | -6.375 | 24.007 | -6.218 | 24.895 | -6.163 | 25.21 | -6.048 | 25.888
1559.92 | -6.369 | 24.053 | -6.212 | 24.934 | -6.168 | 25.192 | -6.061 | 25.821
1560.361 | -6.366 | 24.078 | -6.207 | 24.976 | -6.173 | 25.175 | -6.071 | 25.771
1560.802 | -6.372 | 24.065 | -6.204 | 25.011 | -6.177 | 25.169 | -6.077 | 25.755
1561.242 | -6.383 | 24.026 | -6.206 | 25.029 | -6.179 | 25.179 | -6.079 | 25.766
1561.683 | -6.394 | 23.987 | -6.21 | 25.025 | -6.18 | 25.2 | -6.08 | 25.788
1562.124 | -6.399 | 23.971 | -6.216 | 25.007 | -6.179 | 25.216 | -6.079 | 25.806
1562.565 | -6.4 | 23.969 | -6.221 | 24.975 | -6.178 | 25.227 | -6.075 | 25.829
1563.006 | -6.399 | 23.961 | -6.227 | 24.931 | -6.173 | 25.24 | -6.066 | 25.868
1563.447 | -6.397 | 23.955 | -6.232 | 24.881 | -6.168 | 25.251 | -6.055 | 25.913
1563.888 | -6.392 | 23.959 | -6.236 | 24.837 | -6.163 | 25.254 | -6.045 | 25.95
1564.329 | -6.386 | 23.967 | -6.235 | 24.814 | -6.161 | 25.245 | -6.037 | 25.973
1564.77 | -6.379 | 23.982 | -6.232 | 24.808 | -6.16 | 25.225 | -6.031 | 25.985
1565.21 | -6.371 | 24.008 | -6.23 | 24.798 | -6.16 | 25.203 | -6.026 | 25.991
1565.651 | -6.361 | 24.039 | -6.228 | 24.788 | -6.158 | 25.19 | -6.023 | 25.984
1566.092 | -6.355 | 24.059 | -6.224 | 24.797 | -6.155 | 25.194 | -6.027 | 25.951
1566.533 | -6.354 | 24.067 | -6.219 | 24.826 | -6.154 | 25.201 | -6.034 | 25.905
1566.974 | -6.357 | 24.066 | -6.215 | 24.869 | -6.157 | 25.2 | -6.044 | 25.865
1567.415 | -6.363 | 24.066 | -6.214 | 24.902 | -6.162 | 25.2 | -6.055 | 25.832
1567.856 | -6.368 | 24.067 | -6.218 | 24.913 | -6.167 | 25.208 | -6.064 | 25.812
1568.297 | -6.374 | 24.062 | -6.224 | 24.907 | -6.17 | 25.22 | -6.069 | 25.811
1568.737 | -6.377 | 24.059 | -6.228 | 24.897 | -6.171 | 25.224 | -6.07 | 25.82
1569.178 | -6.375 | 24.075 | -6.23 | 24.892 | -6.175 | 25.208 | -6.07 | 25.825
1569.619 | -6.37 | 24.1 | -6.228 | 24.897 | -6.179 | 25.182 | -6.07 | 25.821
1570.06 | -6.364 | 24.121 | -6.224 | 24.908 | -6.18 | 25.162 | -6.07 | 25.809
1570.501 | -6.358 | 24.142 | -6.221 | 24.918 | -6.183 | 25.139 | -6.07 | 25.8
1570.942 | -6.354 | 24.163 | -6.22 | 24.921 | -6.187 | 25.114 | -6.069 | 25.801
1571.383 | -6.354 | 24.163 | -6.22 | 24.921 | -6.189 | 25.098 | -6.067 | 25.818
1571.824 | -6.358 | 24.142 | -6.221 | 24.918 | -6.19 | 25.097 | -6.063 | 25.843
1572.265 | -6.364 | 24.121 | -6.224 | 24.908 | -6.19 | 25.106 | -6.061 | 25.866
1572.705 | -6.368 | 24.111 | -6.228 | 24.9 | -6.19 | 25.12 | -6.063 | 25.869
1573.146 | -6.37 | 24.117 | -6.23 | 24.907 | -6.19 | 25.138 | -6.071 | 25.839
1573.587 | -6.372 | 24.127 | -6.232 | 24.917 | -6.19 | 25.159 | -6.081 | 25.797
1574.028 | -6.376 | 24.128 | -6.236 | 24.915 | -6.189 | 25.189 | -6.09 | 25.768
1574.469 | -6.379 | 24.118 | -6.242 | 24.891 | -6.184 | 25.224 | -6.092 | 25.767
1574.91 | -6.38 | 24.097 | -6.246 | 24.853 | -6.176 | 25.257 | -6.085 | 25.793
1575.351 | -6.38 | 24.07 | -6.245 | 24.829 | -6.168 | 25.274 | -6.074 | 25.827
1575.792 | -6.38 | 24.047 | -6.241 | 24.828 | -6.164 | 25.275 | -6.066 | 25.849
1576.232 | -6.38 | 24.043 | -6.236 | 24.852 | -6.165 | 25.259 | -6.066 | 25.846
1576.673 | -6.378 | 24.056 | -6.232 | 24.88 | -6.172 | 25.229 | -6.068 | 25.836
1577.114 | -6.375 | 24.079 | -6.23 | 24.898 | -6.18 | 25.186 | -6.069 | 25.837
1577.555 | -6.372 | 24.087 | -6.225 | 24.914 | -6.184 | 25.149 | -6.065 | 25.85
1577.996 | -6.37 | 24.066 | -6.217 | 24.93 | -6.182 | 25.134 | -6.056 | 25.87
1578.437 | -6.37 | 24.031 | -6.209 | 24.938 | -6.175 | 25.138 | -6.046 | 25.893
1578.878 | -6.371 | 23.991 | -6.205 | 24.928 | -6.165 | 25.159 | -6.035 | 25.922
1579.319 | -6.374 | 23.949 | -6.205 | 24.898 | -6.154 | 25.194 | -6.024 | 25.96
1579.76 | -6.375 | 23.923 | -6.209 | 24.855 | -6.145 | 25.224 | -6.014 | 25.998
1580.2 | -6.37 | 23.938 | -6.214 | 24.813 | -6.142 | 25.228 | -6.007 | 26.022
1580.641 | -6.362 | 23.97 | -6.216 | 24.79 | -6.142 | 25.213 | -6.004 | 26.027
1581.082 | -6.355 | 24.007 | -6.214 | 24.8 | -6.147 | 25.187 | -6.008 | 26.006
1581.523 | -6.349 | 24.052 | -6.212 | 24.826 | -6.154 | 25.157 | -6.017 | 25.964
1581.964 | -6.344 | 24.103 | -6.21 | 24.861 | -6.164 | 25.125 | -6.03 | 25.911
1582.405 | -6.341 | 24.144 | -6.206 | 24.906 | -6.174 | 25.09 | -6.043 | 25.86
1582.846 | -6.341 | 24.168 | -6.204 | 24.945 | -6.184 | 25.062 | -6.053 | 25.825
1583.287 | -6.344 | 24.17 | -6.205 | 24.956 | -6.188 | 25.057 | -6.058 | 25.817
1583.727 | -6.349 | 24.158 | -6.209 | 24.948 | -6.188 | 25.071 | -6.06 | 25.823
1584.168 | -6.354 | 24.139 | -6.214 | 24.93 | -6.185 | 25.097 | -6.06 | 25.833
1584.609 | -6.358 | 24.122 | -6.218 | 24.912 | -6.182 | 25.118 | -6.058 | 25.848
1585.05 | -6.36 | 24.109 | -6.22 | 24.899 | -6.18 | 25.129 | -6.055 | 25.863
1585.491 | -6.363 | 24.096 | -6.223 | 24.885 | -6.177 | 25.15 | -6.055 | 25.868
1585.932 | -6.367 | 24.083 | -6.226 | 24.877 | -6.174 | 25.177 | -6.058 | 25.863
1586.373 | -6.372 | 24.073 | -6.229 | 24.883 | -6.175 | 25.191 | -6.063 | 25.853
1586.814 | -6.377 | 24.067 | -6.228 | 24.903 | -6.179 | 25.191 | -6.068 | 25.84
1587.255 | -6.379 | 24.065 | -6.225 | 24.933 | -6.183 | 25.177 | -6.072 | 25.825
1587.695 | -6.38 | 24.052 | -6.219 | 24.961 | -6.183 | 25.165 | -6.071 | 25.822
1588.136 | -6.38 | 24.022 | -6.211 | 24.974 | -6.178 | 25.163 | -6.063 | 25.842
1588.577 | -6.38 | 23.99 | -6.207 | 24.964 | -6.172 | 25.169 | -6.051 | 25.877
1589.018 | -6.379 | 23.967 | -6.207 | 24.937 | -6.165 | 25.182 | -6.04 | 25.914
1589.459 | -6.377 | 23.962 | -6.208 | 24.909 | -6.159 | 25.197 | -6.034 | 25.932
1589.9 | -6.373 | 23.973 | -6.211 | 24.884 | -6.153 | 25.217 | -6.033 | 25.926
1590.341 | -6.368 | 23.999 | -6.214 | 24.865 | -6.148 | 25.245 | -6.038 | 25.891
1590.782 | -6.363 | 24.028 | -6.215 | 24.861 | -6.145 | 25.268 | -6.047 | 25.844
1591.222 | -6.361 | 24.054 | -6.214 | 24.878 | -6.146 | 25.271 | -6.057 | 25.797
1591.663 | -6.358 | 24.081 | -6.212 | 24.902 | -6.152 | 25.252 | -6.064 | 25.766
1592.104 | -6.355 | 24.11 | -6.211 | 24.923 | -6.16 | 25.216 | -6.069 | 25.751
1592.545 | -6.352 | 24.137 | -6.21 | 24.94 | -6.168 | 25.181 | -6.073 | 25.742
1592.986 | -6.351 | 24.156 | -6.21 | 24.954 | -6.176 | 25.153 | -6.076 | 25.737
1593.427 | -6.353 | 24.159 | -6.21 | 24.969 | -6.181 | 25.134 | -6.078 | 25.738
1593.868 | -6.355 | 24.159 | -6.21 | 24.98 | -6.186 | 25.119 | -6.08 | 25.742
1594.309 | -6.354 | 24.168 | -6.21 | 24.986 | -6.189 | 25.108 | -6.081 | 25.738
1594.75 | -6.351 | 24.187 | -6.208 | 24.996 | -6.19 | 25.103 | -6.085 | 25.714
1595.19 | -6.347 | 24.216 | -6.206 | 25.013 | -6.19 | 25.107 | -6.094 | 25.664
1595.631 | -6.343 | 24.242 | -6.205 | 25.024 | -6.188 | 25.124 | -6.104 | 25.61
1596.072 | -6.341 | 24.262 | -6.208 | 25.017 | -6.184 | 25.153 | -6.113 | 25.568
1596.513 | -6.34 | 24.277 | -6.217 | 24.977 | -6.179 | 25.193 | -6.118 | 25.553
1596.954 | -6.341 | 24.283 | -6.228 | 24.923 | -6.174 | 25.236 | -6.119 | 25.558
1597.395 | -6.343 | 24.276 | -6.238 | 24.874 | -6.169 | 25.273 | -6.117 | 25.576
1597.836 | -6.346 | 24.263 | -6.243 | 24.85 | -6.165 | 25.296 | -6.115 | 25.59
1598.277 | -6.348 | 24.253 | -6.24 | 24.865 | -6.166 | 25.294 | -6.116 | 25.587
1598.717 | -6.348 | 24.256 | -6.234 | 24.9 | -6.169 | 25.276 | -6.119 | 25.568
1599.158 | -6.344 | 24.278 | -6.227 | 24.939 | -6.174 | 25.249 | -6.125 | 25.533
1599.599 | -6.335 | 24.328 | -6.223 | 24.966 | -6.177 | 25.229 | -6.135 | 25.478
1600.04 | -6.324 | 24.394 | -6.221 | 24.98 | -6.18 | 25.213 | -6.146 | 25.413
1600.481 | -6.311 | 24.467 | -6.22 | 24.984 | -6.183 | 25.197 | -6.156 | 25.352
1600.922 | -6.301 | 24.527 | -6.22 | 24.987 | -6.187 | 25.178 | -6.165 | 25.308
1601.363 | -6.297 | 24.555 | -6.22 | 24.994 | -6.192 | 25.157 | -6.169 | 25.294
1601.804 | -6.298 | 24.563 | -6.222 | 25.002 | -6.198 | 25.141 | -6.171 | 25.294
1602.245 | -6.303 | 24.559 | -6.224 | 25.009 | -6.203 | 25.134 | -6.174 | 25.298
1602.685 | -6.309 | 24.554 | -6.229 | 25.009 | -6.207 | 25.138 | -6.179 | 25.299
1603.126 | -6.313 | 24.552 | -6.234 | 25.005 | -6.209 | 25.148 | -6.184 | 25.295
1603.567 | -6.315 | 24.557 | -6.237 | 24.999 | -6.21 | 25.157 | -6.187 | 25.287
1604.008 | -6.314 | 24.567 | -6.239 | 24.994 | -6.209 | 25.165 | -6.19 | 25.274
1604.449 | -6.309 | 24.584 | -6.237 | 24.997 | -6.207 | 25.169 | -6.193 | 25.25
1604.89 | -6.306 | 24.596 | -6.233 | 25.012 | -6.205 | 25.171 | -6.197 | 25.22
1605.331 | -6.306 | 24.597 | -6.229 | 25.038 | -6.205 | 25.173 | -6.202 | 25.191
1605.771 | -6.31 | 24.585 | -6.227 | 25.058 | -6.207 | 25.177 | -6.206 | 25.18
1606.212 | -6.317 | 24.565 | -6.229 | 25.066 | -6.209 | 25.185 | -6.209 | 25.185
1606.653 | -6.322 | 24.548 | -6.234 | 25.049 | -6.208 | 25.201 | -6.208 | 25.201
1607.094 | -6.324 | 24.539 | -6.238 | 25.026 | -6.205 | 25.217 | -6.205 | 25.217
1607.535 | -6.32 | 24.546 | -6.237 | 25.017 | -6.202 | 25.219 | -6.203 | 25.218
1607.976 | -6.314 | 24.561 | -6.234 | 25.02 | -6.2 | 25.213 | -6.201 | 25.207
1608.417 | -6.309 | 24.579 | -6.229 | 25.035 | -6.2 | 25.202 | -6.203 | 25.184
1608.858 | -6.304 | 24.601 | -6.226 | 25.05 | -6.201 | 25.192 | -6.207 | 25.157
1609.299 | -6.301 | 24.625 | -6.225 | 25.059 | -6.204 | 25.184 | -6.213 | 25.132
1609.74 | -6.298 | 24.653 | -6.228 | 25.054 | -6.207 | 25.18 | -6.218 | 25.113
1610.18 | -6.296 | 24.684 | -6.234 | 25.041 | -6.21 | 25.179 | -6.224 | 25.096
1610.621 | -6.293 | 24.719 | -6.239 | 25.027 | -6.212 | 25.183 | -6.231 | 25.072
1611.062 | -6.29 | 24.752 | -6.244 | 25.018 | -6.215 | 25.185 | -6.239 | 25.045
1611.503 | -6.29 | 24.779 | -6.247 | 25.022 | -6.22 | 25.179 | -6.248 | 25.019
1611.944 | -6.288 | 24.803 | -6.248 | 25.035 | -6.225 | 25.167 | -6.255 | 24.995
1612.385 | -6.284 | 24.826 | -6.244 | 25.053 | -6.228 | 25.147 | -6.258 | 24.974
1612.826 | -6.277 | 24.85 | -6.239 | 25.065 | -6.228 | 25.129 | -6.258 | 24.956
1613.266 | -6.269 | 24.875 | -6.236 | 25.066 | -6.227 | 25.116 | -6.257 | 24.943
1613.707 | -6.265 | 24.889 | -6.238 | 25.043 | -6.225 | 25.12 | -6.255 | 24.947
1614.148 | -6.265 | 24.897 | -6.244 | 25.021 | -6.226 | 25.125 | -6.255 | 24.957
1614.589 | -6.271 | 24.896 | -6.249 | 25.023 | -6.233 | 25.115 | -6.259 | 24.965
1615.03 | -6.279 | 24.892 | -6.253 | 25.037 | -6.243 | 25.095 | -6.264 | 24.976
1615.471 | -6.286 | 24.884 | -6.255 | 25.059 | -6.254 | 25.07 | -6.268 | 24.987
1615.912 | -6.288 | 24.878 | -6.253 | 25.08 | -6.257 | 25.058 | -6.27 | 24.985
1616.353 | -6.287 | 24.873 | -6.248 | 25.097 | -6.255 | 25.061 | -6.27 | 24.97
1616.794 | -6.284 | 24.874 | -6.243 | 25.111 | -6.249 | 25.075 | -6.273 | 24.94
1617.234 | -6.281 | 24.88 | -6.237 | 25.129 | -6.244 | 25.088 | -6.277 | 24.903
1617.675 | -6.28 | 24.892 | -6.233 | 25.161 | -6.247 | 25.084 | -6.285 | 24.863
1618.116 | -6.28 | 24.901 | -6.231 | 25.184 | -6.248 | 25.082 | -6.292 | 24.833
1618.557 | -6.28 | 24.901 | -6.232 | 25.178 | -6.246 | 25.097 | -6.294 | 24.824
1618.998 | -6.28 | 24.891 | -6.235 | 25.148 | -6.24 | 25.123 | -6.289 | 24.837
1619.439 | -6.28 | 24.875 | -6.241 | 25.099 | -6.231 | 25.157 | -6.281 | 24.869
1619.88 | -6.279 | 24.867 | -6.247 | 25.05 | -6.224 | 25.185 | -6.274 | 24.897
1620.321 | -6.277 | 24.87 | -6.254 | 25 | -6.218 | 25.209 | -6.268 | 24.921
1620.761 | -6.271 | 24.892 | -6.263 | 24.942 | -6.214 | 25.224 | -6.263 | 24.942
1621.202 | -6.264 | 24.922 | -6.269 | 24.894 | -6.211 | 25.229 | -6.258 | 24.955
1621.643 | -6.256 | 24.958 | -6.27 | 24.878 | -6.212 | 25.215 | -6.258 | 24.949
1622.084 | -6.252 | 24.987 | -6.271 | 24.883 | -6.215 | 25.205 | -6.263 | 24.925
1622.525 | -6.255 | 25.002 | -6.272 | 24.908 | -6.22 | 25.206 | -6.276 | 24.884
1622.966 | -6.264 | 24.99 | -6.274 | 24.936 | -6.227 | 25.206 | -6.286 | 24.867
1623.407 | -6.274 | 24.971 | -6.275 | 24.968 | -6.235 | 25.198 | -6.293 | 24.864
1623.848 | -6.272 | 24.998 | -6.268 | 25.02 | -6.246 | 25.147 | -6.301 | 24.835
1624.289 | -6.266 | 25.038 | -6.261 | 25.064 | -6.256 | 25.094 | -6.306 | 24.805
1624.729 | -6.258 | 25.063 | -6.26 | 25.052 | -6.255 | 25.083 | -6.303 | 24.803
1625.17 | -6.255 | 25.071 | -6.26 | 25.042 | -6.254 | 25.075 | -6.3 | 24.812
1625.611 | -6.259 | 25.053 | -6.259 | 25.054 | -6.257 | 25.06 | -6.297 | 24.832
1626.052 | -6.263 | 25.023 | -6.255 | 25.071 | -6.26 | 25.043 | -6.291 | 24.863
1626.493 | -6.265 | 24.991 | -6.248 | 25.089 | -6.26 | 25.023 | -6.282 | 24.897
1626.934 | -6.259 | 24.992 | -6.239 | 25.109 | -6.258 | 24.998 | -6.275 | 24.902
1627.375 | -6.251 | 25.002 | -6.23 | 25.126 | -6.255 | 24.982 | -6.271 | 24.89
1627.816 | -6.249 | 24.984 | -6.225 | 25.121 | -6.241 | 25.03 | -6.27 | 24.865
1628.256 | -6.247 | 24.975 | -6.226 | 25.099 | -6.229 | 25.081 | -6.27 | 24.844
1628.697 | -6.242 | 25.001 | -6.234 | 25.047 | -6.223 | 25.111 | -6.27 | 24.841
1629.138 | -6.237 | 25.027 | -6.24 | 25.012 | -6.221 | 25.123 | -6.27 | 24.839
1629.579 | -6.234 | 25.044 | -6.242 | 24.998 | -6.221 | 25.119 | -6.27 | 24.838
1630.02 | -6.239 | 25.039 | -6.249 | 24.98 | -6.225 | 25.12 | -6.27 | 24.861
1630.461 | -6.246 | 25.025 | -6.257 | 24.961 | -6.229 | 25.122 | -6.269 | 24.892
1630.902 | -6.239 | 25.045 | -6.255 | 24.954 | -6.23 | 25.101 | -6.265 | 24.9
1631.343 | -6.233 | 25.064 | -6.254 | 24.941 | -6.228 | 25.091 | -6.261 | 24.904
1631.784 | -6.236 | 25.055 | -6.264 | 24.897 | -6.223 | 25.132 | -6.26 | 24.916
1632.224 | -6.24 | 25.052 | -6.275 | 24.85 | -6.218 | 25.18 | -6.263 | 24.918
1632.665 | -6.24 | 25.067 | -6.286 | 24.805 | -6.213 | 25.226 | -6.269 | 24.902
1633.106 | -6.24 | 25.087 | -6.293 | 24.782 | -6.21 | 25.259 | -6.278 | 24.871
1633.547 | -6.24 | 25.109 | -6.297 | 24.783 | -6.211 | 25.28 | -6.289 | 24.827
1633.988 | -6.24 | 25.121 | -6.285 | 24.86 | -6.215 | 25.267 | -6.304 | 24.751
1634.429 | -6.238 | 25.135 | -6.269 | 24.958 | -6.22 | 25.238 | -6.319 | 24.67
1634.87 | -6.228 | 25.17 | -6.253 | 25.03 | -6.226 | 25.187 | -6.326 | 24.613
1635.311 | -6.221 | 25.195 | -6.243 | 25.065 | -6.228 | 25.156 | -6.328 | 24.584
1635.751 | -6.22 | 25.19 | -6.247 | 25.032 | -6.223 | 25.176 | -6.323 | 24.603
1636.192 | -6.22 | 25.178 | -6.256 | 24.972 | -6.214 | 25.212 | -6.314 | 24.638
1636.633 | -6.22 | 25.166 | -6.267 | 24.898 | -6.205 | 25.256 | -6.305 | 24.681
1637.074 | -6.22 | 25.183 | -6.278 | 24.85 | -6.205 | 25.271 | -6.305 | 24.696
1637.515 | -6.219 | 25.214 | -6.287 | 24.823 | -6.209 | 25.269 | -6.309 | 24.694
1637.956 | -6.21 | 25.259 | -6.279 | 24.859 | -6.215 | 25.228 | -6.315 | 24.654
1638.397 | -6.202 | 25.295 | -6.269 | 24.908 | -6.221 | 25.185 | -6.321 | 24.612
1638.838 | -6.2 | 25.305 | -6.258 | 24.968 | -6.226 | 25.152 | -6.327 | 24.576
1639.279 | -6.193 | 25.353 | -6.251 | 25.011 | -6.232 | 25.125 | -6.339 | 24.511
1639.719 | -6.178 | 25.45 | -6.25 | 25.033 | -6.237 | 25.106 | -6.359 | 24.411
1640.16 | -6.168 | 25.518 | -6.246 | 25.063 | -6.243 | 25.084 | -6.375 | 24.335
1640.601 | -6.162 | 25.561 | -6.242 | 25.094 | -6.247 | 25.066 | -6.385 | 24.28
1641.042 | -6.161 | 25.548 | -6.245 | 25.055 | -6.236 | 25.108 | -6.38 | 24.289
1641.483 | -6.161 | 25.522 | -6.25 | 25.006 | -6.222 | 25.167 | -6.373 | 24.304
1641.924 | -6.165 | 25.498 | -6.255 | 24.976 | -6.21 | 25.237 | -6.377 | 24.289
1642.365 | -6.169 | 25.489 | -6.261 | 24.955 | -6.202 | 25.293 | -6.383 | 24.263
1642.806 | -6.17 | 25.505 | -6.266 | 24.944 | -6.201 | 25.323 | -6.393 | 24.228
1643.246 | -6.167 | 25.527 | -6.269 | 24.935 | -6.2 | 25.334 | -6.398 | 24.205
1643.687 | -6.162 | 25.551 | -6.269 | 24.927 | -6.2 | 25.328 | -6.399 | 24.193
1644.128 | -6.153 | 25.57 | -6.262 | 24.935 | -6.2 | 25.294 | -6.392 | 24.2
1644.569 | -6.142 | 25.593 | -6.252 | 24.955 | -6.201 | 25.248 | -6.384 | 24.204
1645.01 | -6.127 | 25.654 | -6.232 | 25.04 | -6.21 | 25.168 | -6.391 | 24.139
1645.451 | -6.116 | 25.709 | -6.218 | 25.115 | -6.22 | 25.102 | -6.401 | 24.074
1645.892 | -6.117 | 25.741 | -6.218 | 25.151 | -6.23 | 25.08 | -6.416 | 24.028
1646.333 | -6.121 | 25.753 | -6.226 | 25.139 | -6.232 | 25.101 | -6.426 | 24.007
1646.774 | -6.127 | 25.744 | -6.24 | 25.08 | -6.226 | 25.164 | -6.429 | 24.012
1647.214 | -6.132 | 25.72 | -6.25 | 25.032 | -6.216 | 25.232 | -6.43 | 24.016
1647.655 | -6.137 | 25.695 | -6.258 | 24.992 | -6.206 | 25.295 | -6.431 | 24.017
1648.096 | -6.135 | 25.751 | -6.268 | 24.976 | -6.215 | 25.283 | -6.443 | 23.989
1648.537 | -6.132 | 25.807 | -6.276 | 24.965 | -6.224 | 25.265 | -6.454 | 23.962
1648.978 | -6.131 | 25.827 | -6.279 | 24.963 | -6.228 | 25.255 | -6.458 | 23.954
1649.419 | -6.132 | 25.836 | -6.28 | 24.97 | -6.234 | 25.237 | -6.46 | 23.957
1649.86 | -6.136 | 25.831 | -6.28 | 24.987 | -6.242 | 25.208 | -6.46 | 23.974
1650.301 | -6.13 | 25.839 | -6.277 | 24.979 | -6.239 | 25.202 | -6.454 | 23.98
1650.741 | -6.119 | 25.855 | -6.273 | 24.953 | -6.228 | 25.213 | -6.446 | 23.98
1651.182 | -6.11 | 25.847 | -6.275 | 24.886 | -6.206 | 25.285 | -6.435 | 23.983
1651.623 | -6.103 | 25.835 | -6.276 | 24.821 | -6.183 | 25.361 | -6.426 | 23.983
1652.064 | -6.101 | 25.822 | -6.27 | 24.837 | -6.175 | 25.384 | -6.427 | 23.957
1652.505 | -6.097 | 25.827 | -6.26 | 24.874 | -6.174 | 25.372 | -6.429 | 23.927
1652.946 | -6.089 | 25.865 | -6.246 | 24.951 | -6.186 | 25.296 | -6.435 | 23.888
1653.387 | -6.086 | 25.901 | -6.241 | 24.997 | -6.198 | 25.24 | -6.442 | 23.861
1653.828 | -6.087 | 25.936 | -6.243 | 25.017 | -6.211 | 25.204 | -6.452 | 23.843
1654.269 | -6.085 | 25.993 | -6.25 | 25.027 | -6.223 | 25.183 | -6.469 | 23.796
1654.709 | -6.083 | 26.056 | -6.257 | 25.035 | -6.233 | 25.169 | -6.487 | 23.74
1655.15 | -6.081 | 26.06 | -6.255 | 25.039 | -6.23 | 25.185 | -6.491 | 23.715
1655.591 | -6.081 | 26.054 | -6.254 | 25.038 | -6.225 | 25.206 | -6.492 | 23.702
1656.032 | -6.085 | 26.022 | -6.256 | 25.017 | -6.217 | 25.239 | -6.486 | 23.723
1656.473 | -6.086 | 26.017 | -6.259 | 24.998 | -6.214 | 25.259 | -6.486 | 23.727
1656.914 | -6.084 | 26.044 | -6.265 | 24.981 | -6.216 | 25.264 | -6.491 | 23.711
1657.355 | -6.077 | 26.081 | -6.268 | 24.959 | -6.215 | 25.263 | -6.493 | 23.697
1657.796 | -6.068 | 26.122 | -6.27 | 24.935 | -6.214 | 25.259 | -6.494 | 23.683
1658.236 | -6.067 | 26.142 | -6.273 | 24.927 | -6.218 | 25.245 | -6.495 | 23.687
1658.677 | -6.067 | 26.154 | -6.277 | 24.923 | -6.223 | 25.234 | -6.497 | 23.689
1659.118 | -6.073 | 26.142 | -6.279 | 24.931 | -6.223 | 25.25 | -6.503 | 23.677
1659.559 | -6.076 | 26.126 | -6.277 | 24.941 | -6.22 | 25.27 | -6.506 | 23.663
1660 | -6.074 | 26.106 | -6.27 | 24.953 | -6.211 | 25.296 | -6.504 | 23.645