## T154194
SN: | T154194
Item #: | WD1450F
Item Description: | 1x2 1480 nm / 1550 nm Wavelength Division Multiplexer
Fiber Type: | SMF-28e+
Port Name: | Channel 1 - White
Test Wavelength (nm): | 1480
Insertion Loss (dB): | -0.1
Isolation (dB): | -18.81
Port Name: | Channel 2 - Red
Test Wavelength (nm): | 1550
Insertion Loss (dB): | -0.08
Isolation (dB): | -18.44
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 - White | Insertion Loss (dB) - Channel 2 - Red
1465 | -0.598 | -9.368
1465.2 | -0.598 | -9.368
1465.401 | -0.584 | -9.45
1465.601 | -0.567 | -9.55
1465.802 | -0.535 | -9.638
1466.002 | -0.501 | -9.725
1466.202 | -0.494 | -9.842
1466.403 | -0.49 | -9.964
1466.603 | -0.485 | -10.062
1466.804 | -0.479 | -10.158
1467.004 | -0.463 | -10.273
1467.204 | -0.447 | -10.389
1467.405 | -0.444 | -10.493
1467.605 | -0.443 | -10.597
1467.806 | -0.428 | -10.726
1468.006 | -0.414 | -10.856
1468.206 | -0.417 | -10.975
1468.407 | -0.418 | -11.094
1468.607 | -0.393 | -11.209
1468.808 | -0.369 | -11.325
1469.008 | -0.368 | -11.437
1469.208 | -0.367 | -11.555
1469.409 | -0.356 | -11.699
1469.609 | -0.345 | -11.839
1469.81 | -0.338 | -11.954
1470.01 | -0.326 | -12.071
1470.21 | -0.298 | -12.209
1470.411 | -0.276 | -12.346
1470.611 | -0.281 | -12.481
1470.812 | -0.286 | -12.625
1471.012 | -0.284 | -12.793
1471.212 | -0.278 | -12.949
1471.413 | -0.264 | -13.07
1471.613 | -0.252 | -13.2
1471.814 | -0.249 | -13.358
1472.014 | -0.244 | -13.511
1472.214 | -0.235 | -13.649
1472.415 | -0.224 | -13.795
1472.615 | -0.211 | -13.961
1472.816 | -0.2 | -14.122
1473.016 | -0.193 | -14.275
1473.216 | -0.193 | -14.434
1473.417 | -0.199 | -14.603
1473.617 | -0.194 | -14.764
1473.818 | -0.176 | -14.913
1474.018 | -0.161 | -15.063
1474.218 | -0.156 | -15.217
1474.419 | -0.161 | -15.377
1474.619 | -0.174 | -15.542
1474.82 | -0.175 | -15.71
1475.02 | -0.162 | -15.879
1475.22 | -0.149 | -16.045
1475.421 | -0.139 | -16.209
1475.621 | -0.136 | -16.378
1475.822 | -0.136 | -16.551
1476.022 | -0.13 | -16.713
1476.222 | -0.118 | -16.867
1476.423 | -0.114 | -17.018
1476.623 | -0.114 | -17.17
1476.824 | -0.113 | -17.32
1477.024 | -0.109 | -17.47
1477.224 | -0.111 | -17.621
1477.425 | -0.115 | -17.77
1477.625 | -0.113 | -17.906
1477.826 | -0.107 | -18.033
1478.026 | -0.105 | -18.157
1478.226 | -0.103 | -18.275
1478.427 | -0.091 | -18.377
1478.627 | -0.076 | -18.465
1478.828 | -0.068 | -18.54
1479.028 | -0.067 | -18.61
1479.229 | -0.079 | -18.678
1479.429 | -0.095 | -18.741
1479.629 | -0.102 | -18.778
1479.83 | -0.103 | -18.802
1480.03 | -0.099 | -18.814
1480.23 | -0.094 | -18.821
1480.431 | -0.093 | -18.821
1480.631 | -0.094 | -18.811
1480.832 | -0.102 | -18.777
1481.032 | -0.109 | -18.728
1481.232 | -0.109 | -18.665
1481.433 | -0.107 | -18.592
1481.633 | -0.111 | -18.506
1481.834 | -0.116 | -18.413
1482.034 | -0.119 | -18.309
1482.234 | -0.117 | -18.197
1482.435 | -0.107 | -18.074
1482.635 | -0.096 | -17.945
1482.836 | -0.092 | -17.81
1483.036 | -0.092 | -17.671
1483.236 | -0.097 | -17.524
1483.437 | -0.106 | -17.372
1483.637 | -0.115 | -17.214
1483.838 | -0.121 | -17.055
1484.038 | -0.119 | -16.898
1484.239 | -0.116 | -16.739
1484.439 | -0.116 | -16.577
1484.639 | -0.12 | -16.41
1484.84 | -0.128 | -16.24
1485.04 | -0.139 | -16.072
1485.24 | -0.151 | -15.91
1485.441 | -0.16 | -15.749
1485.641 | -0.165 | -15.585
1485.842 | -0.167 | -15.419
1486.042 | -0.166 | -15.251
1486.242 | -0.168 | -15.085
1486.443 | -0.177 | -14.921
1486.643 | -0.188 | -14.758
1486.844 | -0.198 | -14.595
1487.044 | -0.205 | -14.436
1487.245 | -0.209 | -14.282
1487.445 | -0.213 | -14.127
1487.645 | -0.22 | -13.971
1487.846 | -0.231 | -13.816
1488.046 | -0.245 | -13.663
1488.246 | -0.254 | -13.508
1488.447 | -0.257 | -13.353
1488.647 | -0.257 | -13.204
1488.848 | -0.26 | -13.061
1489.048 | -0.27 | -12.921
1489.249 | -0.284 | -12.785
1489.449 | -0.298 | -12.652
1489.649 | -0.308 | -12.52
1489.85 | -0.315 | -12.378
1490.05 | -0.321 | -12.228
1490.25 | -0.332 | -12.079
1490.451 | -0.347 | -11.936
1490.651 | -0.364 | -11.802
1490.852 | -0.38 | -11.675
1491.052 | -0.39 | -11.55
1491.253 | -0.396 | -11.423
1491.453 | -0.398 | -11.291
1491.653 | -0.4 | -11.161
1491.854 | -0.41 | -11.04
1492.054 | -0.423 | -10.925
1492.255 | -0.437 | -10.807
1492.455 | -0.45 | -10.687
1492.655 | -0.46 | -10.571
1492.856 | -0.469 | -10.459
1493.056 | -0.475 | -10.351
1493.256 | -0.485 | -10.241
1493.457 | -0.503 | -10.127
1493.657 | -0.521 | -10.011
1493.858 | -0.527 | -9.895
1494.058 | -0.528 | -9.782
1494.259 | -0.537 | -9.673
1494.459 | -0.552 | -9.568
1494.659 | -0.566 | -9.463
1494.86 | -0.579 | -9.361
1495.06 | -0.594 | -9.26
1495.26 | -0.607 | -9.161
1495.461 | -0.617 | -9.066
1495.661 | -0.629 | -8.973
1495.862 | -0.646 | -8.88
1496.062 | -0.667 | -8.787
1496.263 | -0.688 | -8.695
1496.463 | -0.707 | -8.603
1496.663 | -0.724 | -8.509
1496.864 | -0.74 | -8.419
1497.064 | -0.758 | -8.334
1497.265 | -0.777 | -8.251
1497.465 | -0.795 | -8.162
1497.665 | -0.812 | -8.074
1497.866 | -0.826 | -7.988
1498.066 | -0.844 | -7.9
1498.266 | -0.865 | -7.807
1498.467 | -0.884 | -7.711
1498.667 | -0.896 | -7.62
1498.868 | -0.909 | -7.541
1499.068 | -0.929 | -7.471
1499.269 | -0.953 | -7.398
1499.469 | -0.974 | -7.315
1499.669 | -0.991 | -7.231
1499.87 | -1.004 | -7.153
1500.07 | -1.021 | -7.076
1500.271 | -1.045 | -6.999
1500.471 | -1.068 | -6.924
1500.671 | -1.088 | -6.853
1500.872 | -1.103 | -6.782
1501.072 | -1.118 | -6.712
1501.273 | -1.14 | -6.644
1501.473 | -1.168 | -6.577
1501.673 | -1.201 | -6.507
1501.874 | -1.232 | -6.434
1502.074 | -1.253 | -6.36
1502.275 | -1.267 | -6.29
1502.475 | -1.283 | -6.226
1502.675 | -1.305 | -6.163
1502.876 | -1.325 | -6.093
1503.076 | -1.345 | -6.016
1503.277 | -1.371 | -5.94
1503.477 | -1.401 | -5.874
1503.677 | -1.421 | -5.819
1503.878 | -1.433 | -5.769
1504.078 | -1.451 | -5.713
1504.279 | -1.478 | -5.65
1504.479 | -1.508 | -5.587
1504.679 | -1.537 | -5.524
1504.88 | -1.565 | -5.458
1505.08 | -1.592 | -5.392
1505.281 | -1.618 | -5.333
1505.481 | -1.644 | -5.278
1505.681 | -1.671 | -5.222
1505.882 | -1.697 | -5.163
1506.082 | -1.718 | -5.106
1506.283 | -1.738 | -5.053
1506.483 | -1.763 | -5.001
1506.683 | -1.792 | -4.951
1506.884 | -1.82 | -4.899
1507.084 | -1.843 | -4.842
1507.285 | -1.863 | -4.777
1507.485 | -1.888 | -4.712
1507.685 | -1.922 | -4.658
1507.886 | -1.959 | -4.61
1508.086 | -1.99 | -4.562
1508.287 | -2.017 | -4.512
1508.487 | -2.045 | -4.463
1508.687 | -2.077 | -4.412
1508.888 | -2.112 | -4.358
1509.088 | -2.147 | -4.303
1509.289 | -2.18 | -4.253
1509.489 | -2.208 | -4.206
1509.689 | -2.233 | -4.16
1509.89 | -2.259 | -4.114
1510.09 | -2.293 | -4.069
1510.291 | -2.328 | -4.024
1510.491 | -2.358 | -3.976
1510.691 | -2.386 | -3.924
1510.892 | -2.417 | -3.87
1511.092 | -2.448 | -3.82
1511.293 | -2.479 | -3.776
1511.493 | -2.512 | -3.736
1511.693 | -2.546 | -3.696
1511.894 | -2.582 | -3.657
1512.094 | -2.617 | -3.62
1512.295 | -2.655 | -3.582
1512.495 | -2.695 | -3.538
1512.695 | -2.735 | -3.493
1512.896 | -2.772 | -3.447
1513.096 | -2.809 | -3.403
1513.297 | -2.846 | -3.36
1513.497 | -2.881 | -3.318
1513.697 | -2.912 | -3.274
1513.898 | -2.943 | -3.231
1514.098 | -2.98 | -3.188
1514.299 | -3.02 | -3.148
1514.499 | -3.06 | -3.11
1514.699 | -3.099 | -3.074
1514.9 | -3.135 | -3.038
1515.1 | -3.171 | -3
1515.301 | -3.207 | -2.96
1515.501 | -3.243 | -2.921
1515.701 | -3.279 | -2.884
1515.902 | -3.317 | -2.847
1516.102 | -3.357 | -2.809
1516.303 | -3.399 | -2.773
1516.503 | -3.443 | -2.741
1516.703 | -3.489 | -2.712
1516.904 | -3.534 | -2.679
1517.104 | -3.575 | -2.639
1517.305 | -3.61 | -2.594
1517.505 | -3.644 | -2.548
1517.705 | -3.685 | -2.508
1517.906 | -3.735 | -2.474
1518.106 | -3.792 | -2.445
1518.307 | -3.849 | -2.419
1518.507 | -3.901 | -2.393
1518.707 | -3.947 | -2.363
1518.908 | -3.988 | -2.329
1519.108 | -4.027 | -2.293
1519.309 | -4.068 | -2.257
1519.509 | -4.114 | -2.225
1519.709 | -4.164 | -2.197
1519.91 | -4.215 | -2.172
1520.11 | -4.266 | -2.147
1520.311 | -4.318 | -2.121
1520.511 | -4.369 | -2.093
1520.711 | -4.419 | -2.062
1520.912 | -4.467 | -2.029
1521.112 | -4.517 | -1.997
1521.313 | -4.569 | -1.967
1521.513 | -4.624 | -1.938
1521.713 | -4.679 | -1.909
1521.914 | -4.73 | -1.879
1522.114 | -4.781 | -1.849
1522.315 | -4.833 | -1.818
1522.515 | -4.887 | -1.789
1522.715 | -4.939 | -1.765
1522.916 | -4.991 | -1.743
1523.116 | -5.046 | -1.716
1523.317 | -5.103 | -1.688
1523.517 | -5.16 | -1.66
1523.717 | -5.215 | -1.634
1523.918 | -5.266 | -1.61
1524.118 | -5.318 | -1.588
1524.319 | -5.375 | -1.568
1524.519 | -5.436 | -1.546
1524.719 | -5.498 | -1.519
1524.92 | -5.559 | -1.493
1525.12 | -5.619 | -1.476
1525.321 | -5.679 | -1.462
1525.521 | -5.742 | -1.443
1525.721 | -5.806 | -1.418
1525.922 | -5.869 | -1.387
1526.122 | -5.933 | -1.355
1526.323 | -5.998 | -1.326
1526.523 | -6.064 | -1.299
1526.723 | -6.13 | -1.273
1526.924 | -6.193 | -1.246
1527.124 | -6.251 | -1.22
1527.325 | -6.313 | -1.193
1527.525 | -6.38 | -1.165
1527.725 | -6.449 | -1.147
1527.926 | -6.517 | -1.14
1528.126 | -6.59 | -1.132
1528.327 | -6.668 | -1.116
1528.527 | -6.746 | -1.1
1528.727 | -6.819 | -1.087
1528.928 | -6.893 | -1.071
1529.128 | -6.971 | -1.047
1529.329 | -7.047 | -1.018
1529.529 | -7.117 | -0.992
1529.729 | -7.186 | -0.971
1529.93 | -7.257 | -0.955
1530.13 | -7.333 | -0.94
1530.331 | -7.414 | -0.923
1530.531 | -7.496 | -0.91
1530.731 | -7.576 | -0.897
1530.932 | -7.651 | -0.879
1531.132 | -7.722 | -0.856
1531.333 | -7.796 | -0.838
1531.533 | -7.877 | -0.826
1531.734 | -7.967 | -0.81
1531.934 | -8.06 | -0.789
1532.134 | -8.144 | -0.769
1532.335 | -8.221 | -0.753
1532.535 | -8.302 | -0.736
1532.735 | -8.389 | -0.719
1532.936 | -8.473 | -0.704
1533.136 | -8.556 | -0.695
1533.337 | -8.649 | -0.688
1533.537 | -8.748 | -0.678
1533.737 | -8.84 | -0.662
1533.938 | -8.928 | -0.644
1534.138 | -9.028 | -0.633
1534.339 | -9.135 | -0.624
1534.539 | -9.239 | -0.604
1534.74 | -9.341 | -0.578
1534.94 | -9.449 | -0.56
1535.14 | -9.56 | -0.548
1535.341 | -9.665 | -0.535
1535.541 | -9.761 | -0.519
1535.741 | -9.85 | -0.506
1535.942 | -9.943 | -0.494
1536.142 | -10.05 | -0.48
1536.343 | -10.159 | -0.469
1536.543 | -10.254 | -0.466
1536.744 | -10.35 | -0.466
1536.944 | -10.464 | -0.462
1537.144 | -10.581 | -0.454
1537.345 | -10.682 | -0.443
1537.545 | -10.786 | -0.429
1537.745 | -10.916 | -0.414
1537.946 | -11.049 | -0.399
1538.146 | -11.16 | -0.384
1538.347 | -11.268 | -0.371
1538.547 | -11.394 | -0.36
1538.747 | -11.525 | -0.351
1538.948 | -11.642 | -0.346
1539.148 | -11.757 | -0.34
1539.349 | -11.887 | -0.329
1539.549 | -12.028 | -0.314
1539.75 | -12.176 | -0.297
1539.95 | -12.315 | -0.281
1540.15 | -12.436 | -0.269
1540.351 | -12.562 | -0.262
1540.551 | -12.709 | -0.258
1540.751 | -12.853 | -0.253
1540.952 | -12.979 | -0.241
1541.152 | -13.109 | -0.23
1541.353 | -13.258 | -0.224
1541.553 | -13.409 | -0.221
1541.754 | -13.547 | -0.221
1541.954 | -13.69 | -0.218
1542.154 | -13.846 | -0.213
1542.355 | -13.997 | -0.208
1542.555 | -14.137 | -0.205
1542.755 | -14.281 | -0.195
1542.956 | -14.439 | -0.178
1543.156 | -14.604 | -0.162
1543.357 | -14.766 | -0.153
1543.557 | -14.919 | -0.152
1543.758 | -15.063 | -0.155
1543.958 | -15.216 | -0.156
1544.158 | -15.38 | -0.15
1544.359 | -15.538 | -0.144
1544.559 | -15.687 | -0.141
1544.76 | -15.847 | -0.136
1544.96 | -16.021 | -0.13
1545.16 | -16.192 | -0.128
1545.361 | -16.356 | -0.132
1545.561 | -16.532 | -0.134
1545.761 | -16.714 | -0.132
1545.962 | -16.875 | -0.128
1546.162 | -17.007 | -0.123
1546.363 | -17.126 | -0.118
1546.563 | -17.237 | -0.115
1546.764 | -17.343 | -0.113
1546.964 | -17.442 | -0.112
1547.164 | -17.529 | -0.11
1547.365 | -17.608 | -0.106
1547.565 | -17.692 | -0.1
1547.766 | -17.779 | -0.094
1547.966 | -17.863 | -0.09
1548.166 | -17.947 | -0.088
1548.367 | -18.041 | -0.088
1548.567 | -18.138 | -0.089
1548.768 | -18.22 | -0.089
1548.968 | -18.29 | -0.088
1549.168 | -18.347 | -0.088
1549.369 | -18.394 | -0.087
1549.569 | -18.427 | -0.086
1549.77 | -18.446 | -0.085
1549.97 | -18.441 | -0.085
1550.17 | -18.421 | -0.085
1550.371 | -18.387 | -0.086
1550.571 | -18.344 | -0.089
1550.771 | -18.286 | -0.092
1550.972 | -18.22 | -0.096
1551.172 | -18.146 | -0.098
1551.373 | -18.067 | -0.099
1551.573 | -17.985 | -0.099
1551.774 | -17.898 | -0.099
1551.974 | -17.8 | -0.1
1552.174 | -17.697 | -0.102
1552.375 | -17.587 | -0.105
1552.575 | -17.472 | -0.108
1552.776 | -17.347 | -0.109
1552.976 | -17.215 | -0.11
1553.176 | -17.069 | -0.111
1553.377 | -16.919 | -0.112
1553.577 | -16.771 | -0.115
1553.778 | -16.619 | -0.117
1553.978 | -16.451 | -0.122
1554.178 | -16.283 | -0.126
1554.379 | -16.124 | -0.131
1554.579 | -15.968 | -0.135
1554.78 | -15.818 | -0.139
1554.98 | -15.678 | -0.143
1555.18 | -15.559 | -0.146
1555.381 | -15.447 | -0.149
1555.581 | -15.337 | -0.155
1555.782 | -15.211 | -0.164
1555.982 | -15.048 | -0.178
1556.182 | -14.873 | -0.19
1556.383 | -14.686 | -0.194
1556.583 | -14.491 | -0.197
1556.784 | -14.285 | -0.2
1556.984 | -14.102 | -0.206
1557.184 | -13.963 | -0.219
1557.385 | -13.824 | -0.232
1557.585 | -13.674 | -0.246
1557.786 | -13.523 | -0.255
1557.986 | -13.374 | -0.259
1558.186 | -13.24 | -0.258
1558.387 | -13.124 | -0.253
1558.587 | -12.985 | -0.256
1558.788 | -12.816 | -0.271
1558.988 | -12.676 | -0.288
1559.188 | -12.572 | -0.304
1559.389 | -12.442 | -0.306
1559.589 | -12.282 | -0.296
1559.79 | -12.152 | -0.301
1559.99 | -12.052 | -0.322
1560.19 | -11.923 | -0.332
1560.391 | -11.765 | -0.331
1560.591 | -11.633 | -0.334
1560.792 | -11.525 | -0.342
1560.992 | -11.412 | -0.352
1561.192 | -11.293 | -0.362
1561.393 | -11.177 | -0.379
1561.593 | -11.062 | -0.401
1561.794 | -10.957 | -0.417
1561.994 | -10.856 | -0.429
1562.194 | -10.728 | -0.433
1562.395 | -10.587 | -0.435
1562.595 | -10.481 | -0.438
1562.796 | -10.393 | -0.442
1562.996 | -10.277 | -0.461
1563.196 | -10.152 | -0.485
1563.397 | -10.07 | -0.501
1563.597 | -10.003 | -0.514
1563.798 | -9.884 | -0.518
1563.998 | -9.751 | -0.521
1564.198 | -9.652 | -0.521
1564.399 | -9.563 | -0.521
1564.599 | -9.475 | -0.543
1564.8 | -9.386 | -0.569
1565 | -9.259 | -0.584