## T155961
SN: | T155961
Item #: | WD9860AA
Item Description: | 1x2 980 nm / 1060 nm Wavelength Division Multiplexer
Fiber Type: | HI1060
Port Name: | Channel 1 - White
Test Wavelength (nm): | 980
Insertion Loss (dB): | -0.08
Isolation (dB): | -18.65
Port Name: | Channel 2 - Red
Test Wavelength (nm): | 1060
Insertion Loss (dB): | -0.09
Isolation (dB): | -19.23
Spectral Response
Wavelength (nm) | Insertion Loss (dB) - Channel 1 - White | Insertion Loss (dB) - Channel 2 - Red
965 | -0.203 | -13.886
965.22 | -0.203 | -13.886
965.441 | -0.201 | -14.014
965.661 | -0.199 | -14.155
965.882 | -0.205 | -14.312
966.102 | -0.202 | -14.468
966.323 | -0.185 | -14.622
966.543 | -0.167 | -14.781
966.764 | -0.149 | -14.944
966.984 | -0.15 | -15.104
967.204 | -0.158 | -15.262
967.425 | -0.166 | -15.41
967.645 | -0.166 | -15.563
967.866 | -0.135 | -15.734
968.086 | -0.118 | -15.911
968.307 | -0.127 | -16.096
968.527 | -0.128 | -16.289
968.747 | -0.123 | -16.486
968.968 | -0.13 | -16.673
969.188 | -0.14 | -16.857
969.409 | -0.13 | -17.052
969.629 | -0.116 | -17.25
969.85 | -0.097 | -17.451
970.07 | -0.084 | -17.636
970.291 | -0.078 | -17.803
970.511 | -0.075 | -17.997
970.731 | -0.073 | -18.21
970.952 | -0.074 | -18.432
971.172 | -0.078 | -18.648
971.393 | -0.088 | -18.804
971.613 | -0.092 | -18.965
971.834 | -0.084 | -19.154
972.054 | -0.076 | -19.352
972.275 | -0.07 | -19.555
972.495 | -0.07 | -19.749
972.715 | -0.071 | -19.936
972.936 | -0.056 | -20.105
973.156 | -0.039 | -20.265
973.377 | -0.035 | -20.402
973.597 | -0.035 | -20.533
973.818 | -0.041 | -20.661
974.038 | -0.043 | -20.796
974.259 | -0.041 | -20.934
974.479 | -0.045 | -21.046
974.699 | -0.052 | -21.137
974.92 | -0.06 | -21.193
975.14 | -0.065 | -21.234
975.361 | -0.063 | -21.26
975.581 | -0.058 | -21.273
975.802 | -0.053 | -21.267
976.022 | -0.053 | -21.243
976.242 | -0.06 | -21.201
976.463 | -0.068 | -21.15
976.683 | -0.075 | -21.089
976.904 | -0.073 | -21
977.124 | -0.069 | -20.897
977.345 | -0.065 | -20.772
977.565 | -0.057 | -20.635
977.786 | -0.046 | -20.484
978.006 | -0.043 | -20.32
978.226 | -0.049 | -20.143
978.447 | -0.067 | -19.955
978.667 | -0.083 | -19.765
978.888 | -0.078 | -19.583
979.108 | -0.069 | -19.4
979.329 | -0.068 | -19.209
979.549 | -0.07 | -19.018
979.77 | -0.074 | -18.834
979.99 | -0.076 | -18.661
980.21 | -0.077 | -18.495
980.431 | -0.077 | -18.321
980.651 | -0.08 | -18.135
980.872 | -0.09 | -17.922
981.092 | -0.102 | -17.698
981.313 | -0.112 | -17.472
981.533 | -0.116 | -17.252
981.753 | -0.114 | -17.043
981.974 | -0.111 | -16.841
982.194 | -0.11 | -16.645
982.415 | -0.112 | -16.458
982.635 | -0.117 | -16.279
982.856 | -0.124 | -16.111
983.076 | -0.132 | -15.942
983.297 | -0.14 | -15.766
983.517 | -0.149 | -15.587
983.737 | -0.158 | -15.406
983.958 | -0.165 | -15.223
984.178 | -0.169 | -15.044
984.399 | -0.174 | -14.874
984.619 | -0.182 | -14.71
984.84 | -0.191 | -14.546
985.06 | -0.194 | -14.38
985.281 | -0.188 | -14.211
985.501 | -0.184 | -14.049
985.721 | -0.19 | -13.893
985.942 | -0.206 | -13.737
986.162 | -0.224 | -13.58
986.383 | -0.232 | -13.424
986.603 | -0.236 | -13.276
986.824 | -0.238 | -13.139
987.044 | -0.245 | -13.007
987.265 | -0.256 | -12.874
987.485 | -0.266 | -12.738
987.705 | -0.27 | -12.596
987.926 | -0.268 | -12.452
988.146 | -0.266 | -12.309
988.367 | -0.273 | -12.173
988.587 | -0.287 | -12.045
988.808 | -0.308 | -11.926
989.028 | -0.326 | -11.807
989.248 | -0.339 | -11.683
989.469 | -0.344 | -11.554
989.689 | -0.348 | -11.423
989.91 | -0.356 | -11.29
990.13 | -0.368 | -11.157
990.351 | -0.38 | -11.024
990.571 | -0.393 | -10.902
990.792 | -0.406 | -10.796
991.012 | -0.417 | -10.696
991.232 | -0.427 | -10.593
991.453 | -0.441 | -10.484
991.673 | -0.46 | -10.374
991.894 | -0.482 | -10.274
992.114 | -0.499 | -10.18
992.335 | -0.507 | -10.084
992.555 | -0.515 | -9.983
992.776 | -0.526 | -9.878
992.996 | -0.534 | -9.769
993.216 | -0.538 | -9.657
993.437 | -0.55 | -9.542
993.657 | -0.566 | -9.429
993.878 | -0.577 | -9.325
994.098 | -0.582 | -9.229
994.319 | -0.587 | -9.139
994.539 | -0.595 | -9.048
994.76 | -0.612 | -8.955
994.98 | -0.636 | -8.866
995.2 | -0.659 | -8.781
995.421 | -0.675 | -8.694
995.641 | -0.683 | -8.608
995.862 | -0.689 | -8.527
996.082 | -0.704 | -8.445
996.303 | -0.733 | -8.354
996.523 | -0.765 | -8.263
996.743 | -0.791 | -8.177
996.964 | -0.801 | -8.096
997.184 | -0.798 | -8.015
997.405 | -0.792 | -7.935
997.625 | -0.797 | -7.855
997.846 | -0.818 | -7.776
998.066 | -0.844 | -7.695
998.287 | -0.864 | -7.614
998.507 | -0.883 | -7.533
998.727 | -0.904 | -7.45
998.948 | -0.926 | -7.366
999.168 | -0.945 | -7.288
999.389 | -0.96 | -7.219
999.609 | -0.975 | -7.154
999.83 | -0.992 | -7.083
1000.05 | -1.005 | -7.006
1000.271 | -1.011 | -6.929
1000.491 | -1.019 | -6.858
1000.711 | -1.034 | -6.797
1000.932 | -1.055 | -6.742
1001.152 | -1.076 | -6.684
1001.373 | -1.095 | -6.613
1001.593 | -1.119 | -6.534
1001.814 | -1.151 | -6.459
1002.034 | -1.178 | -6.394
1002.255 | -1.191 | -6.335
1002.475 | -1.202 | -6.274
1002.695 | -1.221 | -6.208
1002.916 | -1.245 | -6.145
1003.136 | -1.271 | -6.086
1003.357 | -1.298 | -6.022
1003.577 | -1.326 | -5.958
1003.798 | -1.353 | -5.895
1004.018 | -1.373 | -5.829
1004.238 | -1.386 | -5.758
1004.459 | -1.401 | -5.693
1004.679 | -1.422 | -5.637
1004.9 | -1.446 | -5.586
1005.12 | -1.469 | -5.534
1005.341 | -1.488 | -5.48
1005.561 | -1.507 | -5.423
1005.782 | -1.532 | -5.363
1006.002 | -1.56 | -5.301
1006.222 | -1.587 | -5.241
1006.443 | -1.613 | -5.185
1006.663 | -1.64 | -5.132
1006.884 | -1.665 | -5.081
1007.104 | -1.688 | -5.035
1007.325 | -1.705 | -4.994
1007.545 | -1.72 | -4.948
1007.766 | -1.736 | -4.891
1007.986 | -1.756 | -4.83
1008.206 | -1.781 | -4.773
1008.427 | -1.81 | -4.721
1008.647 | -1.838 | -4.671
1008.868 | -1.86 | -4.618
1009.088 | -1.882 | -4.565
1009.309 | -1.91 | -4.516
1009.529 | -1.944 | -4.473
1009.75 | -1.978 | -4.436
1009.97 | -2.011 | -4.398
1010.19 | -2.041 | -4.354
1010.411 | -2.067 | -4.3
1010.631 | -2.092 | -4.246
1010.852 | -2.121 | -4.199
1011.072 | -2.155 | -4.159
1011.293 | -2.191 | -4.118
1011.513 | -2.223 | -4.072
1011.733 | -2.248 | -4.021
1011.954 | -2.268 | -3.969
1012.174 | -2.29 | -3.918
1012.395 | -2.316 | -3.872
1012.615 | -2.349 | -3.83
1012.836 | -2.387 | -3.79
1013.056 | -2.424 | -3.749
1013.277 | -2.453 | -3.709
1013.497 | -2.479 | -3.67
1013.717 | -2.505 | -3.631
1013.938 | -2.534 | -3.591
1014.158 | -2.564 | -3.549
1014.379 | -2.597 | -3.504
1014.599 | -2.631 | -3.463
1014.82 | -2.667 | -3.43
1015.04 | -2.701 | -3.402
1015.26 | -2.734 | -3.371
1015.481 | -2.766 | -3.333
1015.701 | -2.799 | -3.292
1015.922 | -2.835 | -3.251
1016.142 | -2.874 | -3.211
1016.363 | -2.916 | -3.171
1016.583 | -2.955 | -3.13
1016.804 | -2.99 | -3.089
1017.024 | -3.022 | -3.055
1017.245 | -3.054 | -3.027
1017.465 | -3.091 | -3.001
1017.685 | -3.13 | -2.971
1017.906 | -3.169 | -2.936
1018.126 | -3.206 | -2.898
1018.347 | -3.242 | -2.859
1018.567 | -3.278 | -2.821
1018.788 | -3.315 | -2.783
1019.008 | -3.35 | -2.749
1019.228 | -3.383 | -2.719
1019.449 | -3.415 | -2.693
1019.669 | -3.451 | -2.668
1019.89 | -3.492 | -2.641
1020.11 | -3.535 | -2.612
1020.331 | -3.577 | -2.581
1020.551 | -3.616 | -2.546
1020.772 | -3.656 | -2.508
1020.992 | -3.702 | -2.471
1021.212 | -3.752 | -2.44
1021.433 | -3.802 | -2.412
1021.653 | -3.845 | -2.38
1021.874 | -3.884 | -2.343
1022.094 | -3.924 | -2.307
1022.315 | -3.97 | -2.275
1022.535 | -4.02 | -2.245
1022.755 | -4.065 | -2.212
1022.976 | -4.104 | -2.18
1023.196 | -4.143 | -2.152
1023.417 | -4.185 | -2.126
1023.637 | -4.23 | -2.1
1023.858 | -4.275 | -2.073
1024.078 | -4.32 | -2.048
1024.299 | -4.368 | -2.027
1024.519 | -4.42 | -2.007
1024.74 | -4.473 | -1.986
1024.96 | -4.523 | -1.961
1025.18 | -4.565 | -1.931
1025.401 | -4.605 | -1.898
1025.621 | -4.648 | -1.864
1025.842 | -4.694 | -1.83
1026.062 | -4.744 | -1.801
1026.283 | -4.799 | -1.781
1026.503 | -4.858 | -1.763
1026.723 | -4.919 | -1.744
1026.944 | -4.978 | -1.72
1027.164 | -5.035 | -1.695
1027.385 | -5.088 | -1.665
1027.605 | -5.14 | -1.637
1027.826 | -5.189 | -1.614
1028.046 | -5.235 | -1.593
1028.266 | -5.278 | -1.569
1028.487 | -5.324 | -1.54
1028.707 | -5.377 | -1.511
1028.928 | -5.432 | -1.488
1029.148 | -5.485 | -1.47
1029.369 | -5.539 | -1.455
1029.589 | -5.6 | -1.436
1029.81 | -5.665 | -1.41
1030.03 | -5.728 | -1.382
1030.25 | -5.783 | -1.357
1030.471 | -5.834 | -1.338
1030.691 | -5.889 | -1.323
1030.912 | -5.956 | -1.309
1031.132 | -6.034 | -1.293
1031.353 | -6.11 | -1.271
1031.573 | -6.178 | -1.246
1031.794 | -6.237 | -1.224
1032.014 | -6.285 | -1.207
1032.234 | -6.327 | -1.192
1032.455 | -6.38 | -1.179
1032.675 | -6.452 | -1.167
1032.896 | -6.532 | -1.156
1033.116 | -6.606 | -1.139
1033.337 | -6.674 | -1.11
1033.557 | -6.741 | -1.077
1033.778 | -6.81 | -1.051
1033.998 | -6.874 | -1.04
1034.218 | -6.928 | -1.037
1034.439 | -6.985 | -1.03
1034.659 | -7.054 | -1.011
1034.88 | -7.128 | -0.989
1035.1 | -7.2 | -0.969
1035.321 | -7.273 | -0.951
1035.541 | -7.35 | -0.933
1035.761 | -7.428 | -0.917
1035.982 | -7.504 | -0.904
1036.202 | -7.577 | -0.893
1036.423 | -7.651 | -0.879
1036.643 | -7.728 | -0.859
1036.864 | -7.802 | -0.841
1037.084 | -7.878 | -0.828
1037.305 | -7.962 | -0.818
1037.525 | -8.049 | -0.805
1037.745 | -8.127 | -0.787
1037.966 | -8.198 | -0.769
1038.186 | -8.268 | -0.755
1038.407 | -8.347 | -0.737
1038.627 | -8.435 | -0.713
1038.848 | -8.522 | -0.694
1039.068 | -8.605 | -0.683
1039.289 | -8.689 | -0.676
1039.509 | -8.778 | -0.665
1039.729 | -8.87 | -0.648
1039.95 | -8.961 | -0.631
1040.17 | -9.049 | -0.616
1040.391 | -9.134 | -0.598
1040.611 | -9.221 | -0.575
1040.832 | -9.31 | -0.554
1041.052 | -9.401 | -0.54
1041.273 | -9.492 | -0.528
1041.493 | -9.591 | -0.521
1041.713 | -9.706 | -0.52
1041.934 | -9.821 | -0.518
1042.154 | -9.923 | -0.511
1042.375 | -10.018 | -0.499
1042.595 | -10.113 | -0.486
1042.816 | -10.208 | -0.472
1043.036 | -10.306 | -0.459
1043.256 | -10.412 | -0.448
1043.477 | -10.518 | -0.443
1043.697 | -10.62 | -0.445
1043.918 | -10.722 | -0.445
1044.138 | -10.829 | -0.438
1044.359 | -10.939 | -0.424
1044.579 | -11.05 | -0.411
1044.8 | -11.16 | -0.402
1045.02 | -11.27 | -0.399
1045.24 | -11.38 | -0.395
1045.461 | -11.495 | -0.387
1045.681 | -11.616 | -0.373
1045.902 | -11.736 | -0.355
1046.122 | -11.853 | -0.334
1046.343 | -11.971 | -0.314
1046.563 | -12.094 | -0.302
1046.784 | -12.222 | -0.3
1047.004 | -12.347 | -0.303
1047.224 | -12.466 | -0.301
1047.445 | -12.588 | -0.291
1047.665 | -12.725 | -0.273
1047.886 | -12.869 | -0.259
1048.106 | -13.01 | -0.256
1048.327 | -13.145 | -0.259
1048.547 | -13.276 | -0.258
1048.768 | -13.406 | -0.247
1048.988 | -13.538 | -0.229
1049.208 | -13.676 | -0.212
1049.429 | -13.817 | -0.2
1049.649 | -13.962 | -0.194
1049.87 | -14.107 | -0.192
1050.09 | -14.251 | -0.19
1050.311 | -14.398 | -0.19
1050.531 | -14.551 | -0.19
1050.751 | -14.707 | -0.19
1050.972 | -14.868 | -0.188
1051.192 | -15.032 | -0.179
1051.413 | -15.2 | -0.169
1051.633 | -15.368 | -0.164
1051.854 | -15.531 | -0.163
1052.074 | -15.686 | -0.165
1052.295 | -15.84 | -0.16
1052.515 | -15.998 | -0.147
1052.735 | -16.158 | -0.132
1052.956 | -16.32 | -0.119
1053.176 | -16.48 | -0.111
1053.397 | -16.639 | -0.108
1053.617 | -16.798 | -0.113
1053.838 | -16.951 | -0.122
1054.058 | -17.099 | -0.131
1054.279 | -17.25 | -0.136
1054.499 | -17.406 | -0.134
1054.719 | -17.567 | -0.125
1054.94 | -17.73 | -0.112
1055.16 | -17.889 | -0.101
1055.381 | -18.037 | -0.092
1055.601 | -18.167 | -0.087
1055.822 | -18.288 | -0.085
1056.042 | -18.403 | -0.085
1056.263 | -18.521 | -0.088
1056.483 | -18.641 | -0.092
1056.703 | -18.762 | -0.095
1056.924 | -18.877 | -0.098
1057.144 | -18.976 | -0.102
1057.365 | -19.064 | -0.101
1057.585 | -19.14 | -0.09
1057.806 | -19.211 | -0.081
1058.026 | -19.274 | -0.079
1058.246 | -19.318 | -0.075
1058.467 | -19.346 | -0.067
1058.687 | -19.366 | -0.059
1058.908 | -19.377 | -0.058
1059.128 | -19.371 | -0.074
1059.349 | -19.354 | -0.09
1059.569 | -19.324 | -0.095
1059.79 | -19.282 | -0.093
1060.01 | -19.23 | -0.089
1060.23 | -19.177 | -0.085
1060.451 | -19.124 | -0.082
1060.671 | -19.063 | -0.08
1060.892 | -18.991 | -0.08
1061.112 | -18.895 | -0.085
1061.333 | -18.785 | -0.085
1061.553 | -18.662 | -0.077
1061.774 | -18.534 | -0.076
1061.994 | -18.402 | -0.085
1062.214 | -18.27 | -0.092
1062.435 | -18.136 | -0.096
1062.655 | -17.99 | -0.088
1062.876 | -17.839 | -0.082
1063.096 | -17.688 | -0.089
1063.317 | -17.543 | -0.095
1063.537 | -17.406 | -0.095
1063.758 | -17.255 | -0.098
1063.978 | -17.09 | -0.102
1064.198 | -16.924 | -0.103
1064.419 | -16.76 | -0.104
1064.639 | -16.601 | -0.121
1064.86 | -16.45 | -0.139
1065.08 | -16.318 | -0.148
1065.301 | -16.168 | -0.144
1065.521 | -15.99 | -0.128
1065.741 | -15.823 | -0.134
1065.962 | -15.672 | -0.157
1066.182 | -15.521 | -0.152
1066.403 | -15.368 | -0.137
1066.623 | -15.2 | -0.141
1066.844 | -15.032 | -0.151
1067.064 | -14.872 | -0.168
1067.285 | -14.713 | -0.171
1067.505 | -14.555 | -0.156
1067.725 | -14.408 | -0.162
1067.946 | -14.269 | -0.183
1068.166 | -14.124 | -0.196
1068.387 | -13.977 | -0.207
1068.607 | -13.83 | -0.224
1068.828 | -13.681 | -0.238
1069.048 | -13.529 | -0.239
1069.269 | -13.374 | -0.238
1069.489 | -13.218 | -0.234
1069.709 | -13.081 | -0.231
1069.93 | -12.958 | -0.229
1070.15 | -12.854 | -0.239
1070.371 | -12.751 | -0.254
1070.591 | -12.617 | -0.282
1070.812 | -12.485 | -0.295
1071.032 | -12.366 | -0.27
1071.253 | -12.242 | -0.263
1071.473 | -12.112 | -0.281
1071.693 | -11.984 | -0.292
1071.914 | -11.857 | -0.299
1072.134 | -11.734 | -0.317
1072.355 | -11.612 | -0.334
1072.575 | -11.484 | -0.338
1072.796 | -11.364 | -0.34
1073.016 | -11.264 | -0.339
1073.236 | -11.161 | -0.347
1073.457 | -11.055 | -0.363
1073.677 | -10.946 | -0.373
1073.898 | -10.835 | -0.378
1074.118 | -10.738 | -0.375
1074.339 | -10.639 | -0.375
1074.559 | -10.516 | -0.397
1074.78 | -10.405 | -0.416
1075 | -10.321 | -0.427